## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20160210084 | 2016-01-21 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20150150114 | 2015-01-15 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 36.24 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152670139 | 2015-09-24 08:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 1.237 | 16.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 1.1556 | 15.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 1.2222 | 16.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153230142 | 2015-11-19 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 1.1704 | 15.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 1.1407 | 15.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 1.2519 | 16.9 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560058 | 2016-02-25 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 1.1111 | 15 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 1.0296 | 13.9 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 0.97037 | 13.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 0.96296 | 13 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 0.96296 | 13 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.5 | . | ng/L | 0.97037 | 13.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20152110201 | 2015-07-30 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.5809 | 21.5 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.3088 | 17.8 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.2721 | 17.3 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.0147 | 13.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.2647 | 17.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.0662 | 14.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.3162 | 17.9 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.1838 | 16.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.375 | 18.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.3456 | 18.3 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.6324 | 22.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.4485 | 19.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160350044 | 2016-02-04 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.1103 | 15.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 0.90441 | 12.3 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | . | ng/L | 1.0956 | 14.9 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | E | ng/L | 1.5956 | 21.7 | Estimated Values | 2437 | OG | DME | c | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | E | ng/L | 1.4926 | 20.3 | Estimated Values | 2437 | OG | DME | c | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 13.6 | E | ng/L | 1.2206 | 16.6 | Estimated Values | 2437 | OG | DME | c | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20141290002 | 2014-05-08 06:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 18.03 | . | ng/L | 0.97615 | 17.6 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 18.03 | . | ng/L | 1.076 | 19.4 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 18.03 | . | ng/L | 1.4309 | 25.8 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 18.03 | . | ng/L | 1.137 | 20.5 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142060046 | 2014-07-24 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 18.12 | E | ng/L | 1.2031 | 21.8 | Estimated Values | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 18.12 | . | ng/L | 1.0872 | 19.7 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 18.12 | . | ng/L | 1.0982 | 19.9 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 18.12 | . | ng/L | 1.2141 | 22 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 18.12 | . | ng/L | 1.1038 | 20 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 18.12 | . | ng/L | 1.0706 | 19.4 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20161740281 | 2016-06-22 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 22.32 | . | ng/L | 1.0305 | 23 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 22.32 | . | ng/L | 1.0394 | 23.2 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 22.32 | . | ng/L | 0.98566 | 22 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 22.32 | . | ng/L | 0.94534 | 21.1 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 22.32 | . | ng/L | 1.25 | 27.9 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 22.32 | . | ng/L | 1.1649 | 26 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 22.32 | . | ng/L | 0.84677 | 18.9 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 22.32 | . | ng/L | 0.86918 | 19.4 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 22.56 | . | ng/L | 0.85993 | 19.4 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 22.56 | . | ng/L | 0.91312 | 20.6 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20152250277 | 2015-08-13 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | . | ng/L | 1.1296 | 30.5 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | . | ng/L | 1.063 | 28.7 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | . | ng/L | 1.2667 | 34.2 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152390229 | 2015-08-27 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | E | ng/L | 0.88148 | 23.8 | Estimated Values | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | E | ng/L | 0.68519 | 18.5 | Estimated Values | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | E | ng/L | 0.7963 | 21.5 | Estimated Values | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20153510113 | 2015-12-17 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | . | ng/L | 1.0333 | 27.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | . | ng/L | 0.8963 | 24.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | . | ng/L | 0.95556 | 25.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160630048 | 2016-03-03 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | . | ng/L | 0.84815 | 22.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | . | ng/L | 1.0667 | 28.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | . | ng/L | 1.1778 | 31.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20161190072 | 2016-04-28 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | . | ng/L | 1.0333 | 27.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27 | . | ng/L | 0.82963 | 22.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151900133 | 2015-07-09 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27.2 | . | ng/L | 1.0294 | 28 | Recoverable Result | 2437 | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27.2 | . | ng/L | 1.0735 | 29.2 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152460212 | 2015-09-03 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27.2 | E | ng/L | 0.72794 | 19.8 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27.2 | E | ng/L | 0.77206 | 21 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27.2 | E | ng/L | 0.71691 | 19.5 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160140035 | 2016-01-14 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27.2 | . | ng/L | 1.0221 | 27.8 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27.2 | . | ng/L | 1.2831 | 34.9 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27.2 | . | ng/L | 1.0147 | 27.6 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161050141 | 2016-04-14 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27.2 | . | ng/L | 1.0588 | 28.8 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 27.2 | . | ng/L | 1.1213 | 30.5 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20141640081 | 2014-06-12 08:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 36.06 | . | ng/L | 0.95674 | 34.5 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 36.06 | . | ng/L | 1.3283 | 47.9 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 36.06 | . | ng/L | 1.0926 | 39.4 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 36.06 | . | ng/L | 1.1398 | 41.1 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20150290076 | 2015-01-29 06:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 36.15 | . | ng/L | 1.2559 | 45.4 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141910245 | 2014-07-10 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 36.24 | . | ng/L | 1.4735 | 53.4 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 36.24 | . | ng/L | 1.3052 | 47.3 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 36.24 | . | ng/L | 1.6529 | 59.9 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 36.24 | . | ng/L | 1.4018 | 50.8 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20161880106 | 2016-07-06 07:45 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 44.64 | . | ng/L | 0.85349 | 38.1 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 44.64 | . | ng/L | 0.88038 | 39.3 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 44.64 | . | ng/L | 1.147 | 51.2 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 44.64 | . | ng/L | 1.203 | 53.7 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20163370005 | 2016-11-30 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 45.12 | . | ng/L | 1.2655 | 57.1 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 45.12 | . | ng/L | 1.0284 | 46.4 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20141490204 | 2014-05-29 08:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 72.12 | . | ng/L | 1.1425 | 82.4 | Recoverable Result | 2437 | OG | MPO |  | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152610006 | 2015-09-17 09:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108 | . | ng/L | 1.2593 | 136 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108 | . | ng/L | 1.2685 | 137 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108 | . | ng/L | 1.3056 | 141 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20153280162 | 2015-11-24 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108 | . | ng/L | 0.99074 | 107 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108 | . | ng/L | 1.1481 | 124 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108 | . | ng/L | 1.213 | 131 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20152810124 | 2015-10-08 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108.8 | . | ng/L | 1.5901 | 173 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108.8 | . | ng/L | 1.3235 | 144 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108.8 | . | ng/L | 1.3051 | 142 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108.8 | . | ng/L | 0.96507 | 105 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108.8 | . | ng/L | 0.88879 | 96.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | 2-AMINOBENZIMIDAZOLE | 68502LCM60 | 9 | 108.8 | . | ng/L | 0.86397 | 94 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl