## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160070056 | 2016-01-07 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | < | ng/L |  |  | False Negative | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20152190004 | 2015-08-06 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | < | ng/L |  |  | False Negative | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20150150114 | 2015-01-15 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 16.02 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 20.08 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 20.08 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152110201 | 2015-07-30 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 0.71791 | 4.25 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 0.75676 | 4.48 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 0.86486 | 5.12 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 0.72466 | 4.29 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 0.77196 | 4.57 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 0.64358 | 3.81 | Recoverable Result | 2437 | OG | JLE | n | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 1.1926 | 7.06 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 1.2111 | 7.17 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 1.0676 | 6.32 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 1.1098 | 6.57 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 1.0084 | 5.97 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 0.98818 | 5.85 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 1.1605 | 6.87 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 1.2061 | 7.14 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 1.1402 | 6.75 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 1.2618 | 7.47 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 5.92 | . | ng/L | 1.223 | 7.24 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 0.94833 | 5.69 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 0.69333 | 4.16 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 0.7 | 4.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 0.74167 | 4.45 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 1.4283 | 8.57 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 1.1217 | 6.73 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 1.2867 | 7.72 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 1.1833 | 7.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 1.2567 | 7.54 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 0.98667 | 5.92 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 0.97333 | 5.84 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 1.175 | 7.05 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 6 | . | ng/L | 0.945 | 5.67 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142060046 | 2014-07-24 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.01 | . | ng/L | 0.67665 | 5.42 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142130132 | 2014-07-31 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.01 | . | ng/L | 0.73908 | 5.92 | Recoverable Result | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142200170 | 2014-08-07 09:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.01 | . | ng/L | 0.74657 | 5.98 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142470035 | 2014-09-03 07:45 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.01 | E | ng/L | 0.71161 | 5.7 | Estimated Values | 2437 | OG | CAD | i | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20150570010 | 2015-02-26 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.01 | . | ng/L | 0.73783 | 5.91 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150850163 | 2015-03-26 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.01 | . | ng/L | 0.69413 | 5.56 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20151110018 | 2015-04-16 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.01 | . | ng/L | 0.66916 | 5.36 | Recoverable Result | 2437 | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20141990082 | 2014-07-17 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.055 | . | ng/L | 0.80199 | 6.46 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142480004 | 2014-09-04 08:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.055 | E | ng/L | 0.80074 | 6.45 | Estimated Values | 2437 | OG | CAD | i | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142720026 | 2014-09-25 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.055 | . | ng/L | 0.92365 | 7.44 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150650041 | 2015-03-05 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.055 | . | ng/L | 0.75729 | 6.1 | Recoverable Result | 2437 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20150990083 | 2015-04-09 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 8.055 | . | ng/L | 0.545 | 4.39 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20163560022 | 2016-12-21 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 10 | . | ng/L | 0.99 | 9.9 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 10 | . | ng/L | 1.03 | 10.3 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162100011 | 2016-07-27 07:15 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 10.04 | . | ng/L | 1.0259 | 10.3 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 10.04 | . | ng/L | 0.94024 | 9.44 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 10.04 | . | ng/L | 1.006 | 10.1 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 10.04 | . | ng/L | 0.85956 | 8.63 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163420124 | 2016-12-07 09:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 10.04 | . | ng/L | 1.2251 | 12.3 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 10.04 | . | ng/L | 1.1255 | 11.3 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20152190005 | 2015-08-06 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.71453 | 8.46 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.61402 | 7.27 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.67399 | 7.98 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.65878 | 7.8 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.66976 | 7.93 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.51943 | 6.15 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.66047 | 7.82 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.57264 | 6.78 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.69088 | 8.18 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.75338 | 8.92 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.65963 | 7.81 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 1.0051 | 11.9 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 0.94595 | 11.2 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 1.0726 | 12.7 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 1.0051 | 11.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 11.84 | . | ng/L | 1.1233 | 13.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 0.70083 | 8.41 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 1.35 | 16.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 1.2833 | 15.4 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 1.1833 | 14.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 1.1083 | 13.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 1.0083 | 12.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 1.075 | 12.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 1.1417 | 13.7 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 0.99167 | 11.9 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 1.2083 | 14.5 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 1.3 | 15.6 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 1.025 | 12.3 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 12 | . | ng/L | 1.1583 | 13.9 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20142340168 | 2014-08-18 07:15 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 16.02 | E | ng/L | 0.5 | 8.01 | Estimated Values | 2437 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20142760029 | 2014-10-02 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 16.02 | . | ng/L | 0.80524 | 12.9 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20142960085 | 2014-10-23 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 16.02 | . | ng/L | 0.74282 | 11.9 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20150360050 | 2015-02-05 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 16.02 | . | ng/L | 0.73658 | 11.8 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20141770144 | 2014-06-26 09:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 16.11 | . | ng/L | 0.65798 | 10.6 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20141910245 | 2014-07-10 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 16.11 | . | ng/L | 0.65177 | 10.5 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143030096 | 2014-10-30 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 16.11 | . | ng/L | 0.85661 | 13.8 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143300050 | 2014-11-26 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 16.11 | . | ng/L | 0.60832 | 9.8 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143240094 | 2014-11-19 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 16.11 | . | ng/L | 0.72005 | 11.6 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20143520108 | 2014-12-18 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 16.11 | . | ng/L | 0.75109 | 12.1 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20162520007 | 2016-09-07 08:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 20 | . | ng/L | 1.145 | 22.9 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 20 | . | ng/L | 1.27 | 25.4 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20161880106 | 2016-07-06 07:45 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 20.08 | . | ng/L | 1.0757 | 21.6 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 20.08 | . | ng/L | 1.0558 | 21.2 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 25 | . | ng/L | 1.028 | 25.7 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 25 | . | ng/L | 1.164 | 29.1 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20152810124 | 2015-10-08 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 47.36 | . | ng/L | 0.64823 | 30.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 47.36 | . | ng/L | 0.55743 | 26.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 47.36 | . | ng/L | 0.59755 | 28.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 48 | . | ng/L | 0.66667 | 32 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 48 | . | ng/L | 0.69583 | 33.4 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 48 | . | ng/L | 0.70833 | 34 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 48 | . | ng/L | 0.68958 | 33.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 48 | . | ng/L | 0.65833 | 31.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 48 | . | ng/L | 0.65417 | 31.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20141010010 | 2014-04-10 06:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 125 | . | ng/L | 0.7128 | 89.1 | Recoverable Result | 2437 | OG | LKK |  | 2014-04-24 | ERA 0912-13-03: 25 µl
20141150010 | 2014-04-24 07:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 200 | . | ng/L | 0.64 | 128 | Recoverable Result | 2437 | OG | LKK |  | 2014-05-03 | ERA 0912-13-03: 20 µl
20141360090 | 2014-05-16 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 250 | . | ng/L | 0.728 | 182 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-29 | ERA 0912-13-03: 25 µl
20141570091 | 2014-06-05 08:30 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 250 | . | ng/L | 0.692 | 173 | Recoverable Result | 2437 | OG | MPO |  | 2014-06-18 | ERA 0912-13-03: 25 µl
20141420138 | 2014-05-22 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 500 | . | ng/L | 0.808 | 404 | Recoverable Result | 2437 | K | MPO | d | 2014-06-05 | ERA 0912-13-03: 50 µl
20141710106 | 2014-06-19 08:00 | 2-HYDROXY-4-ISOPROPYLAMINO-6-AMINO-S-TRIAZINE | 68659LCM60 | 4 | 500 | . | ng/L | 0.618 | 309 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-02 | ERA 0912-13-03: 50 µl