## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-06-26 09:00 | 20141770144 | 8 | 32.04 | . | 22.9 | ng/L | 0.71473 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-12-18 07:00 | 20143520108 | 8 | 32.04 | . | 28.6 | ng/L | 0.89263 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-03-05 07:00 | 20150650041 | 8 | 16.02 | E | 11.6 | ng/L | 0.72409 | OG | DME | i | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-07-31 07:00 | 20142130132 | 8 | 15.9 | . | 14.1 | ng/L | 0.88679 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-10-23 07:00 | 20142960085 | 8 | 31.8 | . | 25.9 | ng/L | 0.81447 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-02-05 07:00 | 20150360050 | 8 | 31.8 | . | 25.3 | ng/L | 0.7956 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-04-16 07:00 | 20151110018 | 8 | 15.9 | . | 12.9 | ng/L | 0.81132 | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-07-10 07:30 | 20141910245 | 8 | 32.04 | . | 30 | ng/L | 0.93633 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-09-04 08:30 | 20142480004 | 8 | 16.02 | E | 15.4 | ng/L | 0.9613 | OG | CAD | i | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-10-30 08:00 | 20143030096 | 8 | 32.04 | . | 29.9 | ng/L | 0.93321 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-11-26 07:30 | 20143300050 | 8 | 32.04 | E | 27.4 | ng/L | 0.85518 | OG | DME | i | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-11-30 08:00 | 20163370005 | 8 | 40.08 | E | 36.8 | ng/L | 0.91816 | K | DME | c | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-11-30 07:30 | 20163370004 | 8 | 40.08 | E | 35.2 | ng/L | 0.87824 | K | DME | c | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-12-07 09:00 | 20163420124 | 8 | 20.04 | . | 23.7 | ng/L | 1.1826 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-12-07 08:30 | 20163420125 | 8 | 20.04 | . | 24.6 | ng/L | 1.2275 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-04-09 06:30 | 20150990083 | 8 | 16.02 | . | 11.8 | ng/L | 0.73658 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-07-17 07:30 | 20141990082 | 8 | 16.02 | . | 16.7 | ng/L | 1.0424 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-09-25 07:00 | 20142720026 | 8 | 16.02 | . | 12 | ng/L | 0.74906 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-11-19 08:00 | 20143240094 | 8 | 32.04 | E | 22.7 | ng/L | 0.70849 | OG | DME | i | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-08-18 07:15 | 20142340168 | 8 | 31.8 | E | 15.1 | ng/L | 0.47484 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-09-03 07:45 | 20142470035 | 8 | 15.9 | E | 14.4 | ng/L | 0.90566 | OG | CAD | i | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-01 07:30 | 20152750009 | 8 | 97.6 | . | 77.5 | ng/L | 0.79406 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-01 07:00 | 20152750008 | 8 | 97.6 | . | 78.1 | ng/L | 0.8002 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-01 06:30 | 20152750007 | 8 | 97.6 | . | 74.3 | ng/L | 0.76127 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-11-10 07:30 | 20153160006 | 8 | 12.2 | E | 13.1 | ng/L | 1.0738 | OG | DME | i | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-11-10 07:00 | 20153160005 | 8 | 12.2 | E | 9.54 | ng/L | 0.78197 | OG | DME | i | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-11-10 06:30 | 20153160004 | 8 | 12.2 | E | 14.7 | ng/L | 1.2049 | OG | DME | i | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-02-18 08:00 | 20160490031 | 8 | 24.4 | . | 20 | ng/L | 0.81967 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-02-18 07:30 | 20160490030 | 8 | 24.4 | . | 19.6 | ng/L | 0.80328 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-02-18 07:00 | 20160490029 | 8 | 24.4 | . | 22.5 | ng/L | 0.92213 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-08-06 07:30 | 20152190004 | 8 | 23.6 | . | 23.5 | ng/L | 0.99576 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-08-06 07:00 | 20152190005 | 8 | 23.6 | . | 20.6 | ng/L | 0.87288 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-08-06 06:30 | 20152190006 | 8 | 23.6 | . | 18.4 | ng/L | 0.77966 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-08-20 09:00 | 20152330042 | 8 | 23.6 | . | 19.7 | ng/L | 0.83475 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-08-20 08:30 | 20152330043 | 8 | 23.6 | . | 23.2 | ng/L | 0.98305 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-08-20 06:30 | 20152330044 | 8 | 23.6 | . | 19.6 | ng/L | 0.83051 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-01-07 07:30 | 20160070057 | 8 | 11.8 | . | 11.3 | ng/L | 0.95763 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-01-07 07:00 | 20160070054 | 8 | 11.8 | . | 11.5 | ng/L | 0.97458 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-01-07 06:30 | 20160070056 | 8 | 11.8 | . | 12.9 | ng/L | 1.0932 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-09-17 09:30 | 20152610006 | 8 | 97.6 | . | 71.8 | ng/L | 0.73566 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-09-17 09:00 | 20152610005 | 8 | 97.6 | . | 72.8 | ng/L | 0.7459 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-09-17 08:30 | 20152610004 | 8 | 97.6 | . | 78.2 | ng/L | 0.80123 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-12-17 07:30 | 20153510113 | 8 | 24.4 | . | 26.5 | ng/L | 1.0861 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-12-17 07:00 | 20153510111 | 8 | 24.4 | . | 29.8 | ng/L | 1.2213 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-12-17 06:30 | 20153510112 | 8 | 24.4 | . | 30.4 | ng/L | 1.2459 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-03-17 08:00 | 20160770095 | 8 | 12.2 | . | 10 | ng/L | 0.81967 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-03-17 07:30 | 20160770094 | 8 | 12.2 | . | 8.75 | ng/L | 0.71721 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-03-17 06:30 | 20160770096 | 8 | 12.2 | . | 7.45 | ng/L | 0.61066 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-29 07:30 | 20153030065 | 8 | 12.2 | . | 11.8 | ng/L | 0.96721 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-29 07:00 | 20153030064 | 8 | 12.2 | . | 12.1 | ng/L | 0.9918 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-29 06:30 | 20153030063 | 8 | 12.2 | . | 10.5 | ng/L | 0.86066 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-02-04 08:00 | 20160350044 | 8 | 12.2 | . | 14.9 | ng/L | 1.2213 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-02-04 07:30 | 20160350042 | 8 | 12.2 | . | 10.9 | ng/L | 0.89344 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-02-04 07:00 | 20160350043 | 8 | 12.2 | . | 12.6 | ng/L | 1.0328 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-09-21 08:30 | 20162660010 | 8 | 51 | . | 39.5 | ng/L | 0.77451 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-09-21 08:00 | 20162660009 | 8 | 51 | . | 40.8 | ng/L | 0.8 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-07-24 08:00 | 20142060046 | 8 | 15.9 | . | 12.7 | ng/L | 0.79874 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-03-26 06:30 | 20150850163 | 8 | 15.9 | . | 13.8 | ng/L | 0.86792 | OG | MPO | id | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-08-07 09:00 | 20142200170 | 8 | 15.9 | . | 11.7 | ng/L | 0.73585 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2014-10-02 07:30 | 20142760029 | 8 | 31.8 | . | 22 | ng/L | 0.69182 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-02-26 06:30 | 20150570010 | 8 | 15.9 | . | 12.6 | ng/L | 0.79245 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-07-16 06:00 | 20151970155 | 8 | 24.4 | . | 18.8 | ng/L | 0.77049 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-07-23 06:30 | 20152040178 | 8 | 12.2 | . | 17.1 | ng/L | 1.4016 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-12-03 08:00 | 20153370174 | 8 | 24.4 | . | 30.6 | ng/L | 1.2541 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-12-03 07:30 | 20153370175 | 8 | 24.4 | . | 31 | ng/L | 1.2705 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-12-03 07:00 | 20153370173 | 8 | 24.4 | . | 29.3 | ng/L | 1.2008 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-03-10 08:00 | 20160710224 | 8 | 24.4 | . | 23.9 | ng/L | 0.97951 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-03-10 07:30 | 20160710223 | 8 | 24.4 | . | 20.4 | ng/L | 0.83607 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-03-10 07:00 | 20160710222 | 8 | 24.4 | . | 23.5 | ng/L | 0.96311 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-09-10 08:00 | 20152530084 | 8 | 11.8 | E | 8.86 | ng/L | 0.75085 | OG | JLE | i | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-09-10 07:30 | 20152530086 | 8 | 11.8 | E | 9.18 | ng/L | 0.77797 | OG | JLE | i | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-09-10 07:00 | 20152530085 | 8 | 11.8 | E | 8.49 | ng/L | 0.71949 | OG | JLE | i | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-22 07:30 | 20152950083 | 8 | 23.6 | . | 22.1 | ng/L | 0.93644 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-22 07:00 | 20152950081 | 8 | 23.6 | . | 24.2 | ng/L | 1.0254 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-22 06:30 | 20152950082 | 8 | 23.6 | . | 19.9 | ng/L | 0.84322 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-01-28 07:00 | 20160280055 | 8 | 11.8 | . | 16.4 | ng/L | 1.3898 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-01-28 06:30 | 20160280059 | 8 | 11.8 | . | 14.4 | ng/L | 1.2203 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-01-28 06:00 | 20160280058 | 8 | 11.8 | . | 12.6 | ng/L | 1.0678 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-08-27 08:00 | 20152390229 | 8 | 23.6 | . | 19.6 | ng/L | 0.83051 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-08-27 07:30 | 20152390230 | 8 | 23.6 | . | 20.9 | ng/L | 0.88559 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-08-27 07:00 | 20152390225 | 8 | 23.6 | . | 17.8 | ng/L | 0.75424 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-11-19 08:00 | 20153230142 | 8 | 11.8 | . | 13.9 | ng/L | 1.178 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-11-19 07:30 | 20153230143 | 8 | 11.8 | . | 15.1 | ng/L | 1.2797 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-11-19 07:00 | 20153230141 | 8 | 11.8 | . | 13.8 | ng/L | 1.1695 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-02-25 07:30 | 20160560058 | 8 | 11.8 | . | 12.6 | ng/L | 1.0678 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-02-25 07:00 | 20160560057 | 8 | 11.8 | . | 11.1 | ng/L | 0.94068 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-02-25 06:30 | 20160560056 | 8 | 11.8 | . | 11.1 | ng/L | 0.94068 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-04-28 06:30 | 20161190072 | 8 | 23.6 | . | 27.3 | ng/L | 1.1568 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-04-28 06:00 | 20161190071 | 8 | 23.6 | . | 25.7 | ng/L | 1.089 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-07-30 08:00 | 20152110201 | 8 | 11.8 | E | 9.66 | ng/L | 0.81864 | OG | MPO | v | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-07-30 07:30 | 20152110200 | 8 | 11.8 | E | 10.7 | ng/L | 0.90678 | OG | MPO | v | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-07-30 07:00 | 20152110202 | 8 | 11.8 | E | 11.5 | ng/L | 0.97458 | OG | MPO | v | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-08 07:00 | 20152810124 | 8 | 94.4 | . | 88.5 | ng/L | 0.9375 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-08 06:30 | 20152810125 | 8 | 94.4 | . | 67.6 | ng/L | 0.7161 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2015-10-08 06:00 | 20152810123 | 8 | 94.4 | . | 71.3 | ng/L | 0.7553 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-01-14 08:00 | 20160140035 | 8 | 23.6 | . | 15.7 | ng/L | 0.66525 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-01-14 07:30 | 20160140036 | 8 | 23.6 | . | 18.8 | ng/L | 0.79661 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-01-14 07:00 | 20160140037 | 8 | 23.6 | . | 20.4 | ng/L | 0.86441 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-11-02 08:30 | 20163070100 | 8 | 20.04 | . | 16.8 | ng/L | 0.83832 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-11-02 08:00 | 20163070099 | 8 | 20.04 | . | 18.9 | ng/L | 0.94311 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-06-22 07:30 | 20161740281 | 8 | 20.4 | E | 14.4 | ng/L | 0.70588 | OG | JLE | vc | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | 2-HYDROXY-4-ISOPROPYLAMINO-6-ETHYLAMINO-S-TRIAZINE (OIET) | 68660LCM60 | 2016-06-22 07:15 | 20161740280 | 8 | 20.4 | E | 17.8 | ng/L | 0.87255 | OG | JLE | vc | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154