## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20133110106 | 2013-11-07 08:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 |  | . | ng/L |  | 23.2 | False Positive | 2437 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20133400005 | 2013-12-05 08:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 |  | U | ng/L |  |  | Deleted Values | 2437 | OG | MPO | c | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20133470005 | 2013-12-12 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 |  | U | ng/L |  |  | Deleted Values | 2437 | OG | MPO | c | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
20153030065 | 2015-10-29 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 9.1 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 9.1 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 9.1 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 9.1 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 9.1 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 9.1 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 9.1 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 9.1 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 9.1 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 9.1 | < | ng/L |  | 250 | SACRALT | 2437 | OG | DME | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 9.1 | < | ng/L |  | 250 | SACRALT | 2437 | OG | DME | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 9.1 | < | ng/L |  | 250 | SACRALT | 2437 | OG | DME | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142060046 | 2014-07-24 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.105 | < | ng/L |  | 14.5 | SACRALT | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142130132 | 2014-07-31 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.105 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142470035 | 2014-09-03 07:45 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.105 | < | ng/L |  | 12.7 | SACRALT | 2437 | OG | CAD | c | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20150850163 | 2015-03-26 06:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.105 | < | ng/L |  |  | False Negative | 2437 | OG | MPO | dc | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20151110018 | 2015-04-16 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.105 | < | ng/L |  |  | False Negative | 2437 | OG | JIV | c | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20150650041 | 2015-03-05 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.18 | < | ng/L |  | 250 | SACRALT | 2437 | OG | DME | c | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20150990083 | 2015-04-09 06:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.18 | < | ng/L |  |  | False Negative | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20162100011 | 2016-07-27 07:15 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 15.04 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 15.04 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 15.04 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 15.04 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163420124 | 2016-12-07 09:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 15.04 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 15.04 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163560022 | 2016-12-21 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 15.2 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 15.2 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20153370174 | 2015-12-03 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 18.2 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 18.2 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 18.2 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 18.2 | < | ng/L |  | 100 | SACRALT | 2437 | OG | MNI | mc | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 18.2 | < | ng/L |  | 100 | SACRALT | 2437 | OG | MNI | mc | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 18.2 | < | ng/L |  | 100 | SACRALT | 2437 | OG | MNI | mc | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 18.2 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 18.2 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 18.2 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 18.2 | < | ng/L |  | 100 | SACRALT | 2437 | OG | JLE | mc | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 18.2 | < | ng/L |  | 100 | SACRALT | 2437 | OG | JLE | mc | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 18.2 | < | ng/L |  | 100 | SACRALT | 2437 | OG | JLE | mc | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20142340168 | 2014-08-18 07:15 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 24.21 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | @c | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20142960085 | 2014-10-23 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 24.21 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20150150114 | 2015-01-15 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 24.21 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20141770144 | 2014-06-26 09:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 24.36 | < | ng/L |  |  | False Negative | 2437 | OG | CAD | c | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20143030096 | 2014-10-30 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 24.36 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 30.08 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 30.08 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161880106 | 2016-07-06 07:45 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 30.08 | E | ng/L | 1.4461 | 43.5 | Estimated Values | 2437 | OG | DME | mtc | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 30.08 | E | ng/L | 1.6157 | 48.6 | Estimated Values | 2437 | OG | DME | mtc | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 30.4 | . | ng/L | 1.7368 | 52.8 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 30.4 | . | ng/L | 1.8158 | 55.2 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 38 | E | ng/L | 1.3421 | 51 | Estimated Values | 2437 | OG | LOA | mnc | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 100 | 38 | E | ng/L | 1.6132 | 61.3 | Estimated Values | 2437 | OG | LOA | mnc | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20152040178 | 2015-07-23 06:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 9.1 | E | ng/L | 0.86264 | 7.85 | Estimated Values | 2437 | OG | MNO | c | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20142200170 | 2014-08-07 09:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.105 | E | ng/L | 1.487 | 18 | Estimated Values | 2437 | OG | LKK | c | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.105 | . | ng/L | 0.92524 | 11.2 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20141990082 | 2014-07-17 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.18 | . | ng/L | 1.5846 | 19.3 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142480004 | 2014-09-04 08:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.18 | . | ng/L | 0.96059 | 11.7 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142720026 | 2014-09-25 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 12.18 | . | ng/L | 1.5025 | 18.3 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20151970155 | 2015-07-16 06:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 18.2 | . | ng/L | 0.8956 | 16.3 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20142760029 | 2014-10-02 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 24.21 | . | ng/L | 0.96241 | 23.3 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20150360050 | 2015-02-05 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 24.21 | . | ng/L | 0.77241 | 18.7 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20141910245 | 2014-07-10 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 24.36 | . | ng/L | 1.2315 | 30 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143300050 | 2014-11-26 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 24.36 | . | ng/L | 0.92775 | 22.6 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143240094 | 2014-11-19 08:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 24.36 | . | ng/L | 0.99343 | 24.2 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20143520108 | 2014-12-18 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 24.36 | . | ng/L | 1.1207 | 27.3 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20152610006 | 2015-09-17 09:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 72.8 | . | ng/L | 0.83242 | 60.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 72.8 | . | ng/L | 0.81868 | 59.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 72.8 | . | ng/L | 0.92308 | 67.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 72.8 | . | ng/L | 0.76511 | 55.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 72.8 | . | ng/L | 0.82692 | 60.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | 2-HYDROXY-6-ETHYLAMINO-4-AMINO-S-TRIAZINE | 68656LCM60 | 6 | 72.8 | . | ng/L | 0.81731 | 59.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8