## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161190072 | 2016-04-28 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 |  | . | ng/L |  | 6.59 | False Positive | 2437 | OG | MNI | t | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 |  | . | ng/L |  | 6.24 | False Positive | 2437 | OG | MNI | t | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161740281 | 2016-06-22 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 |  | . | ng/L |  | 9.7 | False Positive | 2437 | OG | JLE | t | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 |  | . | ng/L |  | 7.5 | False Positive | 2437 | OG | JLE | t | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20163070100 | 2016-11-02 08:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 |  | E | ng/L |  | 6 | False Positive | 2437 | K | DME | tc | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 |  | E | ng/L |  | 7.4 | False Positive | 2437 | K | DME | tc | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20152530084 | 2015-09-10 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | < | ng/L |  |  | False Negative | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | < | ng/L |  |  | False Negative | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152670139 | 2015-09-24 08:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152460212 | 2015-09-03 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | < | ng/L |  |  | False Negative | 2437 | OG | MNI | vc | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | < | ng/L |  |  | False Negative | 2437 | OG | MNI | vc | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | < | ng/L |  |  | False Negative | 2437 | OG | MNI | vc | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20150150114 | 2015-01-15 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 79.83 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 100.8 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 100.8 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152890012 | 2015-10-15 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | E | ng/L | 0.68333 | 20.5 | Estimated Values | 2437 | OG | DME | v | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | E | ng/L | 0.65333 | 19.6 | Estimated Values | 2437 | OG | DME | vn | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | E | ng/L | 0.66667 | 20 | Estimated Values | 2437 | OG | DME | v | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153160006 | 2015-11-10 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | . | ng/L | 0.78333 | 23.5 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | . | ng/L | 0.66667 | 20 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | . | ng/L | 0.63 | 18.9 | Recoverable Result | 2437 | OG | DME | n | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160070057 | 2016-01-07 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | . | ng/L | 0.66 | 19.8 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | . | ng/L | 0.58667 | 17.6 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | . | ng/L | 0.66667 | 20 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160210084 | 2016-01-21 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | E | ng/L | 0.36667 | 11 | Estimated Values | 2437 | K | DME | nc | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | E | ng/L | 0.36 | 10.8 | Estimated Values | 2437 | K | DME | nc | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | E | ng/L | 0.38333 | 11.5 | Estimated Values | 2437 | K | DME | nc | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160430108 | 2016-02-11 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | . | ng/L | 0.61 | 18.3 | Recoverable Result | 2437 | OG | DME | n | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | . | ng/L | 0.70333 | 21.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30 | . | ng/L | 0.63667 | 19.1 | Recoverable Result | 2437 | OG | DME | n | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152040178 | 2015-07-23 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | . | ng/L | 0.73179 | 22.1 | Recoverable Result | 2437 | OG | MNO | c | 2015-08-06 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20152530085 | 2015-09-10 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | E | ng/L | 0.83775 | 25.3 | Estimated Values | 2437 | OG | JLE | v | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152670138 | 2015-09-24 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | E | ng/L | 0.69536 | 21 | Estimated Values | 2437 | OG | DME | v | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153090114 | 2015-11-05 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | . | ng/L | 0.7053 | 21.3 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | . | ng/L | 0.61921 | 18.7 | Recoverable Result | 2437 | OG | DME | n | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | . | ng/L | 0.51987 | 15.7 | Recoverable Result | 2437 | OG | DME | n | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160280055 | 2016-01-28 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | . | ng/L | 0.60927 | 18.4 | Recoverable Result | 2437 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | . | ng/L | 0.5894 | 17.8 | Recoverable Result | 2437 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 30.2 | . | ng/L | 0.63245 | 19.1 | Recoverable Result | 2437 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20142060046 | 2014-07-24 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 39.915 | E | ng/L | 0.55117 | 22 | Estimated Values | 2437 | OG | LKK | v | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 39.915 | E | ng/L | 0.48102 | 19.2 | Estimated Values | 2437 | OG | LKK | vn | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 39.915 | E | ng/L | 0.64136 | 25.6 | Estimated Values | 2437 | OG | CAD | v | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 39.915 | E | ng/L | 0.54867 | 21.9 | Estimated Values | 2437 | OG | MNO | v | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 39.915 | . | ng/L | 0.66892 | 26.7 | Recoverable Result | 2437 | K | MPO | v | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 39.915 | . | ng/L | 0.56119 | 22.4 | Recoverable Result | 2437 | OG | MPO | vd | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 40.005 | . | ng/L | 0.70741 | 28.3 | Recoverable Result | 2437 | OG | MPO | v | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 40.005 | E | ng/L | 0.58743 | 23.5 | Estimated Values | 2437 | OG | LKK | v | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 40.005 | E | ng/L | 0.92488 | 37 | Estimated Values | 2437 | OG | SBH | vc | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 40.005 | E | ng/L | 1.7473 | 69.9 | Estimated Values | 2437 | OG | LOA | vc | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20163560022 | 2016-12-21 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 48 | . | ng/L | 0.69792 | 33.5 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 48 | . | ng/L | 0.71875 | 34.5 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162100011 | 2016-07-27 07:15 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 50.4 | . | ng/L | 0.88294 | 44.5 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 50.4 | . | ng/L | 0.86508 | 43.6 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 50.4 | . | ng/L | 0.57937 | 29.2 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 50.4 | . | ng/L | 0.50198 | 25.3 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163420124 | 2016-12-07 09:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 50.4 | E | ng/L | 0.85317 | 43 | Estimated Values | 2437 | OG | DME | c | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 50.4 | E | ng/L | 0.82937 | 41.8 | Estimated Values | 2437 | OG | DME | c | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20151820108 | 2015-07-01 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | E | ng/L | 1.0917 | 65.5 | Estimated Values | 2437 | OG | MNO | vc | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20151900133 | 2015-07-09 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | E | ng/L | 0.68333 | 41 | Estimated Values | 2437 | OG | JLE | vc | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20152190004 | 2015-08-06 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | E | ng/L | 0.78167 | 46.9 | Estimated Values | 2437 | OG | MPO | v | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | E | ng/L | 0.875 | 52.5 | Estimated Values | 2437 | OG | MPO | v | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | E | ng/L | 0.65167 | 39.1 | Estimated Values | 2437 | OG | MPO | v | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152250277 | 2015-08-13 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | E | ng/L | 0.59833 | 35.9 | Estimated Values | 2437 | OG | DME | v | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | E | ng/L | 0.54167 | 32.5 | Estimated Values | 2437 | OG | DME | v | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | E | ng/L | 0.74667 | 44.8 | Estimated Values | 2437 | OG | DME | v | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152330042 | 2015-08-20 09:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | E | ng/L | 0.49167 | 29.5 | Estimated Values | 2437 | OG | DME | v | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | E | ng/L | 0.575 | 34.5 | Estimated Values | 2437 | OG | DME | v | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | E | ng/L | 0.64833 | 38.9 | Estimated Values | 2437 | OG | DME | v | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20160490031 | 2016-02-18 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | . | ng/L | 0.55833 | 33.5 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | . | ng/L | 0.66 | 39.6 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60 | . | ng/L | 0.655 | 39.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20152950083 | 2015-10-22 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.60099 | 36.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.60265 | 36.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.54305 | 32.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20153370174 | 2015-12-03 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.67881 | 41 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.59437 | 35.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.63411 | 38.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160630048 | 2016-03-03 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.46026 | 27.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.50497 | 30.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.51325 | 31 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160710224 | 2016-03-10 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.63576 | 38.4 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.70033 | 42.3 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.56126 | 33.9 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20161050141 | 2016-04-14 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.7649 | 46.2 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 60.4 | . | ng/L | 0.57119 | 34.5 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20141910245 | 2014-07-10 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 79.83 | . | ng/L | 0.89565 | 71.5 | Recoverable Result | 2437 | OG | LKK | v | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 79.83 | . | ng/L | 0.77665 | 62 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 79.83 | E | ng/L | 0.71151 | 56.8 | Estimated Values | 2437 | OG | JLE | v | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 79.83 | E | ng/L | 0.65639 | 52.4 | Estimated Values | 2437 | OG | MGN | v | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 79.92 | . | ng/L | 0.77452 | 61.9 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 80.01 | . | ng/L | 0.74366 | 59.5 | Recoverable Result | 2437 | K | JIV | v | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 80.01 | E | ng/L | 0.72491 | 58 | Estimated Values | 2437 | OG | LOA | v | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 80.01 | E | ng/L | 0.73491 | 58.8 | Estimated Values | 2437 | OG | DME | v | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 80.01 | E | ng/L | 0.70991 | 56.8 | Estimated Values | 2437 | OG | JLE | v | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20162520007 | 2016-09-07 08:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 96 | . | ng/L | 0.80625 | 77.4 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 96 | . | ng/L | 0.91875 | 88.2 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20161880106 | 2016-07-06 07:45 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 100.8 | . | ng/L | 0.67758 | 68.3 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 100.8 | . | ng/L | 0.70833 | 71.4 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 120 | E | ng/L | 0.6575 | 78.9 | Estimated Values | 2437 | OG | LOA | c | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 120 | E | ng/L | 0.64333 | 77.2 | Estimated Values | 2437 | OG | LOA | c | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20141490204 | 2014-05-29 08:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 160.02 | E | ng/L | 1.2498 | 200 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152750009 | 2015-10-01 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 240 | . | ng/L | 0.53333 | 128 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 240 | . | ng/L | 0.46667 | 112 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 240 | . | ng/L | 0.57917 | 139 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20153280162 | 2015-11-24 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 241.6 | . | ng/L | 0.59603 | 144 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 241.6 | . | ng/L | 0.60017 | 145 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 241.6 | . | ng/L | 0.53394 | 129 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153640100 | 2015-12-30 08:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 241.6 | . | ng/L | 0.65397 | 158 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 241.6 | . | ng/L | 0.66225 | 160 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | 2-ISOPROPYL-6-METHYL-4-PYRIMIDINOL | 68505LCM60 | 20 | 241.6 | . | ng/L | 0.63742 | 154 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl