## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20150150114 | 2015-01-15 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 |  | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20142720026 | 2014-09-25 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 10.125 | < | ng/L |  |  | False Negative | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20161820006 | 2016-06-29 09:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 24.8 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 24.8 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152040178 | 2015-07-23 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 0.87517 | 6.52 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20152530084 | 2015-09-10 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 1.1584 | 8.63 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 1.1664 | 8.69 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 1.1732 | 8.74 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152670139 | 2015-09-24 08:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 1.0242 | 7.63 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 1.3114 | 9.77 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 1.1195 | 8.34 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153090114 | 2015-11-05 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 0.79195 | 5.9 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 0.74094 | 5.52 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 0.81879 | 6.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160280055 | 2016-01-28 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 0.78926 | 5.88 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 1.3342 | 9.94 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.45 | . | ng/L | 0.84966 | 6.33 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152890012 | 2015-10-15 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.82667 | 6.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.688 | 5.16 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.67467 | 5.06 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153160006 | 2015-11-10 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.81067 | 6.08 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.884 | 6.63 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.85867 | 6.44 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160070057 | 2016-01-07 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.688 | 5.16 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.8 | 6 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.592 | 4.44 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160210084 | 2016-01-21 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | E | ng/L | 0.96933 | 7.27 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | E | ng/L | 1.028 | 7.71 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | E | ng/L | 1.0333 | 7.75 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160430108 | 2016-02-11 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.77467 | 5.81 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.82533 | 6.19 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 7.5 | . | ng/L | 0.71467 | 5.36 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20142130132 | 2014-07-31 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 10.065 | . | ng/L | 1.1028 | 11.1 | Recoverable Result | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142270006 | 2014-08-14 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 10.065 | . | ng/L | 1.0035 | 10.1 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20150650041 | 2015-03-05 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 10.065 | . | ng/L | 1.3115 | 13.2 | Recoverable Result | 2437 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20151110018 | 2015-04-16 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 10.065 | . | ng/L | 0.91903 | 9.25 | Recoverable Result | 2437 | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20141290002 | 2014-05-08 06:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 10.125 | . | ng/L | 0.86617 | 8.77 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20141990082 | 2014-07-17 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 10.125 | . | ng/L | 0.80889 | 8.19 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142470035 | 2014-09-03 07:45 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 10.125 | . | ng/L | 0.79506 | 8.05 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20142620041 | 2014-09-18 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 10.125 | . | ng/L | 0.78617 | 7.96 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 10.125 | . | ng/L | 0.98074 | 9.93 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20161740281 | 2016-06-22 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 12.4 | . | ng/L | 0.8629 | 10.7 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 12.4 | . | ng/L | 0.83871 | 10.4 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20163070100 | 2016-11-02 08:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 12.44 | . | ng/L | 1.0209 | 12.7 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 12.44 | . | ng/L | 1.0289 | 12.8 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163420124 | 2016-12-07 09:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 12.44 | . | ng/L | 1.0772 | 13.4 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 12.44 | . | ng/L | 1.1736 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20152460212 | 2015-09-03 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | E | ng/L | 0.35906 | 5.35 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | E | ng/L | 0.38859 | 5.79 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | E | ng/L | 0.30067 | 4.48 | Estimated Values | 2437 | OG | MNI | nc | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152950083 | 2015-10-22 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 0.84564 | 12.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 0.88591 | 13.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 0.71812 | 10.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20153370174 | 2015-12-03 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 0.81208 | 12.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 0.79195 | 11.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 0.98658 | 14.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160630048 | 2016-03-03 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 0.45235 | 6.74 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 0.69128 | 10.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 0.89262 | 13.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160710224 | 2016-03-10 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 0.89933 | 13.4 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 0.95302 | 14.2 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | . | ng/L | 1.0805 | 16.1 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20161050141 | 2016-04-14 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | E | ng/L | 1.3423 | 20 | Estimated Values | 2437 | OG | DME | c | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 14.9 | E | ng/L | 1.4765 | 22 | Estimated Values | 2437 | OG | DME | c | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20151820108 | 2015-07-01 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 1.1933 | 17.9 | Recoverable Result | 2437 | OG | MNO |  | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20151900133 | 2015-07-09 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.83333 | 12.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20152190004 | 2015-08-06 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 1.1 | 16.5 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.73333 | 11 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.69333 | 10.4 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152250277 | 2015-08-13 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.76667 | 11.5 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.67333 | 10.1 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.63533 | 9.53 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152330042 | 2015-08-20 09:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.94 | 14.1 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.77333 | 11.6 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.86667 | 13 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20160490031 | 2016-02-18 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.82 | 12.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.92 | 13.8 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 15 | . | ng/L | 0.94 | 14.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20141770144 | 2014-06-26 09:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 20.13 | . | ng/L | 0.98857 | 19.9 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142820153 | 2014-10-09 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 20.13 | . | ng/L | 1.2072 | 24.3 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20142960085 | 2014-10-23 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 20.13 | . | ng/L | 0.83458 | 16.8 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20143370093 | 2014-12-03 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 20.13 | . | ng/L | 0.9538 | 19.2 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20143520108 | 2014-12-18 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 20.13 | . | ng/L | 0.72032 | 14.5 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20150360050 | 2015-02-05 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 20.13 | . | ng/L | 0.85941 | 17.3 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20141640081 | 2014-06-12 08:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 20.25 | . | ng/L | 0.8 | 16.2 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142340168 | 2014-08-18 07:15 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 20.25 | E | ng/L | 0.76543 | 15.5 | Estimated Values | 2437 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20143180048 | 2014-11-13 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 20.25 | . | ng/L | 0.73086 | 14.8 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20143240094 | 2014-11-19 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 20.25 | . | ng/L | 0.83951 | 17 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20163370005 | 2016-11-30 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 24.88 | . | ng/L | 0.82395 | 20.5 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 24.88 | . | ng/L | 0.81592 | 20.3 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20162660010 | 2016-09-21 08:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 31 | . | ng/L | 1.0387 | 32.2 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 31 | . | ng/L | 1.0484 | 32.5 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20141490204 | 2014-05-29 08:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 40.5 | . | ng/L | 0.99753 | 40.4 | Recoverable Result | 2437 | OG | MPO |  | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20153280162 | 2015-11-24 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 59.6 | . | ng/L | 0.75 | 44.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 59.6 | . | ng/L | 0.79866 | 47.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 59.6 | . | ng/L | 0.82718 | 49.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153640100 | 2015-12-30 08:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 59.6 | . | ng/L | 0.92282 | 55 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 59.6 | . | ng/L | 0.86913 | 51.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 59.6 | . | ng/L | 0.93792 | 55.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20152750009 | 2015-10-01 07:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 60 | . | ng/L | 0.94 | 56.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 60 | . | ng/L | 0.71167 | 42.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | 2-[(2-ETHYL-6-METHYLPHENYL)AMINO]-1-PROPANOL | 68595LCM60 | 5 | 60 | . | ng/L | 0.72167 | 43.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8