## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20150990083 | 2015-04-09 06:30 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 |  | . | ng/L |  | 7.97 | False Positive | 2437 | OG | LOA | bt | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20161820006 | 2016-06-29 09:00 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20150150114 | 2015-01-15 07:00 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 570.96 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20142060046 | 2014-07-24 08:00 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 285.48 | . | ng/L | 1.0579 | 302 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 285.48 | . | ng/L | 1.0614 | 303 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 285.48 | . | ng/L | 1.0754 | 307 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 285.48 | . | ng/L | 1.1069 | 316 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150290076 | 2015-01-29 06:00 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 285.48 | . | ng/L | 1.0333 | 295 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20150930002 | 2015-04-02 06:00 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 285.48 | . | ng/L | 0.90374 | 258 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 285.48 | . | ng/L | 0.89323 | 255 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141910245 | 2014-07-10 07:30 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 570.96 | . | ng/L | 1.0894 | 622 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 570.96 | . | ng/L | 1.219 | 696 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 570.96 | . | ng/L | 1.1349 | 648 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | 3,4-DICHLOROPHENYLUREA | 68226LCM60 | 144 | 570.96 | . | ng/L | 1.191 | 680 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl