## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20152110201 | 2015-07-30 08:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 1.3061 | 192 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 0.88435 | 130 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 1.0952 | 161 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 1.1905 | 175 | Recoverable Result | 2437 | VA | AWH |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 1.3605 | 200 | Recoverable Result | 2437 | VA | AWH |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 0.97959 | 144 | Recoverable Result | 2437 | VA | AWH |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153090114 | 2015-11-05 08:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 1.1429 | 168 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 1.1088 | 163 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 1.0816 | 159 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153030065 | 2015-10-29 07:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 1.3061 | 192 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 1.0884 | 160 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | . | ng/L | 1.0884 | 160 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350044 | 2016-02-04 08:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | E | ng/L | 1.0068 | 148 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | E | ng/L | 1.1701 | 172 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | E | ng/L | 1.1361 | 167 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-09 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | E | ng/L | 1.2109 | 178 | Estimated Values | 2437 | VA | VKJ | mc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | E | ng/L | 1.0884 | 160 | Estimated Values | 2437 | VA | VKJ | mc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 147 | E | ng/L | 1.068 | 157 | Estimated Values | 2437 | VA | VKJ | mc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20163070100 | 2016-11-02 08:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 245.2 | E | ng/L | 1.3254 | 325 | Estimated Values | 2437 | VA | SBH | mc | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 245.2 | E | ng/L | 1.1705 | 287 | Estimated Values | 2437 | VA | SBH | mc | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163420124 | 2016-12-07 09:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 245.2 | E | ng/L | 0.90131 | 221 | Estimated Values | 2437 | VA | SBH | mc | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 245.2 | E | ng/L | 1.3091 | 321 | Estimated Values | 2437 | VA | SBH | mc | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20151900133 | 2015-07-09 08:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 294 | . | ng/L | 1.102 | 324 | Recoverable Result | 2437 | VA | AWH |  | 2015-07-17 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 294 | . | ng/L | 1.0612 | 312 | Recoverable Result | 2437 | VA | SBH |  | 2015-07-21 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152460212 | 2015-09-03 07:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 294 | . | ng/L | 0.9932 | 292 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 294 | . | ng/L | 0.90136 | 265 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 294 | . | ng/L | 0.9966 | 293 | Recoverable Result | 2437 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160140035 | 2016-01-14 08:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 294 | E | ng/L | 1.0646 | 313 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 294 | E | ng/L | 0.88095 | 259 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 294 | E | ng/L | 1.1088 | 326 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-02 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161050141 | 2016-04-14 08:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 294 | E | ng/L | 0.89456 | 263 | Estimated Values | 2437 | VA | AWH | mc | 2016-05-05 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 294 | E | ng/L | 0.90476 | 266 | Estimated Values | 2437 | VA | AWH | mc | 2016-05-05 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20163370005 | 2016-11-30 08:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 490.4 | E | ng/L | 1.0094 | 495 | Estimated Values | 2437 | VA | SBH | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 490.4 | E | ng/L | 0.99307 | 487 | Estimated Values | 2437 | VA | SBH | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20152810124 | 2015-10-08 07:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 1176 | . | ng/L | 1.216 | 1430 | Recoverable Result | 2437 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 1176 | . | ng/L | 1.148 | 1350 | Recoverable Result | 2437 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 1176 | . | ng/L | 1.3095 | 1540 | Recoverable Result | 2437 | VA | AWH |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 1176 | . | ng/L | 0.93537 | 1100 | Recoverable Result | 2437 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 1176 | . | ng/L | 0.92687 | 1090 | Recoverable Result | 2437 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | 4-HYDROXYCHLOROTHALONIL | 68336LCM60 | 98 | 1176 | . | ng/L | 0.95238 | 1120 | Recoverable Result | 2437 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl