## OBSP Data
Laboratory ID | Login Date | analytename | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | Schedule | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132490346 | 2013-09-06 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20132630001 | 2013-09-19 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20132420005 | 2013-08-29 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20133050048 | 2013-10-31 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20133110106 | 2013-11-07 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20133260006 | 2013-11-21 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20133400005 | 2013-12-05 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20133470005 | 2013-12-12 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
20133580040 | 2013-12-23 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20140100087 | 2014-01-09 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | . | ng/L |  | 1.19 | 2437 | OG | LKK | bt | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20140300037 | 2014-01-30 09:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140370079 | 2014-02-06 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20140510044 | 2014-02-20 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
20141010010 | 2014-04-10 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK |  | 2014-04-24 | ERA 0912-13-03: 25 µl
20141150010 | 2014-04-24 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK |  | 2014-05-03 | ERA 0912-13-03: 20 µl
20141290002 | 2014-05-08 06:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20141360090 | 2014-05-16 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2014-05-29 | ERA 0912-13-03: 25 µl
20141420138 | 2014-05-22 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7.77 | 2437 | K | MPO | d | 2014-06-05 | ERA 0912-13-03: 50 µl
20141490204 | 2014-05-29 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20141570091 | 2014-06-05 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | MPO | c | 2014-06-18 | ERA 0912-13-03: 25 µl
20141640081 | 2014-06-12 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20141710106 | 2014-06-19 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK |  | 2014-07-02 | ERA 0912-13-03: 50 µl
20141770144 | 2014-06-26 09:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | CAD | c | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20141910245 | 2014-07-10 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20141990082 | 2014-07-17 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142060046 | 2014-07-24 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142130132 | 2014-07-31 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142200170 | 2014-08-07 09:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142270006 | 2014-08-14 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142340168 | 2014-08-18 07:15 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LKK | @c | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20142480004 | 2014-09-04 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142470035 | 2014-09-03 07:45 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20142620041 | 2014-09-18 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20142760029 | 2014-10-02 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20142720026 | 2014-09-25 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142820153 | 2014-10-09 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20142960085 | 2014-10-23 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20143030096 | 2014-10-30 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20143300050 | 2014-11-26 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143240094 | 2014-11-19 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20143370093 | 2014-12-03 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20143520108 | 2014-12-18 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20150150114 | 2015-01-15 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | R | ng/L |  |  | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20150360050 | 2015-02-05 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20150290076 | 2015-01-29 06:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150650041 | 2015-03-05 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20150930002 | 2015-04-02 06:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7.77 | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20150990083 | 2015-04-09 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20151110018 | 2015-04-16 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20151820108 | 2015-07-01 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNO |  | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20151900133 | 2015-07-09 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152040178 | 2015-07-23 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20152110201 | 2015-07-30 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152190004 | 2015-08-06 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152250277 | 2015-08-13 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152330042 | 2015-08-20 09:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152460212 | 2015-09-03 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152530084 | 2015-09-10 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152610006 | 2015-09-17 09:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152670139 | 2015-09-24 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152810124 | 2015-10-08 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152890012 | 2015-10-15 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152950083 | 2015-10-22 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20153030065 | 2015-10-29 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153160006 | 2015-11-10 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153230142 | 2015-11-19 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153280162 | 2015-11-24 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153370174 | 2015-12-03 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153640100 | 2015-12-30 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153510113 | 2015-12-17 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160070057 | 2016-01-07 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 50 | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 50 | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 50 | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160140035 | 2016-01-14 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160280055 | 2016-01-28 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160210084 | 2016-01-21 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160350044 | 2016-02-04 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160490031 | 2016-02-18 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160560058 | 2016-02-25 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160630048 | 2016-03-03 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | MNI | c | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | MNI | c | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 10 | 2437 | OG | MNI | c | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160710224 | 2016-03-10 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160770095 | 2016-03-17 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20161050141 | 2016-04-14 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20161190072 | 2016-04-28 06:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161740281 | 2016-06-22 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161820006 | 2016-06-29 09:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | R | ng/L |  |  | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | R | ng/L |  |  | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161880106 | 2016-07-06 07:45 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162100011 | 2016-07-27 07:15 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162520007 | 2016-09-07 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162720259 | 2016-09-28 09:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163070100 | 2016-11-02 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163370005 | 2016-11-30 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163560022 | 2016-12-21 08:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163420124 | 2016-12-07 09:00 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | 4-HYDROXY MOLINATE | 68515LCM60 | 7 |  | < | ng/L |  | 7 | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl