## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | ALACHLOR | 65064LCM60 | 7 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | ALACHLOR | 65064LCM60 | 7 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152530086 | 2015-09-10 07:30 | ALACHLOR | 65064LCM60 | 9 | 13.3 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152670139 | 2015-09-24 08:30 | ALACHLOR | 65064LCM60 | 9 | 13.3 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | ALACHLOR | 65064LCM60 | 9 | 13.3 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | ALACHLOR | 65064LCM60 | 9 | 13.3 | < | ng/L |  | 13.3 | SACRALT | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20160280059 | 2016-01-28 06:30 | ALACHLOR | 65064LCM60 | 7 | 13.3 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152890012 | 2015-10-15 08:00 | ALACHLOR | 65064LCM60 | 9 | 13.4 | < | ng/L |  | 15.7 | SACRALT | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | ALACHLOR | 65064LCM60 | 9 | 13.4 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160210084 | 2016-01-21 08:00 | ALACHLOR | 65064LCM60 | 7 | 13.4 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | ALACHLOR | 65064LCM60 | 7 | 13.4 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | ALACHLOR | 65064LCM60 | 7 | 13.4 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20161740281 | 2016-06-22 07:30 | ALACHLOR | 65064LCM60 | 7 | 22.56 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | ALACHLOR | 65064LCM60 | 7 | 22.56 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20152250277 | 2015-08-13 08:00 | ALACHLOR | 65064LCM60 | 9 | 26.8 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | ALACHLOR | 65064LCM60 | 9 | 26.8 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20150150114 | 2015-01-15 07:00 | ALACHLOR | 65064LCM60 | 9 | 36.09 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152040178 | 2015-07-23 06:30 | ALACHLOR | 65064LCM60 | 9 | 13.3 | . | ng/L | 1.3534 | 18 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20152530084 | 2015-09-10 08:00 | ALACHLOR | 65064LCM60 | 9 | 13.3 | . | ng/L | 0.88722 | 11.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | ALACHLOR | 65064LCM60 | 9 | 13.3 | . | ng/L | 0.77444 | 10.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153090114 | 2015-11-05 08:00 | ALACHLOR | 65064LCM60 | 9 | 13.3 | . | ng/L | 1.188 | 15.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | ALACHLOR | 65064LCM60 | 9 | 13.3 | . | ng/L | 1.3383 | 17.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | ALACHLOR | 65064LCM60 | 9 | 13.3 | E | ng/L | 0.85714 | 11.4 | Estimated Values | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160280055 | 2016-01-28 07:00 | ALACHLOR | 65064LCM60 | 7 | 13.3 | . | ng/L | 0.84962 | 11.3 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | ALACHLOR | 65064LCM60 | 7 | 13.3 | . | ng/L | 0.96992 | 12.9 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152890014 | 2015-10-15 07:00 | ALACHLOR | 65064LCM60 | 9 | 13.4 | . | ng/L | 1.1791 | 15.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153160006 | 2015-11-10 07:30 | ALACHLOR | 65064LCM60 | 9 | 13.4 | . | ng/L | 1.2015 | 16.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | ALACHLOR | 65064LCM60 | 9 | 13.4 | . | ng/L | 0.9403 | 12.6 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | ALACHLOR | 65064LCM60 | 9 | 13.4 | . | ng/L | 1.0597 | 14.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160070057 | 2016-01-07 07:30 | ALACHLOR | 65064LCM60 | 7 | 13.4 | . | ng/L | 1.4104 | 18.9 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | ALACHLOR | 65064LCM60 | 7 | 13.4 | . | ng/L | 1.5896 | 21.3 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | ALACHLOR | 65064LCM60 | 7 | 13.4 | . | ng/L | 1.2612 | 16.9 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160430108 | 2016-02-11 08:00 | ALACHLOR | 65064LCM60 | 7 | 13.4 | . | ng/L | 0.68657 | 9.2 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | ALACHLOR | 65064LCM60 | 7 | 13.4 | . | ng/L | 0.62687 | 8.4 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | ALACHLOR | 65064LCM60 | 7 | 13.4 | . | ng/L | 0.98507 | 13.2 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20142060046 | 2014-07-24 08:00 | ALACHLOR | 65064LCM60 | 9 | 18.045 | . | ng/L | 1.5073 | 27.2 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | ALACHLOR | 65064LCM60 | 9 | 18.045 | . | ng/L | 0.54974 | 9.92 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | ALACHLOR | 65064LCM60 | 9 | 18.045 | . | ng/L | 1.33 | 24 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | ALACHLOR | 65064LCM60 | 9 | 18.045 | E | ng/L | 1.0141 | 18.3 | Estimated Values | 2437 | OG | MNO | c | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | ALACHLOR | 65064LCM60 | 9 | 18.045 | . | ng/L | 0.7038 | 12.7 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | ALACHLOR | 65064LCM60 | 9 | 18.045 | . | ng/L | 1.0141 | 18.3 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | ALACHLOR | 65064LCM60 | 9 | 18.075 | . | ng/L | 0.83541 | 15.1 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | ALACHLOR | 65064LCM60 | 9 | 18.075 | . | ng/L | 1.101 | 19.9 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | ALACHLOR | 65064LCM60 | 9 | 18.075 | . | ng/L | 1.1286 | 20.4 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | ALACHLOR | 65064LCM60 | 9 | 18.075 | . | ng/L | 1.2006 | 21.7 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20162720259 | 2016-09-28 09:00 | ALACHLOR | 65064LCM60 | 7 | 22.4 | . | ng/L | 0.95982 | 21.5 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | ALACHLOR | 65064LCM60 | 7 | 22.4 | . | ng/L | 0.89286 | 20 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162100011 | 2016-07-27 07:15 | ALACHLOR | 65064LCM60 | 7 | 22.56 | . | ng/L | 1.148 | 25.9 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | ALACHLOR | 65064LCM60 | 7 | 22.56 | . | ng/L | 1.0239 | 23.1 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | ALACHLOR | 65064LCM60 | 7 | 22.56 | . | ng/L | 1.0151 | 22.9 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | ALACHLOR | 65064LCM60 | 7 | 22.56 | . | ng/L | 0.94415 | 21.3 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | ALACHLOR | 65064LCM60 | 7 | 22.56 | . | ng/L | 1.1303 | 25.5 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | ALACHLOR | 65064LCM60 | 7 | 22.56 | . | ng/L | 1.2456 | 28.1 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152460212 | 2015-09-03 07:30 | ALACHLOR | 65064LCM60 | 9 | 26.6 | E | ng/L | 1.7744 | 47.2 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | ALACHLOR | 65064LCM60 | 9 | 26.6 | E | ng/L | 1.3459 | 35.8 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | ALACHLOR | 65064LCM60 | 9 | 26.6 | E | ng/L | 1.3947 | 37.1 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152950083 | 2015-10-22 07:30 | ALACHLOR | 65064LCM60 | 9 | 26.6 | . | ng/L | 0.98496 | 26.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | ALACHLOR | 65064LCM60 | 9 | 26.6 | . | ng/L | 1.1128 | 29.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | ALACHLOR | 65064LCM60 | 9 | 26.6 | . | ng/L | 0.8797 | 23.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20153370174 | 2015-12-03 08:00 | ALACHLOR | 65064LCM60 | 9 | 26.6 | . | ng/L | 1.2669 | 33.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | ALACHLOR | 65064LCM60 | 9 | 26.6 | . | ng/L | 1.3459 | 35.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | ALACHLOR | 65064LCM60 | 9 | 26.6 | . | ng/L | 1.4887 | 39.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160630048 | 2016-03-03 07:30 | ALACHLOR | 65064LCM60 | 7 | 26.6 | . | ng/L | 0.91353 | 24.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | ALACHLOR | 65064LCM60 | 7 | 26.6 | . | ng/L | 0.86842 | 23.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | ALACHLOR | 65064LCM60 | 7 | 26.6 | . | ng/L | 0.80075 | 21.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160710224 | 2016-03-10 08:00 | ALACHLOR | 65064LCM60 | 7 | 26.6 | . | ng/L | 0.94361 | 25.1 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | ALACHLOR | 65064LCM60 | 7 | 26.6 | . | ng/L | 0.92857 | 24.7 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | ALACHLOR | 65064LCM60 | 7 | 26.6 | . | ng/L | 0.90602 | 24.1 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20161050141 | 2016-04-14 08:00 | ALACHLOR | 65064LCM60 | 7 | 26.6 | . | ng/L | 0.89474 | 23.8 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | ALACHLOR | 65064LCM60 | 7 | 26.6 | . | ng/L | 0.83459 | 22.2 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20151820108 | 2015-07-01 07:00 | ALACHLOR | 65064LCM60 | 9 | 26.8 | E | ng/L | 1.3507 | 36.2 | Estimated Values | 2437 | OG | MNO | c | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20151900133 | 2015-07-09 08:00 | ALACHLOR | 65064LCM60 | 9 | 26.8 | . | ng/L | 1.5075 | 40.4 | Recoverable Result | 2437 | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20152190004 | 2015-08-06 07:30 | ALACHLOR | 65064LCM60 | 9 | 26.8 | . | ng/L | 1.4403 | 38.6 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | ALACHLOR | 65064LCM60 | 9 | 26.8 | . | ng/L | 1.3358 | 35.8 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | ALACHLOR | 65064LCM60 | 9 | 26.8 | . | ng/L | 1.1231 | 30.1 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152250276 | 2015-08-13 07:00 | ALACHLOR | 65064LCM60 | 9 | 26.8 | . | ng/L | 1.209 | 32.4 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152330042 | 2015-08-20 09:00 | ALACHLOR | 65064LCM60 | 9 | 26.8 | . | ng/L | 0.89552 | 24 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | ALACHLOR | 65064LCM60 | 9 | 26.8 | . | ng/L | 0.9403 | 25.2 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | ALACHLOR | 65064LCM60 | 9 | 26.8 | . | ng/L | 0.9403 | 25.2 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20160490031 | 2016-02-18 08:00 | ALACHLOR | 65064LCM60 | 7 | 26.8 | . | ng/L | 0.97388 | 26.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | ALACHLOR | 65064LCM60 | 7 | 26.8 | . | ng/L | 1 | 26.8 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | ALACHLOR | 65064LCM60 | 7 | 26.8 | . | ng/L | 0.83209 | 22.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20141910245 | 2014-07-10 07:30 | ALACHLOR | 65064LCM60 | 9 | 36.09 | . | ng/L | 1.0003 | 36.1 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | ALACHLOR | 65064LCM60 | 9 | 36.09 | . | ng/L | 0.76475 | 27.6 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | ALACHLOR | 65064LCM60 | 9 | 36.09 | . | ng/L | 1.161 | 41.9 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | ALACHLOR | 65064LCM60 | 9 | 36.09 | . | ng/L | 1.1471 | 41.4 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | ALACHLOR | 65064LCM60 | 9 | 36.12 | . | ng/L | 0.75858 | 27.4 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | ALACHLOR | 65064LCM60 | 9 | 36.15 | . | ng/L | 0.99308 | 35.9 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | ALACHLOR | 65064LCM60 | 9 | 36.15 | . | ng/L | 0.88243 | 31.9 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | ALACHLOR | 65064LCM60 | 9 | 36.15 | . | ng/L | 0.92393 | 33.4 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | ALACHLOR | 65064LCM60 | 9 | 36.15 | . | ng/L | 0.96819 | 35 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20163370005 | 2016-11-30 08:00 | ALACHLOR | 65064LCM60 | 7 | 44.8 | . | ng/L | 0.90625 | 40.6 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | ALACHLOR | 65064LCM60 | 7 | 44.8 | . | ng/L | 0.86607 | 38.8 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20161880106 | 2016-07-06 07:45 | ALACHLOR | 65064LCM60 | 7 | 45.12 | . | ng/L | 0.88209 | 39.8 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | ALACHLOR | 65064LCM60 | 7 | 45.12 | . | ng/L | 1.1192 | 50.5 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | ALACHLOR | 65064LCM60 | 7 | 45.12 | . | ng/L | 0.99956 | 45.1 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | ALACHLOR | 65064LCM60 | 7 | 45.12 | . | ng/L | 1.0306 | 46.5 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20133050048 | 2013-10-31 07:30 | ALACHLOR | 65064LCM60 | 9 | 70 | . | ng/L | 0.87429 | 61.2 | Recoverable Result | 2437 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20133580040 | 2013-12-23 08:00 | ALACHLOR | 65064LCM60 | 9 | 70 | . | ng/L | 0.89571 | 62.7 | Recoverable Result | 2437 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20140100087 | 2014-01-09 08:00 | ALACHLOR | 65064LCM60 | 9 | 70 | . | ng/L | 0.83714 | 58.6 | Recoverable Result | 2437 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20141490204 | 2014-05-29 08:30 | ALACHLOR | 65064LCM60 | 9 | 72.3 | E | ng/L | 1.1425 | 82.6 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20153280162 | 2015-11-24 07:00 | ALACHLOR | 65064LCM60 | 9 | 106.4 | . | ng/L | 0.96805 | 103 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | ALACHLOR | 65064LCM60 | 9 | 106.4 | . | ng/L | 1.0244 | 109 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | ALACHLOR | 65064LCM60 | 9 | 106.4 | . | ng/L | 0.97744 | 104 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153640100 | 2015-12-30 08:00 | ALACHLOR | 65064LCM60 | 7 | 106.4 | . | ng/L | 0.94925 | 101 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | ALACHLOR | 65064LCM60 | 7 | 106.4 | . | ng/L | 0.90602 | 96.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | ALACHLOR | 65064LCM60 | 7 | 106.4 | . | ng/L | 0.86654 | 92.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20152750009 | 2015-10-01 07:30 | ALACHLOR | 65064LCM60 | 9 | 107.2 | . | ng/L | 0.85821 | 92 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | ALACHLOR | 65064LCM60 | 9 | 107.2 | . | ng/L | 0.83675 | 89.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | ALACHLOR | 65064LCM60 | 9 | 107.2 | . | ng/L | 0.91045 | 97.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20132490346 | 2013-09-06 07:00 | ALACHLOR | 65064LCM60 | 9 | 175 | . | ng/L | 0.86857 | 152 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20133470005 | 2013-12-12 08:00 | ALACHLOR | 65064LCM60 | 9 | 175 | . | ng/L | 1.1486 | 201 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
20140370079 | 2014-02-06 08:30 | ALACHLOR | 65064LCM60 | 9 | 175 | . | ng/L | 0.84571 | 148 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20132630001 | 2013-09-19 08:00 | ALACHLOR | 65064LCM60 | 9 | 184.5 | . | ng/L | 0.86721 | 160 | Recoverable Result | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | ALACHLOR | 65064LCM60 | 9 | 184.5 | . | ng/L | 0.79675 | 147 | Recoverable Result | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20133400005 | 2013-12-05 08:30 | ALACHLOR | 65064LCM60 | 9 | 185 | . | ng/L | 0.93514 | 173 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl