## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20150150114 | 2015-01-15 07:00 | ALDICARB | 68528LCM60 | 8 | 31.56 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | ALDICARB | 68528LCM60 | 8 | 40.24 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | ALDICARB | 68528LCM60 | 8 | 40.24 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152110201 | 2015-07-30 08:00 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 0.72295 | 8.82 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 0.56639 | 6.91 | Recoverable Result | 2437 | OG | MPO | n | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 0.66885 | 8.16 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 0.86885 | 10.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 0.84426 | 10.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 0.70984 | 8.66 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 0.67541 | 8.24 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 0.78607 | 9.59 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 1.0082 | 12.3 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | ALDICARB | 68528LCM60 | 8 | 12.2 | E | ng/L | 1.1885 | 14.5 | Estimated Values | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | ALDICARB | 68528LCM60 | 8 | 12.2 | E | ng/L | 0.91803 | 11.2 | Estimated Values | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | ALDICARB | 68528LCM60 | 8 | 12.2 | E | ng/L | 0.73033 | 8.91 | Estimated Values | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 1.0164 | 12.4 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 0.90164 | 11 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 1.1557 | 14.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 1.1721 | 14.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 0.82787 | 10.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | ALDICARB | 68528LCM60 | 8 | 12.2 | . | ng/L | 0.91803 | 11.2 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 1.0163 | 12.5 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 0.85366 | 10.5 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 0.84553 | 10.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 0.63821 | 7.85 | Recoverable Result | 2437 | OG | DME | n | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 0.94309 | 11.6 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 0.84553 | 10.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 0.8374 | 10.3 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 1.2764 | 15.7 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 1.2276 | 15.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 0.97561 | 12 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 0.97561 | 12 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 0.85366 | 10.5 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | ALDICARB | 68528LCM60 | 8 | 12.3 | . | ng/L | 0.69106 | 8.5 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142060046 | 2014-07-24 08:00 | ALDICARB | 68528LCM60 | 8 | 15.78 | . | ng/L | 0.87452 | 13.8 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | ALDICARB | 68528LCM60 | 8 | 15.78 | . | ng/L | 0.86185 | 13.6 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | ALDICARB | 68528LCM60 | 8 | 15.78 | . | ng/L | 0.92522 | 14.6 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | ALDICARB | 68528LCM60 | 8 | 15.78 | . | ng/L | 0.76679 | 12.1 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | ALDICARB | 68528LCM60 | 8 | 15.78 | . | ng/L | 0.8365 | 13.2 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | ALDICARB | 68528LCM60 | 8 | 15.78 | . | ng/L | 0.7858 | 12.4 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | ALDICARB | 68528LCM60 | 8 | 16.095 | E | ng/L | 0.69587 | 11.2 | Estimated Values | 2437 | OG | MPO | c | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | ALDICARB | 68528LCM60 | 8 | 16.095 | . | ng/L | 0.59832 | 9.63 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | ALDICARB | 68528LCM60 | 8 | 16.095 | . | ng/L | 0.6648 | 10.7 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | ALDICARB | 68528LCM60 | 8 | 16.095 | E | ng/L | 0.82013 | 13.2 | Estimated Values | 2437 | OG | LOA | c | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20163560022 | 2016-12-21 08:00 | ALDICARB | 68528LCM60 | 8 | 20 | . | ng/L | 0.78 | 15.6 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | ALDICARB | 68528LCM60 | 8 | 20 | . | ng/L | 0.8 | 16 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162100011 | 2016-07-27 07:15 | ALDICARB | 68528LCM60 | 8 | 20.12 | . | ng/L | 1.3867 | 27.9 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | ALDICARB | 68528LCM60 | 8 | 20.12 | . | ng/L | 0.97416 | 19.6 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | ALDICARB | 68528LCM60 | 8 | 20.12 | . | ng/L | 1.3966 | 28.1 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | ALDICARB | 68528LCM60 | 8 | 20.12 | . | ng/L | 1.3121 | 26.4 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163420124 | 2016-12-07 09:00 | ALDICARB | 68528LCM60 | 8 | 20.12 | . | ng/L | 1.3668 | 27.5 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | ALDICARB | 68528LCM60 | 8 | 20.12 | . | ng/L | 1.834 | 36.9 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20152190004 | 2015-08-06 07:30 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 1 | 24.4 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 1.2172 | 29.7 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.81967 | 20 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.77049 | 18.8 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.83197 | 20.3 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.80328 | 19.6 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.7459 | 18.2 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.88525 | 21.6 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.7459 | 18.2 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.77049 | 18.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.86066 | 21 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.79508 | 19.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.55738 | 13.6 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.62295 | 15.2 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.87705 | 21.4 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.89754 | 21.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | ALDICARB | 68528LCM60 | 8 | 24.4 | . | ng/L | 0.92623 | 22.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.89431 | 22 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.71545 | 17.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.6626 | 16.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.59756 | 14.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.89837 | 22.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.76829 | 18.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.75203 | 18.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.73577 | 18.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.71951 | 17.7 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.7439 | 18.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.93089 | 22.9 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 0.90244 | 22.2 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | ALDICARB | 68528LCM60 | 8 | 24.6 | . | ng/L | 1.0041 | 24.7 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141910245 | 2014-07-10 07:30 | ALDICARB | 68528LCM60 | 8 | 31.56 | . | ng/L | 0.93156 | 29.4 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | ALDICARB | 68528LCM60 | 8 | 31.56 | . | ng/L | 0.9981 | 31.5 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | ALDICARB | 68528LCM60 | 8 | 31.56 | . | ng/L | 0.92522 | 29.2 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | ALDICARB | 68528LCM60 | 8 | 31.56 | . | ng/L | 0.87452 | 27.6 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | ALDICARB | 68528LCM60 | 8 | 31.875 | . | ng/L | 0.68706 | 21.9 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | ALDICARB | 68528LCM60 | 8 | 32.19 | E | ng/L | 1.0749 | 34.6 | Estimated Values | 2437 | K | JIV | c | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | ALDICARB | 68528LCM60 | 8 | 32.19 | . | ng/L | 0.60267 | 19.4 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | ALDICARB | 68528LCM60 | 8 | 32.19 | . | ng/L | 0.63063 | 20.3 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | ALDICARB | 68528LCM60 | 8 | 32.19 | . | ng/L | 0.72383 | 23.3 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20162520007 | 2016-09-07 08:30 | ALDICARB | 68528LCM60 | 8 | 40 | . | ng/L | 0.8775 | 35.1 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | ALDICARB | 68528LCM60 | 8 | 40 | . | ng/L | 1.2175 | 48.7 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20161880106 | 2016-07-06 07:45 | ALDICARB | 68528LCM60 | 8 | 40.24 | . | ng/L | 1.3047 | 52.5 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | ALDICARB | 68528LCM60 | 8 | 40.24 | . | ng/L | 1.2823 | 51.6 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | ALDICARB | 68528LCM60 | 8 | 50 | . | ng/L | 0.896 | 44.8 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | ALDICARB | 68528LCM60 | 8 | 50 | . | ng/L | 0.96 | 48 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20141490204 | 2014-05-29 08:30 | ALDICARB | 68528LCM60 | 8 | 64.38 | E | ng/L | 0.92575 | 59.6 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | ALDICARB | 68528LCM60 | 8 | 97.6 | . | ng/L | 0.68852 | 67.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | ALDICARB | 68528LCM60 | 8 | 97.6 | . | ng/L | 0.64754 | 63.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | ALDICARB | 68528LCM60 | 8 | 97.6 | . | ng/L | 0.65266 | 63.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | ALDICARB | 68528LCM60 | 8 | 98.4 | . | ng/L | 0.73171 | 72 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | ALDICARB | 68528LCM60 | 8 | 98.4 | . | ng/L | 0.68598 | 67.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | ALDICARB | 68528LCM60 | 8 | 98.4 | . | ng/L | 0.67378 | 66.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | ALDICARB | 68528LCM60 | 8 | 98.4 | . | ng/L | 0.61077 | 60.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | ALDICARB | 68528LCM60 | 8 | 98.4 | . | ng/L | 0.62398 | 61.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | ALDICARB | 68528LCM60 | 8 | 98.4 | . | ng/L | 0.59959 | 59 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20140300037 | 2014-01-30 09:00 | ALDICARB | 68528LCM60 | 8 | 1100 | . | ng/L | 0.83909 | 923 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20132420005 | 2013-08-29 08:30 | ALDICARB | 68528LCM60 | 8 | 1102 | . | ng/L | 0.80944 | 892 | Recoverable Result | 2437 | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20133110106 | 2013-11-07 08:30 | ALDICARB | 68528LCM60 | 8 | 1102 | . | ng/L | 0.93466 | 1030 | Recoverable Result | 2437 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140510044 | 2014-02-20 08:00 | ALDICARB | 68528LCM60 | 8 | 1102 | . | ng/L | 0.72323 | 797 | Recoverable Result | 2437 | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2