## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20141010010 | 2014-04-10 06:30 | ATRAZINE | 65065LCM60 | 5 |  | . | ng/L |  | 2.19 | False Positive | 2437 | OG | LKK | n | 2014-04-24 | ERA 0912-13-03: 25 µl
20161820006 | 2016-06-29 09:00 | ATRAZINE | 65065LCM60 | 6.8 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | ATRAZINE | 65065LCM60 | 6.8 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20163420125 | 2016-12-07 08:30 | ATRAZINE | 65065LCM60 | 6.8 |  | . | ng/L |  | 2.38 | False Positive | 2437 | OG | DME | t | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20150150114 | 2015-01-15 07:00 | ATRAZINE | 65065LCM60 | 5 | 20.1 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152110201 | 2015-07-30 08:00 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 1.0676 | 8.05 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 0.95756 | 7.22 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 0.93369 | 7.04 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 1.0172 | 7.67 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 0.82891 | 6.25 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 0.80504 | 6.07 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 0.93103 | 7.02 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 1.3263 | 10 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 0.87666 | 6.61 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 0.97082 | 7.32 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 1.1141 | 8.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | ATRAZINE | 65065LCM60 | 5 | 7.54 | . | ng/L | 1.2706 | 9.58 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160350044 | 2016-02-04 08:00 | ATRAZINE | 65065LCM60 | 6.8 | 7.54 | . | ng/L | 0.85013 | 6.41 | Recoverable Result | 2437 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 7.54 | . | ng/L | 1.1313 | 8.53 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | ATRAZINE | 65065LCM60 | 6.8 | 7.54 | . | ng/L | 1.0875 | 8.2 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | ATRAZINE | 65065LCM60 | 6.8 | 7.54 | . | ng/L | 1.0027 | 7.56 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 7.54 | . | ng/L | 1.3528 | 10.2 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | ATRAZINE | 65065LCM60 | 6.8 | 7.54 | . | ng/L | 1.0199 | 7.69 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152670139 | 2015-09-24 08:30 | ATRAZINE | 65065LCM60 | 5 | 7.6 | . | ng/L | 1.2276 | 9.33 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | ATRAZINE | 65065LCM60 | 5 | 7.6 | . | ng/L | 1.2987 | 9.87 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | ATRAZINE | 65065LCM60 | 5 | 7.6 | . | ng/L | 0.95395 | 7.25 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153230142 | 2015-11-19 08:00 | ATRAZINE | 65065LCM60 | 5 | 7.6 | . | ng/L | 0.99474 | 7.56 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | ATRAZINE | 65065LCM60 | 5 | 7.6 | . | ng/L | 0.99605 | 7.57 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | ATRAZINE | 65065LCM60 | 5 | 7.6 | . | ng/L | 1.2763 | 9.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160210084 | 2016-01-21 08:00 | ATRAZINE | 65065LCM60 | 6.8 | 7.6 | . | ng/L | 1.0447 | 7.94 | Recoverable Result | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 7.6 | . | ng/L | 1.2724 | 9.67 | Recoverable Result | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | ATRAZINE | 65065LCM60 | 6.8 | 7.6 | . | ng/L | 1.0224 | 7.77 | Recoverable Result | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160560058 | 2016-02-25 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 7.6 | . | ng/L | 1.3289 | 10.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | ATRAZINE | 65065LCM60 | 6.8 | 7.6 | . | ng/L | 0.93947 | 7.14 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | ATRAZINE | 65065LCM60 | 6.8 | 7.6 | . | ng/L | 1.0368 | 7.88 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | ATRAZINE | 65065LCM60 | 6.8 | 7.6 | . | ng/L | 1.2079 | 9.18 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 7.6 | . | ng/L | 0.925 | 7.03 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | ATRAZINE | 65065LCM60 | 6.8 | 7.6 | . | ng/L | 1.0605 | 8.06 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142060046 | 2014-07-24 08:00 | ATRAZINE | 65065LCM60 | 5 | 10.05 | . | ng/L | 0.93134 | 9.36 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | ATRAZINE | 65065LCM60 | 5 | 10.05 | . | ng/L | 0.86368 | 8.68 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | ATRAZINE | 65065LCM60 | 5 | 10.05 | . | ng/L | 0.92736 | 9.32 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | ATRAZINE | 65065LCM60 | 5 | 10.05 | . | ng/L | 1.0249 | 10.3 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | ATRAZINE | 65065LCM60 | 5 | 10.05 | . | ng/L | 1.0945 | 11 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | ATRAZINE | 65065LCM60 | 5 | 10.05 | . | ng/L | 0.93831 | 9.43 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | ATRAZINE | 65065LCM60 | 5 | 10.065 | . | ng/L | 0.67561 | 6.8 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | ATRAZINE | 65065LCM60 | 5 | 10.065 | E | ng/L | 1.0333 | 10.4 | Estimated Values | 2437 | OG | LKK | i | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | ATRAZINE | 65065LCM60 | 5 | 10.065 | . | ng/L | 1.1128 | 11.2 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | ATRAZINE | 65065LCM60 | 5 | 10.065 | . | ng/L | 1.2916 | 13 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20162720259 | 2016-09-28 09:00 | ATRAZINE | 65065LCM60 | 6.8 | 12.4 | . | ng/L | 0.99194 | 12.3 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | ATRAZINE | 65065LCM60 | 6.8 | 12.4 | . | ng/L | 1.0968 | 13.6 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20161740281 | 2016-06-22 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 12.48 | . | ng/L | 1.3862 | 17.3 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | ATRAZINE | 65065LCM60 | 6.8 | 12.48 | . | ng/L | 1.2821 | 16 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | ATRAZINE | 65065LCM60 | 6.8 | 12.48 | . | ng/L | 1.7628 | 22 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | ATRAZINE | 65065LCM60 | 6.8 | 12.48 | . | ng/L | 1.5385 | 19.2 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | ATRAZINE | 65065LCM60 | 6.8 | 12.48 | . | ng/L | 1.5385 | 19.2 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | ATRAZINE | 65065LCM60 | 6.8 | 12.48 | . | ng/L | 1.5144 | 18.9 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | ATRAZINE | 65065LCM60 | 6.8 | 12.48 | . | ng/L | 1.4984 | 18.7 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 12.48 | . | ng/L | 1.3301 | 16.6 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20151900133 | 2015-07-09 08:00 | ATRAZINE | 65065LCM60 | 5 | 15.08 | . | ng/L | 1.1207 | 16.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | ATRAZINE | 65065LCM60 | 5 | 15.08 | . | ng/L | 0.83554 | 12.6 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152460212 | 2015-09-03 07:30 | ATRAZINE | 65065LCM60 | 5 | 15.08 | . | ng/L | 0.82891 | 12.5 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | ATRAZINE | 65065LCM60 | 5 | 15.08 | . | ng/L | 0.80902 | 12.2 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | ATRAZINE | 65065LCM60 | 5 | 15.08 | . | ng/L | 0.9748 | 14.7 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160140035 | 2016-01-14 08:00 | ATRAZINE | 65065LCM60 | 6.8 | 15.08 | . | ng/L | 0.94164 | 14.2 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 15.08 | . | ng/L | 0.92838 | 14 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | ATRAZINE | 65065LCM60 | 6.8 | 15.08 | . | ng/L | 0.92175 | 13.9 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161050141 | 2016-04-14 08:00 | ATRAZINE | 65065LCM60 | 6.8 | 15.08 | . | ng/L | 0.84881 | 12.8 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | ATRAZINE | 65065LCM60 | 6.8 | 15.08 | . | ng/L | 0.82891 | 12.5 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152250277 | 2015-08-13 08:00 | ATRAZINE | 65065LCM60 | 5 | 15.2 | . | ng/L | 0.85526 | 13 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | ATRAZINE | 65065LCM60 | 5 | 15.2 | . | ng/L | 0.75658 | 11.5 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | ATRAZINE | 65065LCM60 | 5 | 15.2 | . | ng/L | 1.0132 | 15.4 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152390229 | 2015-08-27 08:00 | ATRAZINE | 65065LCM60 | 5 | 15.2 | . | ng/L | 1.3092 | 19.9 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | ATRAZINE | 65065LCM60 | 5 | 15.2 | . | ng/L | 1.0197 | 15.5 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | ATRAZINE | 65065LCM60 | 5 | 15.2 | . | ng/L | 0.93421 | 14.2 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20153510113 | 2015-12-17 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 15.2 | E | ng/L | 0.88158 | 13.4 | Estimated Values | 2437 | OG | MNI | i | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | ATRAZINE | 65065LCM60 | 6.8 | 15.2 | E | ng/L | 0.96711 | 14.7 | Estimated Values | 2437 | OG | MNI | i | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | ATRAZINE | 65065LCM60 | 6.8 | 15.2 | E | ng/L | 0.83553 | 12.7 | Estimated Values | 2437 | OG | MNI | i | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160630048 | 2016-03-03 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 15.2 | . | ng/L | 1 | 15.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | ATRAZINE | 65065LCM60 | 6.8 | 15.2 | . | ng/L | 1.0395 | 15.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | ATRAZINE | 65065LCM60 | 6.8 | 15.2 | . | ng/L | 1.0658 | 16.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20161190072 | 2016-04-28 06:30 | ATRAZINE | 65065LCM60 | 6.8 | 15.2 | . | ng/L | 1.1711 | 17.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | ATRAZINE | 65065LCM60 | 6.8 | 15.2 | . | ng/L | 0.92763 | 14.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20141910245 | 2014-07-10 07:30 | ATRAZINE | 65065LCM60 | 5 | 20.1 | . | ng/L | 1.2239 | 24.6 | Recoverable Result | 2437 | OG | LKK | v | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | ATRAZINE | 65065LCM60 | 5 | 20.1 | . | ng/L | 1.2836 | 25.8 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | ATRAZINE | 65065LCM60 | 5 | 20.1 | . | ng/L | 1.2537 | 25.2 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | ATRAZINE | 65065LCM60 | 5 | 20.1 | . | ng/L | 1.0697 | 21.5 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | ATRAZINE | 65065LCM60 | 5 | 20.115 | . | ng/L | 0.88988 | 17.9 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | ATRAZINE | 65065LCM60 | 5 | 20.13 | . | ng/L | 1.0333 | 20.8 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | ATRAZINE | 65065LCM60 | 5 | 20.13 | . | ng/L | 0.82961 | 16.7 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | ATRAZINE | 65065LCM60 | 5 | 20.13 | . | ng/L | 0.9389 | 18.9 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | ATRAZINE | 65065LCM60 | 5 | 20.13 | . | ng/L | 1.0084 | 20.3 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20163370005 | 2016-11-30 08:00 | ATRAZINE | 65065LCM60 | 6.8 | 24.8 | . | ng/L | 1.0444 | 25.9 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 24.8 | . | ng/L | 0.93145 | 23.1 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20161880106 | 2016-07-06 07:45 | ATRAZINE | 65065LCM60 | 6.8 | 24.96 | . | ng/L | 1.5104 | 37.7 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | ATRAZINE | 65065LCM60 | 6.8 | 24.96 | . | ng/L | 1.6867 | 42.1 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | ATRAZINE | 65065LCM60 | 6.8 | 24.96 | . | ng/L | 1.6226 | 40.5 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | ATRAZINE | 65065LCM60 | 6.8 | 24.96 | . | ng/L | 1.7468 | 43.6 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20141490204 | 2014-05-29 08:30 | ATRAZINE | 65065LCM60 | 5 | 40.26 | E | ng/L | 1.0556 | 42.5 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | ATRAZINE | 65065LCM60 | 5 | 60.32 | . | ng/L | 0.9748 | 58.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | ATRAZINE | 65065LCM60 | 5 | 60.32 | . | ng/L | 0.97977 | 59.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | ATRAZINE | 65065LCM60 | 5 | 60.32 | . | ng/L | 0.87202 | 52.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | ATRAZINE | 65065LCM60 | 6.8 | 60.32 | . | ng/L | 0.88362 | 53.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | ATRAZINE | 65065LCM60 | 6.8 | 60.32 | . | ng/L | 0.81565 | 49.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | ATRAZINE | 65065LCM60 | 6.8 | 60.32 | . | ng/L | 0.92175 | 55.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20152610006 | 2015-09-17 09:30 | ATRAZINE | 65065LCM60 | 5 | 60.8 | . | ng/L | 0.89803 | 54.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | ATRAZINE | 65065LCM60 | 5 | 60.8 | . | ng/L | 0.92105 | 56 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | ATRAZINE | 65065LCM60 | 5 | 60.8 | . | ng/L | 0.99836 | 60.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20153280162 | 2015-11-24 07:00 | ATRAZINE | 65065LCM60 | 5 | 60.8 | . | ng/L | 0.98026 | 59.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | ATRAZINE | 65065LCM60 | 5 | 60.8 | . | ng/L | 0.99671 | 60.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | ATRAZINE | 65065LCM60 | 5 | 60.8 | . | ng/L | 0.97204 | 59.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20133050048 | 2013-10-31 07:30 | ATRAZINE | 65065LCM60 | 5 | 250 | E | ng/L | 0.896 | 224 | Estimated Values | 2437 | OG | LOA | c | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20133580040 | 2013-12-23 08:00 | ATRAZINE | 65065LCM60 | 5 | 250 | . | ng/L | 0.964 | 241 | Recoverable Result | 2437 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20140100087 | 2014-01-09 08:00 | ATRAZINE | 65065LCM60 | 5 | 250 | . | ng/L | 0.92 | 230 | Recoverable Result | 2437 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20133470005 | 2013-12-12 08:00 | ATRAZINE | 65065LCM60 | 5 | 622.5 | . | ng/L | 1.1036 | 687 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
20132490346 | 2013-09-06 07:00 | ATRAZINE | 65065LCM60 | 5 | 625 | . | ng/L | 0.8288 | 518 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20140370079 | 2014-02-06 08:30 | ATRAZINE | 65065LCM60 | 5 | 625 | . | ng/L | 0.8864 | 554 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20132420005 | 2013-08-29 08:30 | ATRAZINE | 65065LCM60 | 5 | 1500 | . | ng/L | 0.93333 | 1400 | Recoverable Result | 2437 | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20133110106 | 2013-11-07 08:30 | ATRAZINE | 65065LCM60 | 5 | 1500 | . | ng/L | 1.1133 | 1670 | Recoverable Result | 2437 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140300037 | 2014-01-30 09:00 | ATRAZINE | 65065LCM60 | 5 | 1500 | . | ng/L | 0.86 | 1290 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140510044 | 2014-02-20 08:00 | ATRAZINE | 65065LCM60 | 5 | 1500 | . | ng/L | 0.8 | 1200 | Recoverable Result | 2437 | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
20133400005 | 2013-12-05 08:30 | ATRAZINE | 65065LCM60 | 5 | 4970 | . | ng/L | 1.0664 | 5300 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20132630001 | 2013-09-19 08:00 | ATRAZINE | 65065LCM60 | 5 | 5030 | . | ng/L | 0.95229 | 4790 | Recoverable Result | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | ATRAZINE | 65065LCM60 | 5 | 5030 | . | ng/L | 0.90656 | 4560 | Recoverable Result | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl