## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20150930002 | 2015-04-02 06:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 30.06 | < | ng/L |  |  | False Negative | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150150114 | 2015-01-15 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 60.12 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152040178 | 2015-07-23 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.84581 | 19.2 | Recoverable Result | 2437 | OG | MNO | c | 2015-08-06 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.68282 | 15.5 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.68282 | 15.5 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.75771 | 17.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.88106 | 20 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.80176 | 18.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.9207 | 20.9 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.80617 | 18.3 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.86344 | 19.6 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.84581 | 19.2 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.89427 | 20.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.79295 | 18 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 22.7 | . | ng/L | 0.75771 | 17.2 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20152110201 | 2015-07-30 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.72174 | 16.6 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.73478 | 16.9 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.78261 | 18 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.69565 | 16 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.8 | 18.4 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.94348 | 21.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.78696 | 18.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 1.0609 | 24.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.94783 | 21.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.63043 | 14.5 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.45652 | 10.5 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.53043 | 12.2 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.76957 | 17.7 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.73913 | 17 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.82609 | 19 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.91304 | 21 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.86087 | 19.8 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 23 | . | ng/L | 0.9 | 20.7 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20142060046 | 2014-07-24 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 30.06 | E | ng/L | 0.70858 | 21.3 | Estimated Values | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 30.06 | . | ng/L | 0.68862 | 20.7 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 30.06 | E | ng/L | 0.93812 | 28.2 | Estimated Values | 2437 | OG | CAD | i | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 30.06 | . | ng/L | 0.80838 | 24.3 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 30.06 | . | ng/L | 0.69528 | 20.9 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 30.15 | . | ng/L | 0.70647 | 21.3 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 30.15 | . | ng/L | 0.82255 | 24.8 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 30.15 | . | ng/L | 0.95854 | 28.9 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 30.15 | . | ng/L | 0.94196 | 28.4 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20162720259 | 2016-09-28 09:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 37.2 | . | ng/L | 0.62634 | 23.3 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 37.2 | . | ng/L | 0.50806 | 18.9 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20151970155 | 2015-07-16 06:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.64758 | 29.4 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.96256 | 43.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.81718 | 37.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.82599 | 37.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.82819 | 37.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.70705 | 32.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.82159 | 37.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.84581 | 38.4 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.6674 | 30.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.85242 | 38.7 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.81057 | 36.8 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.79515 | 36.1 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 45.4 | . | ng/L | 0.69163 | 31.4 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152190004 | 2015-08-06 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.93478 | 43 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.96087 | 44.2 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.78478 | 36.1 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.67174 | 30.9 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.72826 | 33.5 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.86087 | 39.6 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.9913 | 45.6 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.78478 | 36.1 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 1.0152 | 46.7 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.86087 | 39.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.69783 | 32.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.76522 | 35.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.62609 | 28.8 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.5087 | 23.4 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.62391 | 28.7 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.74565 | 34.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 46 | . | ng/L | 0.85 | 39.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20141910245 | 2014-07-10 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 60.12 | . | ng/L | 1.1311 | 68 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 60.12 | . | ng/L | 1.0745 | 64.6 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 60.12 | . | ng/L | 0.99135 | 59.6 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 60.12 | . | ng/L | 0.98636 | 59.3 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 60.21 | . | ng/L | 0.86198 | 51.9 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 60.3 | . | ng/L | 0.52902 | 31.9 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 60.3 | . | ng/L | 0.7529 | 45.4 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 60.3 | . | ng/L | 0.72139 | 43.5 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 60.3 | . | ng/L | 0.76119 | 45.9 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20163370005 | 2016-11-30 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 74.4 | E | ng/L | 0.83602 | 62.2 | Estimated Values | 2437 | K | DME | c | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 74.4 | E | ng/L | 0.83602 | 62.2 | Estimated Values | 2437 | K | DME | c | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20141490204 | 2014-05-29 08:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 120.6 | E | ng/L | 1.3267 | 160 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152610006 | 2015-09-17 09:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 181.6 | . | ng/L | 0.72687 | 132 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 181.6 | . | ng/L | 0.82048 | 149 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 181.6 | . | ng/L | 0.837 | 152 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 181.6 | . | ng/L | 0.70485 | 128 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 181.6 | . | ng/L | 0.66079 | 120 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 181.6 | . | ng/L | 0.80396 | 146 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152810124 | 2015-10-08 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 184 | E | ng/L | 0.94022 | 173 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 184 | E | ng/L | 0.86413 | 159 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 184 | E | ng/L | 0.78261 | 144 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20133050048 | 2013-10-31 07:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 349 | . | ng/L | 0.94269 | 329 | Recoverable Result | 2437 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20133580040 | 2013-12-23 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 352 | E | ng/L | 1.0284 | 362 | Estimated Values | 2437 | OG | LOA | c | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20140100087 | 2014-01-09 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 352 | E | ng/L | 0.9233 | 325 | Estimated Values | 2437 | OG | LKK | c | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20132490346 | 2013-09-06 07:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 872.5 | . | ng/L | 0.83668 | 730 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20140370079 | 2014-02-06 08:30 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 872.5 | . | ng/L | 0.97536 | 851 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20133470005 | 2013-12-12 08:00 | AZINPHOS-METHYL-OXON | 68211LCM60 | 15 | 880 | . | ng/L | 0.99432 | 875 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl