## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20150150114 | 2015-01-15 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 31.59 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20141640081 | 2014-06-12 08:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 32.01 | < | ng/L |  |  | False Negative | 2437 | K | JIV | c | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20161820006 | 2016-06-29 09:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 39.84 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 39.84 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152040178 | 2015-07-23 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.8124 | 9.83 | Recoverable Result | 2437 | OG | MNO | c | 2015-08-06 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20152530084 | 2015-09-10 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1.0083 | 12.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1.0992 | 13.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1.5289 | 18.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152670139 | 2015-09-24 08:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.95041 | 11.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.75124 | 9.09 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1.2066 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152890012 | 2015-10-15 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | E | ng/L | 1.0826 | 13.1 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | E | ng/L | 1.0331 | 12.5 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | E | ng/L | 0.80744 | 9.77 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153090114 | 2015-11-05 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.78182 | 9.46 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.61901 | 7.49 | Recoverable Result | 2437 | OG | DME | n | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.73967 | 8.95 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153160006 | 2015-11-10 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.70165 | 8.49 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.89256 | 10.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1.0661 | 12.9 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160070057 | 2016-01-07 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.95041 | 11.5 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.75124 | 9.09 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1 | 12.1 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1.1405 | 13.8 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1.0826 | 13.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1.2479 | 15.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160210084 | 2016-01-21 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.6843 | 8.28 | Recoverable Result | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.72066 | 8.72 | Recoverable Result | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 0.57355 | 6.94 | Recoverable Result | 2437 | K | DME | n | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160430108 | 2016-02-11 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1.0826 | 13.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1.1736 | 14.2 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 12.1 | . | ng/L | 1.1322 | 13.7 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20142060046 | 2014-07-24 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 15.795 | E | ng/L | 0.61918 | 9.78 | Estimated Values | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 15.795 | . | ng/L | 0.84837 | 13.4 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 15.795 | . | ng/L | 0.956 | 15.1 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 15.795 | . | ng/L | 0.99399 | 15.7 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 15.795 | . | ng/L | 0.81038 | 12.8 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 15.795 | . | ng/L | 0.79772 | 12.6 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 16.005 | . | ng/L | 0.78101 | 12.5 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 16.005 | . | ng/L | 0.70603 | 11.3 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 16.005 | E | ng/L | 1.0122 | 16.2 | Estimated Values | 2437 | OG | SBH | c | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 16.005 | E | ng/L | 1.9681 | 31.5 | Estimated Values | 2437 | OG | LOA | c | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20162100011 | 2016-07-27 07:15 | AZINPHOS-METHYL | 65066LCM60 | 8 | 19.92 | E | ng/L | 1.0492 | 20.9 | Estimated Values | 2437 | OG | DME | c | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 19.92 | E | ng/L | 1.0492 | 20.9 | Estimated Values | 2437 | OG | DME | c | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 19.92 | . | ng/L | 1.0643 | 21.2 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 19.92 | . | ng/L | 0.62751 | 12.5 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163420124 | 2016-12-07 09:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 19.92 | . | ng/L | 1.1697 | 23.3 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 19.92 | . | ng/L | 1.3805 | 27.5 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163560022 | 2016-12-21 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 20 | . | ng/L | 0.935 | 18.7 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 20 | . | ng/L | 0.9 | 18 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20151820108 | 2015-07-01 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | E | ng/L | 0.73967 | 17.9 | Estimated Values | 2437 | OG | MNO | c | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20151900133 | 2015-07-09 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | E | ng/L | 0.8719 | 21.1 | Estimated Values | 2437 | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20152190004 | 2015-08-06 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 1.2727 | 30.8 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 1.1405 | 27.6 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.98347 | 23.8 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152250277 | 2015-08-13 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.66529 | 16.1 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.7314 | 17.7 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 1.2231 | 29.6 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152330042 | 2015-08-20 09:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.8719 | 21.1 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 1.0207 | 24.7 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.77273 | 18.7 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152460212 | 2015-09-03 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.46281 | 11.2 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.5 | 12.1 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.52066 | 12.6 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152950083 | 2015-10-22 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.80579 | 19.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.72727 | 17.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.60744 | 14.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20153370174 | 2015-12-03 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.92975 | 22.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.88843 | 21.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.95455 | 23.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160490031 | 2016-02-18 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.96694 | 23.4 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 1.3306 | 32.2 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 1.2521 | 30.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160630048 | 2016-03-03 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.80579 | 19.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 1.1157 | 27 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 1.3347 | 32.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160710224 | 2016-03-10 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.97107 | 23.5 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 1.062 | 25.7 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.85537 | 20.7 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20161050141 | 2016-04-14 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.92975 | 22.5 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 24.2 | . | ng/L | 0.71901 | 17.4 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20141910245 | 2014-07-10 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 31.59 | . | ng/L | 1.1586 | 36.6 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 31.59 | . | ng/L | 0.88952 | 28.1 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 31.59 | . | ng/L | 0.88952 | 28.1 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 31.59 | . | ng/L | 0.89585 | 28.3 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 31.8 | . | ng/L | 0.89308 | 28.4 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20142760029 | 2014-10-02 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 32.01 | . | ng/L | 0.67479 | 21.6 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 32.01 | . | ng/L | 0.84036 | 26.9 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 32.01 | . | ng/L | 0.83724 | 26.8 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20161880106 | 2016-07-06 07:45 | AZINPHOS-METHYL | 65066LCM60 | 8 | 39.84 | . | ng/L | 0.79066 | 31.5 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | AZINPHOS-METHYL | 65066LCM60 | 8 | 39.84 | . | ng/L | 0.76054 | 30.3 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 40 | . | ng/L | 1.215 | 48.6 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 40 | . | ng/L | 1.205 | 48.2 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 50 | . | ng/L | 1.094 | 54.7 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 50 | . | ng/L | 0.806 | 40.3 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20141490204 | 2014-05-29 08:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 64.02 | E | ng/L | 1.4683 | 94 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152750009 | 2015-10-01 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 96.8 | . | ng/L | 0.72417 | 70.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 96.8 | . | ng/L | 0.67045 | 64.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 96.8 | . | ng/L | 0.83471 | 80.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20153280162 | 2015-11-24 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 96.8 | . | ng/L | 0.84401 | 81.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 96.8 | . | ng/L | 0.8781 | 85 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 96.8 | . | ng/L | 0.77066 | 74.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153640100 | 2015-12-30 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 96.8 | . | ng/L | 0.96694 | 93.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 96.8 | . | ng/L | 0.87293 | 84.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 96.8 | . | ng/L | 0.875 | 84.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20133050048 | 2013-10-31 07:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 989 | . | ng/L | 0.8362 | 827 | Recoverable Result | 2437 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20133580040 | 2013-12-23 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 1006 | E | ng/L | 1.1133 | 1120 | Estimated Values | 2437 | OG | LOA | c | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20140100087 | 2014-01-09 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 1006 | E | ng/L | 0.86083 | 866 | Estimated Values | 2437 | OG | LKK | c | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20132630001 | 2013-09-19 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 1500 | . | ng/L | 0.8 | 1200 | Recoverable Result | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 1500 | . | ng/L | 0.86 | 1290 | Recoverable Result | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20133400005 | 2013-12-05 08:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 1500 | . | ng/L | 0.93333 | 1400 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20132490346 | 2013-09-06 07:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 2472.5 | . | ng/L | 0.75632 | 1870 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20140370079 | 2014-02-06 08:30 | AZINPHOS-METHYL | 65066LCM60 | 8 | 2472.5 | . | ng/L | 0.97472 | 2410 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20133470005 | 2013-12-12 08:00 | AZINPHOS-METHYL | 65066LCM60 | 8 | 2515 | . | ng/L | 0.97416 | 2450 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl