## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | BUTYLATE | 65068LCM60 | 10 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | BUTYLATE | 65068LCM60 | 10 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152110201 | 2015-07-30 08:00 | BUTYLATE | 65068LCM60 | 6 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | BUTYLATE | 65068LCM60 | 6 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | BUTYLATE | 65068LCM60 | 6 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | BUTYLATE | 65068LCM60 | 6 | 9.01 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | BUTYLATE | 65068LCM60 | 6 | 9.01 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | BUTYLATE | 65068LCM60 | 6 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | BUTYLATE | 65068LCM60 | 6 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | BUTYLATE | 65068LCM60 | 6 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | BUTYLATE | 65068LCM60 | 10 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | BUTYLATE | 65068LCM60 | 10 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | BUTYLATE | 65068LCM60 | 10 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | BUTYLATE | 65068LCM60 | 10 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | BUTYLATE | 65068LCM60 | 10 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | BUTYLATE | 65068LCM60 | 10 | 9.01 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | BUTYLATE | 65068LCM60 | 10 | 9.01 | < | ng/L |  | 10.8 | SACRALT | 2437 | OG | DME | c | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | BUTYLATE | 65068LCM60 | 10 | 9.01 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153030065 | 2015-10-29 07:30 | BUTYLATE | 65068LCM60 | 6 | 9.1 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | BUTYLATE | 65068LCM60 | 6 | 9.1 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | BUTYLATE | 65068LCM60 | 6 | 9.1 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | BUTYLATE | 65068LCM60 | 6 | 9.1 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | BUTYLATE | 65068LCM60 | 6 | 9.1 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | BUTYLATE | 65068LCM60 | 6 | 9.1 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | BUTYLATE | 65068LCM60 | 10 | 9.1 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | BUTYLATE | 65068LCM60 | 10 | 9.1 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | BUTYLATE | 65068LCM60 | 10 | 9.1 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770094 | 2016-03-17 07:30 | BUTYLATE | 65068LCM60 | 10 | 9.1 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142060046 | 2014-07-24 08:00 | BUTYLATE | 65068LCM60 | 6 | 12.03 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | BUTYLATE | 65068LCM60 | 6 | 12.03 | < | ng/L |  | 25 | SACRALT | 2437 | OG | LKK | c | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142620041 | 2014-09-18 07:30 | BUTYLATE | 65068LCM60 | 6 | 12.03 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MNO | c | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | BUTYLATE | 65068LCM60 | 6 | 12.03 | < | ng/L |  |  | False Negative | 2437 | K | MPO | c | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20141290002 | 2014-05-08 06:00 | BUTYLATE | 65068LCM60 | 6 | 12.09 | < | ng/L |  |  | False Negative | 2437 | OG | MPO | c | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | BUTYLATE | 65068LCM60 | 6 | 12.09 | < | ng/L |  | 25 | SACRALT | 2437 | OG | LKK | c | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20162720260 | 2016-09-28 08:30 | BUTYLATE | 65068LCM60 | 10 | 14.84 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20161740281 | 2016-06-22 07:30 | BUTYLATE | 65068LCM60 | 10 | 14.88 | < | ng/L |  |  | False Negative | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | BUTYLATE | 65068LCM60 | 10 | 14.88 | < | ng/L |  |  | False Negative | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20152190004 | 2015-08-06 07:30 | BUTYLATE | 65068LCM60 | 6 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | BUTYLATE | 65068LCM60 | 6 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | BUTYLATE | 65068LCM60 | 6 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | BUTYLATE | 65068LCM60 | 6 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | BUTYLATE | 65068LCM60 | 6 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | BUTYLATE | 65068LCM60 | 6 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | BUTYLATE | 65068LCM60 | 6 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | BUTYLATE | 65068LCM60 | 6 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | BUTYLATE | 65068LCM60 | 6 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | BUTYLATE | 65068LCM60 | 6 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | BUTYLATE | 65068LCM60 | 6 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | BUTYLATE | 65068LCM60 | 10 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | BUTYLATE | 65068LCM60 | 10 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | BUTYLATE | 65068LCM60 | 10 | 18.02 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | BUTYLATE | 65068LCM60 | 6 | 18.2 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160490029 | 2016-02-18 07:00 | BUTYLATE | 65068LCM60 | 10 | 18.2 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20143030096 | 2014-10-30 08:00 | BUTYLATE | 65068LCM60 | 6 | 24.06 | < | ng/L |  | 50 | SACRALT | 2437 | OG | JLE | c | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20150150114 | 2015-01-15 07:00 | BUTYLATE | 65068LCM60 | 6 | 24.06 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20141640081 | 2014-06-12 08:30 | BUTYLATE | 65068LCM60 | 6 | 24.18 | < | ng/L |  | 50 | SACRALT | 2437 | K | JIV | c | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20160560056 | 2016-02-25 06:30 | BUTYLATE | 65068LCM60 | 10 | 9.01 | . | ng/L | 0.96559 | 8.7 | Recoverable Result | 2437 | OG | DME | n | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | BUTYLATE | 65068LCM60 | 10 | 9.1 | . | ng/L | 0.97802 | 8.9 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | BUTYLATE | 65068LCM60 | 10 | 9.1 | . | ng/L | 0.84615 | 7.7 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20152530085 | 2015-09-10 07:00 | BUTYLATE | 65068LCM60 | 6 | 9.01 | . | ng/L | 0.54051 | 4.87 | Recoverable Result | 2437 | OG | JLE | bn | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152040178 | 2015-07-23 06:30 | BUTYLATE | 65068LCM60 | 6 | 9.1 | . | ng/L | 0.97033 | 8.83 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20142480004 | 2014-09-04 08:30 | BUTYLATE | 65068LCM60 | 6 | 12.03 | . | ng/L | 0.87282 | 10.5 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20150850163 | 2015-03-26 06:30 | BUTYLATE | 65068LCM60 | 6 | 12.03 | . | ng/L | 0.87282 | 10.5 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20150570010 | 2015-02-26 06:30 | BUTYLATE | 65068LCM60 | 6 | 12.09 | . | ng/L | 0.7072 | 8.55 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | BUTYLATE | 65068LCM60 | 6 | 12.09 | . | ng/L | 0.97601 | 11.8 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20162720259 | 2016-09-28 09:00 | BUTYLATE | 65068LCM60 | 10 | 14.84 | . | ng/L | 1.0714 | 15.9 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162100011 | 2016-07-27 07:15 | BUTYLATE | 65068LCM60 | 10 | 14.88 | . | ng/L | 1.0484 | 15.6 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | BUTYLATE | 65068LCM60 | 10 | 14.88 | . | ng/L | 0.90054 | 13.4 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | BUTYLATE | 65068LCM60 | 10 | 14.88 | . | ng/L | 1.0349 | 15.4 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | BUTYLATE | 65068LCM60 | 10 | 14.88 | . | ng/L | 0.90726 | 13.5 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | BUTYLATE | 65068LCM60 | 10 | 14.88 | . | ng/L | 0.89382 | 13.3 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | BUTYLATE | 65068LCM60 | 10 | 14.88 | . | ng/L | 0.98118 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152950082 | 2015-10-22 06:30 | BUTYLATE | 65068LCM60 | 6 | 18.02 | . | ng/L | 0.61598 | 11.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20161190072 | 2016-04-28 06:30 | BUTYLATE | 65068LCM60 | 10 | 18.02 | . | ng/L | 0.89345 | 16.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | BUTYLATE | 65068LCM60 | 10 | 18.02 | . | ng/L | 0.84351 | 15.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20153370174 | 2015-12-03 08:00 | BUTYLATE | 65068LCM60 | 6 | 18.2 | . | ng/L | 0.8022 | 14.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | BUTYLATE | 65068LCM60 | 6 | 18.2 | . | ng/L | 0.72527 | 13.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | BUTYLATE | 65068LCM60 | 6 | 18.2 | . | ng/L | 0.84066 | 15.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | BUTYLATE | 65068LCM60 | 10 | 18.2 | . | ng/L | 0.77473 | 14.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | BUTYLATE | 65068LCM60 | 10 | 18.2 | . | ng/L | 0.71429 | 13 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | BUTYLATE | 65068LCM60 | 10 | 18.2 | . | ng/L | 0.67033 | 12.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | BUTYLATE | 65068LCM60 | 10 | 18.2 | . | ng/L | 0.55495 | 10.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | BUTYLATE | 65068LCM60 | 10 | 18.2 | . | ng/L | 0.80769 | 14.7 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | BUTYLATE | 65068LCM60 | 10 | 18.2 | . | ng/L | 0.97802 | 17.8 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | BUTYLATE | 65068LCM60 | 10 | 18.2 | . | ng/L | 0.97253 | 17.7 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | BUTYLATE | 65068LCM60 | 10 | 18.2 | . | ng/L | 0.97802 | 17.8 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141910245 | 2014-07-10 07:30 | BUTYLATE | 65068LCM60 | 6 | 24.06 | . | ng/L | 0.7606 | 18.3 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | BUTYLATE | 65068LCM60 | 6 | 24.06 | . | ng/L | 0.68579 | 16.5 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143180048 | 2014-11-13 07:30 | BUTYLATE | 65068LCM60 | 6 | 24.06 | . | ng/L | 0.88113 | 21.2 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | BUTYLATE | 65068LCM60 | 6 | 24.12 | . | ng/L | 0.77114 | 18.6 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20142760029 | 2014-10-02 07:30 | BUTYLATE | 65068LCM60 | 6 | 24.18 | . | ng/L | 0.56245 | 13.6 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | BUTYLATE | 65068LCM60 | 6 | 24.18 | . | ng/L | 0.7072 | 17.1 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | BUTYLATE | 65068LCM60 | 6 | 24.18 | . | ng/L | 0.86435 | 20.9 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20163370005 | 2016-11-30 08:00 | BUTYLATE | 65068LCM60 | 10 | 29.68 | . | ng/L | 0.84569 | 25.1 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | BUTYLATE | 65068LCM60 | 10 | 29.68 | . | ng/L | 0.76146 | 22.6 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20161880106 | 2016-07-06 07:45 | BUTYLATE | 65068LCM60 | 10 | 29.76 | . | ng/L | 0.97446 | 29 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | BUTYLATE | 65068LCM60 | 10 | 29.76 | . | ng/L | 1.0081 | 30 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | BUTYLATE | 65068LCM60 | 10 | 29.76 | . | ng/L | 0.81317 | 24.2 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | BUTYLATE | 65068LCM60 | 10 | 29.76 | . | ng/L | 1.0719 | 31.9 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20133400005 | 2013-12-05 08:30 | BUTYLATE | 65068LCM60 | 6 | 40 | . | ng/L | 0.3925 | 15.7 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20132630001 | 2013-09-19 08:00 | BUTYLATE | 65068LCM60 | 6 | 40.41 | . | ng/L | 0.82653 | 33.4 | Recoverable Result | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | BUTYLATE | 65068LCM60 | 6 | 40.41 | . | ng/L | 0.69042 | 27.9 | Recoverable Result | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20141490204 | 2014-05-29 08:30 | BUTYLATE | 65068LCM60 | 6 | 48.36 | E | ng/L | 0.85194 | 41.2 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | BUTYLATE | 65068LCM60 | 6 | 72.08 | . | ng/L | 0.80327 | 57.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | BUTYLATE | 65068LCM60 | 6 | 72.08 | . | ng/L | 0.76027 | 54.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | BUTYLATE | 65068LCM60 | 6 | 72.08 | . | ng/L | 0.7131 | 51.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | BUTYLATE | 65068LCM60 | 6 | 72.8 | . | ng/L | 0.69368 | 50.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | BUTYLATE | 65068LCM60 | 6 | 72.8 | . | ng/L | 0.70192 | 51.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | BUTYLATE | 65068LCM60 | 6 | 72.8 | . | ng/L | 0.62088 | 45.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | BUTYLATE | 65068LCM60 | 6 | 72.8 | . | ng/L | 0.68681 | 50 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | BUTYLATE | 65068LCM60 | 6 | 72.8 | . | ng/L | 0.58791 | 42.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | BUTYLATE | 65068LCM60 | 6 | 72.8 | . | ng/L | 0.62912 | 45.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8