## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160350044 | 2016-02-04 08:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 12.2 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 12.2 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 12.2 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20161740281 | 2016-06-22 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 20 | < | ng/L |  |  | False Negative | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161820006 | 2016-06-29 09:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 40 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 40 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20162660010 | 2016-09-21 08:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 50 | < | ng/L |  |  | False Negative | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 50 | < | ng/L |  |  | False Negative | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20152040178 | 2015-07-23 06:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 12.2 | . | ng/L | 0.88525 | 10.8 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 12.2 | . | ng/L | 0.51803 | 6.32 | Recoverable Result | 2437 | OG | DME | n | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 12.2 | . | ng/L | 1.1557 | 14.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 12.2 | . | ng/L | 0.67541 | 8.24 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 12.2 | . | ng/L | 0.5082 | 6.2 | Recoverable Result | 2437 | OG | DME | n | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 12.2 | . | ng/L | 0.64426 | 7.86 | Recoverable Result | 2437 | OG | DME | n | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 12.2 | . | ng/L | 0.63361 | 7.73 | Recoverable Result | 2437 | OG | DME | n | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160770095 | 2016-03-17 08:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 12.2 | . | ng/L | 0.68525 | 8.36 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 12.2 | . | ng/L | 0.47623 | 5.81 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 12.2 | . | ng/L | 0.65246 | 7.96 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20141990082 | 2014-07-17 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 15.81 | . | ng/L | 0.57052 | 9.02 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142480004 | 2014-09-04 08:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 15.81 | . | ng/L | 0.41176 | 6.51 | Recoverable Result | 2437 | OG | CAD | n | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142720026 | 2014-09-25 07:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 15.81 | . | ng/L | 0.63251 | 10 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150650041 | 2015-03-05 07:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 15.81 | . | ng/L | 0.60721 | 9.6 | Recoverable Result | 2437 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20150990083 | 2015-04-09 06:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 15.81 | E | ng/L | 0.40291 | 6.37 | Estimated Values | 2437 | OG | LOA | nc | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20161740280 | 2016-06-22 07:15 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 20 | E | ng/L | 0.115 | 2.3 | Estimated Values | 2437 | OG | JLE | btc | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20163070100 | 2016-11-02 08:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 20.04 | . | ng/L | 0.54391 | 10.9 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 20.04 | . | ng/L | 0.43962 | 8.81 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163420124 | 2016-12-07 09:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 20.04 | . | ng/L | 0.46208 | 9.26 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 20.04 | . | ng/L | 0.42914 | 8.6 | Recoverable Result | 2437 | OG | DME | n | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20151970155 | 2015-07-16 06:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 24.4 | . | ng/L | 0.77049 | 18.8 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 24.4 | . | ng/L | 0.56967 | 13.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 24.4 | . | ng/L | 0.83197 | 20.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 24.4 | . | ng/L | 0.61885 | 15.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 24.4 | . | ng/L | 0.52869 | 12.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 24.4 | . | ng/L | 0.45902 | 11.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 24.4 | . | ng/L | 0.5041 | 12.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 24.4 | . | ng/L | 0.29344 | 7.16 | Recoverable Result | 2437 | OG | DME | n | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 24.4 | . | ng/L | 0.42213 | 10.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 24.4 | . | ng/L | 0.47951 | 11.7 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 24.4 | . | ng/L | 0.65984 | 16.1 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 24.4 | . | ng/L | 0.33484 | 8.17 | Recoverable Result | 2437 | OG | JLE | n | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 24.4 | . | ng/L | 0.56967 | 13.9 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141770144 | 2014-06-26 09:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 31.62 | . | ng/L | 0.46173 | 14.6 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20141910245 | 2014-07-10 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 31.62 | . | ng/L | 0.43011 | 13.6 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143030096 | 2014-10-30 08:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 31.62 | . | ng/L | 0.63884 | 20.2 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143300050 | 2014-11-26 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 31.62 | . | ng/L | 0.43643 | 13.8 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143240094 | 2014-11-19 08:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 31.62 | . | ng/L | 0.56926 | 18 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20143520108 | 2014-12-18 07:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 31.62 | . | ng/L | 0.49652 | 15.7 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20163370005 | 2016-11-30 08:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 40.08 | . | ng/L | 0.28443 | 11.4 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8.8 | 40.08 | . | ng/L | 0.42415 | 17 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20152610006 | 2015-09-17 09:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 97.6 | . | ng/L | 0.62807 | 61.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 97.6 | . | ng/L | 0.60656 | 59.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 97.6 | . | ng/L | 0.61783 | 60.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 97.6 | . | ng/L | 0.54918 | 53.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 97.6 | . | ng/L | 0.48361 | 47.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 97.6 | . | ng/L | 0.62295 | 60.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20132420005 | 2013-08-29 08:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 686.0001 | . | ng/L | 0.96501 | 662 | Recoverable Result | 2437 | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20133110106 | 2013-11-07 08:30 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 700 | . | ng/L | 0.92714 | 649 | Recoverable Result | 2437 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140300037 | 2014-01-30 09:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 700 | . | ng/L | 0.79286 | 555 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140510044 | 2014-02-20 08:00 | CHLORIMURON-ETHYL | 68872LCM60 | 8 | 700 | . | ng/L | 0.87286 | 611 | Recoverable Result | 2437 | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2