## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | CHLORSULFURON | 61678LCM60 | 50 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | CHLORSULFURON | 61678LCM60 | 50 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20150150114 | 2015-01-15 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 201.27 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152040178 | 2015-07-23 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | . | ng/L | 1.0613 | 79.7 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20152530084 | 2015-09-10 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | . | ng/L | 0.88016 | 66.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | . | ng/L | 0.77364 | 58.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | . | ng/L | 0.72304 | 54.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152670139 | 2015-09-24 08:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | . | ng/L | 0.84288 | 63.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | . | ng/L | 0.6245 | 46.9 | Recoverable Result | 2437 | OG | DME | n | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | . | ng/L | 0.46605 | 35 | Recoverable Result | 2437 | OG | DME | n | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153090114 | 2015-11-05 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | E | ng/L | 1.0333 | 77.6 | Estimated Values | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | E | ng/L | 1.1079 | 83.2 | Estimated Values | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | E | ng/L | 0.9494 | 71.3 | Estimated Values | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160280055 | 2016-01-28 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | . | ng/L | 0.90945 | 68.3 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | . | ng/L | 0.88149 | 66.2 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.1 | . | ng/L | 0.64048 | 48.1 | Recoverable Result | 2437 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152890012 | 2015-10-15 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.98138 | 73.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.85239 | 64.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 1.0133 | 76.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153160006 | 2015-11-10 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.95346 | 71.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 1.0226 | 76.9 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.86702 | 65.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160070057 | 2016-01-07 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.86702 | 65.2 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.7367 | 55.4 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.73271 | 55.1 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160210084 | 2016-01-21 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.79255 | 59.6 | Recoverable Result | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.68617 | 51.6 | Recoverable Result | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.72739 | 54.7 | Recoverable Result | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160430108 | 2016-02-11 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.61436 | 46.2 | Recoverable Result | 2437 | OG | DME | n | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.60771 | 45.7 | Recoverable Result | 2437 | OG | DME | n | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 75.2 | . | ng/L | 0.64495 | 48.5 | Recoverable Result | 2437 | OG | DME | n | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20142060046 | 2014-07-24 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 100.635 | . | ng/L | 0.3458 | 34.8 | Recoverable Result | 2437 | OG | LKK | n | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 100.635 | . | ng/L | 1.0632 | 107 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | CHLORSULFURON | 61678LCM60 | 50 | 100.635 | . | ng/L | 0.89233 | 89.8 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 100.635 | . | ng/L | 0.78998 | 79.5 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | CHLORSULFURON | 61678LCM60 | 50 | 100.635 | . | ng/L | 0.65782 | 66.2 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 100.635 | . | ng/L | 0.62106 | 62.5 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | CHLORSULFURON | 61678LCM60 | 50 | 101.19 | . | ng/L | 0.92895 | 94 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | CHLORSULFURON | 61678LCM60 | 50 | 101.19 | . | ng/L | 1.3737 | 139 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 101.19 | . | ng/L | 1.2155 | 123 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 101.19 | . | ng/L | 1.0673 | 108 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20162720259 | 2016-09-28 09:00 | CHLORSULFURON | 61678LCM60 | 50 | 124.4 | . | ng/L | 0.57878 | 72 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | CHLORSULFURON | 61678LCM60 | 50 | 124.4 | . | ng/L | 0.71141 | 88.5 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20161740281 | 2016-06-22 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 126.8 | . | ng/L | 0.69874 | 88.6 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | CHLORSULFURON | 61678LCM60 | 50 | 126.8 | . | ng/L | 0.80442 | 102 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | CHLORSULFURON | 61678LCM60 | 50 | 126.8 | . | ng/L | 1.041 | 132 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 126.8 | . | ng/L | 0.88328 | 112 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | CHLORSULFURON | 61678LCM60 | 50 | 126.8 | . | ng/L | 1.0883 | 138 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 126.8 | . | ng/L | 1.0883 | 138 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 126.8 | . | ng/L | 0.82019 | 104 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 126.8 | . | ng/L | 0.93849 | 119 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152460212 | 2015-09-03 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | E | ng/L | 0.26165 | 39.3 | Estimated Values | 2437 | OG | MNI | nc | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | E | ng/L | 0.33888 | 50.9 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | E | ng/L | 0.40746 | 61.2 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152950083 | 2015-10-22 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | . | ng/L | 0.90546 | 136 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | . | ng/L | 0.95872 | 144 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | . | ng/L | 0.83888 | 126 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20153370174 | 2015-12-03 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | E | ng/L | 0.67244 | 101 | Estimated Values | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | E | ng/L | 0.81891 | 123 | Estimated Values | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | E | ng/L | 0.87883 | 132 | Estimated Values | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160630048 | 2016-03-03 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | . | ng/L | 0.60586 | 91 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | . | ng/L | 0.63049 | 94.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | . | ng/L | 0.61718 | 92.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160710224 | 2016-03-10 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | . | ng/L | 0.502 | 75.4 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | . | ng/L | 0.498 | 74.8 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | . | ng/L | 0.61185 | 91.9 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20161050141 | 2016-04-14 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | . | ng/L | 0.64514 | 96.9 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.2 | . | ng/L | 0.37417 | 56.2 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20151820108 | 2015-07-01 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 0.67819 | 102 | Recoverable Result | 2437 | OG | MNO |  | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20151900133 | 2015-07-09 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 1.3032 | 196 | Recoverable Result | 2437 | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20152190004 | 2015-08-06 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 0.93085 | 140 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 0.90426 | 136 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 0.85106 | 128 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152250277 | 2015-08-13 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 0.79787 | 120 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 1.1303 | 170 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 0.9375 | 141 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152330042 | 2015-08-20 09:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 0.73138 | 110 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 0.78457 | 118 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 1.0638 | 160 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20160490031 | 2016-02-18 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 0.69149 | 104 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 0.6117 | 92 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 150.4 | . | ng/L | 0.64561 | 97.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20141910245 | 2014-07-10 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 201.27 | . | ng/L | 0.86948 | 175 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 201.27 | . | ng/L | 1.0334 | 208 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 201.27 | . | ng/L | 1.1726 | 236 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 201.27 | . | ng/L | 1.0583 | 213 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | CHLORSULFURON | 61678LCM60 | 50 | 201.825 | . | ng/L | 1.0306 | 208 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | CHLORSULFURON | 61678LCM60 | 50 | 202.38 | . | ng/L | 0.86965 | 176 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 202.38 | . | ng/L | 1.0129 | 205 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 202.38 | . | ng/L | 1.0327 | 209 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 202.38 | . | ng/L | 1.2353 | 250 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20163370005 | 2016-11-30 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 248.8 | . | ng/L | 0.75965 | 189 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 248.8 | . | ng/L | 0.79984 | 199 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20161880106 | 2016-07-06 07:45 | CHLORSULFURON | 61678LCM60 | 50 | 253.6 | . | ng/L | 0.97792 | 248 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | CHLORSULFURON | 61678LCM60 | 50 | 253.6 | . | ng/L | 1.0844 | 275 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | CHLORSULFURON | 61678LCM60 | 50 | 253.6 | . | ng/L | 0.72161 | 183 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 253.6 | . | ng/L | 1.1041 | 280 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20141490204 | 2014-05-29 08:30 | CHLORSULFURON | 61678LCM60 | 50 | 404.76 | E | ng/L | 0.99318 | 402 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20153280162 | 2015-11-24 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 600.8 | . | ng/L | 0.64081 | 385 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 600.8 | . | ng/L | 0.6974 | 419 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | CHLORSULFURON | 61678LCM60 | 50 | 600.8 | . | ng/L | 0.64248 | 386 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153640100 | 2015-12-30 08:00 | CHLORSULFURON | 61678LCM60 | 50 | 600.8 | . | ng/L | 0.56425 | 339 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 600.8 | . | ng/L | 0.55426 | 333 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 600.8 | . | ng/L | 0.52097 | 313 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20152750009 | 2015-10-01 07:30 | CHLORSULFURON | 61678LCM60 | 50 | 601.6 | . | ng/L | 0.876 | 527 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | CHLORSULFURON | 61678LCM60 | 50 | 601.6 | . | ng/L | 0.81283 | 489 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | CHLORSULFURON | 61678LCM60 | 50 | 601.6 | . | ng/L | 0.88098 | 530 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8