## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | DIAZINON | 65078LCM60 | 2.8 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | DIAZINON | 65078LCM60 | 2.8 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20160210082 | 2016-01-21 07:30 | DIAZINON | 65078LCM60 | 2.8 | 4.5 | < | ng/L |  |  | False Negative | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20152390229 | 2015-08-27 08:00 | DIAZINON | 65078LCM60 | 3 | 9 | < | ng/L |  | 31.3 | SACRALT | 2437 | OG | DME | vc | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | DIAZINON | 65078LCM60 | 3 | 9 | < | ng/L |  | 35.2 | SACRALT | 2437 | OG | DME | vc | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | DIAZINON | 65078LCM60 | 3 | 9 | < | ng/L |  | 33.4 | SACRALT | 2437 | OG | DME | vc | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152460212 | 2015-09-03 07:30 | DIAZINON | 65078LCM60 | 3 | 9.04 | < | ng/L |  | 18.6 | SACRALT | 2437 | OG | MNI | vc | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | DIAZINON | 65078LCM60 | 3 | 9.04 | < | ng/L |  | 18.6 | SACRALT | 2437 | OG | MNI | vc | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | DIAZINON | 65078LCM60 | 3 | 9.04 | < | ng/L |  | 21.9 | SACRALT | 2437 | OG | MNI | vc | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20150150114 | 2015-01-15 07:00 | DIAZINON | 65078LCM60 | 3 | 12.18 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152670139 | 2015-09-24 08:30 | DIAZINON | 65078LCM60 | 3 | 4.5 | E | ng/L | 1.1822 | 5.32 | Estimated Values | 2437 | OG | DME | i | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | DIAZINON | 65078LCM60 | 3 | 4.5 | E | ng/L | 1.2844 | 5.78 | Estimated Values | 2437 | OG | DME | i | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | DIAZINON | 65078LCM60 | 3 | 4.5 | E | ng/L | 1.5111 | 6.8 | Estimated Values | 2437 | OG | DME | i | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153230142 | 2015-11-19 08:00 | DIAZINON | 65078LCM60 | 3 | 4.5 | E | ng/L | 0.69111 | 3.11 | Estimated Values | 2437 | OG | DME | c | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | DIAZINON | 65078LCM60 | 3 | 4.5 | E | ng/L | 0.75333 | 3.39 | Estimated Values | 2437 | OG | DME | c | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | DIAZINON | 65078LCM60 | 3 | 4.5 | E | ng/L | 0.96667 | 4.35 | Estimated Values | 2437 | OG | DME | c | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160210084 | 2016-01-21 08:00 | DIAZINON | 65078LCM60 | 2.8 | 4.5 | E | ng/L | 0.85556 | 3.85 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | DIAZINON | 65078LCM60 | 2.8 | 4.5 | E | ng/L | 0.67111 | 3.02 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160560058 | 2016-02-25 07:30 | DIAZINON | 65078LCM60 | 2.8 | 4.5 | E | ng/L | 0.75333 | 3.39 | Estimated Values | 2437 | OG | DME | c | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | DIAZINON | 65078LCM60 | 2.8 | 4.5 | E | ng/L | 0.78667 | 3.54 | Estimated Values | 2437 | OG | DME | c | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | DIAZINON | 65078LCM60 | 2.8 | 4.5 | E | ng/L | 0.81556 | 3.67 | Estimated Values | 2437 | OG | DME | c | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | DIAZINON | 65078LCM60 | 2.8 | 4.5 | E | ng/L | 0.68444 | 3.08 | Estimated Values | 2437 | OG | DME | c | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | DIAZINON | 65078LCM60 | 2.8 | 4.5 | E | ng/L | 0.63778 | 2.87 | Estimated Values | 2437 | OG | DME | c | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | DIAZINON | 65078LCM60 | 2.8 | 4.5 | E | ng/L | 0.69778 | 3.14 | Estimated Values | 2437 | OG | DME | c | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20152110201 | 2015-07-30 08:00 | DIAZINON | 65078LCM60 | 3 | 4.52 | . | ng/L | 1.0553 | 4.77 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | DIAZINON | 65078LCM60 | 3 | 4.52 | . | ng/L | 1.1903 | 5.38 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | DIAZINON | 65078LCM60 | 3 | 4.52 | . | ng/L | 1.2124 | 5.48 | Recoverable Result | 2437 | OG | MPO | c | 2015-08-13 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | DIAZINON | 65078LCM60 | 3 | 4.52 | E | ng/L | 1.2345 | 5.58 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | DIAZINON | 65078LCM60 | 3 | 4.52 | E | ng/L | 1.2633 | 5.71 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | DIAZINON | 65078LCM60 | 3 | 4.52 | E | ng/L | 1.1704 | 5.29 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | DIAZINON | 65078LCM60 | 3 | 4.52 | . | ng/L | 1.2212 | 5.52 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | DIAZINON | 65078LCM60 | 3 | 4.52 | . | ng/L | 1.4403 | 6.51 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | DIAZINON | 65078LCM60 | 3 | 4.52 | . | ng/L | 1.4712 | 6.65 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | DIAZINON | 65078LCM60 | 3 | 4.52 | . | ng/L | 1.5243 | 6.89 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | DIAZINON | 65078LCM60 | 3 | 4.52 | . | ng/L | 1.4004 | 6.33 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | DIAZINON | 65078LCM60 | 3 | 4.52 | . | ng/L | 1.1416 | 5.16 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160350044 | 2016-02-04 08:00 | DIAZINON | 65078LCM60 | 2.8 | 4.52 | E | ng/L | 0.94469 | 4.27 | Estimated Values | 2437 | OG | DME | c | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | DIAZINON | 65078LCM60 | 2.8 | 4.52 | E | ng/L | 1.0885 | 4.92 | Estimated Values | 2437 | OG | DME | c | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | DIAZINON | 65078LCM60 | 2.8 | 4.52 | E | ng/L | 0.82743 | 3.74 | Estimated Values | 2437 | OG | DME | c | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | DIAZINON | 65078LCM60 | 2.8 | 4.52 | E | ng/L | 0.93584 | 4.23 | Estimated Values | 2437 | OG | DME | c | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | DIAZINON | 65078LCM60 | 2.8 | 4.52 | E | ng/L | 0.66814 | 3.02 | Estimated Values | 2437 | OG | DME | c | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | DIAZINON | 65078LCM60 | 2.8 | 4.52 | E | ng/L | 0.8031 | 3.63 | Estimated Values | 2437 | OG | DME | c | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20141990082 | 2014-07-17 07:30 | DIAZINON | 65078LCM60 | 3 | 6 | . | ng/L | 1.2433 | 7.46 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142480004 | 2014-09-04 08:30 | DIAZINON | 65078LCM60 | 3 | 6 | E | ng/L | 1.5533 | 9.32 | Estimated Values | 2437 | OG | CAD | c | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142720026 | 2014-09-25 07:00 | DIAZINON | 65078LCM60 | 3 | 6 | E | ng/L | 1.065 | 6.39 | Estimated Values | 2437 | OG | LOA | c | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150650041 | 2015-03-05 07:00 | DIAZINON | 65078LCM60 | 3 | 6 | E | ng/L | 1.3117 | 7.87 | Estimated Values | 2437 | OG | DME | c | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20150990083 | 2015-04-09 06:30 | DIAZINON | 65078LCM60 | 3 | 6 | E | ng/L | 1.1333 | 6.8 | Estimated Values | 2437 | OG | LOA | c | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142060046 | 2014-07-24 08:00 | DIAZINON | 65078LCM60 | 3 | 6.09 | . | ng/L | 0.6601 | 4.02 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142130132 | 2014-07-31 07:00 | DIAZINON | 65078LCM60 | 3 | 6.09 | E | ng/L | 0.73727 | 4.49 | Estimated Values | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142200170 | 2014-08-07 09:00 | DIAZINON | 65078LCM60 | 3 | 6.09 | E | ng/L | 0.66831 | 4.07 | Estimated Values | 2437 | OG | LKK | c | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142470035 | 2014-09-03 07:45 | DIAZINON | 65078LCM60 | 3 | 6.09 | E | ng/L | 1.0657 | 6.49 | Estimated Values | 2437 | OG | CAD | vc | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20150570010 | 2015-02-26 06:30 | DIAZINON | 65078LCM60 | 3 | 6.09 | E | ng/L | 0.69458 | 4.23 | Estimated Values | 2437 | OG | SBH | c | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150850163 | 2015-03-26 06:30 | DIAZINON | 65078LCM60 | 3 | 6.09 | . | ng/L | 0.52381 | 3.19 | Recoverable Result | 2437 | OG | MPO | c | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20151110018 | 2015-04-16 07:00 | DIAZINON | 65078LCM60 | 3 | 6.09 | . | ng/L | 0.45156 | 2.75 | Recoverable Result | 2437 | OG | JIV | n | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20161740281 | 2016-06-22 07:30 | DIAZINON | 65078LCM60 | 2.8 | 7.52 | E | ng/L | 0.17287 | 1.3 | Estimated Values | 2437 | OG | JLE | tc | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | DIAZINON | 65078LCM60 | 2.8 | 7.52 | E | ng/L | 0.13697 | 1.03 | Estimated Values | 2437 | OG | JLE | btc | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | DIAZINON | 65078LCM60 | 2.8 | 7.52 | E | ng/L | 0.73537 | 5.53 | Estimated Values | 2437 | OG | DME | c | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | DIAZINON | 65078LCM60 | 2.8 | 7.52 | E | ng/L | 0.73138 | 5.5 | Estimated Values | 2437 | OG | DME | c | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | DIAZINON | 65078LCM60 | 2.8 | 7.52 | E | ng/L | 0.93484 | 7.03 | Estimated Values | 2437 | K | DME | c | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | DIAZINON | 65078LCM60 | 2.8 | 7.52 | E | ng/L | 0.96144 | 7.23 | Estimated Values | 2437 | K | DME | c | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | DIAZINON | 65078LCM60 | 2.8 | 7.52 | E | ng/L | 0.75 | 5.64 | Estimated Values | 2437 | OG | DME | c | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | DIAZINON | 65078LCM60 | 2.8 | 7.52 | E | ng/L | 0.80452 | 6.05 | Estimated Values | 2437 | OG | DME | c | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | DIAZINON | 65078LCM60 | 2.8 | 7.6 | E | ng/L | 0.85921 | 6.53 | Estimated Values | 2437 | OG | DME | c | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | DIAZINON | 65078LCM60 | 2.8 | 7.6 | E | ng/L | 0.82632 | 6.28 | Estimated Values | 2437 | OG | DME | c | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20151820108 | 2015-07-01 07:00 | DIAZINON | 65078LCM60 | 3 | 9 | E | ng/L | 1.1667 | 10.5 | Estimated Values | 2437 | OG | MNO | i | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20152250277 | 2015-08-13 08:00 | DIAZINON | 65078LCM60 | 3 | 9 | . | ng/L | 0.78556 | 7.07 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | DIAZINON | 65078LCM60 | 3 | 9 | . | ng/L | 0.94778 | 8.53 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | DIAZINON | 65078LCM60 | 3 | 9 | . | ng/L | 1.2556 | 11.3 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20153510113 | 2015-12-17 07:30 | DIAZINON | 65078LCM60 | 2.8 | 9 | E | ng/L | 0.71 | 6.39 | Estimated Values | 2437 | OG | MNI | c | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | DIAZINON | 65078LCM60 | 2.8 | 9 | E | ng/L | 0.71667 | 6.45 | Estimated Values | 2437 | OG | MNI | c | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | DIAZINON | 65078LCM60 | 2.8 | 9 | E | ng/L | 0.62222 | 5.6 | Estimated Values | 2437 | OG | MNI | c | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160630048 | 2016-03-03 07:30 | DIAZINON | 65078LCM60 | 2.8 | 9 | E | ng/L | 0.61333 | 5.52 | Estimated Values | 2437 | OG | MNI | c | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | DIAZINON | 65078LCM60 | 2.8 | 9 | E | ng/L | 0.73667 | 6.63 | Estimated Values | 2437 | OG | MNI | c | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | DIAZINON | 65078LCM60 | 2.8 | 9 | E | ng/L | 0.73444 | 6.61 | Estimated Values | 2437 | OG | MNI | c | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20161190072 | 2016-04-28 06:30 | DIAZINON | 65078LCM60 | 2.8 | 9 | E | ng/L | 0.87778 | 7.9 | Estimated Values | 2437 | OG | MNI | c | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | DIAZINON | 65078LCM60 | 2.8 | 9 | E | ng/L | 0.99889 | 8.99 | Estimated Values | 2437 | OG | MNI | c | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151900133 | 2015-07-09 08:00 | DIAZINON | 65078LCM60 | 3 | 9.04 | E | ng/L | 1.1726 | 10.6 | Estimated Values | 2437 | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | DIAZINON | 65078LCM60 | 3 | 9.04 | . | ng/L | 1.1394 | 10.3 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160140035 | 2016-01-14 08:00 | DIAZINON | 65078LCM60 | 2.8 | 9.04 | E | ng/L | 0.64823 | 5.86 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | DIAZINON | 65078LCM60 | 2.8 | 9.04 | E | ng/L | 0.78208 | 7.07 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | DIAZINON | 65078LCM60 | 2.8 | 9.04 | E | ng/L | 0.60841 | 5.5 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161050141 | 2016-04-14 08:00 | DIAZINON | 65078LCM60 | 2.8 | 9.04 | E | ng/L | 0.83518 | 7.55 | Estimated Values | 2437 | OG | DME | c | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | DIAZINON | 65078LCM60 | 2.8 | 9.04 | E | ng/L | 0.63938 | 5.78 | Estimated Values | 2437 | OG | DME | c | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20141770144 | 2014-06-26 09:00 | DIAZINON | 65078LCM60 | 3 | 12 | E | ng/L | 0.95 | 11.4 | Estimated Values | 2437 | OG | CAD | c | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20141910245 | 2014-07-10 07:30 | DIAZINON | 65078LCM60 | 3 | 12 | . | ng/L | 1.2333 | 14.8 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143030096 | 2014-10-30 08:00 | DIAZINON | 65078LCM60 | 3 | 12 | E | ng/L | 1.4083 | 16.9 | Estimated Values | 2437 | OG | JLE | c | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143300050 | 2014-11-26 07:30 | DIAZINON | 65078LCM60 | 3 | 12 | E | ng/L | 1.275 | 15.3 | Estimated Values | 2437 | OG | DME | c | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143240094 | 2014-11-19 08:00 | DIAZINON | 65078LCM60 | 3 | 12 | E | ng/L | 1.0333 | 12.4 | Estimated Values | 2437 | OG | DME | c | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20143520108 | 2014-12-18 07:00 | DIAZINON | 65078LCM60 | 3 | 12 | E | ng/L | 1.3167 | 15.8 | Estimated Values | 2437 | OG | DME | c | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142340168 | 2014-08-18 07:15 | DIAZINON | 65078LCM60 | 3 | 12.18 | E | ng/L | 0.63793 | 7.77 | Estimated Values | 2437 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20142760029 | 2014-10-02 07:30 | DIAZINON | 65078LCM60 | 3 | 12.18 | E | ng/L | 0.86207 | 10.5 | Estimated Values | 2437 | OG | LOA | c | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20142960085 | 2014-10-23 07:00 | DIAZINON | 65078LCM60 | 3 | 12.18 | . | ng/L | 0.76355 | 9.3 | Recoverable Result | 2437 | OG | JLE | c | 2014-11-05 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20150360050 | 2015-02-05 07:00 | DIAZINON | 65078LCM60 | 3 | 12.18 | E | ng/L | 0.57143 | 6.96 | Estimated Values | 2437 | OG | MNI | c | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20161880106 | 2016-07-06 07:45 | DIAZINON | 65078LCM60 | 2.8 | 15.04 | E | ng/L | 0.85106 | 12.8 | Estimated Values | 2437 | OG | DME | c | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | DIAZINON | 65078LCM60 | 2.8 | 15.04 | E | ng/L | 0.85771 | 12.9 | Estimated Values | 2437 | OG | DME | c | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | DIAZINON | 65078LCM60 | 2.8 | 15.04 | E | ng/L | 0.83777 | 12.6 | Estimated Values | 2437 | OG | DME | c | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | DIAZINON | 65078LCM60 | 2.8 | 15.04 | E | ng/L | 0.97739 | 14.7 | Estimated Values | 2437 | OG | DME | c | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20163370005 | 2016-11-30 08:00 | DIAZINON | 65078LCM60 | 2.8 | 15.2 | E | ng/L | 0.73684 | 11.2 | Estimated Values | 2437 | K | DME | c | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | DIAZINON | 65078LCM60 | 2.8 | 15.2 | E | ng/L | 0.76974 | 11.7 | Estimated Values | 2437 | K | DME | c | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20152610006 | 2015-09-17 09:30 | DIAZINON | 65078LCM60 | 3 | 36 | . | ng/L | 1.0528 | 37.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | DIAZINON | 65078LCM60 | 3 | 36 | . | ng/L | 1.2028 | 43.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | DIAZINON | 65078LCM60 | 3 | 36 | . | ng/L | 1.1556 | 41.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20153280162 | 2015-11-24 07:00 | DIAZINON | 65078LCM60 | 3 | 36 | E | ng/L | 0.67222 | 24.2 | Estimated Values | 2437 | OG | JLE | c | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | DIAZINON | 65078LCM60 | 3 | 36 | E | ng/L | 0.67222 | 24.2 | Estimated Values | 2437 | OG | JLE | c | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | DIAZINON | 65078LCM60 | 3 | 36 | E | ng/L | 0.64167 | 23.1 | Estimated Values | 2437 | OG | JLE | c | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20152810124 | 2015-10-08 07:00 | DIAZINON | 65078LCM60 | 3 | 36.16 | E | ng/L | 1.3579 | 49.1 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | DIAZINON | 65078LCM60 | 3 | 36.16 | E | ng/L | 1.2472 | 45.1 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | DIAZINON | 65078LCM60 | 3 | 36.16 | E | ng/L | 1.1311 | 40.9 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | DIAZINON | 65078LCM60 | 2.8 | 36.16 | E | ng/L | 0.72456 | 26.2 | Estimated Values | 2437 | OG | MNI | c | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | DIAZINON | 65078LCM60 | 2.8 | 36.16 | E | ng/L | 0.63053 | 22.8 | Estimated Values | 2437 | OG | MNI | c | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | DIAZINON | 65078LCM60 | 2.8 | 36.16 | E | ng/L | 0.70243 | 25.4 | Estimated Values | 2437 | OG | MNI | c | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20133050048 | 2013-10-31 07:30 | DIAZINON | 65078LCM60 | 3 | 70 | E | ng/L | 1.0571 | 74 | Estimated Values | 2437 | OG | LOA | c | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20133580040 | 2013-12-23 08:00 | DIAZINON | 65078LCM60 | 3 | 70 | E | ng/L | 1.0843 | 75.9 | Estimated Values | 2437 | OG | LOA | c | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20140100087 | 2014-01-09 08:00 | DIAZINON | 65078LCM60 | 3 | 70 | E | ng/L | 1.2643 | 88.5 | Estimated Values | 2437 | OG | LKK | c | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20133400005 | 2013-12-05 08:30 | DIAZINON | 65078LCM60 | 3 | 100 | E | ng/L | 1.17 | 117 | Estimated Values | 2437 | OG | MPO | c | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20132630001 | 2013-09-19 08:00 | DIAZINON | 65078LCM60 | 3 | 100.4 | E | ng/L | 1.2351 | 124 | Estimated Values | 2437 | OG | LKK | c | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | DIAZINON | 65078LCM60 | 3 | 100.4 | E | ng/L | 1.1753 | 118 | Estimated Values | 2437 | OG | LKK | c | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20132490346 | 2013-09-06 07:00 | DIAZINON | 65078LCM60 | 3 | 175 | . | ng/L | 1.1029 | 193 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20140370079 | 2014-02-06 08:30 | DIAZINON | 65078LCM60 | 3 | 175 | E | ng/L | 1.2057 | 211 | Estimated Values | 2437 | OG | MPO | c | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20133470005 | 2013-12-12 08:00 | DIAZINON | 65078LCM60 | 3 | 187.5 | E | ng/L | 1.3173 | 247 | Estimated Values | 2437 | OG | MPO | c | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl