## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | DIAZINON OXON | 68236LCM60 | 2014-01-09 08:00 | 20140100087 | 4 | 140 | E | 97.2 | ng/L | 0.69429 | OG | LKK | mc | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-07-10 07:30 | 20141910245 | 4 | 15.93 | E | 13.5 | ng/L | 0.84746 | OG | LKK | mc | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-09-04 08:30 | 20142480004 | 4 | 7.965 | E | 8.28 | ng/L | 1.0395 | OG | CAD | mc | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-10-30 08:00 | 20143030096 | 4 | 15.93 | E | 18.6 | ng/L | 1.1676 | OG | JLE | mc | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-11-26 07:30 | 20143300050 | 4 | 16.05 | E | 6.94 | ng/L | 0.4324 | OG | DME | mc | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-08-14 08:00 | 20142270006 | 4 | 7.965 | E | 5.2 | ng/L | 0.65286 | OG | LKK | mc | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-10-09 07:00 | 20142820153 | 4 | 15.93 | E | 13 | ng/L | 0.81607 | OG | MNI | mc | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-01-29 06:00 | 20150290076 | 4 | 15.99 | E | 8.93 | ng/L | 0.55847 | OG | MNI | mc | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-09-18 07:30 | 20142620041 | 4 | 7.965 | E | 6.46 | ng/L | 0.81105 | OG | MNO | mc | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-11-13 07:30 | 20143180048 | 4 | 15.93 | E | 14.3 | ng/L | 0.89768 | OG | MGN | mc | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-04-02 06:00 | 20150930002 | 4 | 7.965 | E | 6.9 | ng/L | 0.86629 | K | MPO | mc | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-11-30 08:00 | 20163370005 | 4 | 20.08 | E | 31.1 | ng/L | 1.5488 | K | DME | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-11-30 07:30 | 20163370004 | 4 | 20.08 | E | 30.8 | ng/L | 1.5339 | K | DME | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-12-07 09:00 | 20163420124 | 4 | 10.04 | E | 16.1 | ng/L | 1.6036 | OG | DME | mc | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-12-07 08:30 | 20163420125 | 4 | 10.04 | E | 18.8 | ng/L | 1.8725 | OG | DME | mc | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | DIAZINON OXON | 68236LCM60 | 2013-12-12 08:00 | 20133470005 | 4 | 355 | E | 331 | ng/L | 0.93239 | OG | MPO | mc | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-12-03 06:30 | 20143370093 | 4 | 16.05 | E | 8.01 | ng/L | 0.49907 | OG | JLE | mc | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-05-08 06:00 | 20141290002 | 4 | 8.025 | E | 4.54 | ng/L | 0.56573 | OG | MPO | mc | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-05-29 08:30 | 20141490204 | 4 | 32.1 | E | 24.2 | ng/L | 0.75389 | OG | MPO | mc | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-06-12 08:30 | 20141640081 | 4 | 16.05 | E | 10.2 | ng/L | 0.63551 | K | JIV | mc | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-01 07:30 | 20152750009 | 4 | 48 | E | 33.4 | ng/L | 0.69583 | OG | DME | mc | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-01 07:00 | 20152750008 | 4 | 48 | E | 29.8 | ng/L | 0.62083 | OG | DME | mc | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-01 06:30 | 20152750007 | 4 | 48 | E | 41.1 | ng/L | 0.85625 | OG | DME | mc | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | DIAZINON OXON | 68236LCM60 | 2015-11-10 07:30 | 20153160006 | 4 | 6 | E | 8.97 | ng/L | 1.495 | OG | DME | mc | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | DIAZINON OXON | 68236LCM60 | 2015-11-10 07:00 | 20153160005 | 4 | 6 | E | 9.25 | ng/L | 1.5417 | OG | DME | mc | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | DIAZINON OXON | 68236LCM60 | 2015-11-10 06:30 | 20153160004 | 4 | 6 | E | 9.18 | ng/L | 1.53 | OG | DME | mc | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | DIAZINON OXON | 68236LCM60 | 2016-02-18 08:00 | 20160490031 | 4 | 12 | E | 12.9 | ng/L | 1.075 | OG | DME | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | DIAZINON OXON | 68236LCM60 | 2016-02-18 07:30 | 20160490030 | 4 | 12 | E | 16 | ng/L | 1.3333 | OG | DME | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | DIAZINON OXON | 68236LCM60 | 2016-02-18 07:00 | 20160490029 | 4 | 12 | E | 16.4 | ng/L | 1.3667 | OG | DME | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | DIAZINON OXON | 68236LCM60 | 2015-08-06 07:30 | 20152190004 | 4 | 12.18 | E | 10.4 | ng/L | 0.85386 | OG | MPO | mc | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-08-06 07:00 | 20152190005 | 4 | 12.18 | E | 11.3 | ng/L | 0.92775 | OG | MPO | mc | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-08-06 06:30 | 20152190006 | 4 | 12.18 | E | 9.14 | ng/L | 0.75041 | OG | MPO | mc | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-08-20 09:00 | 20152330042 | 4 | 12.18 | E | 6.03 | ng/L | 0.49507 | OG | DME | mc | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-08-20 08:30 | 20152330043 | 4 | 12.18 | E | 10.2 | ng/L | 0.83744 | OG | DME | mc | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-08-20 06:30 | 20152330044 | 4 | 12.18 | E | 7.8 | ng/L | 0.64039 | OG | DME | mc | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-01-07 07:30 | 20160070057 | 4 | 6.09 | E | 4.76 | ng/L | 0.78161 | K | JLE | mc | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-01-07 07:00 | 20160070054 | 4 | 6.09 | E | 4.44 | ng/L | 0.72906 | K | JLE | mc | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-01-07 06:30 | 20160070056 | 4 | 6.09 | E | 4.03 | ng/L | 0.66174 | K | JLE | mc | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-09-17 09:30 | 20152610006 | 4 | 48 | E | 35 | ng/L | 0.72917 | OG | JLE | mc | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | DIAZINON OXON | 68236LCM60 | 2015-09-17 09:00 | 20152610005 | 4 | 48 | E | 40.7 | ng/L | 0.84792 | OG | JLE | mc | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | DIAZINON OXON | 68236LCM60 | 2015-09-17 08:30 | 20152610004 | 4 | 48 | E | 39.9 | ng/L | 0.83125 | OG | JLE | mc | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | DIAZINON OXON | 68236LCM60 | 2015-12-17 07:30 | 20153510113 | 4 | 12 | E | 15.3 | ng/L | 1.275 | OG | MNI | mc | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | DIAZINON OXON | 68236LCM60 | 2015-12-17 07:00 | 20153510111 | 4 | 12 | E | 17.6 | ng/L | 1.4667 | OG | MNI | mc | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | DIAZINON OXON | 68236LCM60 | 2015-12-17 06:30 | 20153510112 | 4 | 12 | E | 14.7 | ng/L | 1.225 | OG | MNI | mc | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | DIAZINON OXON | 68236LCM60 | 2016-03-17 08:00 | 20160770095 | 4 | 6 | E | 8.68 | ng/L | 1.4467 | OG | DME | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | DIAZINON OXON | 68236LCM60 | 2016-03-17 07:30 | 20160770094 | 4 | 6 | E | 7.73 | ng/L | 1.2883 | OG | DME | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | DIAZINON OXON | 68236LCM60 | 2016-03-17 06:30 | 20160770096 | 4 | 6 | E | 6.1 | ng/L | 1.0167 | OG | DME | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-29 07:30 | 20153030065 | 4 | 6 | E | 4.63 | ng/L | 0.77167 | OG | DME | mc | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-29 07:00 | 20153030064 | 4 | 6 | E | 4.81 | ng/L | 0.80167 | OG | DME | mc | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-29 06:30 | 20153030063 | 4 | 6 | E | 4.75 | ng/L | 0.79167 | OG | DME | mc | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-02-04 08:00 | 20160350044 | 4 | 6 | E | 9.62 | ng/L | 1.6033 | OG | DME | mc | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-02-04 07:30 | 20160350042 | 4 | 6 | E | 8.67 | ng/L | 1.445 | OG | DME | mc | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-02-04 07:00 | 20160350043 | 4 | 6 | E | 6.61 | ng/L | 1.1017 | OG | DME | mc | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2013-12-23 08:00 | 20133580040 | 4 | 140 | E | 87.4 | ng/L | 0.62429 | OG | LOA | mc | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-07-24 08:00 | 20142060046 | 4 | 7.965 | E | 5.2 | ng/L | 0.65286 | OG | LKK | mc | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-03-26 06:30 | 20150850163 | 4 | 7.965 | E | 4.68 | ng/L | 0.58757 | OG | MPO | mdc | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-08-07 09:00 | 20142200170 | 4 | 8.025 | E | 4.41 | ng/L | 0.54953 | OG | LKK | mc | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | DIAZINON OXON | 68236LCM60 | 2014-10-02 07:30 | 20142760029 | 4 | 16.05 | E | 10.7 | ng/L | 0.66667 | OG | LOA | mc | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-02-26 06:30 | 20150570010 | 4 | 8.025 | E | 3.05 | ng/L | 0.38006 | OG | SBH | mnc | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-07-16 06:00 | 20151970155 | 4 | 12 | E | 8.28 | ng/L | 0.69 | OG | DME | mc | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-07-23 06:30 | 20152040178 | 4 | 6 | E | 5.66 | ng/L | 0.94333 | OG | MNO | mc | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-12-03 08:00 | 20153370174 | 4 | 12 | E | 15.1 | ng/L | 1.2583 | OG | JLE | mc | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-12-03 07:30 | 20153370175 | 4 | 12 | E | 16.1 | ng/L | 1.3417 | OG | JLE | mc | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-12-03 07:00 | 20153370173 | 4 | 12 | E | 14.7 | ng/L | 1.225 | OG | JLE | mc | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-03-10 08:00 | 20160710224 | 4 | 12 | E | 15.4 | ng/L | 1.2833 | OG | JLE | mc | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-03-10 07:30 | 20160710223 | 4 | 12 | E | 15.8 | ng/L | 1.3167 | OG | JLE | mc | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-03-10 07:00 | 20160710222 | 4 | 12 | E | 15.9 | ng/L | 1.325 | OG | JLE | mc | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-09-10 08:00 | 20152530084 | 4 | 6.09 | E | 3.72 | ng/L | 0.61084 | OG | JLE | mnc | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-09-10 07:30 | 20152530086 | 4 | 6.09 | E | 3.45 | ng/L | 0.5665 | OG | JLE | mnc | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-09-10 07:00 | 20152530085 | 4 | 6.09 | E | 4.18 | ng/L | 0.68637 | OG | JLE | mc | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-22 07:30 | 20152950083 | 4 | 12.18 | E | 8.27 | ng/L | 0.67898 | OG | DME | mc | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-22 07:00 | 20152950081 | 4 | 12.18 | E | 8.29 | ng/L | 0.68062 | OG | DME | mc | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-22 06:30 | 20152950082 | 4 | 12.18 | E | 7.77 | ng/L | 0.63793 | OG | DME | mc | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-01-28 07:00 | 20160280055 | 4 | 6.09 | E | 5.58 | ng/L | 0.91626 | OG | DME | mc | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-01-28 06:30 | 20160280059 | 4 | 6.09 | E | 4.74 | ng/L | 0.77833 | OG | DME | mc | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-01-28 06:00 | 20160280058 | 4 | 6.09 | E | 7.63 | ng/L | 1.2529 | OG | DME | mc | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-08-27 08:00 | 20152390229 | 4 | 12.18 | E | 8.7 | ng/L | 0.71429 | OG | DME | mc | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-08-27 07:30 | 20152390230 | 4 | 12.18 | E | 7.96 | ng/L | 0.65353 | OG | DME | mc | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-08-27 07:00 | 20152390225 | 4 | 12.18 | E | 8.56 | ng/L | 0.70279 | OG | DME | mc | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-11-19 08:00 | 20153230142 | 4 | 6.09 | E | 4.47 | ng/L | 0.73399 | OG | DME | mc | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-11-19 07:30 | 20153230143 | 4 | 6.09 | E | 5.9 | ng/L | 0.9688 | OG | DME | mc | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-11-19 07:00 | 20153230141 | 4 | 6.09 | E | 6.15 | ng/L | 1.0099 | OG | DME | mc | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-02-25 07:30 | 20160560058 | 4 | 6.09 | E | 7.48 | ng/L | 1.2282 | OG | DME | mc | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-02-25 07:00 | 20160560057 | 4 | 6.09 | E | 6.91 | ng/L | 1.1346 | OG | DME | mc | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-02-25 06:30 | 20160560056 | 4 | 6.09 | E | 5.48 | ng/L | 0.89984 | OG | DME | mc | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-04-28 06:30 | 20161190072 | 4 | 12.18 | E | 9.88 | ng/L | 0.81117 | OG | MNI | mc | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-04-28 06:00 | 20161190071 | 4 | 12.18 | E | 12.9 | ng/L | 1.0591 | OG | MNI | mc | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-07-30 08:00 | 20152110201 | 4 | 6.09 | E | 5.67 | ng/L | 0.93103 | OG | MPO | mc | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-07-30 07:30 | 20152110200 | 4 | 6.09 | E | 5.66 | ng/L | 0.92939 | OG | MPO | mc | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-07-30 07:00 | 20152110202 | 4 | 6.09 | E | 4.87 | ng/L | 0.79967 | OG | MPO | mc | 2015-08-13 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-08 07:00 | 20152810124 | 4 | 48.72 | E | 36 | ng/L | 0.73892 | OG | DME | mc | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-08 06:30 | 20152810125 | 4 | 48.72 | E | 31.6 | ng/L | 0.6486 | OG | DME | mc | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | DIAZINON OXON | 68236LCM60 | 2015-10-08 06:00 | 20152810123 | 4 | 48.72 | E | 28.7 | ng/L | 0.58908 | OG | DME | mc | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-01-14 08:00 | 20160140035 | 4 | 12.18 | E | 9.9 | ng/L | 0.81281 | K | DME | mc | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-01-14 07:30 | 20160140036 | 4 | 12.18 | E | 11.5 | ng/L | 0.94417 | K | DME | mc | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-01-14 07:00 | 20160140037 | 4 | 12.18 | E | 10.7 | ng/L | 0.87849 | K | DME | mc | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | DIAZINON OXON | 68236LCM60 | 2013-09-06 07:00 | 20132490346 | 4 | 350 | E | 229 | ng/L | 0.65429 | OG | LKK | @mc | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | DIAZINON OXON | 68236LCM60 | 2014-02-06 08:30 | 20140370079 | 4 | 350 | E | 222 | ng/L | 0.63429 | OG | MPO | mc | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | DIAZINON OXON | 68236LCM60 | 2013-10-31 07:30 | 20133050048 | 4 | 140 | E | 85.5 | ng/L | 0.61071 | OG | LOA | mc | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-11-02 08:30 | 20163070100 | 4 | 10.04 | E | 17.7 | ng/L | 1.7629 | K | DME | mc | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-11-02 08:00 | 20163070099 | 4 | 10.04 | E | 17.8 | ng/L | 1.7729 | K | DME | mc | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | DIAZINON OXON | 68236LCM60 | 2016-06-22 07:30 | 20161740281 | 4 | 10 | E | 13.5 | ng/L | 1.35 | OG | JLE | mc | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | DIAZINON OXON | 68236LCM60 | 2016-06-22 07:15 | 20161740280 | 4 | 10 | E | 12.6 | ng/L | 1.26 | OG | JLE | mc | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154