## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20140300037 | 2014-01-30 09:00 | DIFLUBENZURON | 68576LCM60 | 6 |  | . | ng/L |  | 1 | False Positive | 2437 | OG | MPO | bt | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20150150114 | 2015-01-15 07:00 | DIFLUBENZURON | 68576LCM60 | 6 |  | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | DIFLUBENZURON | 68576LCM60 | 6 | 30.4 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | DIFLUBENZURON | 68576LCM60 | 6 | 30.4 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152110201 | 2015-07-30 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 1.0567 | 9.51 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 0.94667 | 8.52 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 0.76556 | 6.89 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | E | ng/L | 0.89111 | 8.02 | Estimated Values | 2437 | OG | JLE | i | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | E | ng/L | 0.81444 | 7.33 | Estimated Values | 2437 | OG | JLE | i | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | E | ng/L | 0.85444 | 7.69 | Estimated Values | 2437 | OG | JLE | i | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 0.76333 | 6.87 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 0.86556 | 7.79 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 0.87667 | 7.89 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 1.1067 | 9.96 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 0.93444 | 8.41 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 0.84333 | 7.59 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 0.71444 | 6.43 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 0.67556 | 6.08 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 0.51111 | 4.6 | Recoverable Result | 2437 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 1.1333 | 10.2 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 0.97444 | 8.77 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9 | . | ng/L | 1.2222 | 11 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | E | ng/L | 1.1758 | 10.7 | Estimated Values | 2437 | OG | MNO | c | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 1.2308 | 11.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 1.0945 | 9.96 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 1.0956 | 9.97 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 1.0132 | 9.22 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 1.0703 | 9.74 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 0.95055 | 8.65 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 0.75165 | 6.84 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 0.68022 | 6.19 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 0.77363 | 7.04 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 0.77033 | 7.01 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 1.0967 | 9.98 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 9.1 | . | ng/L | 0.65055 | 5.92 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142130132 | 2014-07-31 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 12.03 | . | ng/L | 0.98088 | 11.8 | Recoverable Result | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142270006 | 2014-08-14 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 12.03 | . | ng/L | 1.0141 | 12.2 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20150650041 | 2015-03-05 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 12.03 | . | ng/L | 0.88944 | 10.7 | Recoverable Result | 2437 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20151110018 | 2015-04-16 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 12.03 | . | ng/L | 1.1887 | 14.3 | Recoverable Result | 2437 | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20141290002 | 2014-05-08 06:00 | DIFLUBENZURON | 68576LCM60 | 6 | 12.21 | . | ng/L | 1.2203 | 14.9 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20141990082 | 2014-07-17 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 12.21 | . | ng/L | 1.0401 | 12.7 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142470035 | 2014-09-03 07:45 | DIFLUBENZURON | 68576LCM60 | 6 | 12.21 | . | ng/L | 0.9828 | 12 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20142620041 | 2014-09-18 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 12.21 | E | ng/L | 0.66257 | 8.09 | Estimated Values | 2437 | OG | MNO | v | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20142720026 | 2014-09-25 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 12.21 | . | ng/L | 0.97461 | 11.9 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150930002 | 2015-04-02 06:00 | DIFLUBENZURON | 68576LCM60 | 6 | 12.21 | . | ng/L | 1.0893 | 13.3 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20163070100 | 2016-11-02 08:30 | DIFLUBENZURON | 68576LCM60 | 6 | 14.88 | . | ng/L | 0.9879 | 14.7 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 14.88 | . | ng/L | 1.0081 | 15 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163420124 | 2016-12-07 09:00 | DIFLUBENZURON | 68576LCM60 | 6 | 14.88 | . | ng/L | 1.0417 | 15.5 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | DIFLUBENZURON | 68576LCM60 | 6 | 14.88 | . | ng/L | 1.0148 | 15.1 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20161740281 | 2016-06-22 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 15.2 | . | ng/L | 0.36382 | 5.53 | Recoverable Result | 2437 | OG | JLE | n | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | DIFLUBENZURON | 68576LCM60 | 6 | 15.2 | . | ng/L | 0.45395 | 6.9 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20152190004 | 2015-08-06 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.99444 | 17.9 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.98889 | 17.8 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.77222 | 13.9 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.85556 | 15.4 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.73889 | 13.3 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.90556 | 16.3 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.87222 | 15.7 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.89444 | 16.1 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.48833 | 8.79 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.84444 | 15.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.9 | 16.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.81111 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 1.0444 | 18.8 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.65556 | 11.8 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.83333 | 15 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.76111 | 13.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18 | . | ng/L | 0.52222 | 9.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 1.0165 | 18.5 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 0.86813 | 15.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 0.8022 | 14.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 1.0549 | 19.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 0.71978 | 13.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 0.84066 | 15.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 0.77473 | 14.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 0.74176 | 13.5 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 0.78571 | 14.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 0.92857 | 16.9 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 0.93956 | 17.1 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 1.0055 | 18.3 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 18.2 | . | ng/L | 1.0055 | 18.3 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141770144 | 2014-06-26 09:00 | DIFLUBENZURON | 68576LCM60 | 6 | 24.06 | . | ng/L | 0.98919 | 23.8 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142820153 | 2014-10-09 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 24.06 | . | ng/L | 1.1845 | 28.5 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20142960085 | 2014-10-23 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 24.06 | . | ng/L | 1.0349 | 24.9 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20143370093 | 2014-12-03 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 24.06 | . | ng/L | 1.0806 | 26 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20143520108 | 2014-12-18 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 24.06 | . | ng/L | 0.91022 | 21.9 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20150360050 | 2015-02-05 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 24.06 | . | ng/L | 0.97257 | 23.4 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20141640081 | 2014-06-12 08:30 | DIFLUBENZURON | 68576LCM60 | 6 | 24.42 | . | ng/L | 1.0033 | 24.5 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142340168 | 2014-08-18 07:15 | DIFLUBENZURON | 68576LCM60 | 6 | 24.42 | E | ng/L | 0.7412 | 18.1 | Estimated Values | 2437 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20143180048 | 2014-11-13 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 24.42 | . | ng/L | 1.0688 | 26.1 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20143240094 | 2014-11-19 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 24.42 | . | ng/L | 0.94185 | 23 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20163370005 | 2016-11-30 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 29.76 | . | ng/L | 0.89382 | 26.6 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 29.76 | . | ng/L | 0.94086 | 28 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20162660010 | 2016-09-21 08:30 | DIFLUBENZURON | 68576LCM60 | 6 | 38 | . | ng/L | 0.78684 | 29.9 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | DIFLUBENZURON | 68576LCM60 | 6 | 38 | . | ng/L | 0.84474 | 32.1 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20141490204 | 2014-05-29 08:30 | DIFLUBENZURON | 68576LCM60 | 6 | 48.84 | E | ng/L | 1.1425 | 55.8 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 72 | . | ng/L | 0.82639 | 59.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 72 | . | ng/L | 0.81389 | 58.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | DIFLUBENZURON | 68576LCM60 | 6 | 72 | . | ng/L | 0.79722 | 57.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | DIFLUBENZURON | 68576LCM60 | 6 | 72.8 | . | ng/L | 0.95192 | 69.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | DIFLUBENZURON | 68576LCM60 | 6 | 72.8 | . | ng/L | 0.86951 | 63.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | DIFLUBENZURON | 68576LCM60 | 6 | 72.8 | . | ng/L | 1.0027 | 73 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | DIFLUBENZURON | 68576LCM60 | 6 | 72.8 | . | ng/L | 0.79121 | 57.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | DIFLUBENZURON | 68576LCM60 | 6 | 72.8 | . | ng/L | 0.75824 | 55.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | DIFLUBENZURON | 68576LCM60 | 6 | 72.8 | . | ng/L | 0.68819 | 50.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8