## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20150930002 | 2015-04-02 06:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 175.65 | < | ng/L |  |  | False Negative | 2437 | VA | VKJ |  | 2015-04-07 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20163070100 | 2016-11-02 08:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 220.96 | < | ng/L |  |  | False Negative | 2437 | VA | SBH | mc | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 220.96 | < | ng/L |  |  | False Negative | 2437 | VA | SBH | mc | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163420124 | 2016-12-07 09:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 220.96 | < | ng/L |  |  | False Negative | 2437 | VA | SBH | mc | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 220.96 | < | ng/L |  |  | False Negative | 2437 | VA | SBH | mc | 2016-12-13 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163370005 | 2016-11-30 08:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 441.92 | < | ng/L |  |  | False Negative | 2437 | VA | SBH | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 441.92 | < | ng/L |  |  | False Negative | 2437 | VA | SBH | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20152040178 | 2015-07-23 06:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 131 | . | ng/L | 0.74504 | 97.6 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-03 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20152530084 | 2015-09-10 08:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 131 | . | ng/L | 0.22748 | 29.8 | Recoverable Result | 2437 | VA | SBH | t | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 131 | . | ng/L | 0.53664 | 70.3 | Recoverable Result | 2437 | VA | SBH | n | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 131 | . | ng/L | 0.54656 | 71.6 | Recoverable Result | 2437 | VA | SBH | n | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152670139 | 2015-09-24 08:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 131 | . | ng/L | 0.69313 | 90.8 | Recoverable Result | 2437 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 131 | . | ng/L | 0.70229 | 92 | Recoverable Result | 2437 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 131 | . | ng/L | 0.59771 | 78.3 | Recoverable Result | 2437 | VA | VKJ | n | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153090114 | 2015-11-05 08:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 131 | . | ng/L | 1.1679 | 153 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 131 | . | ng/L | 1.0687 | 140 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 131 | . | ng/L | 1.0916 | 143 | Recoverable Result | 2437 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160280055 | 2016-01-28 07:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 131 | E | ng/L | 0.64046 | 83.9 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 131 | E | ng/L | 0.71756 | 94 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 131 | E | ng/L | 0.64962 | 85.1 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152890012 | 2015-10-15 08:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 132.3 | . | ng/L | 0.74754 | 98.9 | Recoverable Result | 2437 | VA | AWH |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 132.3 | . | ng/L | 0.61376 | 81.2 | Recoverable Result | 2437 | VA | AWH | n | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 132.3 | . | ng/L | 0.55782 | 73.8 | Recoverable Result | 2437 | VA | AWH | n | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153160006 | 2015-11-10 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 132.3 | . | ng/L | 0.42328 | 56 | Recoverable Result | 2437 | VA | VKJ | n | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 132.3 | . | ng/L | 0.55253 | 73.1 | Recoverable Result | 2437 | VA | VKJ | n | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 132.3 | . | ng/L | 0.5994 | 79.3 | Recoverable Result | 2437 | VA | VKJ | n | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160070057 | 2016-01-07 07:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 132.3 | E | ng/L | 0.4006 | 53 | Estimated Values | 2437 | VA | AWH | mnc | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 132.3 | E | ng/L | 0.53666 | 71 | Estimated Values | 2437 | VA | AWH | mnc | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 132.3 | E | ng/L | 0.39834 | 52.7 | Estimated Values | 2437 | VA | AWH | mnc | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160210084 | 2016-01-21 08:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 132.3 | E | ng/L | 0.34618 | 45.8 | Estimated Values | 2437 | VA | AWH | mnc | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 132.3 | E | ng/L | 0.38927 | 51.5 | Estimated Values | 2437 | VA | AWH | mnc | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 132.3 | E | ng/L | 0.45276 | 59.9 | Estimated Values | 2437 | VA | AWH | mnc | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160430108 | 2016-02-11 08:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 132.3 | E | ng/L | 0.42933 | 56.8 | Estimated Values | 2437 | VA | VKJ | mnc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 132.3 | E | ng/L | 0.54573 | 72.2 | Estimated Values | 2437 | VA | VKJ | mc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 132.3 | E | ng/L | 0.47468 | 62.8 | Estimated Values | 2437 | VA | VKJ | mnc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20141290002 | 2014-05-08 06:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 175.65 | . | ng/L | 0.99061 | 174 | Recoverable Result | 2437 | OG | CAD |  | 2014-05-21 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20141990082 | 2014-07-17 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 175.65 | . | ng/L | 1.1159 | 196 | Recoverable Result | 2437 | VA | VKJ |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142470035 | 2014-09-03 07:45 | DIFLUFENZOPYR | 68577LCM60 | 88 | 175.65 | E | ng/L | 0.79135 | 139 | Estimated Values | 2437 | VA | KLE | c | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20142620041 | 2014-09-18 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 175.65 | . | ng/L | 0.88813 | 156 | Recoverable Result | 2437 | VA | KLE |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20142720026 | 2014-09-25 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 175.65 | . | ng/L | 0.5232 | 91.9 | Recoverable Result | 2437 | VA | KLE |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142130132 | 2014-07-31 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 180.795 | . | ng/L | 1.5819 | 286 | Recoverable Result | 2437 | VA | KLE |  | 2014-08-11 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142270006 | 2014-08-14 08:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 180.795 | . | ng/L | 1.0841 | 196 | Recoverable Result | 2437 | VA | KLE |  | 2014-08-19 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20150650041 | 2015-03-05 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 180.795 | . | ng/L | 0.94029 | 170 | Recoverable Result | 2437 | VA | SBH |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20151110018 | 2015-04-16 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 180.795 | . | ng/L | 1.062 | 192 | Recoverable Result | 2437 | VA | AWH |  | 2015-04-27 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20161740281 | 2016-06-22 07:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 220 | E | ng/L | 0.22045 | 48.5 | Estimated Values | 2437 | VA | VKJ | mnc | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | DIFLUFENZOPYR | 68577LCM60 | 72 | 220 | E | ng/L | 0.24455 | 53.8 | Estimated Values | 2437 | VA | VKJ | mnc | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20152460212 | 2015-09-03 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 262 | E | ng/L | 0.36298 | 95.1 | Estimated Values | 2437 | VA | SBH | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 262 | E | ng/L | 1.0458 | 274 | Estimated Values | 2437 | VA | SBH | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 262 | E | ng/L | 0.68702 | 180 | Estimated Values | 2437 | VA | SBH | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152950083 | 2015-10-22 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 262 | . | ng/L | 1.1183 | 293 | Recoverable Result | 2437 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 262 | . | ng/L | 0.83206 | 218 | Recoverable Result | 2437 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 262 | . | ng/L | 1.1527 | 302 | Recoverable Result | 2437 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20153370174 | 2015-12-03 08:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 262 | . | ng/L | 0.77099 | 202 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 262 | . | ng/L | 0.62977 | 165 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 262 | . | ng/L | 0.82443 | 216 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160630048 | 2016-03-03 07:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 262 | . | ng/L | 0.67557 | 177 | Recoverable Result | 2437 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 262 | . | ng/L | 0.71374 | 187 | Recoverable Result | 2437 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 262 | . | ng/L | 0.70611 | 185 | Recoverable Result | 2437 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160710224 | 2016-03-10 08:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 262 | E | ng/L | 0.67939 | 178 | Estimated Values | 2437 | VA | AWH | mc | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 262 | E | ng/L | 0.67939 | 178 | Estimated Values | 2437 | VA | AWH | mc | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 262 | E | ng/L | 0.59924 | 157 | Estimated Values | 2437 | VA | AWH | mc | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20161050141 | 2016-04-14 08:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 262 | E | ng/L | 0.71756 | 188 | Estimated Values | 2437 | VA | AWH | mc | 2016-05-05 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 262 | E | ng/L | 0.60305 | 158 | Estimated Values | 2437 | VA | AWH | mc | 2016-05-05 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20151820108 | 2015-07-01 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 264.6 | . | ng/L | 0.89569 | 237 | Recoverable Result | 2437 | VA | VKJ |  | 2015-07-14 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20151900133 | 2015-07-09 08:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 264.6 | . | ng/L | 0.77853 | 206 | Recoverable Result | 2437 | VA | AWH |  | 2015-07-17 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20152190004 | 2015-08-06 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 264.6 | . | ng/L | 0.75208 | 199 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 264.6 | . | ng/L | 0.91459 | 242 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 264.6 | . | ng/L | 0.65382 | 173 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152250275 | 2015-08-13 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 264.6 | . | ng/L | 0.46107 | 122 | Recoverable Result | 2437 | VA | AWH |  | 2015-08-18 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 264.6 | . | ng/L | 0.91459 | 242 | Recoverable Result | 2437 | VA | AWH |  | 2015-08-18 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250277 | 2015-08-13 08:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 264.6 | . | ng/L | 0.69161 | 183 | Recoverable Result | 2437 | VA | AWH |  | 2015-08-20 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152330042 | 2015-08-20 09:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 264.6 | . | ng/L | 1.3946 | 369 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 264.6 | . | ng/L | 1.4248 | 377 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 264.6 | . | ng/L | 0.73696 | 195 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20160490031 | 2016-02-18 08:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 264.6 | E | ng/L | 0.42328 | 112 | Estimated Values | 2437 | VA | SBH | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 264.6 | E | ng/L | 0.40438 | 107 | Estimated Values | 2437 | VA | SBH | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 264.6 | E | ng/L | 0.50265 | 133 | Estimated Values | 2437 | VA | SBH | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20141640081 | 2014-06-12 08:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 351.3 | . | ng/L | 1.5628 | 549 | Recoverable Result | 2437 | VA | VKJ |  | 2014-06-25 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142340168 | 2014-08-18 07:15 | DIFLUFENZOPYR | 68577LCM60 | 88 | 351.3 | . | ng/L | 0.46114 | 162 | Recoverable Result | 2437 | VA | KLE | @c | 2014-09-03 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20143180048 | 2014-11-13 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 351.3 | . | ng/L | 0.60632 | 213 | Recoverable Result | 2437 | VA | VKJ |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20143240094 | 2014-11-19 08:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 351.3 | . | ng/L | 0.48676 | 171 | Recoverable Result | 2437 | VA | MGN |  | 2014-12-03 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20141770144 | 2014-06-26 09:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 361.59 | . | ng/L | 0.84073 | 304 | Recoverable Result | 2437 | VA | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142820153 | 2014-10-09 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 361.59 | . | ng/L | 0.95135 | 344 | Recoverable Result | 2437 | VA | CAD |  | 2014-10-20 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20142960085 | 2014-10-23 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 361.59 | . | ng/L | 1.1837 | 428 | Recoverable Result | 2437 | VA | CAD |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20143370093 | 2014-12-03 06:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 361.59 | . | ng/L | 1.0177 | 368 | Recoverable Result | 2437 | VA | JIV |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20143520108 | 2014-12-18 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 361.59 | . | ng/L | 0.5946 | 215 | Recoverable Result | 2437 | VA | MGN |  | 2014-12-30 | Abs 042314: 30 µl & Abs 042914: 30 µl
20150360050 | 2015-02-05 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 361.59 | . | ng/L | 1.8142 | 656 | Recoverable Result | 2437 | VA | MGN |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20161820007 | 2016-06-29 09:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 440 | . | ng/L | 0.32955 | 145 | Recoverable Result | 2437 | VA | SBH |  | 2016-07-22 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820006 | 2016-06-29 09:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 440 | . | ng/L | 0.27955 | 123 | Recoverable Result | 2437 | VA | SBH |  | 2016-07-22 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20162660010 | 2016-09-21 08:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 550 | E | ng/L | 0.54364 | 299 | Estimated Values | 2437 | VA | SBH | mc | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 550 | E | ng/L | 0.38 | 209 | Estimated Values | 2437 | VA | SBH | mc | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20141490204 | 2014-05-29 08:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 702.6 | . | ng/L | 0.88101 | 619 | Recoverable Result | 2437 | VA | KLE |  | 2014-06-10 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20153280162 | 2015-11-24 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 1048 | . | ng/L | 0.66794 | 700 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 1048 | . | ng/L | 0.76718 | 804 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 1048 | . | ng/L | 0.78817 | 826 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153640100 | 2015-12-30 08:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 1048 | . | ng/L | 0.57252 | 600 | Recoverable Result | 2437 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | DIFLUFENZOPYR | 68577LCM60 | 72 | 1048 | . | ng/L | 0.62405 | 654 | Recoverable Result | 2437 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | DIFLUFENZOPYR | 68577LCM60 | 72 | 1048 | . | ng/L | 0.6145 | 644 | Recoverable Result | 2437 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20152750009 | 2015-10-01 07:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 1058.4 | . | ng/L | 0.54044 | 572 | Recoverable Result | 2437 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | DIFLUFENZOPYR | 68577LCM60 | 88 | 1058.4 | . | ng/L | 0.49131 | 520 | Recoverable Result | 2437 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | DIFLUFENZOPYR | 68577LCM60 | 88 | 1058.4 | . | ng/L | 0.58201 | 616 | Recoverable Result | 2437 | VA | VKJ |  | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8