## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20140100087 | 2014-01-09 08:00 | DIMETHENAMID | 68580LCM60 | 3 |  | . | ng/L |  | 0.45 | False Positive | 2437 | OG | LKK | bt | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20150150114 | 2015-01-15 07:00 | DIMETHENAMID | 68580LCM60 | 3 |  | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152190006 | 2015-08-06 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 9 | < | ng/L |  |  | False Negative | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20163420124 | 2016-12-07 09:00 | DIMETHENAMID | 68580LCM60 | 3 | 211.6 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | DIMETHENAMID | 68580LCM60 | 3 | 211.6 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20161820006 | 2016-06-29 09:00 | DIMETHENAMID | 68580LCM60 | 3 | 423.2 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | DIMETHENAMID | 68580LCM60 | 3 | 423.2 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20162660010 | 2016-09-21 08:30 | DIMETHENAMID | 68580LCM60 | 3 | 531 | < | ng/L |  |  | False Negative | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 531 | < | ng/L |  |  | False Negative | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20153160006 | 2015-11-10 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 4.5 | . | ng/L | 0.85333 | 3.84 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 4.5 | . | ng/L | 0.79778 | 3.59 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 4.5 | . | ng/L | 0.75556 | 3.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160070057 | 2016-01-07 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 4.5 | . | ng/L | 0.78667 | 3.54 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 4.5 | . | ng/L | 0.75333 | 3.39 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 4.5 | . | ng/L | 0.75111 | 3.38 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160210084 | 2016-01-21 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 4.5 | E | ng/L | 1.1089 | 4.99 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 4.5 | E | ng/L | 1.0978 | 4.94 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 4.5 | E | ng/L | 1.0533 | 4.74 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20152040178 | 2015-07-23 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 4.52 | . | ng/L | 0.90929 | 4.11 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20152530084 | 2015-09-10 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 4.52 | . | ng/L | 0.79646 | 3.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 4.52 | . | ng/L | 1 | 4.52 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 4.52 | . | ng/L | 0.90708 | 4.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152670139 | 2015-09-24 08:30 | DIMETHENAMID | 68580LCM60 | 3 | 4.52 | . | ng/L | 0.92257 | 4.17 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 4.52 | . | ng/L | 0.83407 | 3.77 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 4.52 | . | ng/L | 0.84292 | 3.81 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20160280055 | 2016-01-28 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 4.52 | . | ng/L | 0.78761 | 3.56 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 4.52 | . | ng/L | 1.031 | 4.66 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | DIMETHENAMID | 68580LCM60 | 3 | 4.52 | . | ng/L | 0.82743 | 3.74 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20141290002 | 2014-05-08 06:00 | DIMETHENAMID | 68580LCM60 | 3 | 6 | . | ng/L | 1.05 | 6.3 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20141990082 | 2014-07-17 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 6 | . | ng/L | 0.92 | 5.52 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142470035 | 2014-09-03 07:45 | DIMETHENAMID | 68580LCM60 | 3 | 6 | . | ng/L | 1.155 | 6.93 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20142620041 | 2014-09-18 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 6 | . | ng/L | 0.74333 | 4.46 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20142720026 | 2014-09-25 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 6 | . | ng/L | 0.84667 | 5.08 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150930002 | 2015-04-02 06:00 | DIMETHENAMID | 68580LCM60 | 3 | 6 | . | ng/L | 0.985 | 5.91 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20142130132 | 2014-07-31 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 6.03 | . | ng/L | 0.92206 | 5.56 | Recoverable Result | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142270006 | 2014-08-14 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 6.03 | . | ng/L | 1.0415 | 6.28 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20150650041 | 2015-03-05 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 6.03 | . | ng/L | 1.2471 | 7.52 | Recoverable Result | 2437 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20151110018 | 2015-04-16 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 6.03 | . | ng/L | 1.1692 | 7.05 | Recoverable Result | 2437 | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20161740281 | 2016-06-22 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 7.44 | . | ng/L | 0.34812 | 2.59 | Recoverable Result | 2437 | OG | JLE | n | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | DIMETHENAMID | 68580LCM60 | 3 | 7.44 | . | ng/L | 0.41801 | 3.11 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100010 | 2016-07-27 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 7.44 | . | ng/L | 0.75134 | 5.59 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | DIMETHENAMID | 68580LCM60 | 3 | 7.44 | . | ng/L | 0.93548 | 6.96 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 7.44 | . | ng/L | 0.87231 | 6.49 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 7.44 | . | ng/L | 0.77419 | 5.76 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20151820108 | 2015-07-01 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 1.0078 | 9.07 | Recoverable Result | 2437 | OG | MNO |  | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20152190004 | 2015-08-06 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 0.92889 | 8.36 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 0.76333 | 6.87 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152250277 | 2015-08-13 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 0.63222 | 5.69 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 0.57889 | 5.21 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 0.54222 | 4.88 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152330042 | 2015-08-20 09:00 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 0.72667 | 6.54 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 0.79111 | 7.12 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 0.77333 | 6.96 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20160490031 | 2016-02-18 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 0.70444 | 6.34 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 0.78889 | 7.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 9 | . | ng/L | 0.78444 | 7.06 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20152950083 | 2015-10-22 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.75885 | 6.86 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.90819 | 8.21 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.76549 | 6.92 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20153370174 | 2015-12-03 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.70243 | 6.35 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.57412 | 5.19 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.67035 | 6.06 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160630048 | 2016-03-03 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.71571 | 6.47 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.64049 | 5.79 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.67588 | 6.11 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160710224 | 2016-03-10 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.90044 | 8.14 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.86283 | 7.8 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 9.04 | . | ng/L | 0.75111 | 6.79 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141640081 | 2014-06-12 08:30 | DIMETHENAMID | 68580LCM60 | 3 | 12 | . | ng/L | 0.91667 | 11 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142340168 | 2014-08-18 07:15 | DIMETHENAMID | 68580LCM60 | 3 | 12 | E | ng/L | 0.78167 | 9.38 | Estimated Values | 2437 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20143180048 | 2014-11-13 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 12 | . | ng/L | 0.86667 | 10.4 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20143240094 | 2014-11-19 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 12 | . | ng/L | 0.85833 | 10.3 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20141770144 | 2014-06-26 09:00 | DIMETHENAMID | 68580LCM60 | 3 | 12.06 | . | ng/L | 1.1111 | 13.4 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142820153 | 2014-10-09 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 12.06 | . | ng/L | 1.3184 | 15.9 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20142960085 | 2014-10-23 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 12.06 | . | ng/L | 0.96186 | 11.6 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20143370093 | 2014-12-03 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 12.06 | . | ng/L | 1.0448 | 12.6 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20143520108 | 2014-12-18 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 12.06 | . | ng/L | 0.96186 | 11.6 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20150360050 | 2015-02-05 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 12.06 | . | ng/L | 1.1028 | 13.3 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20161880111 | 2016-07-06 07:15 | DIMETHENAMID | 68580LCM60 | 3 | 14.88 | . | ng/L | 0.75269 | 11.2 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 14.88 | . | ng/L | 0.9543 | 14.2 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20163370005 | 2016-11-30 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 15.28 | . | ng/L | 0.92277 | 14.1 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 15.28 | . | ng/L | 0.8966 | 13.7 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20141490204 | 2014-05-29 08:30 | DIMETHENAMID | 68580LCM60 | 3 | 24 | E | ng/L | 0.97083 | 23.3 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152750009 | 2015-10-01 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 36 | . | ng/L | 0.83056 | 29.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 36 | . | ng/L | 0.66667 | 24 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 36 | . | ng/L | 0.76944 | 27.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20153280162 | 2015-11-24 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 36.16 | . | ng/L | 0.76881 | 27.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 36.16 | . | ng/L | 0.85177 | 30.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | DIMETHENAMID | 68580LCM60 | 3 | 36.16 | . | ng/L | 0.78263 | 28.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20141010010 | 2014-04-10 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 124.125 | . | ng/L | 0.85398 | 106 | Recoverable Result | 2437 | OG | LKK |  | 2014-04-24 | ERA 0912-13-03: 25 µl
20141150010 | 2014-04-24 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 198.6 | . | ng/L | 0.78046 | 155 | Recoverable Result | 2437 | OG | LKK |  | 2014-05-03 | ERA 0912-13-03: 20 µl
20162100011 | 2016-07-27 07:15 | DIMETHENAMID | 68580LCM60 | 3 | 211.6 | . | ng/L | 0.026607 | 5.63 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 212.4 | . | ng/L | 0.028625 | 6.08 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | DIMETHENAMID | 68580LCM60 | 3 | 219.24 | . | ng/L | 0.034665 | 7.6 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | DIMETHENAMID | 68580LCM60 | 3 | 219.24 | . | ng/L | 0.028188 | 6.18 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20141360090 | 2014-05-16 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 248.25 | . | ng/L | 1.0272 | 255 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-29 | ERA 0912-13-03: 25 µl
20141570091 | 2014-06-05 08:30 | DIMETHENAMID | 68580LCM60 | 3 | 248.25 | . | ng/L | 0.93857 | 233 | Recoverable Result | 2437 | OG | MPO |  | 2014-06-18 | ERA 0912-13-03: 25 µl
20161880106 | 2016-07-06 07:45 | DIMETHENAMID | 68580LCM60 | 3 | 423.2 | . | ng/L | 0.028119 | 11.9 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | DIMETHENAMID | 68580LCM60 | 3 | 424.8 | . | ng/L | 0.033192 | 14.1 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20141420138 | 2014-05-22 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 496.5 | . | ng/L | 0.82578 | 410 | Recoverable Result | 2437 | K | MPO | d | 2014-06-05 | ERA 0912-13-03: 50 µl
20141710106 | 2014-06-19 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 496.5 | . | ng/L | 1.0574 | 525 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-02 | ERA 0912-13-03: 50 µl
20152110201 | 2015-07-30 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 755 | . | ng/L | 1.0689 | 807 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 755 | . | ng/L | 0.89669 | 677 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 755 | . | ng/L | 0.99735 | 753 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20153030065 | 2015-10-29 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 755 | . | ng/L | 0.82649 | 624 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 755 | . | ng/L | 0.87682 | 662 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 755 | . | ng/L | 0.92185 | 696 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350044 | 2016-02-04 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 755 | . | ng/L | 1.0742 | 811 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 755 | . | ng/L | 1 | 755 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 755 | . | ng/L | 1.053 | 795 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 759.5 | . | ng/L | 0.84661 | 643 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 759.5 | . | ng/L | 0.83739 | 636 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 759.5 | . | ng/L | 0.80448 | 611 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430108 | 2016-02-11 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 759.5 | . | ng/L | 1.1099 | 843 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 759.5 | . | ng/L | 0.94404 | 717 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 759.5 | . | ng/L | 0.92298 | 701 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153090114 | 2015-11-05 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 759.52 | . | ng/L | 0.77812 | 591 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 759.52 | . | ng/L | 0.73862 | 561 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 759.52 | . | ng/L | 0.80182 | 609 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20151970155 | 2015-07-16 06:00 | DIMETHENAMID | 68580LCM60 | 3 | 1510 | . | ng/L | 0.90066 | 1360 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160140035 | 2016-01-14 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 1510 | . | ng/L | 0.76159 | 1150 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 1510 | . | ng/L | 0.87417 | 1320 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 1510 | . | ng/L | 0.84768 | 1280 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20151900133 | 2015-07-09 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 1519 | E | ng/L | 0.88216 | 1340 | Estimated Values | 2437 | OG | JLE | ac | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20152460212 | 2015-09-03 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 1519.04 | . | ng/L | 0.8558 | 1300 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 1519.04 | . | ng/L | 0.8558 | 1300 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 1519.04 | . | ng/L | 0.79656 | 1210 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20161050141 | 2016-04-14 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 1519.04 | . | ng/L | 1.231 | 1870 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 1519.04 | . | ng/L | 1.1389 | 1730 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152810124 | 2015-10-08 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 6040 | . | ng/L | 0.91225 | 5510 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | DIMETHENAMID | 68580LCM60 | 3 | 6040 | . | ng/L | 0.87086 | 5260 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | DIMETHENAMID | 68580LCM60 | 3 | 6040 | . | ng/L | 0.8245 | 4980 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | DIMETHENAMID | 68580LCM60 | 3 | 6076.16 | . | ng/L | 0.94303 | 5730 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | DIMETHENAMID | 68580LCM60 | 3 | 6076.16 | . | ng/L | 0.89695 | 5450 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | DIMETHENAMID | 68580LCM60 | 3 | 6076.16 | . | ng/L | 0.95455 | 5800 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl