## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-06-26 09:00 | 20141770144 | 85 | 330.24 | . | 240 | ng/L | 0.72674 | VA | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-12-18 07:00 | 20143520108 | 85 | 330.24 | E | 400 | ng/L | 1.2112 | VA | MGN | c | 2014-12-30 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-03-05 07:00 | 20150650041 | 85 | 165.12 | . | 245 | ng/L | 1.4838 | VA | SBH |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-07-31 07:00 | 20142130132 | 85 | 165.12 | . | 171 | ng/L | 1.0356 | VA | KLE |  | 2014-08-11 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-10-23 07:00 | 20142960085 | 85 | 330.24 | . | 344 | ng/L | 1.0417 | VA | CAD |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-02-05 07:00 | 20150360050 | 85 | 330.24 | . | 459 | ng/L | 1.3899 | VA | MGN |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-08-14 08:00 | 20142270006 | 85 | 165.12 | . | 183 | ng/L | 1.1083 | VA | KLE |  | 2014-08-19 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-10-09 07:00 | 20142820153 | 85 | 330.24 | . | 418 | ng/L | 1.2657 | VA | CAD |  | 2014-10-20 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-09-18 07:30 | 20142620041 | 85 | 170.295 | . | 153 | ng/L | 0.89844 | VA | KLE |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-11-13 07:30 | 20143180048 | 85 | 340.59 | . | 410 | ng/L | 1.2038 | VA | VKJ |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-04-02 06:00 | 20150930002 | 85 | 170.295 | . | 275 | ng/L | 1.6148 | VA | VKJ |  | 2015-04-07 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-12-03 06:30 | 20143370093 | 85 | 330.24 | . | 387 | ng/L | 1.1719 | VA | JIV |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-05-08 06:00 | 20141290002 | 85 | 170.295 | . | 160 | ng/L | 0.93955 | OG | CAD |  | 2014-05-21 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-05-29 08:30 | 20141490204 | 85 | 681.18 | . | 748 | ng/L | 1.0981 | VA | KLE |  | 2014-06-10 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-06-12 08:30 | 20141640081 | 85 | 340.59 | . | 339 | ng/L | 0.99533 | VA | VKJ |  | 2014-06-25 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-07-17 07:30 | 20141990082 | 85 | 170.295 | . | 178 | ng/L | 1.0452 | VA | VKJ |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-09-25 07:00 | 20142720026 | 85 | 170.295 | . | 136 | ng/L | 0.79861 | VA | KLE |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-11-19 08:00 | 20143240094 | 85 | 340.59 | . | 241 | ng/L | 0.7076 | VA | MGN |  | 2014-12-03 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-08-18 07:15 | 20142340168 | 85 | 340.59 | . | 222 | ng/L | 0.65181 | VA | KLE | @c | 2014-09-03 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2014-09-03 07:45 | 20142470035 | 85 | 170.295 | . | 156 | ng/L | 0.91606 | VA | KLE |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-09-24 08:30 | 20152670139 | 85 | 127 | . | 138 | ng/L | 1.0866 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-09-24 08:00 | 20152670135 | 85 | 127 | . | 128 | ng/L | 1.0079 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-09-24 07:00 | 20152670138 | 85 | 127 | . | 154 | ng/L | 1.2126 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-11-24 07:00 | 20153280162 | 85 | 1016 | . | 1020 | ng/L | 1.0039 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-11-24 06:30 | 20153280161 | 85 | 1016 | . | 1070 | ng/L | 1.0531 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-11-24 06:00 | 20153280160 | 85 | 1016 | . | 1040 | ng/L | 1.0236 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2016-03-03 07:30 | 20160630048 | 85 | 254 | . | 193 | ng/L | 0.75984 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2016-03-03 07:00 | 20160630049 | 85 | 254 | . | 204 | ng/L | 0.80315 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2016-03-03 06:30 | 20160630050 | 85 | 254 | . | 189 | ng/L | 0.74409 | VA | VKJ |  | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-09-03 07:30 | 20152460212 | 85 | 254 | . | 203 | ng/L | 0.79921 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-09-03 07:00 | 20152460211 | 85 | 254 | . | 180 | ng/L | 0.70866 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-09-03 06:30 | 20152460210 | 85 | 254 | . | 206 | ng/L | 0.81102 | VA | SBH |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-11-05 08:00 | 20153090114 | 85 | 127 | . | 107 | ng/L | 0.84252 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-11-05 07:30 | 20153090115 | 85 | 127 | . | 106 | ng/L | 0.83465 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-11-05 07:00 | 20153090123 | 85 | 127 | . | 101 | ng/L | 0.79528 | VA | SBH |  | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-12-30 08:00 | 20153640100 | 85 | 1016 | . | 954 | ng/L | 0.93898 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-12-30 07:30 | 20153640099 | 85 | 1016 | . | 896 | ng/L | 0.88189 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-12-30 07:00 | 20153640098 | 85 | 1016 | . | 929 | ng/L | 0.91437 | VA | SBH |  | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2016-04-14 06:30 | 20161050142 | 85 | 254 | . | 285 | ng/L | 1.122 | VA | AWH |  | 2016-05-05 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-07-23 06:30 | 20152040178 | 85 | 127 | . | 102 | ng/L | 0.80315 | VA | VKJ |  | 2015-08-03 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-12-03 08:00 | 20153370174 | 85 | 254 | . | 253 | ng/L | 0.99606 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-12-03 07:30 | 20153370175 | 85 | 254 | . | 235 | ng/L | 0.9252 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-12-03 07:00 | 20153370173 | 85 | 254 | . | 239 | ng/L | 0.94094 | VA | VKJ |  | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2016-03-10 08:00 | 20160710224 | 85 | 254 | . | 204 | ng/L | 0.80315 | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2016-03-10 07:30 | 20160710223 | 85 | 254 | . | 216 | ng/L | 0.85039 | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2016-03-10 07:00 | 20160710222 | 85 | 254 | . | 198 | ng/L | 0.77953 | VA | AWH |  | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2016-04-14 08:00 | 20161050141 | 85 | 254 | . | 282 | ng/L | 1.1102 | VA | AWH |  | 2016-05-05 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-09-10 08:00 | 20152530084 | 85 | 127 | . | 123 | ng/L | 0.9685 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-09-10 07:30 | 20152530086 | 85 | 127 | . | 133 | ng/L | 1.0472 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-09-10 07:00 | 20152530085 | 85 | 127 | . | 125 | ng/L | 0.98425 | VA | SBH |  | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-10-22 07:30 | 20152950083 | 85 | 254 | . | 282 | ng/L | 1.1102 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-10-22 07:00 | 20152950081 | 85 | 254 | . | 246 | ng/L | 0.9685 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2015-10-22 06:30 | 20152950082 | 85 | 254 | . | 310 | ng/L | 1.2205 | VA | SBH |  | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2016-01-28 07:00 | 20160280055 | 85 | 127 | . | 125 | ng/L | 0.98425 | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2016-01-28 06:30 | 20160280059 | 85 | 127 | . | 117 | ng/L | 0.92126 | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHENAMID OXANILIC ACID | 68581LCM60 | 2016-01-28 06:00 | 20160280058 | 85 | 127 | . | 106 | ng/L | 0.83465 | VA | AWH |  | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl