## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-06-26 09:00 | 20141770144 | 2 | 8.13 | . | 4.86 | ng/L | 0.59779 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-12-18 07:00 | 20143520108 | 2 | 8.13 | . | 6.28 | ng/L | 0.77245 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-03-05 07:00 | 20150650041 | 2 | 4.065 | . | 3.34 | ng/L | 0.82165 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-07-31 07:00 | 20142130132 | 2 | 4.065 | . | 2.83 | ng/L | 0.69619 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-10-23 07:00 | 20142960085 | 2 | 8.13 | . | 4.6 | ng/L | 0.56581 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-02-05 07:00 | 20150360050 | 2 | 8.13 | . | 5.26 | ng/L | 0.64699 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-07-10 07:30 | 20141910245 | 2 | 8.13 | . | 7.2 | ng/L | 0.88561 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-09-04 08:30 | 20142480004 | 2 | 4.065 | E | 3.35 | ng/L | 0.82411 | OG | CAD | v | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-10-30 08:00 | 20143030096 | 2 | 8.13 | . | 7.27 | ng/L | 0.89422 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-11-26 07:30 | 20143300050 | 2 | 8.13 | . | 5.72 | ng/L | 0.70357 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-11-30 08:00 | 20163370005 | 2 | 10 | . | 8.21 | ng/L | 0.821 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-11-30 07:30 | 20163370004 | 2 | 10 | . | 7.84 | ng/L | 0.784 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-09-07 08:30 | 20162520007 | 2 | 10 | . | 117 | ng/L | 2 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-09-07 08:00 | 20162520006 | 2 | 10 | . | 138 | ng/L | 2 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-12-21 08:00 | 20163560022 | 2 | 5 | . | 57 | ng/L | 2 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-12-21 07:30 | 20163560021 | 2 | 5 | . | 57 | ng/L | 2 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-04-09 06:30 | 20150990083 | 2 | 4.065 | . | 6 | ng/L | 1.476 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-07-17 07:30 | 20141990082 | 2 | 4.065 | . | 2.09 | ng/L | 0.51415 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-09-25 07:00 | 20142720026 | 2 | 4.065 | . | 3.4 | ng/L | 0.83641 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-11-19 08:00 | 20143240094 | 2 | 8.13 | . | 5.81 | ng/L | 0.71464 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-08-18 07:15 | 20142340168 | 2 | 8.13 | E | 3.82 | ng/L | 0.46986 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-09-03 07:45 | 20142470035 | 2 | 4.065 | E | 3.77 | ng/L | 0.92743 | OG | CAD | v | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-07-01 07:00 | 20151820108 | 2 | 6 | E | 5.16 | ng/L | 0.86 | OG | MNO | c | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-10-01 07:30 | 20152750009 | 2 | 24 | . | 18.3 | ng/L | 0.7625 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-10-01 07:00 | 20152750008 | 2 | 24 | . | 15.4 | ng/L | 0.64167 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-10-01 06:30 | 20152750007 | 2 | 24 | . | 18.2 | ng/L | 0.75833 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-11-10 07:30 | 20153160006 | 2 | 3 | . | 3.77 | ng/L | 1.2567 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-11-10 07:00 | 20153160005 | 2 | 3 | . | 3.52 | ng/L | 1.1733 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-11-10 06:30 | 20153160004 | 2 | 3 | . | 4.14 | ng/L | 1.38 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-02-18 08:00 | 20160490031 | 2 | 6 | . | 6.53 | ng/L | 1.0883 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-02-18 07:30 | 20160490030 | 2 | 6 | . | 6.08 | ng/L | 1.0133 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-02-18 07:00 | 20160490029 | 2 | 6 | . | 6.42 | ng/L | 1.07 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-08-06 06:30 | 20152190006 | 2 | 6 | E | 4.24 | ng/L | 0.70667 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-08-20 09:00 | 20152330042 | 2 | 6 | . | 3.41 | ng/L | 0.56833 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-08-20 08:30 | 20152330043 | 2 | 6 | . | 4.29 | ng/L | 0.715 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-08-20 06:30 | 20152330044 | 2 | 6 | . | 3.78 | ng/L | 0.63 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-01-07 07:30 | 20160070057 | 2 | 3 | . | 2.15 | ng/L | 0.71667 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-01-07 07:00 | 20160070054 | 2 | 3 | . | 2.75 | ng/L | 0.91667 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-01-07 06:30 | 20160070056 | 2 | 3 | . | 1.79 | ng/L | 0.59667 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-08-13 08:00 | 20152250277 | 2 | 6 | . | 2.54 | ng/L | 0.42333 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-08-13 07:30 | 20152250275 | 2 | 6 | . | 2.54 | ng/L | 0.42333 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-08-13 07:00 | 20152250276 | 2 | 6 | . | 2.05 | ng/L | 0.34167 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-01-21 08:00 | 20160210084 | 2 | 3 | E | 2.26 | ng/L | 0.75333 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-01-21 07:30 | 20160210082 | 2 | 3 | E | 2.01 | ng/L | 0.67 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-01-21 07:00 | 20160210083 | 2 | 3 | E | 2.47 | ng/L | 0.82333 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-09-24 08:30 | 20152670139 | 2 | 2.99 | . | 1.53 | ng/L | 0.51171 | OG | DME | n | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-09-24 08:00 | 20152670135 | 2 | 2.99 | . | 2.32 | ng/L | 0.77592 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-09-24 07:00 | 20152670138 | 2 | 2.99 | . | 1.96 | ng/L | 0.65552 | OG | DME | n | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-11-24 07:00 | 20153280162 | 2 | 23.92 | . | 19.6 | ng/L | 0.8194 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-11-24 06:30 | 20153280161 | 2 | 23.92 | . | 20.7 | ng/L | 0.86538 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-11-24 06:00 | 20153280160 | 2 | 23.92 | . | 19.8 | ng/L | 0.82776 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-03-03 07:30 | 20160630048 | 2 | 5.98 | . | 3.08 | ng/L | 0.51505 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-03-03 07:00 | 20160630049 | 2 | 5.98 | . | 4.44 | ng/L | 0.74247 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-03-03 06:30 | 20160630050 | 2 | 5.98 | . | 4.28 | ng/L | 0.71572 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-07-24 08:00 | 20142060046 | 2 | 4.065 | . | 1.79 | ng/L | 0.44034 | OG | LKK | n | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-03-26 06:30 | 20150850163 | 2 | 4.065 | . | 2.16 | ng/L | 0.53137 | OG | MPO | nd | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2014-10-02 07:30 | 20142760029 | 2 | 8.13 | . | 5.93 | ng/L | 0.7294 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-02-26 06:30 | 20150570010 | 2 | 4.065 | . | 3.37 | ng/L | 0.82903 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-10-15 08:00 | 20152890012 | 2 | 3 | . | 2.03 | ng/L | 0.67667 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-10-15 07:30 | 20152890013 | 2 | 3 | . | 2.36 | ng/L | 0.78667 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-10-15 07:00 | 20152890014 | 2 | 3 | . | 2.03 | ng/L | 0.67667 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-02-11 08:00 | 20160430108 | 2 | 3 | . | 3.51 | ng/L | 1.17 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-02-11 07:30 | 20160430107 | 2 | 3 | . | 3.8 | ng/L | 1.2667 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-02-11 06:30 | 20160430106 | 2 | 3 | . | 3.42 | ng/L | 1.14 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-09-03 07:30 | 20152460212 | 2 | 5.98 | . | 2.01 | ng/L | 0.33612 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-09-03 07:00 | 20152460211 | 2 | 5.98 | . | 1.96 | ng/L | 0.32776 | OG | MNI | n | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-09-03 06:30 | 20152460210 | 2 | 5.98 | . | 2.64 | ng/L | 0.44147 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-11-05 08:00 | 20153090114 | 2 | 2.99 | . | 1.65 | ng/L | 0.55184 | OG | DME | n | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-11-05 07:30 | 20153090115 | 2 | 2.99 | . | 1.73 | ng/L | 0.5786 | OG | DME | n | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-11-05 07:00 | 20153090123 | 2 | 2.99 | . | 1.5 | ng/L | 0.50167 | OG | DME | n | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-12-30 08:00 | 20153640100 | 2 | 23.92 | . | 17.7 | ng/L | 0.73997 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-12-30 07:30 | 20153640099 | 2 | 23.92 | . | 18 | ng/L | 0.75251 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-12-30 07:00 | 20153640098 | 2 | 23.92 | . | 17.9 | ng/L | 0.74833 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-04-14 06:30 | 20161050142 | 2 | 5.98 | . | 4.79 | ng/L | 0.801 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-07-23 06:30 | 20152040178 | 2 | 2.99 | . | 3.46 | ng/L | 1.1572 | OG | MNO | c | 2015-08-06 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-12-03 08:00 | 20153370174 | 2 | 5.98 | . | 5.41 | ng/L | 0.90468 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-12-03 07:30 | 20153370175 | 2 | 5.98 | . | 5.02 | ng/L | 0.83946 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-12-03 07:00 | 20153370173 | 2 | 5.98 | . | 4.7 | ng/L | 0.78595 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-03-10 08:00 | 20160710224 | 2 | 5.98 | . | 5.77 | ng/L | 0.96488 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-03-10 07:30 | 20160710223 | 2 | 5.98 | . | 6.42 | ng/L | 1.0736 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-03-10 07:00 | 20160710222 | 2 | 5.98 | . | 4.56 | ng/L | 0.76254 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-04-14 08:00 | 20161050141 | 2 | 5.98 | . | 6.77 | ng/L | 1.1321 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-09-10 08:00 | 20152530084 | 2 | 2.99 | . | 1.73 | ng/L | 0.5786 | OG | JLE | n | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-09-10 07:30 | 20152530086 | 2 | 2.99 | . | 2.25 | ng/L | 0.75251 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-09-10 07:00 | 20152530085 | 2 | 2.99 | . | 2.47 | ng/L | 0.82609 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-10-22 07:30 | 20152950083 | 2 | 5.98 | . | 3.48 | ng/L | 0.58194 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-10-22 07:00 | 20152950081 | 2 | 5.98 | . | 2.55 | ng/L | 0.42642 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2015-10-22 06:30 | 20152950082 | 2 | 5.98 | . | 3.13 | ng/L | 0.52341 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-01-28 07:00 | 20160280055 | 2 | 2.99 | . | 2.13 | ng/L | 0.71237 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-01-28 06:30 | 20160280059 | 2 | 2.99 | . | 1.83 | ng/L | 0.61204 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-01-28 06:00 | 20160280058 | 2 | 2.99 | . | 2.26 | ng/L | 0.75585 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-11-02 08:30 | 20163070100 | 2 | 5 | . | 65.3 | ng/L | 2 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-11-02 08:00 | 20163070099 | 2 | 5 | . | 65.7 | ng/L | 2 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-06-22 07:30 | 20161740281 | 2 | 5 | . | 79.3 | ng/L | 2 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-06-22 07:15 | 20161740280 | 2 | 5 | . | 65.8 | ng/L | 2 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-09-28 09:00 | 20162720259 | 2 | 5 | . | 10.3 | ng/L | 2 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-09-28 08:30 | 20162720260 | 2 | 5 | . | 9.73 | ng/L | 1.946 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-07-06 07:45 | 20161880106 | 2 | 10 | . | 137 | ng/L | 2 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-07-06 07:15 | 20161880111 | 2 | 10 | . | 140 | ng/L | 2 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-07-27 07:15 | 20162100011 | 2 | 5 | . | 56.3 | ng/L | 2 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | DIMETHOATE, OXYGEN ANALOG | 68661LCM60 | 2016-07-27 07:00 | 20162100010 | 2 | 5 | . | 58.3 | ng/L | 2 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl