## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-11-30 08:00 | 20163370005 | 6 | 35.36 | . | 26.1 | ng/L | 0.73812 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-11-30 07:30 | 20163370004 | 6 | 35.36 | . | 19.6 | ng/L | 0.5543 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-12-07 09:00 | 20163420124 | 6 | 17.68 | . | 16.8 | ng/L | 0.95023 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-12-07 08:30 | 20163420125 | 6 | 17.68 | . | 18.3 | ng/L | 1.0351 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-09-24 08:00 | 20152670135 | 7 | 10.5 | E | 10.5 | ng/L | 1 | OG | DME | i | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-09-24 07:00 | 20152670138 | 7 | 10.5 | E | 9.69 | ng/L | 0.92286 | OG | DME | i | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-11-24 07:00 | 20153280162 | 7 | 84 | . | 69.4 | ng/L | 0.82619 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-11-24 06:30 | 20153280161 | 7 | 84 | . | 71.5 | ng/L | 0.85119 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-11-24 06:00 | 20153280160 | 7 | 84 | . | 59.9 | ng/L | 0.7131 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-03-03 07:30 | 20160630048 | 6 | 21 | E | 9.53 | ng/L | 0.45381 | OG | MNI | i | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-03-03 07:00 | 20160630049 | 6 | 21 | E | 15.6 | ng/L | 0.74286 | OG | MNI | i | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-03-03 06:30 | 20160630050 | 6 | 21 | E | 12.9 | ng/L | 0.61429 | OG | MNI | i | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-09-03 07:30 | 20152460212 | 7 | 21 | . | 8 | ng/L | 0.38095 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-09-03 07:00 | 20152460211 | 7 | 21 | . | 9.81 | ng/L | 0.46714 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-09-03 06:30 | 20152460210 | 7 | 21 | . | 9.57 | ng/L | 0.45571 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-11-05 08:00 | 20153090114 | 7 | 10.5 | E | 7.27 | ng/L | 0.69238 | OG | DME | ic | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-11-05 07:30 | 20153090115 | 7 | 10.5 | E | 5.4 | ng/L | 0.51429 | OG | DME | inc | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-11-05 07:00 | 20153090123 | 7 | 10.5 | E | 5.14 | ng/L | 0.48952 | OG | DME | inc | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-12-30 08:00 | 20153640100 | 6 | 84 | . | 61.1 | ng/L | 0.72738 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-12-30 07:30 | 20153640099 | 6 | 84 | . | 54.5 | ng/L | 0.64881 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-12-30 07:00 | 20153640098 | 6 | 84 | . | 56.9 | ng/L | 0.67738 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-04-14 06:30 | 20161050142 | 6 | 21 | . | 17.4 | ng/L | 0.82857 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-07-23 06:30 | 20152040178 | 7 | 10.5 | . | 6.85 | ng/L | 0.65238 | OG | MNO | nc | 2015-08-06 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-12-03 08:00 | 20153370174 | 7 | 21 | E | 17.1 | ng/L | 0.81429 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-12-03 07:30 | 20153370175 | 7 | 21 | E | 12.6 | ng/L | 0.6 | OG | JLE | ic | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-12-03 07:00 | 20153370173 | 7 | 21 | E | 17 | ng/L | 0.80952 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-03-10 08:00 | 20160710224 | 6 | 21 | . | 21.6 | ng/L | 1.0286 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-03-10 07:30 | 20160710223 | 6 | 21 | . | 14.2 | ng/L | 0.67619 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-03-10 07:00 | 20160710222 | 6 | 21 | . | 13.2 | ng/L | 0.62857 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-04-14 08:00 | 20161050141 | 6 | 21 | . | 21.9 | ng/L | 1.0429 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-09-10 08:00 | 20152530084 | 7 | 10.5 | . | 3.79 | ng/L | 0.36095 | OG | JLE | n | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-09-10 07:30 | 20152530086 | 7 | 10.5 | . | 8.43 | ng/L | 0.80286 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-09-10 07:00 | 20152530085 | 7 | 10.5 | . | 9.98 | ng/L | 0.95048 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-10-22 07:30 | 20152950083 | 7 | 21 | E | 13 | ng/L | 0.61905 | OG | DME | i | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-10-22 07:00 | 20152950081 | 7 | 21 | E | 10.2 | ng/L | 0.48571 | OG | DME | i | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2015-10-22 06:30 | 20152950082 | 7 | 21 | E | 12 | ng/L | 0.57143 | OG | DME | i | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-01-28 07:00 | 20160280055 | 6 | 10.5 | . | 8.16 | ng/L | 0.77714 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-01-28 06:30 | 20160280059 | 6 | 10.5 | . | 11.4 | ng/L | 1.0857 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-01-28 06:00 | 20160280058 | 6 | 10.5 | . | 7.11 | ng/L | 0.67714 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-11-02 08:30 | 20163070100 | 6 | 17.68 | E | 16.3 | ng/L | 0.92195 | K | DME | c | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | DISULFOTON OXON SULFONE | 68588LCM60 | 2016-11-02 08:00 | 20163070099 | 6 | 17.68 | E | 15.7 | ng/L | 0.88801 | K | DME | c | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl