## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-09-07 08:30 | 20162520007 | 6 | 20 | . | 55.3 | ng/L | 2 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-09-07 08:00 | 20162520006 | 6 | 20 | . | 63.5 | ng/L | 2 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-12-21 08:00 | 20163560022 | 6 | 10 | . | 22.4 | ng/L | 2 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-12-21 07:30 | 20163560021 | 6 | 10 | . | 28.3 | ng/L | 2 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-07-09 08:00 | 20151900133 | 7 | 21.2 | E | 13 | ng/L | 0.61321 | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-10-29 07:30 | 20153030065 | 7 | 10.6 | . | 6.48 | ng/L | 0.61132 | OG | DME | n | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-10-29 07:00 | 20153030064 | 7 | 10.6 | . | 7.04 | ng/L | 0.66415 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-10-29 06:30 | 20153030063 | 7 | 10.6 | . | 7.59 | ng/L | 0.71604 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-02-04 08:00 | 20160350044 | 6 | 10.6 | . | 10.2 | ng/L | 0.96226 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-02-04 07:30 | 20160350042 | 6 | 10.6 | . | 7.14 | ng/L | 0.67358 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-02-04 07:00 | 20160350043 | 6 | 10.6 | . | 8.11 | ng/L | 0.76509 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-09-21 08:30 | 20162660010 | 6 | 44 | . | 32 | ng/L | 0.72727 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-09-21 08:00 | 20162660009 | 6 | 44 | . | 30.5 | ng/L | 0.69318 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-10-15 08:00 | 20152890012 | 7 | 10.6 | . | 7.7 | ng/L | 0.72642 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-10-15 07:30 | 20152890013 | 7 | 10.6 | . | 8.19 | ng/L | 0.77264 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-10-15 07:00 | 20152890014 | 7 | 10.6 | . | 6.47 | ng/L | 0.61038 | OG | DME | n | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-02-11 08:00 | 20160430108 | 6 | 10.6 | . | 9.59 | ng/L | 0.90472 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-02-11 07:30 | 20160430107 | 6 | 10.6 | . | 7.06 | ng/L | 0.66604 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-02-11 06:30 | 20160430106 | 6 | 10.6 | . | 8.63 | ng/L | 0.81415 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-07-16 06:00 | 20151970155 | 7 | 21.2 | . | 12.3 | ng/L | 0.58019 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-09-03 07:30 | 20152460212 | 7 | 21.2 | . | 8.78 | ng/L | 0.41415 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-09-03 07:00 | 20152460211 | 7 | 21.2 | . | 8.96 | ng/L | 0.42264 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-09-03 06:30 | 20152460210 | 7 | 21.2 | . | 9.11 | ng/L | 0.42972 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-11-05 08:00 | 20153090114 | 7 | 10.6 | . | 6.84 | ng/L | 0.64528 | OG | DME | n | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-11-05 07:30 | 20153090115 | 7 | 10.6 | . | 5.14 | ng/L | 0.48491 | OG | DME | n | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-11-05 07:00 | 20153090123 | 7 | 10.6 | . | 5.8 | ng/L | 0.54717 | OG | DME | n | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-12-30 08:00 | 20153640100 | 6 | 84.8 | . | 60.2 | ng/L | 0.70991 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-12-30 07:30 | 20153640099 | 6 | 84.8 | . | 58.8 | ng/L | 0.6934 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-12-30 07:00 | 20153640098 | 6 | 84.8 | . | 57.1 | ng/L | 0.67335 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-04-14 06:30 | 20161050142 | 6 | 21.2 | . | 14.2 | ng/L | 0.66981 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-04-14 08:00 | 20161050141 | 6 | 21.2 | . | 17.6 | ng/L | 0.83019 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-07-30 08:00 | 20152110201 | 7 | 10.6 | . | 8.76 | ng/L | 0.82642 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-07-30 07:30 | 20152110200 | 7 | 10.6 | . | 8.5 | ng/L | 0.80189 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-07-30 07:00 | 20152110202 | 7 | 10.6 | . | 9.47 | ng/L | 0.8934 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-10-08 07:00 | 20152810124 | 7 | 84.8 | . | 60.6 | ng/L | 0.71462 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-10-08 06:30 | 20152810125 | 7 | 84.8 | . | 57 | ng/L | 0.67217 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2015-10-08 06:00 | 20152810123 | 7 | 84.8 | . | 48.5 | ng/L | 0.57193 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-01-14 08:00 | 20160140035 | 6 | 21.2 | . | 12.3 | ng/L | 0.58019 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-01-14 07:30 | 20160140036 | 6 | 21.2 | . | 13.7 | ng/L | 0.64623 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-01-14 07:00 | 20160140037 | 6 | 21.2 | . | 11.5 | ng/L | 0.54245 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-11-02 08:30 | 20163070100 | 6 | 10 | . | 14.7 | ng/L | 1.47 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-11-02 08:00 | 20163070099 | 6 | 10 | . | 14.5 | ng/L | 1.45 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-06-22 07:30 | 20161740281 | 6 | 10 | . | 16.3 | ng/L | 1.63 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-06-22 07:15 | 20161740280 | 6 | 10 | . | 15.5 | ng/L | 1.55 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-07-06 07:45 | 20161880106 | 6 | 20 | . | 20.5 | ng/L | 1.025 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-07-06 07:15 | 20161880111 | 6 | 20 | . | 20.7 | ng/L | 1.035 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-07-27 07:15 | 20162100011 | 6 | 10 | . | 13.7 | ng/L | 1.37 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | DISULFOTON OXON SULFOXIDE | 68587LCM60 | 2016-07-27 07:00 | 20162100010 | 6 | 10 | . | 12.3 | ng/L | 1.23 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl