## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | DIURON | 66598LCM60 | 5 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | DIURON | 66598LCM60 | 5 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152110201 | 2015-07-30 08:00 | DIURON | 66598LCM60 | 5 | 7.45 | < | ng/L |  | 10 | SACRALT | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20153230141 | 2015-11-19 07:00 | DIURON | 66598LCM60 | 5 | 7.45 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20142060046 | 2014-07-24 08:00 | DIURON | 66598LCM60 | 5 | 10.065 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142480004 | 2014-09-04 08:30 | DIURON | 66598LCM60 | 5 | 10.065 | < | ng/L |  | 50 | SACRALT | 2437 | OG | CAD | c | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | DIURON | 66598LCM60 | 5 | 10.065 | < | ng/L |  | 12.5 | SACRALT | 2437 | OG | MNO | c | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | DIURON | 66598LCM60 | 5 | 10.065 | < | ng/L |  |  | False Negative | 2437 | OG | MPO | dc | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142200170 | 2014-08-07 09:00 | DIURON | 66598LCM60 | 5 | 10.095 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | c | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20160140036 | 2016-01-14 07:30 | DIURON | 66598LCM60 | 5 | 14.9 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20150150114 | 2015-01-15 07:00 | DIURON | 66598LCM60 | 5 | 20.13 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152110200 | 2015-07-30 07:30 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 0.88591 | 6.6 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 0.97718 | 7.28 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 1.1544 | 8.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 1.0779 | 8.03 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 1.0027 | 7.47 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 1.1758 | 8.76 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 1.2013 | 8.95 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 1.1691 | 8.71 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 0.85503 | 6.37 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 0.98389 | 7.33 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 0.81879 | 6.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 0.74362 | 5.54 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 1.055 | 7.86 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 0.99329 | 7.4 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 0.8604 | 6.41 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | DIURON | 66598LCM60 | 5 | 7.45 | . | ng/L | 0.92081 | 6.86 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 1.2066 | 9.17 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 1.2382 | 9.41 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 1.4605 | 11.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 1.3684 | 10.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 1.0039 | 7.63 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 1.0789 | 8.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 1.1961 | 9.09 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 1.0724 | 8.15 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 0.98026 | 7.45 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 1.0039 | 7.63 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 1.0934 | 8.31 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 0.86184 | 6.55 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | DIURON | 66598LCM60 | 5 | 7.6 | . | ng/L | 0.81711 | 6.21 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142270006 | 2014-08-14 08:00 | DIURON | 66598LCM60 | 5 | 10.065 | . | ng/L | 0.8455 | 8.51 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20150930002 | 2015-04-02 06:00 | DIURON | 66598LCM60 | 5 | 10.065 | . | ng/L | 0.9379 | 9.44 | Recoverable Result | 2437 | K | MPO | i | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20141290002 | 2014-05-08 06:00 | DIURON | 66598LCM60 | 5 | 10.095 | . | ng/L | 0.94998 | 9.59 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20150570010 | 2015-02-26 06:30 | DIURON | 66598LCM60 | 5 | 10.095 | . | ng/L | 1.0896 | 11 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | DIURON | 66598LCM60 | 5 | 10.095 | . | ng/L | 0.84596 | 8.54 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20162720259 | 2016-09-28 09:00 | DIURON | 66598LCM60 | 5 | 12.48 | . | ng/L | 1.0577 | 13.2 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | DIURON | 66598LCM60 | 5 | 12.48 | . | ng/L | 1.0176 | 12.7 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20161740281 | 2016-06-22 07:30 | DIURON | 66598LCM60 | 5 | 12.52 | . | ng/L | 1.0942 | 13.7 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | DIURON | 66598LCM60 | 5 | 12.52 | . | ng/L | 1.0942 | 13.7 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | DIURON | 66598LCM60 | 5 | 12.52 | . | ng/L | 1.278 | 16 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | DIURON | 66598LCM60 | 5 | 12.52 | . | ng/L | 1.1821 | 14.8 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | DIURON | 66598LCM60 | 5 | 12.52 | . | ng/L | 1.2061 | 15.1 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | DIURON | 66598LCM60 | 5 | 12.52 | . | ng/L | 1.0783 | 13.5 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | DIURON | 66598LCM60 | 5 | 12.52 | . | ng/L | 0.97444 | 12.2 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | DIURON | 66598LCM60 | 5 | 12.52 | . | ng/L | 1.0463 | 13.1 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152190004 | 2015-08-06 07:30 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 1.1409 | 17 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 1.0067 | 15 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 1.0872 | 16.2 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 0.83893 | 12.5 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 0.83893 | 12.5 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 0.87248 | 13 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | DIURON | 66598LCM60 | 5 | 14.9 | E | ng/L | 1.443 | 21.5 | Estimated Values | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | DIURON | 66598LCM60 | 5 | 14.9 | E | ng/L | 1.1879 | 17.7 | Estimated Values | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | DIURON | 66598LCM60 | 5 | 14.9 | E | ng/L | 1.1946 | 17.8 | Estimated Values | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 1 | 14.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 0.99329 | 14.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 0.93289 | 13.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 0.89262 | 13.3 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 1.047 | 15.6 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 1.047 | 15.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | DIURON | 66598LCM60 | 5 | 14.9 | . | ng/L | 0.85906 | 12.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 0.92763 | 14.1 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 1.3224 | 20.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 1.25 | 19 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 1.125 | 17.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 0.82895 | 12.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 0.97368 | 14.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 0.89474 | 13.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 0.74342 | 11.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 0.89474 | 13.6 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 0.81579 | 12.4 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 1.0329 | 15.7 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 1.0066 | 15.3 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | DIURON | 66598LCM60 | 5 | 15.2 | . | ng/L | 0.96053 | 14.6 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141910245 | 2014-07-10 07:30 | DIURON | 66598LCM60 | 5 | 20.13 | . | ng/L | 0.89419 | 18 | Recoverable Result | 2437 | OG | LKK | v | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | DIURON | 66598LCM60 | 5 | 20.13 | . | ng/L | 1.2171 | 24.5 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | DIURON | 66598LCM60 | 5 | 20.13 | . | ng/L | 1.1128 | 22.4 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | DIURON | 66598LCM60 | 5 | 20.13 | . | ng/L | 0.87928 | 17.7 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | DIURON | 66598LCM60 | 5 | 20.16 | . | ng/L | 0.91766 | 18.5 | Recoverable Result | 2437 | OG | MNI | c | 2015-02-10 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | DIURON | 66598LCM60 | 5 | 20.19 | . | ng/L | 0.7578 | 15.3 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | DIURON | 66598LCM60 | 5 | 20.19 | . | ng/L | 0.89153 | 18 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | DIURON | 66598LCM60 | 5 | 20.19 | . | ng/L | 0.82714 | 16.7 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | DIURON | 66598LCM60 | 5 | 20.19 | . | ng/L | 0.95097 | 19.2 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20163370005 | 2016-11-30 08:00 | DIURON | 66598LCM60 | 5 | 24.96 | . | ng/L | 0.98958 | 24.7 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | DIURON | 66598LCM60 | 5 | 24.96 | . | ng/L | 1.0136 | 25.3 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20161880106 | 2016-07-06 07:45 | DIURON | 66598LCM60 | 5 | 25.04 | . | ng/L | 1.238 | 31 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | DIURON | 66598LCM60 | 5 | 25.04 | . | ng/L | 1.25 | 31.3 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | DIURON | 66598LCM60 | 5 | 25.04 | . | ng/L | 1.0343 | 25.9 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | DIURON | 66598LCM60 | 5 | 25.04 | . | ng/L | 1.27 | 31.8 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20141490204 | 2014-05-29 08:30 | DIURON | 66598LCM60 | 5 | 40.38 | . | ng/L | 0.95592 | 38.6 | Recoverable Result | 2437 | OG | MPO |  | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | DIURON | 66598LCM60 | 5 | 59.6 | . | ng/L | 1 | 59.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | DIURON | 66598LCM60 | 5 | 59.6 | . | ng/L | 0.91443 | 54.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | DIURON | 66598LCM60 | 5 | 59.6 | . | ng/L | 0.77852 | 46.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | DIURON | 66598LCM60 | 5 | 60.8 | . | ng/L | 0.92105 | 56 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | DIURON | 66598LCM60 | 5 | 60.8 | . | ng/L | 0.97039 | 59 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | DIURON | 66598LCM60 | 5 | 60.8 | . | ng/L | 1.0658 | 64.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | DIURON | 66598LCM60 | 5 | 60.8 | . | ng/L | 0.83717 | 50.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | DIURON | 66598LCM60 | 5 | 60.8 | . | ng/L | 0.76151 | 46.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | DIURON | 66598LCM60 | 5 | 60.8 | . | ng/L | 0.74507 | 45.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20132420005 | 2013-08-29 08:30 | DIURON | 66598LCM60 | 5 | 460 | . | ng/L | 0.96304 | 443 | Recoverable Result | 2437 | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20133110106 | 2013-11-07 08:30 | DIURON | 66598LCM60 | 5 | 460 | . | ng/L | 1.0783 | 496 | Recoverable Result | 2437 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140300037 | 2014-01-30 09:00 | DIURON | 66598LCM60 | 5 | 460 | E | ng/L | 0.43261 | 199 | Estimated Values | 2437 | OG | MPO | c | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140510044 | 2014-02-20 08:00 | DIURON | 66598LCM60 | 5 | 460 | . | ng/L | 0.85217 | 392 | Recoverable Result | 2437 | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2