## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20150150114 | 2015-01-15 07:00 | ETOXAZOLE | 68598LCM60 | 2 |  | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | ETOXAZOLE | 68598LCM60 | 4.2 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | ETOXAZOLE | 68598LCM60 | 4.2 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20153160005 | 2015-11-10 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 3 | < | ng/L |  |  | False Negative | 2437 | OG | DME | vc | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20161740281 | 2016-06-22 07:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 5.04 | < | ng/L |  |  | False Negative | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | ETOXAZOLE | 68598LCM60 | 4.2 | 5.04 | < | ng/L |  |  | False Negative | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20152190005 | 2015-08-06 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | < | ng/L |  |  | False Negative | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20160350044 | 2016-02-04 08:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 3 | E | ng/L | 0.97667 | 2.93 | Estimated Values | 2437 | OG | DME | vn | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 3 | . | ng/L | 0.89667 | 2.69 | Recoverable Result | 2437 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 3 | . | ng/L | 0.91 | 2.73 | Recoverable Result | 2437 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 3 | . | ng/L | 0.74 | 2.22 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 3 | . | ng/L | 0.7 | 2.1 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 3 | . | ng/L | 0.70333 | 2.11 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160070057 | 2016-01-07 07:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 3.01 | E | ng/L | 0.65116 | 1.96 | Estimated Values | 2437 | K | JLE | tc | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 3.01 | E | ng/L | 0.62458 | 1.88 | Estimated Values | 2437 | K | JLE | tc | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 3.01 | E | ng/L | 0.51827 | 1.56 | Estimated Values | 2437 | K | JLE | tc | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 3.01 | E | ng/L | 0.8505 | 2.56 | Estimated Values | 2437 | OG | DME | vn | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 3.01 | E | ng/L | 0.84053 | 2.53 | Estimated Values | 2437 | OG | DME | vn | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 3.01 | E | ng/L | 0.86711 | 2.61 | Estimated Values | 2437 | OG | DME | vn | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 3.01 | . | ng/L | 0.90365 | 2.72 | Recoverable Result | 2437 | OG | DME | n | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 3.01 | . | ng/L | 0.86711 | 2.61 | Recoverable Result | 2437 | OG | DME | n | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 3.01 | . | ng/L | 0.96013 | 2.89 | Recoverable Result | 2437 | OG | DME | n | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | ETOXAZOLE | 68598LCM60 | 2 | 3 | E | ng/L | 1.1367 | 3.41 | Estimated Values | 2437 | OG | MNO | v | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 3 | . | ng/L | 0.90667 | 2.72 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 3 | . | ng/L | 0.93333 | 2.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | ETOXAZOLE | 68598LCM60 | 2 | 3 | . | ng/L | 0.98 | 2.94 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 3 | E | ng/L | 0.76667 | 2.3 | Estimated Values | 2437 | OG | DME | iv | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | ETOXAZOLE | 68598LCM60 | 2 | 3 | E | ng/L | 0.78 | 2.34 | Estimated Values | 2437 | OG | DME | iv | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20152110201 | 2015-07-30 08:00 | ETOXAZOLE | 68598LCM60 | 2 | 3.01 | . | ng/L | 1.0664 | 3.21 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 3.01 | . | ng/L | 1.0332 | 3.11 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 3.01 | . | ng/L | 1.0698 | 3.22 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | ETOXAZOLE | 68598LCM60 | 2 | 3.01 | . | ng/L | 0.80731 | 2.43 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 3.01 | . | ng/L | 0.89369 | 2.69 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 3.01 | . | ng/L | 0.8206 | 2.47 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | ETOXAZOLE | 68598LCM60 | 2 | 3.01 | . | ng/L | 0.78073 | 2.35 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 3.01 | . | ng/L | 0.89701 | 2.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 3.01 | . | ng/L | 0.82724 | 2.49 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20141290002 | 2014-05-08 06:00 | ETOXAZOLE | 68598LCM60 | 2 | 3.96 | . | ng/L | 0.73232 | 2.9 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20141990082 | 2014-07-17 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 3.96 | . | ng/L | 0.76263 | 3.02 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142470035 | 2014-09-03 07:45 | ETOXAZOLE | 68598LCM60 | 2 | 3.96 | E | ng/L | 0.96212 | 3.81 | Estimated Values | 2437 | OG | CAD | v | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20142620041 | 2014-09-18 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 3.96 | E | ng/L | 0.82323 | 3.26 | Estimated Values | 2437 | OG | MNO | v | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20142720026 | 2014-09-25 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 3.96 | E | ng/L | 0.7601 | 3.01 | Estimated Values | 2437 | OG | LOA | v | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150930002 | 2015-04-02 06:00 | ETOXAZOLE | 68598LCM60 | 2 | 3.96 | . | ng/L | 0.80303 | 3.18 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20142130132 | 2014-07-31 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 4.065 | . | ng/L | 0.77491 | 3.15 | Recoverable Result | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142270006 | 2014-08-14 08:00 | ETOXAZOLE | 68598LCM60 | 2 | 4.065 | . | ng/L | 0.80935 | 3.29 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20150650041 | 2015-03-05 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 4.065 | . | ng/L | 0.92005 | 3.74 | Recoverable Result | 2437 | OG | DME | c | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20151110018 | 2015-04-16 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 4.065 | E | ng/L | 0.38868 | 1.58 | Estimated Values | 2437 | OG | JIV | vn | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20162100011 | 2016-07-27 07:15 | ETOXAZOLE | 68598LCM60 | 4.2 | 5.04 | . | ng/L | 0.83532 | 4.21 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 5.04 | . | ng/L | 0.72222 | 3.64 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 5.04 | . | ng/L | 0.80159 | 4.04 | Recoverable Result | 2437 | OG | DME | n | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 5.04 | . | ng/L | 0.77976 | 3.93 | Recoverable Result | 2437 | OG | DME | n | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163070100 | 2016-11-02 08:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 5.04 | . | ng/L | 0.90675 | 4.57 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 5.04 | . | ng/L | 0.97421 | 4.91 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 5.04 | E | ng/L | 0.54167 | 2.73 | Estimated Values | 2437 | OG | DME | nc | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 5.04 | E | ng/L | 0.45437 | 2.29 | Estimated Values | 2437 | OG | DME | nc | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20151970155 | 2015-07-16 06:00 | ETOXAZOLE | 68598LCM60 | 2 | 6 | . | ng/L | 0.72 | 4.32 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | ETOXAZOLE | 68598LCM60 | 2 | 6 | . | ng/L | 0.55167 | 3.31 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 6 | . | ng/L | 0.66667 | 4 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 6 | . | ng/L | 0.67333 | 4.04 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 6 | . | ng/L | 0.63167 | 3.79 | Recoverable Result | 2437 | OG | MNI | n | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 6 | . | ng/L | 0.685 | 4.11 | Recoverable Result | 2437 | OG | MNI | n | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 6 | . | ng/L | 0.57167 | 3.43 | Recoverable Result | 2437 | OG | MNI | n | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 6 | E | ng/L | 0.67833 | 4.07 | Estimated Values | 2437 | OG | DME | vn | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 6 | E | ng/L | 0.74333 | 4.46 | Estimated Values | 2437 | OG | DME | v | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 6 | E | ng/L | 0.725 | 4.35 | Estimated Values | 2437 | OG | DME | v | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 6 | . | ng/L | 0.58667 | 3.52 | Recoverable Result | 2437 | OG | JLE | n | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 6 | . | ng/L | 0.635 | 3.81 | Recoverable Result | 2437 | OG | JLE | n | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 6 | . | ng/L | 0.60333 | 3.62 | Recoverable Result | 2437 | OG | JLE | n | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152190004 | 2015-08-06 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | . | ng/L | 0.95017 | 5.72 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | . | ng/L | 0.83721 | 5.04 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | . | ng/L | 0.74419 | 4.48 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | . | ng/L | 0.77076 | 4.64 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | . | ng/L | 0.77409 | 4.66 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | . | ng/L | 0.61462 | 3.7 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | . | ng/L | 0.8206 | 4.94 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | . | ng/L | 0.60631 | 3.65 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | . | ng/L | 0.82558 | 4.97 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | . | ng/L | 0.8206 | 4.94 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | ETOXAZOLE | 68598LCM60 | 2 | 6.02 | . | ng/L | 0.7309 | 4.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 6.02 | . | ng/L | 0.68272 | 4.11 | Recoverable Result | 2437 | K | DME | n | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 6.02 | . | ng/L | 0.74086 | 4.46 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 6.02 | . | ng/L | 0.69269 | 4.17 | Recoverable Result | 2437 | K | DME | n | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 6.02 | . | ng/L | 0.77741 | 4.68 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 6.02 | . | ng/L | 0.72425 | 4.36 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20141640081 | 2014-06-12 08:30 | ETOXAZOLE | 68598LCM60 | 2 | 7.92 | . | ng/L | 0.75379 | 5.97 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142340168 | 2014-08-18 07:15 | ETOXAZOLE | 68598LCM60 | 2 | 7.92 | E | ng/L | 0.82828 | 6.56 | Estimated Values | 2437 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20143180048 | 2014-11-13 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 7.92 | . | ng/L | 0.88889 | 7.04 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20143240094 | 2014-11-19 08:00 | ETOXAZOLE | 68598LCM60 | 2 | 7.92 | . | ng/L | 0.78409 | 6.21 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20141770144 | 2014-06-26 09:00 | ETOXAZOLE | 68598LCM60 | 2 | 8.13 | . | ng/L | 0.96064 | 7.81 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142820153 | 2014-10-09 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 8.13 | . | ng/L | 1.0369 | 8.43 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20142960085 | 2014-10-23 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 8.13 | . | ng/L | 0.96187 | 7.82 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20143370093 | 2014-12-03 06:30 | ETOXAZOLE | 68598LCM60 | 2 | 8.13 | . | ng/L | 0.88561 | 7.2 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20143520108 | 2014-12-18 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 8.13 | . | ng/L | 0.90898 | 7.39 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20150360050 | 2015-02-05 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 8.13 | . | ng/L | 1.0123 | 8.23 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20161880106 | 2016-07-06 07:45 | ETOXAZOLE | 68598LCM60 | 4.2 | 10.08 | . | ng/L | 0.9504 | 9.58 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | ETOXAZOLE | 68598LCM60 | 4.2 | 10.08 | . | ng/L | 0.94444 | 9.52 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 10.08 | . | ng/L | 0.84325 | 8.5 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 10.08 | . | ng/L | 0.93552 | 9.43 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20163370005 | 2016-11-30 08:00 | ETOXAZOLE | 68598LCM60 | 4.2 | 10.08 | . | ng/L | 0.76786 | 7.74 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | ETOXAZOLE | 68598LCM60 | 4.2 | 10.08 | . | ng/L | 0.75496 | 7.61 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20141490204 | 2014-05-29 08:30 | ETOXAZOLE | 68598LCM60 | 2 | 15.84 | . | ng/L | 0.92803 | 14.7 | Recoverable Result | 2437 | OG | MPO |  | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152610006 | 2015-09-17 09:30 | ETOXAZOLE | 68598LCM60 | 2 | 24 | . | ng/L | 0.88333 | 21.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | ETOXAZOLE | 68598LCM60 | 2 | 24 | . | ng/L | 0.88333 | 21.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | ETOXAZOLE | 68598LCM60 | 2 | 24 | . | ng/L | 0.85417 | 20.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | ETOXAZOLE | 68598LCM60 | 2 | 24 | . | ng/L | 0.775 | 18.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 24 | . | ng/L | 0.63333 | 15.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | ETOXAZOLE | 68598LCM60 | 2 | 24 | . | ng/L | 0.7 | 16.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152810124 | 2015-10-08 07:00 | ETOXAZOLE | 68598LCM60 | 2 | 24.08 | . | ng/L | 0.92193 | 22.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | ETOXAZOLE | 68598LCM60 | 2 | 24.08 | . | ng/L | 0.75997 | 18.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | ETOXAZOLE | 68598LCM60 | 2 | 24.08 | . | ng/L | 0.83056 | 20 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl