## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20150150114 | 2015-01-15 07:00 | FENTIN | 68603LCM60 | 16 |  | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | FENTIN | 68603LCM60 | 30 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | FENTIN | 68603LCM60 | 30 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20163070100 | 2016-11-02 08:30 | FENTIN | 68603LCM60 | 30 |  | . | ng/L |  | 38.7 | False Positive | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | FENTIN | 68603LCM60 | 30 |  | . | ng/L |  | 36.5 | False Positive | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163370005 | 2016-11-30 08:00 | FENTIN | 68603LCM60 | 30 |  | . | ng/L |  | 62.9 | False Positive | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | FENTIN | 68603LCM60 | 30 |  | . | ng/L |  | 61.2 | False Positive | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163420124 | 2016-12-07 09:00 | FENTIN | 68603LCM60 | 30 |  | . | ng/L |  | 35.6 | False Positive | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | FENTIN | 68603LCM60 | 30 |  | . | ng/L |  | 39.1 | False Positive | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20151900133 | 2015-07-09 08:00 | FENTIN | 68603LCM60 | 16 | 48.4 | < | ng/L |  | 250 | SACRALT | 2437 | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20160350044 | 2016-02-04 08:00 | FENTIN | 68603LCM60 | 30 | 24.2 | . | ng/L | 0.67769 | 16.4 | Recoverable Result | 2437 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | FENTIN | 68603LCM60 | 30 | 24.2 | . | ng/L | 0.4876 | 11.8 | Recoverable Result | 2437 | OG | DME | t | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | FENTIN | 68603LCM60 | 30 | 24.2 | . | ng/L | 0.47521 | 11.5 | Recoverable Result | 2437 | OG | DME | t | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | FENTIN | 68603LCM60 | 30 | 24.2 | E | ng/L | 1.0579 | 25.6 | Estimated Values | 2437 | OG | DME | nc | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | FENTIN | 68603LCM60 | 30 | 24.2 | E | ng/L | 0.87603 | 21.2 | Estimated Values | 2437 | OG | DME | nc | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | FENTIN | 68603LCM60 | 30 | 24.2 | E | ng/L | 0.69008 | 16.7 | Estimated Values | 2437 | OG | DME | nc | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152110201 | 2015-07-30 08:00 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 1.0537 | 25.5 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 1.0248 | 24.8 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 1.0083 | 24.4 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 1.0455 | 25.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 1.1983 | 29 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 0.89256 | 21.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 1.0579 | 25.6 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 1.4421 | 34.9 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 1.5785 | 38.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 1.2727 | 30.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 1.2107 | 29.3 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | FENTIN | 68603LCM60 | 16 | 24.2 | . | ng/L | 1.0455 | 25.3 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20151970155 | 2015-07-16 06:00 | FENTIN | 68603LCM60 | 16 | 48.4 | . | ng/L | 1.343 | 65 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152460212 | 2015-09-03 07:30 | FENTIN | 68603LCM60 | 16 | 48.4 | E | ng/L | 0.59504 | 28.8 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | FENTIN | 68603LCM60 | 16 | 48.4 | E | ng/L | 0.71901 | 34.8 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | FENTIN | 68603LCM60 | 16 | 48.4 | E | ng/L | 0.83058 | 40.2 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160140035 | 2016-01-14 08:00 | FENTIN | 68603LCM60 | 30 | 48.4 | . | ng/L | 0.67355 | 32.6 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | FENTIN | 68603LCM60 | 30 | 48.4 | . | ng/L | 0.94835 | 45.9 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | FENTIN | 68603LCM60 | 30 | 48.4 | . | ng/L | 0.95661 | 46.3 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161050141 | 2016-04-14 08:00 | FENTIN | 68603LCM60 | 30 | 48.4 | . | ng/L | 0.62603 | 30.3 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | FENTIN | 68603LCM60 | 30 | 48.4 | . | ng/L | 0.66942 | 32.4 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152810124 | 2015-10-08 07:00 | FENTIN | 68603LCM60 | 16 | 193.6 | . | ng/L | 1.3688 | 265 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | FENTIN | 68603LCM60 | 16 | 193.6 | . | ng/L | 1.0744 | 208 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | FENTIN | 68603LCM60 | 16 | 193.6 | . | ng/L | 1.095 | 212 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | FENTIN | 68603LCM60 | 30 | 193.6 | . | ng/L | 0.71798 | 139 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | FENTIN | 68603LCM60 | 30 | 193.6 | . | ng/L | 0.73347 | 142 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | FENTIN | 68603LCM60 | 30 | 193.6 | . | ng/L | 0.81612 | 158 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl