## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160210084 | 2016-01-21 08:00 | FONOFOS | 65084LCM60 | 11 | 16.5 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | FONOFOS | 65084LCM60 | 11 | 16.5 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20152530086 | 2015-09-10 07:30 | FONOFOS | 65084LCM60 | 11 | 16.7 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20142060046 | 2014-07-24 08:00 | FONOFOS | 65084LCM60 | 11 | 21.855 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20152190005 | 2015-08-06 07:00 | FONOFOS | 65084LCM60 | 11 | 33 | < | ng/L |  | 42.3 | SACRALT | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20133580040 | 2013-12-23 08:00 | FONOFOS | 65084LCM60 | 11 | 40 | < | ng/L |  |  | False Negative | 2437 | OG | LOA | c | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20150150114 | 2015-01-15 07:00 | FONOFOS | 65084LCM60 | 11 | 43.71 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | FONOFOS | 65084LCM60 | 11 | 54.72 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | FONOFOS | 65084LCM60 | 11 | 54.72 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152890012 | 2015-10-15 08:00 | FONOFOS | 65084LCM60 | 11 | 16.5 | E | ng/L | 0.75152 | 12.4 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | FONOFOS | 65084LCM60 | 11 | 16.5 | E | ng/L | 1.1576 | 19.1 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | FONOFOS | 65084LCM60 | 11 | 16.5 | E | ng/L | 0.87879 | 14.5 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153160006 | 2015-11-10 07:30 | FONOFOS | 65084LCM60 | 11 | 16.5 | . | ng/L | 0.87273 | 14.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | FONOFOS | 65084LCM60 | 11 | 16.5 | . | ng/L | 0.71515 | 11.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | FONOFOS | 65084LCM60 | 11 | 16.5 | . | ng/L | 0.63636 | 10.5 | Recoverable Result | 2437 | OG | DME | n | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160070057 | 2016-01-07 07:30 | FONOFOS | 65084LCM60 | 11 | 16.5 | E | ng/L | 0.62424 | 10.3 | Estimated Values | 2437 | K | JLE | nc | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | FONOFOS | 65084LCM60 | 11 | 16.5 | E | ng/L | 0.83636 | 13.8 | Estimated Values | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | FONOFOS | 65084LCM60 | 11 | 16.5 | E | ng/L | 0.69091 | 11.4 | Estimated Values | 2437 | K | JLE | c | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160210082 | 2016-01-21 07:30 | FONOFOS | 65084LCM60 | 11 | 16.5 | . | ng/L | 1.7152 | 28.3 | Recoverable Result | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160430108 | 2016-02-11 08:00 | FONOFOS | 65084LCM60 | 11 | 16.5 | . | ng/L | 0.89091 | 14.7 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | FONOFOS | 65084LCM60 | 11 | 16.5 | . | ng/L | 0.73333 | 12.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | FONOFOS | 65084LCM60 | 11 | 16.5 | . | ng/L | 0.66667 | 11 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152040178 | 2015-07-23 06:30 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 1.1497 | 19.2 | Recoverable Result | 2437 | OG | MNO | c | 2015-08-06 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20152530084 | 2015-09-10 08:00 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 1.3413 | 22.4 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 1.3713 | 22.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152670139 | 2015-09-24 08:30 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 1.0838 | 18.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 1.0958 | 18.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 0.92814 | 15.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153090114 | 2015-11-05 08:00 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 1.0838 | 18.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 0.76048 | 12.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 0.91617 | 15.3 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160280055 | 2016-01-28 07:00 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 1.1138 | 18.6 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 1.0719 | 17.9 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | FONOFOS | 65084LCM60 | 11 | 16.7 | . | ng/L | 1 | 16.7 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20142270006 | 2014-08-14 08:00 | FONOFOS | 65084LCM60 | 11 | 21.855 | . | ng/L | 0.9197 | 20.1 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | FONOFOS | 65084LCM60 | 11 | 21.855 | . | ng/L | 1.0204 | 22.3 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | FONOFOS | 65084LCM60 | 11 | 21.855 | . | ng/L | 0.86479 | 18.9 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | FONOFOS | 65084LCM60 | 11 | 21.855 | . | ng/L | 1.0661 | 23.3 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | FONOFOS | 65084LCM60 | 11 | 21.855 | . | ng/L | 1.0021 | 21.9 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | FONOFOS | 65084LCM60 | 11 | 22.095 | . | ng/L | 0.66531 | 14.7 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | FONOFOS | 65084LCM60 | 11 | 22.095 | . | ng/L | 0.80109 | 17.7 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | FONOFOS | 65084LCM60 | 11 | 22.095 | . | ng/L | 1.1677 | 25.8 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | FONOFOS | 65084LCM60 | 11 | 22.095 | . | ng/L | 1.2854 | 28.4 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20162100011 | 2016-07-27 07:15 | FONOFOS | 65084LCM60 | 11 | 27.36 | . | ng/L | 1.1111 | 30.4 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | FONOFOS | 65084LCM60 | 11 | 27.36 | . | ng/L | 0.95029 | 26 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | FONOFOS | 65084LCM60 | 11 | 27.36 | . | ng/L | 0.99781 | 27.3 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | FONOFOS | 65084LCM60 | 11 | 27.36 | . | ng/L | 0.81871 | 22.4 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163420124 | 2016-12-07 09:00 | FONOFOS | 65084LCM60 | 11 | 27.36 | . | ng/L | 1.1001 | 30.1 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | FONOFOS | 65084LCM60 | 11 | 27.36 | . | ng/L | 1.1623 | 31.8 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163560022 | 2016-12-21 08:00 | FONOFOS | 65084LCM60 | 11 | 27.6 | . | ng/L | 0.72101 | 19.9 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | FONOFOS | 65084LCM60 | 11 | 27.6 | . | ng/L | 0.82609 | 22.8 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20151820108 | 2015-07-01 07:00 | FONOFOS | 65084LCM60 | 11 | 33 | E | ng/L | 1.5061 | 49.7 | Estimated Values | 2437 | OG | MNO | c | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20151900133 | 2015-07-09 08:00 | FONOFOS | 65084LCM60 | 11 | 33 | E | ng/L | 1.3273 | 43.8 | Estimated Values | 2437 | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20152190004 | 2015-08-06 07:30 | FONOFOS | 65084LCM60 | 11 | 33 | . | ng/L | 1.3848 | 45.7 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | FONOFOS | 65084LCM60 | 11 | 33 | . | ng/L | 1.1121 | 36.7 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152250277 | 2015-08-13 08:00 | FONOFOS | 65084LCM60 | 11 | 33 | . | ng/L | 1.0515 | 34.7 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | FONOFOS | 65084LCM60 | 11 | 33 | . | ng/L | 0.85152 | 28.1 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | FONOFOS | 65084LCM60 | 11 | 33 | . | ng/L | 1.1576 | 38.2 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152330042 | 2015-08-20 09:00 | FONOFOS | 65084LCM60 | 11 | 33 | . | ng/L | 0.95152 | 31.4 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | FONOFOS | 65084LCM60 | 11 | 33 | . | ng/L | 1.0485 | 34.6 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | FONOFOS | 65084LCM60 | 11 | 33 | . | ng/L | 1.0606 | 35 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20160490031 | 2016-02-18 08:00 | FONOFOS | 65084LCM60 | 11 | 33 | . | ng/L | 0.74545 | 24.6 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | FONOFOS | 65084LCM60 | 11 | 33 | . | ng/L | 0.99697 | 32.9 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | FONOFOS | 65084LCM60 | 11 | 33 | . | ng/L | 0.88182 | 29.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20152460212 | 2015-09-03 07:30 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.91317 | 30.5 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.90719 | 30.3 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 1.0449 | 34.9 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152950083 | 2015-10-22 07:30 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.79641 | 26.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.97904 | 32.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.76647 | 25.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20153370174 | 2015-12-03 08:00 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 1.009 | 33.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.80838 | 27 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.88623 | 29.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160630048 | 2016-03-03 07:30 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.97904 | 32.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.91317 | 30.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 1.2335 | 41.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160710224 | 2016-03-10 08:00 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.94611 | 31.6 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.96108 | 32.1 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.9521 | 31.8 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20161050141 | 2016-04-14 08:00 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.87126 | 29.1 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | FONOFOS | 65084LCM60 | 11 | 33.4 | . | ng/L | 0.85329 | 28.5 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20133050048 | 2013-10-31 07:30 | FONOFOS | 65084LCM60 | 11 | 40 | . | ng/L | 0.695 | 27.8 | Recoverable Result | 2437 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20140100087 | 2014-01-09 08:00 | FONOFOS | 65084LCM60 | 11 | 40 | . | ng/L | 0.9925 | 39.7 | Recoverable Result | 2437 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20141910245 | 2014-07-10 07:30 | FONOFOS | 65084LCM60 | 11 | 43.71 | . | ng/L | 1.0089 | 44.1 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | FONOFOS | 65084LCM60 | 11 | 43.71 | . | ng/L | 0.85106 | 37.2 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | FONOFOS | 65084LCM60 | 11 | 43.71 | . | ng/L | 1.1622 | 50.8 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | FONOFOS | 65084LCM60 | 11 | 43.71 | . | ng/L | 1.1348 | 49.6 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | FONOFOS | 65084LCM60 | 11 | 43.95 | . | ng/L | 0.86234 | 37.9 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | FONOFOS | 65084LCM60 | 11 | 44.19 | . | ng/L | 1.0432 | 46.1 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | FONOFOS | 65084LCM60 | 11 | 44.19 | . | ng/L | 0.9776 | 43.2 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | FONOFOS | 65084LCM60 | 11 | 44.19 | . | ng/L | 0.89613 | 39.6 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | FONOFOS | 65084LCM60 | 11 | 44.19 | . | ng/L | 1.0455 | 46.2 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20133400005 | 2013-12-05 08:30 | FONOFOS | 65084LCM60 | 11 | 49.2 | . | ng/L | 0.064431 | 3.17 | Recoverable Result | 2437 | OG | MPO | t | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20132630001 | 2013-09-19 08:00 | FONOFOS | 65084LCM60 | 11 | 51.22 | . | ng/L | 1.0484 | 53.7 | Recoverable Result | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | FONOFOS | 65084LCM60 | 11 | 51.22 | . | ng/L | 1.0387 | 53.2 | Recoverable Result | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20161880106 | 2016-07-06 07:45 | FONOFOS | 65084LCM60 | 11 | 54.72 | . | ng/L | 0.98319 | 53.8 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | FONOFOS | 65084LCM60 | 11 | 54.72 | . | ng/L | 0.84613 | 46.3 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | FONOFOS | 65084LCM60 | 11 | 55.2 | . | ng/L | 1.1413 | 63 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | FONOFOS | 65084LCM60 | 11 | 55.2 | . | ng/L | 1.2319 | 68 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | FONOFOS | 65084LCM60 | 11 | 69 | . | ng/L | 1.042 | 71.9 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | FONOFOS | 65084LCM60 | 11 | 69 | . | ng/L | 1.058 | 73 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20141490204 | 2014-05-29 08:30 | FONOFOS | 65084LCM60 | 11 | 88.38 | . | ng/L | 1.0953 | 96.8 | Recoverable Result | 2437 | OG | MPO |  | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20132490346 | 2013-09-06 07:00 | FONOFOS | 65084LCM60 | 11 | 100 | . | ng/L | 0.943 | 94.3 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20133470005 | 2013-12-12 08:00 | FONOFOS | 65084LCM60 | 11 | 100 | . | ng/L | 1.16 | 116 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
20140370079 | 2014-02-06 08:30 | FONOFOS | 65084LCM60 | 11 | 100 | . | ng/L | 1.24 | 124 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20152750009 | 2015-10-01 07:30 | FONOFOS | 65084LCM60 | 11 | 132 | . | ng/L | 0.83333 | 110 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | FONOFOS | 65084LCM60 | 11 | 132 | . | ng/L | 0.82576 | 109 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | FONOFOS | 65084LCM60 | 11 | 132 | . | ng/L | 0.89394 | 118 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20153280162 | 2015-11-24 07:00 | FONOFOS | 65084LCM60 | 11 | 133.6 | . | ng/L | 0.77096 | 103 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | FONOFOS | 65084LCM60 | 11 | 133.6 | . | ng/L | 0.83832 | 112 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | FONOFOS | 65084LCM60 | 11 | 133.6 | . | ng/L | 0.77096 | 103 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153640100 | 2015-12-30 08:00 | FONOFOS | 65084LCM60 | 11 | 133.6 | . | ng/L | 0.94311 | 126 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | FONOFOS | 65084LCM60 | 11 | 133.6 | . | ng/L | 0.84581 | 113 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | FONOFOS | 65084LCM60 | 11 | 133.6 | . | ng/L | 0.87575 | 117 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl