## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20140370079 | 2014-02-06 08:30 | HYDROXYMETOLACHLOR | 68622LCM60 | 2 |  | . | ng/L |  | 1.17 | False Positive | 2437 | OG | MPO | n | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20150150114 | 2015-01-15 07:00 | HYDROXYMETOLACHLOR | 68622LCM60 | 2 |  | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | HYDROXYMETOLACHLOR | 68622LCM60 | 2.4 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | HYDROXYMETOLACHLOR | 68622LCM60 | 2.4 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20163560022 | 2016-12-21 08:00 | HYDROXYMETOLACHLOR | 68622LCM60 | 2.4 | 5.2 | . | ng/L | 1.2365 | 6.43 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | HYDROXYMETOLACHLOR | 68622LCM60 | 2.4 | 5.2 | . | ng/L | 1.1596 | 6.03 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162520007 | 2016-09-07 08:30 | HYDROXYMETOLACHLOR | 68622LCM60 | 2.4 | 10.4 | . | ng/L | 1.1731 | 12.2 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | HYDROXYMETOLACHLOR | 68622LCM60 | 2.4 | 10.4 | . | ng/L | 1.0481 | 10.9 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | HYDROXYMETOLACHLOR | 68622LCM60 | 2.4 | 13 | . | ng/L | 0.74 | 9.62 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | HYDROXYMETOLACHLOR | 68622LCM60 | 2.4 | 13 | . | ng/L | 1.1231 | 14.6 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20141010010 | 2014-04-10 06:30 | HYDROXYMETOLACHLOR | 68622LCM60 | 2 | 125 | . | ng/L | 0.816 | 102 | Recoverable Result | 2437 | OG | LKK |  | 2014-04-24 | ERA 0912-13-03: 25 µl
20141150010 | 2014-04-24 07:30 | HYDROXYMETOLACHLOR | 68622LCM60 | 2 | 200 | . | ng/L | 0.795 | 159 | Recoverable Result | 2437 | OG | LKK |  | 2014-05-03 | ERA 0912-13-03: 20 µl
20141360090 | 2014-05-16 08:00 | HYDROXYMETOLACHLOR | 68622LCM60 | 2 | 250 | . | ng/L | 0.956 | 239 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-29 | ERA 0912-13-03: 25 µl
20141570091 | 2014-06-05 08:30 | HYDROXYMETOLACHLOR | 68622LCM60 | 2 | 250 | . | ng/L | 0.92 | 230 | Recoverable Result | 2437 | OG | MPO |  | 2014-06-18 | ERA 0912-13-03: 25 µl
20141420138 | 2014-05-22 08:00 | HYDROXYMETOLACHLOR | 68622LCM60 | 2 | 500 | . | ng/L | 0.818 | 409 | Recoverable Result | 2437 | K | MPO | d | 2014-06-05 | ERA 0912-13-03: 50 µl
20141710106 | 2014-06-19 08:00 | HYDROXYMETOLACHLOR | 68622LCM60 | 2 | 500 | . | ng/L | 0.878 | 439 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-02 | ERA 0912-13-03: 50 µl