## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132630001 | 2013-09-19 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 |  | . | ng/L |  | 0.79 | False Positive | 2437 | OG | LKK | bt | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133400005 | 2013-12-05 08:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 |  | U | ng/L |  |  | Deleted Values | 2437 | OG | MPO | c | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20133470005 | 2013-12-12 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 |  | U | ng/L |  |  | Deleted Values | 2437 | OG | MPO | c | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
20150150114 | 2015-01-15 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 |  | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152040178 | 2015-07-23 06:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 4.5 | < | ng/L |  | 9.85 | SACRALT | 2437 | OG | MNO | ic | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20152670139 | 2015-09-24 08:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 4.5 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 4.5 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 4.5 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153090114 | 2015-11-05 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 4.5 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 4.5 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 4.5 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20142470035 | 2014-09-03 07:45 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 6.045 | < | ng/L |  | 7.84 | SACRALT | 2437 | OG | CAD | vc | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20142620041 | 2014-09-18 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 6.045 | < | ng/L |  | 7.03 | SACRALT | 2437 | OG | MNO | ic | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20142130132 | 2014-07-31 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 6.09 | < | ng/L |  | 25 | SACRALT | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142270006 | 2014-08-14 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 6.09 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | c | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20150650041 | 2015-03-05 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 6.09 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20151110018 | 2015-04-16 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 6.09 | < | ng/L |  | 50 | SACRALT | 2437 | OG | JIV | c | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20161740281 | 2016-06-22 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 7.6 | < | ng/L |  | 100 | SACRALT | 2437 | OG | JLE | mc | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 7.6 | < | ng/L |  | 100 | SACRALT | 2437 | OG | JLE | mc | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20153370174 | 2015-12-03 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 9 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 9 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 9 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160630048 | 2016-03-03 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 9 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MNI | c | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 9 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MNI | c | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 9 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MNI | c | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160710224 | 2016-03-10 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 9 | < | ng/L |  | 100 | SACRALT | 2437 | OG | JLE | mc | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 9 | < | ng/L |  | 100 | SACRALT | 2437 | OG | JLE | mc | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 9 | < | ng/L |  | 100 | SACRALT | 2437 | OG | JLE | mc | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20161050141 | 2016-04-14 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 9 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 9 | < | ng/L |  | 100 | SACRALT | 2437 | OG | DME | mc | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20142340168 | 2014-08-18 07:15 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 12.09 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20143180048 | 2014-11-13 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 12.09 | < | ng/L |  | 13.4 | SACRALT | 2437 | OG | MGN | ic | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20143240094 | 2014-11-19 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 12.09 | < | ng/L |  |  | False Negative | 2437 | OG | DME | ic | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20142820153 | 2014-10-09 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 12.18 | < | ng/L |  | 12.7 | SACRALT | 2437 | OG | MNI | vc | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20142960085 | 2014-10-23 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 12.18 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | vc | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20143370093 | 2014-12-03 06:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 12.18 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20143520108 | 2014-12-18 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 12.18 | < | ng/L |  | 12.4 | SACRALT | 2437 | OG | DME | ic | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20150360050 | 2015-02-05 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 12.18 | < | ng/L |  |  | False Negative | 2437 | OG | MNI | c | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20162660010 | 2016-09-21 08:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 19 | < | ng/L |  | 100 | SACRALT | 2437 | OG | LOA | mc | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 19 | < | ng/L |  | 100 | SACRALT | 2437 | OG | LOA | mc | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20161820006 | 2016-06-29 09:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 734.4 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 734.4 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20163070100 | 2016-11-02 08:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 7.48 | E | ng/L | 1.1364 | 8.5 | Estimated Values | 2437 | K | DME | mtc | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 7.48 | E | ng/L | 1.0963 | 8.2 | Estimated Values | 2437 | K | DME | mtc | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163370005 | 2016-11-30 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 14.96 | E | ng/L | 0.62834 | 9.4 | Estimated Values | 2437 | K | DME | mtc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 14.96 | E | ng/L | 0.6016 | 9 | Estimated Values | 2437 | K | DME | mtc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20153640100 | 2015-12-30 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 36 | E | ng/L | 1.0028 | 36.1 | Estimated Values | 2437 | OG | MNI | mtc | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 36 | E | ng/L | 0.96111 | 34.6 | Estimated Values | 2437 | OG | MNI | mtc | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 36 | E | ng/L | 0.93333 | 33.6 | Estimated Values | 2437 | OG | MNI | mtc | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20141290002 | 2014-05-08 06:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 6.045 | E | ng/L | 0.80397 | 4.86 | Estimated Values | 2437 | OG | MPO | c | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20141990082 | 2014-07-17 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 6.045 | . | ng/L | 0.44169 | 2.67 | Recoverable Result | 2437 | OG | LKK | n | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142720026 | 2014-09-25 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 6.045 | . | ng/L | 0.9115 | 5.51 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150930002 | 2015-04-02 06:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 6.045 | . | ng/L | 0.52771 | 3.19 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20152460212 | 2015-09-03 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 9 | E | ng/L | 1.4 | 12.6 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 9 | E | ng/L | 1.3 | 11.7 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 9 | E | ng/L | 1.2222 | 11 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20141640081 | 2014-06-12 08:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 12.09 | . | ng/L | 1.0008 | 12.1 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20141770144 | 2014-06-26 09:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 12.18 | . | ng/L | 0.87849 | 10.7 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20141490204 | 2014-05-29 08:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 24.18 | E | ng/L | 0.9512 | 23 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20153280162 | 2015-11-24 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 36 | . | ng/L | 1.0806 | 38.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 36 | . | ng/L | 1.1833 | 42.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 36 | . | ng/L | 0.90278 | 32.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20141010010 | 2014-04-10 06:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 126.25 | . | ng/L | 0.9505 | 120 | Recoverable Result | 2437 | OG | LKK |  | 2014-04-24 | ERA 0912-13-03: 25 µl
20141150010 | 2014-04-24 07:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 202 | . | ng/L | 0.91584 | 185 | Recoverable Result | 2437 | OG | LKK |  | 2014-05-03 | ERA 0912-13-03: 20 µl
20141360090 | 2014-05-16 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 252.5 | . | ng/L | 0.85941 | 217 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-29 | ERA 0912-13-03: 25 µl
20141570091 | 2014-06-05 08:30 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 252.5 | . | ng/L | 0.92277 | 233 | Recoverable Result | 2437 | OG | MPO |  | 2014-06-18 | ERA 0912-13-03: 25 µl
20162100011 | 2016-07-27 07:15 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 359.6 | . | ng/L | 1.0122 | 364 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 359.6 | . | ng/L | 0.99555 | 358 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 359.6 | E | ng/L | 0.7564 | 272 | Estimated Values | 2437 | OG | DME | mc | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 359.6 | E | ng/L | 0.78699 | 283 | Estimated Values | 2437 | OG | DME | mc | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163420124 | 2016-12-07 09:00 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 367.08 | E | ng/L | 1.1333 | 416 | Estimated Values | 2437 | OG | DME | mc | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 367.08 | E | ng/L | 1.1442 | 420 | Estimated Values | 2437 | OG | DME | mc | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20141420138 | 2014-05-22 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 505 | . | ng/L | 1.0416 | 526 | Recoverable Result | 2437 | K | MPO | d | 2014-06-05 | ERA 0912-13-03: 50 µl
20141710106 | 2014-06-19 08:00 | HYDROXYSIMAZINE | 68624LCM60 | 3 | 505 | . | ng/L | 0.92871 | 469 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-02 | ERA 0912-13-03: 50 µl
20161880106 | 2016-07-06 07:45 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 719.2 | E | ng/L | 0.94967 | 683 | Estimated Values | 2437 | OG | DME | mc | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | HYDROXYSIMAZINE | 68624LCM60 | 100 | 719.2 | E | ng/L | 0.95245 | 685 | Estimated Values | 2437 | OG | DME | mc | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl