## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | IMIDACLOPRID | 68426LCM60 | 16 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | IMIDACLOPRID | 68426LCM60 | 16 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152110200 | 2015-07-30 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 16.5 | < | ng/L |  |  | False Negative | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20161190071 | 2016-04-28 06:00 | IMIDACLOPRID | 68426LCM60 | 16 | 33 | < | ng/L |  |  | False Negative | 2437 | OG | MNI | c | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20150150114 | 2015-01-15 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 43.56 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152110201 | 2015-07-30 08:00 | IMIDACLOPRID | 68426LCM60 | 11 | 16.5 | . | ng/L | 0.98182 | 16.2 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 16.5 | . | ng/L | 0.75758 | 12.5 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | IMIDACLOPRID | 68426LCM60 | 11 | 16.5 | . | ng/L | 0.73333 | 12.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 16.5 | . | ng/L | 0.95152 | 15.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 16.5 | . | ng/L | 1.1818 | 19.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | IMIDACLOPRID | 68426LCM60 | 11 | 16.5 | . | ng/L | 1.0182 | 16.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 16.5 | . | ng/L | 1.297 | 21.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 16.5 | . | ng/L | 1.0606 | 17.5 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | IMIDACLOPRID | 68426LCM60 | 16 | 16.5 | . | ng/L | 0.91515 | 15.1 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | IMIDACLOPRID | 68426LCM60 | 16 | 16.5 | . | ng/L | 1.0242 | 16.9 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | IMIDACLOPRID | 68426LCM60 | 16 | 16.5 | . | ng/L | 1.1576 | 19.1 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | IMIDACLOPRID | 68426LCM60 | 16 | 16.5 | . | ng/L | 1.0848 | 17.9 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | IMIDACLOPRID | 68426LCM60 | 16 | 16.5 | . | ng/L | 0.98182 | 16.2 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | IMIDACLOPRID | 68426LCM60 | 16 | 16.5 | . | ng/L | 1.2788 | 21.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | IMIDACLOPRID | 68426LCM60 | 16 | 16.5 | . | ng/L | 1.4424 | 23.8 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | IMIDACLOPRID | 68426LCM60 | 16 | 16.5 | . | ng/L | 0.77576 | 12.8 | Recoverable Result | 2437 | OG | DME | n | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | IMIDACLOPRID | 68426LCM60 | 16 | 16.5 | . | ng/L | 1.2303 | 20.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 16.7 | . | ng/L | 1.4311 | 23.9 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 16.7 | . | ng/L | 1.3473 | 22.5 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 16.7 | . | ng/L | 0.94012 | 15.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 16.7 | . | ng/L | 0.87425 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 16.7 | . | ng/L | 0.83832 | 14 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 16.7 | . | ng/L | 0.92216 | 15.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 16.7 | . | ng/L | 0.87425 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | IMIDACLOPRID | 68426LCM60 | 16 | 16.7 | . | ng/L | 1.8743 | 31.3 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | IMIDACLOPRID | 68426LCM60 | 16 | 16.7 | . | ng/L | 1.5988 | 26.7 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | IMIDACLOPRID | 68426LCM60 | 16 | 16.7 | . | ng/L | 1.2455 | 20.8 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | IMIDACLOPRID | 68426LCM60 | 16 | 16.7 | . | ng/L | 1.4671 | 24.5 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | IMIDACLOPRID | 68426LCM60 | 16 | 16.7 | . | ng/L | 1.4072 | 23.5 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | IMIDACLOPRID | 68426LCM60 | 16 | 16.7 | . | ng/L | 1.2036 | 20.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142060046 | 2014-07-24 08:00 | IMIDACLOPRID | 68426LCM60 | 11 | 21.78 | E | ng/L | 1.3177 | 28.7 | Estimated Values | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | IMIDACLOPRID | 68426LCM60 | 11 | 21.78 | . | ng/L | 0.91827 | 20 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | IMIDACLOPRID | 68426LCM60 | 11 | 21.78 | . | ng/L | 1.3407 | 29.2 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 21.78 | . | ng/L | 0.99174 | 21.6 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | IMIDACLOPRID | 68426LCM60 | 11 | 21.78 | . | ng/L | 1.1433 | 24.9 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 21.78 | . | ng/L | 0.96878 | 21.1 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | IMIDACLOPRID | 68426LCM60 | 11 | 22.095 | . | ng/L | 1.0002 | 22.1 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | IMIDACLOPRID | 68426LCM60 | 11 | 22.095 | E | ng/L | 1.0093 | 22.3 | Estimated Values | 2437 | OG | LKK | c | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 22.095 | . | ng/L | 1.0455 | 23.1 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 22.095 | . | ng/L | 0.88255 | 19.5 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20161740281 | 2016-06-22 07:30 | IMIDACLOPRID | 68426LCM60 | 16 | 27.52 | . | ng/L | 1.3154 | 36.2 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | IMIDACLOPRID | 68426LCM60 | 16 | 27.52 | . | ng/L | 1.0792 | 29.7 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | IMIDACLOPRID | 68426LCM60 | 16 | 27.52 | . | ng/L | 1.0974 | 30.2 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | IMIDACLOPRID | 68426LCM60 | 16 | 27.52 | . | ng/L | 1.4063 | 38.7 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | IMIDACLOPRID | 68426LCM60 | 16 | 27.52 | . | ng/L | 0.91933 | 25.3 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | IMIDACLOPRID | 68426LCM60 | 16 | 27.52 | . | ng/L | 1.3263 | 36.5 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | IMIDACLOPRID | 68426LCM60 | 16 | 27.52 | . | ng/L | 1.0828 | 29.8 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | IMIDACLOPRID | 68426LCM60 | 16 | 27.52 | . | ng/L | 0.86846 | 23.9 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | IMIDACLOPRID | 68426LCM60 | 16 | 27.64 | . | ng/L | 1.2663 | 35 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | IMIDACLOPRID | 68426LCM60 | 16 | 27.64 | . | ng/L | 0.80318 | 22.2 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20152190004 | 2015-08-06 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 1.0667 | 35.2 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 0.90909 | 30 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 0.74848 | 24.7 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 0.94545 | 31.2 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 0.90606 | 29.9 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 0.94242 | 31.1 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 0.80606 | 26.6 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 1.2364 | 40.8 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 0.92727 | 30.6 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 1.303 | 43 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 0.96061 | 31.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 33 | . | ng/L | 0.79091 | 26.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | IMIDACLOPRID | 68426LCM60 | 16 | 33 | . | ng/L | 1.0545 | 34.8 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | IMIDACLOPRID | 68426LCM60 | 16 | 33 | . | ng/L | 1.003 | 33.1 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | IMIDACLOPRID | 68426LCM60 | 16 | 33 | . | ng/L | 1.1515 | 38 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | IMIDACLOPRID | 68426LCM60 | 16 | 33 | . | ng/L | 1.2455 | 41.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | IMIDACLOPRID | 68426LCM60 | 11 | 33.4 | . | ng/L | 0.86826 | 29 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | IMIDACLOPRID | 68426LCM60 | 11 | 33.4 | . | ng/L | 1.2844 | 42.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 33.4 | . | ng/L | 0.96407 | 32.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 33.4 | . | ng/L | 1.0719 | 35.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | IMIDACLOPRID | 68426LCM60 | 16 | 33.4 | . | ng/L | 0.88922 | 29.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | IMIDACLOPRID | 68426LCM60 | 16 | 33.4 | . | ng/L | 1.0449 | 34.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | IMIDACLOPRID | 68426LCM60 | 16 | 33.4 | . | ng/L | 1.0868 | 36.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | IMIDACLOPRID | 68426LCM60 | 16 | 33.4 | . | ng/L | 0.97006 | 32.4 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | IMIDACLOPRID | 68426LCM60 | 16 | 33.4 | . | ng/L | 0.92216 | 30.8 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | IMIDACLOPRID | 68426LCM60 | 16 | 33.4 | . | ng/L | 0.72754 | 24.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | IMIDACLOPRID | 68426LCM60 | 16 | 33.4 | . | ng/L | 1.2545 | 41.9 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | IMIDACLOPRID | 68426LCM60 | 16 | 33.4 | . | ng/L | 1.1048 | 36.9 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | IMIDACLOPRID | 68426LCM60 | 16 | 33.4 | . | ng/L | 1.1108 | 37.1 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141910245 | 2014-07-10 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 43.56 | . | ng/L | 1.3338 | 58.1 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 43.56 | . | ng/L | 1.2902 | 56.2 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | IMIDACLOPRID | 68426LCM60 | 11 | 43.56 | . | ng/L | 1.1892 | 51.8 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 43.56 | . | ng/L | 0.91598 | 39.9 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | IMIDACLOPRID | 68426LCM60 | 11 | 43.875 | . | ng/L | 1.1464 | 50.3 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | IMIDACLOPRID | 68426LCM60 | 11 | 44.19 | . | ng/L | 0.93007 | 41.1 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 44.19 | . | ng/L | 1.1134 | 49.2 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 44.19 | . | ng/L | 1.1066 | 48.9 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 44.19 | . | ng/L | 1.0681 | 47.2 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20161880106 | 2016-07-06 07:45 | IMIDACLOPRID | 68426LCM60 | 16 | 55.04 | . | ng/L | 0.92842 | 51.1 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | IMIDACLOPRID | 68426LCM60 | 16 | 55.04 | . | ng/L | 0.90298 | 49.7 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | IMIDACLOPRID | 68426LCM60 | 16 | 55.04 | . | ng/L | 1.1755 | 64.7 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | IMIDACLOPRID | 68426LCM60 | 16 | 55.04 | . | ng/L | 1.3517 | 74.4 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20163370005 | 2016-11-30 08:00 | IMIDACLOPRID | 68426LCM60 | 16 | 55.28 | . | ng/L | 1.0329 | 57.1 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | IMIDACLOPRID | 68426LCM60 | 16 | 55.28 | . | ng/L | 0.98589 | 54.5 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20141490204 | 2014-05-29 08:30 | IMIDACLOPRID | 68426LCM60 | 11 | 88.38 | E | ng/L | 1.0749 | 95 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 132 | . | ng/L | 1.0152 | 134 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 132 | . | ng/L | 0.95455 | 126 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | IMIDACLOPRID | 68426LCM60 | 11 | 132 | . | ng/L | 0.88636 | 117 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | IMIDACLOPRID | 68426LCM60 | 11 | 133.6 | . | ng/L | 0.99551 | 133 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | IMIDACLOPRID | 68426LCM60 | 11 | 133.6 | . | ng/L | 0.99551 | 133 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | IMIDACLOPRID | 68426LCM60 | 11 | 133.6 | . | ng/L | 0.99551 | 133 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | IMIDACLOPRID | 68426LCM60 | 11 | 133.6 | . | ng/L | 0.91317 | 122 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | IMIDACLOPRID | 68426LCM60 | 11 | 133.6 | . | ng/L | 0.79341 | 106 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | IMIDACLOPRID | 68426LCM60 | 11 | 133.6 | . | ng/L | 0.86826 | 116 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20140300037 | 2014-01-30 09:00 | IMIDACLOPRID | 68426LCM60 | 11 | 500 | E | ng/L | 1.01 | 505 | Estimated Values | 2437 | OG | MPO | c | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20132420005 | 2013-08-29 08:30 | IMIDACLOPRID | 68426LCM60 | 11 | 502 | E | ng/L | 1.012 | 508 | Estimated Values | 2437 | OG | LOA | c | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20133110106 | 2013-11-07 08:30 | IMIDACLOPRID | 68426LCM60 | 11 | 502 | . | ng/L | 1.1016 | 553 | Recoverable Result | 2437 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140510044 | 2014-02-20 08:00 | IMIDACLOPRID | 68426LCM60 | 11 | 502 | . | ng/L | 0.90438 | 454 | Recoverable Result | 2437 | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2