## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20152110201 | 2015-07-30 08:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153230142 | 2015-11-19 08:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160210084 | 2016-01-21 08:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160560058 | 2016-02-25 07:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20151110018 | 2015-04-16 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.55 | < | ng/L |  | 50 | SACRALT | 2437 | OG | JIV | c | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20151900133 | 2015-07-09 08:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 39.6 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20152250277 | 2015-08-13 08:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 39.6 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 39.6 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152390229 | 2015-08-27 08:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 39.6 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 39.6 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 39.6 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152460212 | 2015-09-03 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 39.6 | < | ng/L |  |  | False Negative | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160140035 | 2016-01-14 08:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20150150114 | 2015-01-15 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 53.1 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 64.16 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 64.16 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152110200 | 2015-07-30 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | . | ng/L | 0.62121 | 12.3 | Recoverable Result | 2437 | OG | MPO | n | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | . | ng/L | 0.59091 | 11.7 | Recoverable Result | 2437 | OG | MPO | n | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152670139 | 2015-09-24 08:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | . | ng/L | 0.88384 | 17.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | . | ng/L | 1.5808 | 31.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | . | ng/L | 0.87374 | 17.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152890014 | 2015-10-15 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | . | ng/L | 0.84343 | 16.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030064 | 2015-10-29 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | . | ng/L | 1.1111 | 22 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | . | ng/L | 1.1667 | 23.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153230143 | 2015-11-19 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 19.8 | . | ng/L | 0.79798 | 15.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160350044 | 2016-02-04 08:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | . | ng/L | 0.67172 | 13.3 | Recoverable Result | 2437 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | . | ng/L | 0.92424 | 18.3 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | . | ng/L | 0.86869 | 17.2 | Recoverable Result | 2437 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | . | ng/L | 0.5404 | 10.7 | Recoverable Result | 2437 | OG | DME | bn | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | . | ng/L | 0.38283 | 7.58 | Recoverable Result | 2437 | OG | DME | bt | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | . | ng/L | 0.9697 | 19.2 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160560057 | 2016-02-25 07:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | . | ng/L | 0.75758 | 15 | Recoverable Result | 2437 | OG | DME | n | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | . | ng/L | 0.9697 | 19.2 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | . | ng/L | 1.0505 | 20.8 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | . | ng/L | 0.90404 | 17.9 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 19.8 | . | ng/L | 0.83333 | 16.5 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20141990082 | 2014-07-17 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.37 | . | ng/L | 0.78119 | 20.6 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142480004 | 2014-09-04 08:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.37 | . | ng/L | 0.64088 | 16.9 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142720026 | 2014-09-25 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.37 | . | ng/L | 1.4334 | 37.8 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150650041 | 2015-03-05 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.37 | . | ng/L | 1.1718 | 30.9 | Recoverable Result | 2437 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20150990083 | 2015-04-09 06:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.37 | . | ng/L | 0.32347 | 8.53 | Recoverable Result | 2437 | OG | LOA | bn | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142060046 | 2014-07-24 08:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.55 | E | ng/L | 1.0508 | 27.9 | Estimated Values | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142130132 | 2014-07-31 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.55 | . | ng/L | 1.2881 | 34.2 | Recoverable Result | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142200170 | 2014-08-07 09:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.55 | . | ng/L | 1.0207 | 27.1 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142470035 | 2014-09-03 07:45 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.55 | . | ng/L | 0.82863 | 22 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20150570010 | 2015-02-26 06:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.55 | . | ng/L | 1.3635 | 36.2 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150850163 | 2015-03-26 06:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 26.55 | . | ng/L | 1.1751 | 31.2 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20162100011 | 2016-07-27 07:15 | ISOXAFLUTOLE | 68632LCM60 | 18 | 32.08 | . | ng/L | 0.31796 | 10.2 | Recoverable Result | 2437 | OG | DME | bn | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 32.08 | . | ng/L | 0.64838 | 20.8 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 32.08 | . | ng/L | 0.85411 | 27.4 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 32.08 | E | ng/L | 0.65461 | 21 | Estimated Values | 2437 | OG | DME | c | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163420124 | 2016-12-07 09:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 32.08 | . | ng/L | 0.89152 | 28.6 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 32.08 | . | ng/L | 1.1502 | 36.9 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163560022 | 2016-12-21 08:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 32.8 | E | ng/L | 1.1006 | 36.1 | Estimated Values | 2437 | OG | DME | c | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 32.8 | E | ng/L | 1.1463 | 37.6 | Estimated Values | 2437 | OG | DME | c | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20151970155 | 2015-07-16 06:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 39.6 | . | ng/L | 0.83586 | 33.1 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152250276 | 2015-08-13 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 39.6 | . | ng/L | 0.7702 | 30.5 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152460211 | 2015-09-03 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 39.6 | . | ng/L | 0.39899 | 15.8 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 39.6 | . | ng/L | 0.37626 | 14.9 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20153510113 | 2015-12-17 07:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | . | ng/L | 0.71465 | 28.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | . | ng/L | 0.63384 | 25.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | . | ng/L | 0.75758 | 30 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160140036 | 2016-01-14 07:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | . | ng/L | 1.1894 | 47.1 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160630048 | 2016-03-03 07:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | . | ng/L | 0.47475 | 18.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | . | ng/L | 0.5404 | 21.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | . | ng/L | 0.74242 | 29.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20161050141 | 2016-04-14 08:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | E | ng/L | 0.73737 | 29.2 | Estimated Values | 2437 | OG | DME | c | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | E | ng/L | 0.88131 | 34.9 | Estimated Values | 2437 | OG | DME | c | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20161190072 | 2016-04-28 06:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | . | ng/L | 1.1086 | 43.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 39.6 | . | ng/L | 0.81313 | 32.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20141770144 | 2014-06-26 09:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 52.74 | . | ng/L | 0.67311 | 35.5 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20141910245 | 2014-07-10 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 52.74 | . | ng/L | 1.132 | 59.7 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143030096 | 2014-10-30 08:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 52.74 | . | ng/L | 0.90823 | 47.9 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143300050 | 2014-11-26 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 52.74 | . | ng/L | 0.6807 | 35.9 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143240094 | 2014-11-19 08:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 52.74 | . | ng/L | 0.8267 | 43.6 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20143520108 | 2014-12-18 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 52.74 | . | ng/L | 0.7755 | 40.9 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142340168 | 2014-08-18 07:15 | ISOXAFLUTOLE | 68632LCM60 | 13 | 53.1 | . | ng/L | 0.45763 | 24.3 | Recoverable Result | 2437 | OG | LKK | @c | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20142760029 | 2014-10-02 07:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 53.1 | . | ng/L | 1.1846 | 62.9 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20142960085 | 2014-10-23 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 53.1 | . | ng/L | 0.96234 | 51.1 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20150360050 | 2015-02-05 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 53.1 | . | ng/L | 1.1883 | 63.1 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20161880106 | 2016-07-06 07:45 | ISOXAFLUTOLE | 68632LCM60 | 18 | 64.16 | . | ng/L | 1.1284 | 72.4 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | ISOXAFLUTOLE | 68632LCM60 | 18 | 64.16 | . | ng/L | 0.74345 | 47.7 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 65.6 | . | ng/L | 0.66311 | 43.5 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 65.6 | . | ng/L | 0.99695 | 65.4 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 82 | . | ng/L | 0.75854 | 62.2 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 82 | . | ng/L | 0.89634 | 73.5 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20152610006 | 2015-09-17 09:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 158.4 | E | ng/L | 1.3005 | 206 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 158.4 | E | ng/L | 1.2374 | 196 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 158.4 | E | ng/L | 1.3258 | 210 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152810124 | 2015-10-08 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 158.4 | . | ng/L | 0.73864 | 117 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 158.4 | . | ng/L | 0.90278 | 143 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 158.4 | . | ng/L | 0.84596 | 134 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153280162 | 2015-11-24 07:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 158.4 | . | ng/L | 1.0669 | 169 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | ISOXAFLUTOLE | 68632LCM60 | 13 | 158.4 | . | ng/L | 0.99747 | 158 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | ISOXAFLUTOLE | 68632LCM60 | 13 | 158.4 | . | ng/L | 1.0859 | 172 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153640100 | 2015-12-30 08:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 158.4 | . | ng/L | 0.54987 | 87.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | ISOXAFLUTOLE | 68632LCM60 | 18 | 158.4 | . | ng/L | 0.50694 | 80.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | ISOXAFLUTOLE | 68632LCM60 | 18 | 158.4 | . | ng/L | 0.55051 | 87.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl