## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | MALATHION | 65087LCM60 | 5.4 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | MALATHION | 65087LCM60 | 5.4 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20163420125 | 2016-12-07 08:30 | MALATHION | 65087LCM60 | 5.4 |  | . | ng/L |  | 3.12 | False Positive | 2437 | OG | DME | bn | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20152110201 | 2015-07-30 08:00 | MALATHION | 65087LCM60 | 6 | 8.98 | < | ng/L |  |  | False Negative | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20160210082 | 2016-01-21 07:30 | MALATHION | 65087LCM60 | 5.4 | 9.1 | < | ng/L |  |  | False Negative | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20150990083 | 2015-04-09 06:30 | MALATHION | 65087LCM60 | 6 | 12.06 | < | ng/L |  |  | False Negative | 2437 | OG | LOA | c | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20151900133 | 2015-07-09 08:00 | MALATHION | 65087LCM60 | 6 | 17.96 | < | ng/L |  | 21.2 | SACRALT | 2437 | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20150150114 | 2015-01-15 07:00 | MALATHION | 65087LCM60 | 6 | 24.09 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152110200 | 2015-07-30 07:30 | MALATHION | 65087LCM60 | 6 | 8.98 | E | ng/L | 0.7951 | 7.14 | Estimated Values | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | MALATHION | 65087LCM60 | 6 | 8.98 | E | ng/L | 1.1359 | 10.2 | Estimated Values | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | MALATHION | 65087LCM60 | 6 | 8.98 | . | ng/L | 1.392 | 12.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | MALATHION | 65087LCM60 | 6 | 8.98 | . | ng/L | 1.5479 | 13.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | MALATHION | 65087LCM60 | 6 | 8.98 | . | ng/L | 1.098 | 9.86 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | MALATHION | 65087LCM60 | 6 | 8.98 | . | ng/L | 1.1247 | 10.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | MALATHION | 65087LCM60 | 6 | 8.98 | . | ng/L | 1.3363 | 12 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | MALATHION | 65087LCM60 | 6 | 8.98 | . | ng/L | 1.1915 | 10.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | MALATHION | 65087LCM60 | 6 | 8.98 | . | ng/L | 1.147 | 10.3 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | MALATHION | 65087LCM60 | 6 | 8.98 | . | ng/L | 1.5033 | 13.5 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | MALATHION | 65087LCM60 | 6 | 8.98 | . | ng/L | 1.3029 | 11.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160350044 | 2016-02-04 08:00 | MALATHION | 65087LCM60 | 5.4 | 8.98 | . | ng/L | 0.77283 | 6.94 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | MALATHION | 65087LCM60 | 5.4 | 8.98 | . | ng/L | 0.71269 | 6.4 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | MALATHION | 65087LCM60 | 5.4 | 8.98 | . | ng/L | 0.71047 | 6.38 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | MALATHION | 65087LCM60 | 5.4 | 8.98 | . | ng/L | 0.94766 | 8.51 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | MALATHION | 65087LCM60 | 5.4 | 8.98 | . | ng/L | 0.77283 | 6.94 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | MALATHION | 65087LCM60 | 5.4 | 8.98 | . | ng/L | 0.84967 | 7.63 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152670139 | 2015-09-24 08:30 | MALATHION | 65087LCM60 | 6 | 9.1 | . | ng/L | 1.4835 | 13.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | MALATHION | 65087LCM60 | 6 | 9.1 | . | ng/L | 1.5055 | 13.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | MALATHION | 65087LCM60 | 6 | 9.1 | . | ng/L | 1.8022 | 16.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153230142 | 2015-11-19 08:00 | MALATHION | 65087LCM60 | 6 | 9.1 | . | ng/L | 1.6044 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | MALATHION | 65087LCM60 | 6 | 9.1 | . | ng/L | 1.6484 | 15 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | MALATHION | 65087LCM60 | 6 | 9.1 | . | ng/L | 1.6484 | 15 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160210084 | 2016-01-21 08:00 | MALATHION | 65087LCM60 | 5.4 | 9.1 | E | ng/L | 1.0462 | 9.52 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | MALATHION | 65087LCM60 | 5.4 | 9.1 | E | ng/L | 1.2637 | 11.5 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160560058 | 2016-02-25 07:30 | MALATHION | 65087LCM60 | 5.4 | 9.1 | . | ng/L | 1.0582 | 9.63 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | MALATHION | 65087LCM60 | 5.4 | 9.1 | . | ng/L | 0.73736 | 6.71 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | MALATHION | 65087LCM60 | 5.4 | 9.1 | . | ng/L | 1.3516 | 12.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | MALATHION | 65087LCM60 | 5.4 | 9.1 | . | ng/L | 0.93516 | 8.51 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | MALATHION | 65087LCM60 | 5.4 | 9.1 | . | ng/L | 1.1978 | 10.9 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | MALATHION | 65087LCM60 | 5.4 | 9.1 | . | ng/L | 1.0418 | 9.48 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142060046 | 2014-07-24 08:00 | MALATHION | 65087LCM60 | 6 | 12.045 | E | ng/L | 0.92985 | 11.2 | Estimated Values | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | MALATHION | 65087LCM60 | 6 | 12.045 | . | ng/L | 1.5525 | 18.7 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | MALATHION | 65087LCM60 | 6 | 12.045 | . | ng/L | 1.0378 | 12.5 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | MALATHION | 65087LCM60 | 6 | 12.045 | . | ng/L | 0.92154 | 11.1 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | MALATHION | 65087LCM60 | 6 | 12.045 | . | ng/L | 1.1457 | 13.8 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | MALATHION | 65087LCM60 | 6 | 12.045 | . | ng/L | 1.0295 | 12.4 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | MALATHION | 65087LCM60 | 6 | 12.06 | . | ng/L | 1.4262 | 17.2 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | MALATHION | 65087LCM60 | 6 | 12.06 | . | ng/L | 0.84577 | 10.2 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | MALATHION | 65087LCM60 | 6 | 12.06 | . | ng/L | 1.1692 | 14.1 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20162720259 | 2016-09-28 09:00 | MALATHION | 65087LCM60 | 5.4 | 14.84 | . | ng/L | 0.9097 | 13.5 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | MALATHION | 65087LCM60 | 5.4 | 14.84 | . | ng/L | 0.90296 | 13.4 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20161740281 | 2016-06-22 07:30 | MALATHION | 65087LCM60 | 5.4 | 15.2 | . | ng/L | 0.0625 | 0.95 | Recoverable Result | 2437 | OG | JLE | bt | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | MALATHION | 65087LCM60 | 5.4 | 15.2 | . | ng/L | 0.24408 | 3.71 | Recoverable Result | 2437 | OG | JLE | bn | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | MALATHION | 65087LCM60 | 5.4 | 15.2 | . | ng/L | 1.0592 | 16.1 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | MALATHION | 65087LCM60 | 5.4 | 15.2 | . | ng/L | 1.1908 | 18.1 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | MALATHION | 65087LCM60 | 5.4 | 15.2 | . | ng/L | 0.93421 | 14.2 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | MALATHION | 65087LCM60 | 5.4 | 15.2 | . | ng/L | 0.89474 | 13.6 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | MALATHION | 65087LCM60 | 5.4 | 15.2 | . | ng/L | 1.0658 | 16.2 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | MALATHION | 65087LCM60 | 5.4 | 15.2 | . | ng/L | 0.85526 | 13 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20151970155 | 2015-07-16 06:00 | MALATHION | 65087LCM60 | 6 | 17.96 | . | ng/L | 1.0635 | 19.1 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152460212 | 2015-09-03 07:30 | MALATHION | 65087LCM60 | 6 | 17.96 | E | ng/L | 1.0356 | 18.6 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | MALATHION | 65087LCM60 | 6 | 17.96 | E | ng/L | 1.4866 | 26.7 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | MALATHION | 65087LCM60 | 6 | 17.96 | E | ng/L | 1.0969 | 19.7 | Estimated Values | 2437 | OG | MNI | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160140035 | 2016-01-14 08:00 | MALATHION | 65087LCM60 | 5.4 | 17.96 | E | ng/L | 0.53619 | 9.63 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | MALATHION | 65087LCM60 | 5.4 | 17.96 | E | ng/L | 0.59577 | 10.7 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | MALATHION | 65087LCM60 | 5.4 | 17.96 | E | ng/L | 0.77394 | 13.9 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161050141 | 2016-04-14 08:00 | MALATHION | 65087LCM60 | 5.4 | 17.96 | . | ng/L | 0.94098 | 16.9 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | MALATHION | 65087LCM60 | 5.4 | 17.96 | . | ng/L | 0.72383 | 13 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20151820108 | 2015-07-01 07:00 | MALATHION | 65087LCM60 | 6 | 18.2 | E | ng/L | 2.1648 | 39.4 | Estimated Values | 2437 | OG | MNO | c | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20152250277 | 2015-08-13 08:00 | MALATHION | 65087LCM60 | 6 | 18.2 | . | ng/L | 1.0769 | 19.6 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | MALATHION | 65087LCM60 | 6 | 18.2 | . | ng/L | 1.5385 | 28 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | MALATHION | 65087LCM60 | 6 | 18.2 | . | ng/L | 1.7033 | 31 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152390229 | 2015-08-27 08:00 | MALATHION | 65087LCM60 | 6 | 18.2 | E | ng/L | 2.4725 | 45 | Estimated Values | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | MALATHION | 65087LCM60 | 6 | 18.2 | E | ng/L | 2.511 | 45.7 | Estimated Values | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | MALATHION | 65087LCM60 | 6 | 18.2 | E | ng/L | 2.456 | 44.7 | Estimated Values | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20153510113 | 2015-12-17 07:30 | MALATHION | 65087LCM60 | 5.4 | 18.2 | . | ng/L | 0.98352 | 17.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | MALATHION | 65087LCM60 | 5.4 | 18.2 | . | ng/L | 1.1044 | 20.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | MALATHION | 65087LCM60 | 5.4 | 18.2 | . | ng/L | 1.1703 | 21.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160630048 | 2016-03-03 07:30 | MALATHION | 65087LCM60 | 5.4 | 18.2 | . | ng/L | 0.98901 | 18 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | MALATHION | 65087LCM60 | 5.4 | 18.2 | . | ng/L | 1.1703 | 21.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | MALATHION | 65087LCM60 | 5.4 | 18.2 | . | ng/L | 1.022 | 18.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20161190072 | 2016-04-28 06:30 | MALATHION | 65087LCM60 | 5.4 | 18.2 | . | ng/L | 1.033 | 18.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | MALATHION | 65087LCM60 | 5.4 | 18.2 | . | ng/L | 1.0165 | 18.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20141910245 | 2014-07-10 07:30 | MALATHION | 65087LCM60 | 6 | 24.09 | . | ng/L | 1.3906 | 33.5 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | MALATHION | 65087LCM60 | 6 | 24.09 | . | ng/L | 0.99211 | 23.9 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | MALATHION | 65087LCM60 | 6 | 24.09 | . | ng/L | 0.99626 | 24 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | MALATHION | 65087LCM60 | 6 | 24.09 | . | ng/L | 1.0627 | 25.6 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | MALATHION | 65087LCM60 | 6 | 24.105 | . | ng/L | 1.0952 | 26.4 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | MALATHION | 65087LCM60 | 6 | 24.12 | E | ng/L | 0.78358 | 18.9 | Estimated Values | 2437 | K | JIV | c | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | MALATHION | 65087LCM60 | 6 | 24.12 | . | ng/L | 0.94942 | 22.9 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | MALATHION | 65087LCM60 | 6 | 24.12 | . | ng/L | 0.90381 | 21.8 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | MALATHION | 65087LCM60 | 6 | 24.12 | . | ng/L | 1.0406 | 25.1 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20163370005 | 2016-11-30 08:00 | MALATHION | 65087LCM60 | 5.4 | 29.68 | . | ng/L | 0.80863 | 24 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | MALATHION | 65087LCM60 | 5.4 | 29.68 | . | ng/L | 0.75135 | 22.3 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20161880106 | 2016-07-06 07:45 | MALATHION | 65087LCM60 | 5.4 | 30.4 | . | ng/L | 1.2072 | 36.7 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | MALATHION | 65087LCM60 | 5.4 | 30.4 | . | ng/L | 1.3882 | 42.2 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | MALATHION | 65087LCM60 | 5.4 | 30.4 | . | ng/L | 0.94408 | 28.7 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | MALATHION | 65087LCM60 | 5.4 | 30.4 | . | ng/L | 0.87171 | 26.5 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20141490204 | 2014-05-29 08:30 | MALATHION | 65087LCM60 | 6 | 48.24 | E | ng/L | 1.6542 | 79.8 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | MALATHION | 65087LCM60 | 6 | 71.84 | . | ng/L | 0.99944 | 71.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | MALATHION | 65087LCM60 | 6 | 71.84 | . | ng/L | 0.90896 | 65.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | MALATHION | 65087LCM60 | 6 | 71.84 | . | ng/L | 0.92567 | 66.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | MALATHION | 65087LCM60 | 5.4 | 71.84 | . | ng/L | 0.7294 | 52.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | MALATHION | 65087LCM60 | 5.4 | 71.84 | . | ng/L | 0.6083 | 43.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | MALATHION | 65087LCM60 | 5.4 | 71.84 | . | ng/L | 0.58324 | 41.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20152610006 | 2015-09-17 09:30 | MALATHION | 65087LCM60 | 6 | 72.8 | . | ng/L | 1.6071 | 117 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | MALATHION | 65087LCM60 | 6 | 72.8 | . | ng/L | 1.6621 | 121 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | MALATHION | 65087LCM60 | 6 | 72.8 | . | ng/L | 1.4698 | 107 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20153280162 | 2015-11-24 07:00 | MALATHION | 65087LCM60 | 6 | 72.8 | . | ng/L | 1.2253 | 89.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | MALATHION | 65087LCM60 | 6 | 72.8 | . | ng/L | 1.239 | 90.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | MALATHION | 65087LCM60 | 6 | 72.8 | . | ng/L | 1.2184 | 88.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20133580040 | 2013-12-23 08:00 | MALATHION | 65087LCM60 | 6 | 150 | . | ng/L | 0.63333 | 95 | Recoverable Result | 2437 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20133050048 | 2013-10-31 07:30 | MALATHION | 65087LCM60 | 6 | 150.4 | . | ng/L | 1.0439 | 157 | Recoverable Result | 2437 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20140100087 | 2014-01-09 08:00 | MALATHION | 65087LCM60 | 6 | 150.4 | . | ng/L | 1.0372 | 156 | Recoverable Result | 2437 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20132630001 | 2013-09-19 08:00 | MALATHION | 65087LCM60 | 6 | 151 | . | ng/L | 0.96689 | 146 | Recoverable Result | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | MALATHION | 65087LCM60 | 6 | 151 | . | ng/L | 0.96689 | 146 | Recoverable Result | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20133400005 | 2013-12-05 08:30 | MALATHION | 65087LCM60 | 6 | 151 | . | ng/L | 1.2781 | 193 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20132490346 | 2013-09-06 07:00 | MALATHION | 65087LCM60 | 6 | 375 | . | ng/L | 0.776 | 291 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20140370079 | 2014-02-06 08:30 | MALATHION | 65087LCM60 | 6 | 375 | . | ng/L | 0.81867 | 307 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20133470005 | 2013-12-12 08:00 | MALATHION | 65087LCM60 | 6 | 376 | . | ng/L | 1.0266 | 386 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl