## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20152610006 | 2015-09-17 09:30 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | c | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | c | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | c | 2015-09-25 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152810124 | 2015-10-08 07:00 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20160560058 | 2016-02-25 07:30 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | mc | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | mc | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | mc | 2016-03-01 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | mc | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20161190072 | 2016-04-28 06:30 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | VKJ | c | 2016-05-10 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | VKJ | c | 2016-05-10 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20162660010 | 2016-09-21 08:30 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | mc | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | MCPA | 68641LCM60 | 95 |  | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | mc | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20152530084 | 2015-09-10 08:00 | MCPA | 68641LCM60 | 95 | 144 | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | c | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | MCPA | 68641LCM60 | 95 | 144 | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | c | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | MCPA | 68641LCM60 | 95 | 144 | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | c | 2015-09-25 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152670139 | 2015-09-24 08:30 | MCPA | 68641LCM60 | 95 | 144 | < | ng/L |  |  | False Negative | 2437 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | MCPA | 68641LCM60 | 95 | 144 | < | ng/L |  |  | False Negative | 2437 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | MCPA | 68641LCM60 | 95 | 144 | < | ng/L |  |  | False Negative | 2437 | VA | VKJ |  | 2015-10-15 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152890012 | 2015-10-15 08:00 | MCPA | 68641LCM60 | 95 | 144.4 | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | MCPA | 68641LCM60 | 95 | 144.4 | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | MCPA | 68641LCM60 | 95 | 144.4 | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430108 | 2016-02-11 08:00 | MCPA | 68641LCM60 | 95 | 144.4 | < | ng/L |  | 250 | SACRALT | 2437 | VA | VKJ | mc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | MCPA | 68641LCM60 | 95 | 144.4 | < | ng/L |  | 250 | SACRALT | 2437 | VA | VKJ | mc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | MCPA | 68641LCM60 | 95 | 144.4 | < | ng/L |  | 250 | SACRALT | 2437 | VA | VKJ | mc | 2016-02-20 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20142130132 | 2014-07-31 07:00 | MCPA | 68641LCM60 | 95 | 190.5 | < | ng/L |  | 250 | SACRALT | 2437 | VA | KLE | c | 2014-08-11 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20163070100 | 2016-11-02 08:30 | MCPA | 68641LCM60 | 95 | 236.8 | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | mc | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | MCPA | 68641LCM60 | 95 | 236.8 | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | mc | 2016-11-09 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | MCPA | 68641LCM60 | 95 | 236.8 | < | ng/L |  | 250 | SACRALT | 2437 | VA | SBH | mc | 2017-01-05 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152460212 | 2015-09-03 07:30 | MCPA | 68641LCM60 | 95 | 288 | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | MCPA | 68641LCM60 | 95 | 288 | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | MCPA | 68641LCM60 | 95 | 288 | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | c | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160630048 | 2016-03-03 07:30 | MCPA | 68641LCM60 | 95 | 288 | < | ng/L |  | 500 | SACRALT | 2437 | VA | VKJ | c | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | MCPA | 68641LCM60 | 95 | 288 | < | ng/L |  | 500 | SACRALT | 2437 | VA | VKJ | c | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | MCPA | 68641LCM60 | 95 | 288 | < | ng/L |  | 500 | SACRALT | 2437 | VA | VKJ | c | 2016-03-09 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160710224 | 2016-03-10 08:00 | MCPA | 68641LCM60 | 95 | 288 | < | ng/L |  |  | False Negative | 2437 | VA | AWH | mc | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | MCPA | 68641LCM60 | 95 | 288 | < | ng/L |  |  | False Negative | 2437 | VA | AWH | mc | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | MCPA | 68641LCM60 | 95 | 288 | < | ng/L |  |  | False Negative | 2437 | VA | AWH | mc | 2016-03-16 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20161050141 | 2016-04-14 08:00 | MCPA | 68641LCM60 | 95 | 288 | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | mc | 2016-05-05 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | MCPA | 68641LCM60 | 95 | 288 | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | mc | 2016-05-05 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152250275 | 2015-08-13 07:30 | MCPA | 68641LCM60 | 95 | 288.8 | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | c | 2015-08-18 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | MCPA | 68641LCM60 | 95 | 288.8 | U | ng/L |  |  | Deleted Values | 2437 | VA | AWH | c | 2015-08-18 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250277 | 2015-08-13 08:00 | MCPA | 68641LCM60 | 95 | 288.8 | X | ng/L |  |  | Deleted Values | 2437 | VA | AWH | c | 2015-08-20 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152330042 | 2015-08-20 09:00 | MCPA | 68641LCM60 | 95 | 288.8 | U | ng/L |  |  | Deleted Values | 2437 | VA | VKJ | c | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | MCPA | 68641LCM60 | 95 | 288.8 | U | ng/L |  |  | Deleted Values | 2437 | VA | VKJ | c | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | MCPA | 68641LCM60 | 95 | 288.8 | U | ng/L |  |  | Deleted Values | 2437 | VA | VKJ | c | 2015-08-25 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20160490031 | 2016-02-18 08:00 | MCPA | 68641LCM60 | 95 | 288.8 | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | MCPA | 68641LCM60 | 95 | 288.8 | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | MCPA | 68641LCM60 | 95 | 288.8 | U | ng/L |  |  | Deleted Values | 2437 | VA | SBH | mc | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20162520007 | 2016-09-07 08:30 | MCPA | 68641LCM60 | 95 | 473.6 | U | ng/L |  |  | Deleted Values | 2437 | VA | VKJ | mc | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | MCPA | 68641LCM60 | 95 | 473.6 | U | ng/L |  |  | Deleted Values | 2437 | VA | VKJ | mc | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20152040178 | 2015-07-23 06:30 | MCPA | 68641LCM60 | 95 | 144 | . | ng/L | 1.0833 | 156 | Recoverable Result | 2437 | VA | VKJ |  | 2015-08-03 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153090114 | 2015-11-05 08:00 | MCPA | 68641LCM60 | 95 | 144 | E | ng/L | 0.8125 | 117 | Estimated Values | 2437 | VA | SBH | c | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | MCPA | 68641LCM60 | 95 | 144 | E | ng/L | 0.68472 | 98.6 | Estimated Values | 2437 | VA | SBH | c | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | MCPA | 68641LCM60 | 95 | 144 | E | ng/L | 0.68681 | 98.9 | Estimated Values | 2437 | VA | SBH | c | 2015-11-11 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160280055 | 2016-01-28 07:00 | MCPA | 68641LCM60 | 95 | 144 | E | ng/L | 1.0764 | 155 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | MCPA | 68641LCM60 | 95 | 144 | E | ng/L | 0.92361 | 133 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | MCPA | 68641LCM60 | 95 | 144 | E | ng/L | 0.81944 | 118 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-09 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153160006 | 2015-11-10 07:30 | MCPA | 68641LCM60 | 95 | 144.4 | E | ng/L | 0.69114 | 99.8 | Estimated Values | 2437 | VA | VKJ | c | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | MCPA | 68641LCM60 | 95 | 144.4 | E | ng/L | 0.69044 | 99.7 | Estimated Values | 2437 | VA | VKJ | c | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | MCPA | 68641LCM60 | 95 | 144.4 | E | ng/L | 0.72715 | 105 | Estimated Values | 2437 | VA | VKJ | c | 2015-11-23 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160070057 | 2016-01-07 07:30 | MCPA | 68641LCM60 | 95 | 144.4 | . | ng/L | 1.2465 | 180 | Recoverable Result | 2437 | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | MCPA | 68641LCM60 | 95 | 144.4 | . | ng/L | 1.0042 | 145 | Recoverable Result | 2437 | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | MCPA | 68641LCM60 | 95 | 144.4 | . | ng/L | 1.0042 | 145 | Recoverable Result | 2437 | VA | AWH |  | 2016-01-27 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160210084 | 2016-01-21 08:00 | MCPA | 68641LCM60 | 95 | 144.4 | E | ng/L | 1.115 | 161 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | MCPA | 68641LCM60 | 95 | 144.4 | E | ng/L | 1.0734 | 155 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | MCPA | 68641LCM60 | 95 | 144.4 | E | ng/L | 1.0249 | 148 | Estimated Values | 2437 | VA | AWH | mc | 2016-02-02 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20141990082 | 2014-07-17 07:30 | MCPA | 68641LCM60 | 95 | 188.115 | . | ng/L | 1.5682 | 295 | Recoverable Result | 2437 | VA | VKJ |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142480004 | 2014-09-04 08:30 | MCPA | 68641LCM60 | 95 | 188.115 | . | ng/L | 1.8871 | 355 | Recoverable Result | 2437 | VA | KLE |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142720026 | 2014-09-25 07:00 | MCPA | 68641LCM60 | 95 | 188.115 | E | ng/L | 1.6001 | 301 | Estimated Values | 2437 | VA | KLE | c | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150650041 | 2015-03-05 07:00 | MCPA | 68641LCM60 | 95 | 188.115 | . | ng/L | 1.8606 | 350 | Recoverable Result | 2437 | VA | SBH |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20150990083 | 2015-04-09 06:30 | MCPA | 68641LCM60 | 95 | 188.115 | E | ng/L | 1.7915 | 337 | Estimated Values | 2437 | VA | KLE | c | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142060046 | 2014-07-24 08:00 | MCPA | 68641LCM60 | 95 | 190.5 | . | ng/L | 1.0026 | 191 | Recoverable Result | 2437 | VA | CAD |  | 2014-07-30 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142200170 | 2014-08-07 09:00 | MCPA | 68641LCM60 | 95 | 190.5 | E | ng/L | 1.622 | 309 | Estimated Values | 2437 | VA | KLE | c | 2014-08-13 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142470035 | 2014-09-03 07:45 | MCPA | 68641LCM60 | 95 | 190.5 | . | ng/L | 1.2703 | 242 | Recoverable Result | 2437 | VA | KLE |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20150570010 | 2015-02-26 06:30 | MCPA | 68641LCM60 | 95 | 190.5 | . | ng/L | 0.98163 | 187 | Recoverable Result | 2437 | VA | SBH |  | 2015-03-03 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150850163 | 2015-03-26 06:30 | MCPA | 68641LCM60 | 95 | 190.5 | . | ng/L | 1.1339 | 216 | Recoverable Result | 2437 | VA | KLE |  | 2015-04-02 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20151110018 | 2015-04-16 07:00 | MCPA | 68641LCM60 | 95 | 190.5 | E | ng/L | 1.5958 | 304 | Estimated Values | 2437 | VA | AWH | c | 2015-04-27 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20162720259 | 2016-09-28 09:00 | MCPA | 68641LCM60 | 95 | 236.4 | E | ng/L | 0.92217 | 218 | Estimated Values | 2437 | VA | VKJ | mc | 2016-10-07 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | MCPA | 68641LCM60 | 95 | 236.4 | E | ng/L | 0.9687 | 229 | Estimated Values | 2437 | VA | VKJ | mc | 2016-10-07 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20161740281 | 2016-06-22 07:30 | MCPA | 68641LCM60 | 95 | 236.8 | E | ng/L | 0.7897 | 187 | Estimated Values | 2437 | VA | VKJ | mc | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | MCPA | 68641LCM60 | 95 | 236.8 | E | ng/L | 0.68412 | 162 | Estimated Values | 2437 | VA | VKJ | mc | 2016-07-08 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | MCPA | 68641LCM60 | 95 | 236.8 | . | ng/L | 1.1951 | 283 | Recoverable Result | 2437 | K | SBH |  | 2016-08-09 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | MCPA | 68641LCM60 | 95 | 236.8 | . | ng/L | 0.95017 | 225 | Recoverable Result | 2437 | K | SBH |  | 2016-08-09 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | MCPA | 68641LCM60 | 95 | 236.8 | E | ng/L | 0.8277 | 196 | Estimated Values | 2437 | VA | SBH | mc | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152950083 | 2015-10-22 07:30 | MCPA | 68641LCM60 | 95 | 288 | E | ng/L | 0.32882 | 94.7 | Estimated Values | 2437 | VA | SBH | nc | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | MCPA | 68641LCM60 | 95 | 288 | E | ng/L | 0.32222 | 92.8 | Estimated Values | 2437 | VA | SBH | nc | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | MCPA | 68641LCM60 | 95 | 288 | E | ng/L | 0.41667 | 120 | Estimated Values | 2437 | VA | SBH | c | 2015-10-28 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20153370174 | 2015-12-03 08:00 | MCPA | 68641LCM60 | 95 | 288 | E | ng/L | 0.51389 | 148 | Estimated Values | 2437 | VA | VKJ | c | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | MCPA | 68641LCM60 | 95 | 288 | E | ng/L | 0.53819 | 155 | Estimated Values | 2437 | VA | VKJ | c | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | MCPA | 68641LCM60 | 95 | 288 | E | ng/L | 0.53472 | 154 | Estimated Values | 2437 | VA | VKJ | c | 2015-12-09 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20151820108 | 2015-07-01 07:00 | MCPA | 68641LCM60 | 95 | 288.8 | . | ng/L | 1.2154 | 351 | Recoverable Result | 2437 | VA | VKJ |  | 2015-07-14 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20151900133 | 2015-07-09 08:00 | MCPA | 68641LCM60 | 95 | 288.8 | E | ng/L | 0.98338 | 284 | Estimated Values | 2437 | VA | AWH | c | 2015-07-17 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20152190004 | 2015-08-06 07:30 | MCPA | 68641LCM60 | 95 | 288.8 | E | ng/L | 1.6274 | 470 | Estimated Values | 2437 | VA | VKJ | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | MCPA | 68641LCM60 | 95 | 288.8 | E | ng/L | 1.4855 | 429 | Estimated Values | 2437 | VA | VKJ | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | MCPA | 68641LCM60 | 95 | 288.8 | E | ng/L | 1.4404 | 416 | Estimated Values | 2437 | VA | VKJ | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20141770144 | 2014-06-26 09:00 | MCPA | 68641LCM60 | 95 | 376.23 | . | ng/L | 1.1881 | 447 | Recoverable Result | 2437 | VA | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20141910245 | 2014-07-10 07:30 | MCPA | 68641LCM60 | 95 | 376.23 | . | ng/L | 1.2918 | 486 | Recoverable Result | 2437 | VA | KLE |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143030096 | 2014-10-30 08:00 | MCPA | 68641LCM60 | 95 | 376.23 | . | ng/L | 1.4193 | 534 | Recoverable Result | 2437 | VA | CAD |  | 2014-11-04 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143300050 | 2014-11-26 07:30 | MCPA | 68641LCM60 | 95 | 376.23 | . | ng/L | 0.98078 | 369 | Recoverable Result | 2437 | VA | MGN |  | 2014-12-03 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143240094 | 2014-11-19 08:00 | MCPA | 68641LCM60 | 95 | 376.23 | . | ng/L | 1.1403 | 429 | Recoverable Result | 2437 | VA | MGN |  | 2014-12-03 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20143520108 | 2014-12-18 07:00 | MCPA | 68641LCM60 | 95 | 376.23 | . | ng/L | 1.5336 | 577 | Recoverable Result | 2437 | VA | MGN |  | 2014-12-30 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142340168 | 2014-08-18 07:15 | MCPA | 68641LCM60 | 95 | 381 | . | ng/L | 0.70341 | 268 | Recoverable Result | 2437 | VA | KLE | @c | 2014-09-03 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20142760029 | 2014-10-02 07:30 | MCPA | 68641LCM60 | 95 | 381 | E | ng/L | 1.4304 | 545 | Estimated Values | 2437 | VA | KLE | c | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20142960085 | 2014-10-23 07:00 | MCPA | 68641LCM60 | 95 | 381 | . | ng/L | 1.3701 | 522 | Recoverable Result | 2437 | VA | CAD |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20150150114 | 2015-01-15 07:00 | MCPA | 68641LCM60 | 95 | 381 | . | ng/L | 1.2467 | 475 | Recoverable Result | 2437 | VA | VKJ |  | 2015-01-28 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20150360050 | 2015-02-05 07:00 | MCPA | 68641LCM60 | 95 | 381 | . | ng/L | 1.6929 | 645 | Recoverable Result | 2437 | VA | MGN |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20132420005 | 2013-08-29 08:30 | MCPA | 68641LCM60 | 95 | 400 | . | ng/L | 1.3225 | 529 | Recoverable Result | 2437 | VA | CAD |  | 2013-09-20 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20133110106 | 2013-11-07 08:30 | MCPA | 68641LCM60 | 95 | 402 | . | ng/L | 1.3483 | 542 | Recoverable Result | 2437 | VA | VKJ |  | 2013-11-23 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140300037 | 2014-01-30 09:00 | MCPA | 68641LCM60 | 95 | 402 | . | ng/L | 0.8607 | 346 | Recoverable Result | 2437 | VA | CAD |  | 2014-02-05 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140510044 | 2014-02-20 08:00 | MCPA | 68641LCM60 | 95 | 402 | . | ng/L | 1.0572 | 425 | Recoverable Result | 2437 | VA | JIV |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
20163370005 | 2016-11-30 08:00 | MCPA | 68641LCM60 | 95 | 472.8 | E | ng/L | 0.92851 | 439 | Estimated Values | 2437 | VA | SBH | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | MCPA | 68641LCM60 | 95 | 472.8 | E | ng/L | 0.98139 | 464 | Estimated Values | 2437 | VA | SBH | mc | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20161880106 | 2016-07-06 07:45 | MCPA | 68641LCM60 | 95 | 473.6 | E | ng/L | 0.64823 | 307 | Estimated Values | 2437 | VA | AWH | mc | 2016-07-20 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | MCPA | 68641LCM60 | 95 | 473.6 | E | ng/L | 0.63978 | 303 | Estimated Values | 2437 | VA | AWH | mc | 2016-07-20 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20153280162 | 2015-11-24 07:00 | MCPA | 68641LCM60 | 95 | 1152 | . | ng/L | 0.85764 | 988 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | MCPA | 68641LCM60 | 95 | 1152 | . | ng/L | 0.94618 | 1090 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | MCPA | 68641LCM60 | 95 | 1152 | . | ng/L | 0.98958 | 1140 | Recoverable Result | 2437 | VA | VKJ |  | 2015-12-08 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153640100 | 2015-12-30 08:00 | MCPA | 68641LCM60 | 95 | 1152 | E | ng/L | 0.98958 | 1140 | Estimated Values | 2437 | VA | SBH | mc | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | MCPA | 68641LCM60 | 95 | 1152 | E | ng/L | 0.97222 | 1120 | Estimated Values | 2437 | VA | SBH | mc | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | MCPA | 68641LCM60 | 95 | 1152 | E | ng/L | 0.95486 | 1100 | Estimated Values | 2437 | VA | SBH | mc | 2016-01-19 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20152750009 | 2015-10-01 07:30 | MCPA | 68641LCM60 | 95 | 1155.2 | E | ng/L | 0.1965 | 227 | Estimated Values | 2437 | VA | VKJ | c | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | MCPA | 68641LCM60 | 95 | 1155.2 | E | ng/L | 0.24065 | 278 | Estimated Values | 2437 | VA | VKJ | c | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | MCPA | 68641LCM60 | 95 | 1155.2 | E | ng/L | 0.19477 | 225 | Estimated Values | 2437 | VA | VKJ | c | 2015-10-15 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8