## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20142720026 | 2014-09-25 07:00 | METALAXYL | 68437LCM60 | 6 |  | . | ng/L |  | 0.42 | False Positive | 2437 | OG | LOA | bt | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20161820006 | 2016-06-29 09:00 | METALAXYL | 68437LCM60 | 6 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | METALAXYL | 68437LCM60 | 6 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20150850163 | 2015-03-26 06:30 | METALAXYL | 68437LCM60 | 6 | 12.015 | < | ng/L |  |  | False Negative | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20150150114 | 2015-01-15 07:00 | METALAXYL | 68437LCM60 | 6 | 24.03 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152110201 | 2015-07-30 08:00 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.94244 | 8.35 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.90519 | 8.02 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.99774 | 8.84 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.97856 | 8.67 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.91422 | 8.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 1.0722 | 9.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.90632 | 8.03 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.97856 | 8.67 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 1.0034 | 8.89 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.9684 | 8.58 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.78104 | 6.92 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.60158 | 5.33 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 1.1851 | 10.5 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.87133 | 7.72 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.80587 | 7.14 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.93002 | 8.24 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 0.87133 | 7.72 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | METALAXYL | 68437LCM60 | 6 | 8.86 | . | ng/L | 1.0813 | 9.58 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 1.05 | 9.45 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 0.67333 | 6.06 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 0.88444 | 7.96 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 0.86444 | 7.78 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 1.1333 | 10.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 1.0167 | 9.15 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 0.86889 | 7.82 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 1.2222 | 11 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 1.2111 | 10.9 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 1.1222 | 10.1 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 1.0011 | 9.01 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 1.0833 | 9.75 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | METALAXYL | 68437LCM60 | 6 | 9 | . | ng/L | 0.73444 | 6.61 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20141290002 | 2014-05-08 06:00 | METALAXYL | 68437LCM60 | 6 | 11.955 | . | ng/L | 1.0958 | 13.1 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | METALAXYL | 68437LCM60 | 6 | 11.955 | . | ng/L | 0.9954 | 11.9 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | METALAXYL | 68437LCM60 | 6 | 11.955 | . | ng/L | 1.079 | 12.9 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | METALAXYL | 68437LCM60 | 6 | 11.955 | . | ng/L | 0.80803 | 9.66 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142060046 | 2014-07-24 08:00 | METALAXYL | 68437LCM60 | 6 | 12.015 | E | ng/L | 1.0404 | 12.5 | Estimated Values | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | METALAXYL | 68437LCM60 | 6 | 12.015 | . | ng/L | 0.93217 | 11.2 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | METALAXYL | 68437LCM60 | 6 | 12.015 | . | ng/L | 0.99875 | 12 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | METALAXYL | 68437LCM60 | 6 | 12.015 | . | ng/L | 0.91552 | 11 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | METALAXYL | 68437LCM60 | 6 | 12.015 | . | ng/L | 0.87391 | 10.5 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20162720259 | 2016-09-28 09:00 | METALAXYL | 68437LCM60 | 6 | 14.84 | . | ng/L | 1.1253 | 16.7 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | METALAXYL | 68437LCM60 | 6 | 14.84 | . | ng/L | 1.0984 | 16.3 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20161740281 | 2016-06-22 07:30 | METALAXYL | 68437LCM60 | 6 | 15.44 | . | ng/L | 1.0363 | 16 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | METALAXYL | 68437LCM60 | 6 | 15.44 | . | ng/L | 0.95207 | 14.7 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | METALAXYL | 68437LCM60 | 6 | 15.44 | . | ng/L | 1.0881 | 16.8 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | METALAXYL | 68437LCM60 | 6 | 15.44 | . | ng/L | 1.25 | 19.3 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | METALAXYL | 68437LCM60 | 6 | 15.44 | . | ng/L | 1.1528 | 17.8 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | METALAXYL | 68437LCM60 | 6 | 15.44 | . | ng/L | 1.1334 | 17.5 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | METALAXYL | 68437LCM60 | 6 | 15.44 | . | ng/L | 0.9456 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | METALAXYL | 68437LCM60 | 6 | 15.44 | . | ng/L | 0.74482 | 11.5 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152190004 | 2015-08-06 07:30 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 0.87472 | 15.5 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 0.97065 | 17.2 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 1.0045 | 17.8 | Recoverable Result | 2437 | OG | MPO | c | 2015-08-13 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 0.69977 | 12.4 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 0.86907 | 15.4 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 0.82393 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 1.0892 | 19.3 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 1.1569 | 20.5 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 1.0045 | 17.8 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 0.94808 | 16.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 1.1569 | 20.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 0.90858 | 16.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 0.99887 | 17.7 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 1.1569 | 20.5 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 1.0214 | 18.1 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 0.95372 | 16.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | METALAXYL | 68437LCM60 | 6 | 17.72 | . | ng/L | 0.98194 | 17.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 0.81111 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 1.1222 | 20.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 0.96667 | 17.4 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 1.1222 | 20.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 1.0278 | 18.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 0.94444 | 17 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 1.0444 | 18.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 0.78889 | 14.2 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 1.0389 | 18.7 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 1 | 18 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 0.91667 | 16.5 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 0.94444 | 17 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | METALAXYL | 68437LCM60 | 6 | 18 | . | ng/L | 0.82778 | 14.9 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141640081 | 2014-06-12 08:30 | METALAXYL | 68437LCM60 | 6 | 23.91 | . | ng/L | 0.94521 | 22.6 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | METALAXYL | 68437LCM60 | 6 | 23.91 | . | ng/L | 1.0038 | 24 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | METALAXYL | 68437LCM60 | 6 | 23.91 | . | ng/L | 1.0038 | 24 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | METALAXYL | 68437LCM60 | 6 | 23.91 | . | ng/L | 0.99958 | 23.9 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20150290076 | 2015-01-29 06:00 | METALAXYL | 68437LCM60 | 6 | 23.97 | . | ng/L | 1.0221 | 24.5 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141910245 | 2014-07-10 07:30 | METALAXYL | 68437LCM60 | 6 | 24.03 | . | ng/L | 1.186 | 28.5 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | METALAXYL | 68437LCM60 | 6 | 24.03 | . | ng/L | 1.3483 | 32.4 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | METALAXYL | 68437LCM60 | 6 | 24.03 | . | ng/L | 1.1319 | 27.2 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | METALAXYL | 68437LCM60 | 6 | 24.03 | . | ng/L | 0.94049 | 22.6 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20163370005 | 2016-11-30 08:00 | METALAXYL | 68437LCM60 | 6 | 29.68 | . | ng/L | 1.0613 | 31.5 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | METALAXYL | 68437LCM60 | 6 | 29.68 | . | ng/L | 1.058 | 31.4 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20161880106 | 2016-07-06 07:45 | METALAXYL | 68437LCM60 | 6 | 30.88 | . | ng/L | 0.97798 | 30.2 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | METALAXYL | 68437LCM60 | 6 | 30.88 | . | ng/L | 1.1755 | 36.3 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | METALAXYL | 68437LCM60 | 6 | 30.88 | . | ng/L | 1.0136 | 31.3 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | METALAXYL | 68437LCM60 | 6 | 30.88 | . | ng/L | 1.2597 | 38.9 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20141490204 | 2014-05-29 08:30 | METALAXYL | 68437LCM60 | 6 | 47.82 | E | ng/L | 1.0456 | 50 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | METALAXYL | 68437LCM60 | 6 | 70.88 | . | ng/L | 1.116 | 79.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | METALAXYL | 68437LCM60 | 6 | 70.88 | . | ng/L | 0.90435 | 64.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | METALAXYL | 68437LCM60 | 6 | 70.88 | . | ng/L | 0.92128 | 65.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | METALAXYL | 68437LCM60 | 6 | 72 | . | ng/L | 1.0097 | 72.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | METALAXYL | 68437LCM60 | 6 | 72 | . | ng/L | 1.0458 | 75.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | METALAXYL | 68437LCM60 | 6 | 72 | . | ng/L | 1.1583 | 83.4 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | METALAXYL | 68437LCM60 | 6 | 72 | . | ng/L | 0.91528 | 65.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | METALAXYL | 68437LCM60 | 6 | 72 | . | ng/L | 0.81944 | 59 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | METALAXYL | 68437LCM60 | 6 | 72 | . | ng/L | 0.8875 | 63.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20133050048 | 2013-10-31 07:30 | METALAXYL | 68437LCM60 | 6 | 275.2 | . | ng/L | 1.0247 | 282 | Recoverable Result | 2437 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20140100087 | 2014-01-09 08:00 | METALAXYL | 68437LCM60 | 6 | 275.2 | . | ng/L | 0.87209 | 240 | Recoverable Result | 2437 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20133580040 | 2013-12-23 08:00 | METALAXYL | 68437LCM60 | 6 | 276 | . | ng/L | 0.8587 | 237 | Recoverable Result | 2437 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20132420005 | 2013-08-29 08:30 | METALAXYL | 68437LCM60 | 6 | 340 | . | ng/L | 1.1647 | 396 | Recoverable Result | 2437 | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20133110106 | 2013-11-07 08:30 | METALAXYL | 68437LCM60 | 6 | 340 | . | ng/L | 1.3294 | 452 | Recoverable Result | 2437 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140300037 | 2014-01-30 09:00 | METALAXYL | 68437LCM60 | 6 | 340 | E | ng/L | 1.1618 | 395 | Estimated Values | 2437 | OG | MPO | c | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140510044 | 2014-02-20 08:00 | METALAXYL | 68437LCM60 | 6 | 340 | . | ng/L | 1.0824 | 368 | Recoverable Result | 2437 | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
20133470005 | 2013-12-12 08:00 | METALAXYL | 68437LCM60 | 6 | 688 | . | ng/L | 1.1831 | 814 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
20132490346 | 2013-09-06 07:00 | METALAXYL | 68437LCM60 | 6 | 690 | . | ng/L | 0.96957 | 669 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20140370079 | 2014-02-06 08:30 | METALAXYL | 68437LCM60 | 6 | 690 | . | ng/L | 0.93188 | 643 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ