## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-01-09 08:00 | 20140100087 | 10 | 120 | E | 113 | ng/L | 0.94167 | OG | LKK | c | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-07-10 07:30 | 20141910245 | 10 | 40.56 | . | 44.9 | ng/L | 1.107 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-09-04 08:30 | 20142480004 | 10 | 20.28 | E | 18.7 | ng/L | 0.92209 | OG | CAD | c | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-10-30 08:00 | 20143030096 | 10 | 40.56 | . | 40 | ng/L | 0.98619 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-11-26 07:30 | 20143300050 | 10 | 40.5 | . | 39.2 | ng/L | 0.9679 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-08-14 08:00 | 20142270006 | 10 | 20.28 | . | 16.1 | ng/L | 0.79389 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-10-09 07:00 | 20142820153 | 10 | 40.56 | . | 37.5 | ng/L | 0.92456 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-01-29 06:00 | 20150290076 | 10 | 40.53 | . | 39.1 | ng/L | 0.96472 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-09-18 07:30 | 20142620041 | 10 | 20.28 | . | 16.1 | ng/L | 0.79389 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-11-13 07:30 | 20143180048 | 10 | 40.56 | . | 30.3 | ng/L | 0.74704 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-04-02 06:00 | 20150930002 | 10 | 20.28 | E | 19.2 | ng/L | 0.94675 | K | MPO | c | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-12-07 09:00 | 20163420124 | 8.4 | 25.28 | . | 24.2 | ng/L | 0.95728 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-12-07 08:30 | 20163420125 | 8.4 | 25.28 | . | 24.4 | ng/L | 0.96519 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-09-07 08:30 | 20162520007 | 8.4 | 49.6 | . | 55.9 | ng/L | 1.127 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-09-07 08:00 | 20162520006 | 8.4 | 49.6 | . | 62.4 | ng/L | 1.2581 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-12-21 08:00 | 20163560022 | 8.4 | 24.8 | . | 22.5 | ng/L | 0.90726 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-12-21 07:30 | 20163560021 | 8.4 | 24.8 | . | 25.2 | ng/L | 1.0161 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2013-12-12 08:00 | 20133470005 | 10 | 300 | . | 290 | ng/L | 0.96667 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-12-03 06:30 | 20143370093 | 10 | 40.5 | . | 35.7 | ng/L | 0.88148 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-04-09 06:30 | 20150990083 | 10 | 20.25 | . | 39.7 | ng/L | 1.9605 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-05-08 06:00 | 20141290002 | 10 | 20.25 | . | 17.3 | ng/L | 0.85432 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-05-29 08:30 | 20141490204 | 10 | 81 | E | 110 | ng/L | 1.358 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-06-12 08:30 | 20141640081 | 10 | 40.5 | . | 40 | ng/L | 0.98765 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-01 07:30 | 20152750009 | 10 | 121.6 | . | 82.2 | ng/L | 0.67599 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-01 07:00 | 20152750008 | 10 | 121.6 | . | 78.6 | ng/L | 0.64638 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-01 06:30 | 20152750007 | 10 | 121.6 | . | 90.2 | ng/L | 0.74178 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-11-10 07:30 | 20153160006 | 10 | 15.2 | . | 15.3 | ng/L | 1.0066 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-11-10 07:00 | 20153160005 | 10 | 15.2 | . | 17.6 | ng/L | 1.1579 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-11-10 06:30 | 20153160004 | 10 | 15.2 | . | 15.1 | ng/L | 0.99342 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-02-18 08:00 | 20160490031 | 8.4 | 30.4 | . | 23.8 | ng/L | 0.78289 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-02-18 07:30 | 20160490030 | 8.4 | 30.4 | . | 26.5 | ng/L | 0.87171 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-02-18 07:00 | 20160490029 | 8.4 | 30.4 | . | 27.2 | ng/L | 0.89474 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-08-06 07:30 | 20152190004 | 10 | 29.8 | . | 26.4 | ng/L | 0.88591 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-08-06 07:00 | 20152190005 | 10 | 29.8 | . | 24.5 | ng/L | 0.82215 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-08-06 06:30 | 20152190006 | 10 | 29.8 | . | 17.5 | ng/L | 0.58725 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-08-20 09:00 | 20152330042 | 10 | 29.8 | . | 18.1 | ng/L | 0.60738 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-08-20 08:30 | 20152330043 | 10 | 29.8 | . | 20.3 | ng/L | 0.68121 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-08-20 06:30 | 20152330044 | 10 | 29.8 | . | 20.9 | ng/L | 0.70134 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-01-07 07:30 | 20160070057 | 8.4 | 14.9 | . | 13.3 | ng/L | 0.89262 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-01-07 07:00 | 20160070054 | 8.4 | 14.9 | . | 11.3 | ng/L | 0.75839 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-01-07 06:30 | 20160070056 | 8.4 | 14.9 | . | 9.94 | ng/L | 0.66711 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-09-17 09:30 | 20152610006 | 10 | 121.6 | . | 80.2 | ng/L | 0.65954 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-09-17 09:00 | 20152610005 | 10 | 121.6 | . | 97.7 | ng/L | 0.80345 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-09-17 08:30 | 20152610004 | 10 | 121.6 | . | 87.5 | ng/L | 0.71957 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-12-17 07:30 | 20153510113 | 8.4 | 30.4 | . | 24.5 | ng/L | 0.80592 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-12-17 07:00 | 20153510111 | 8.4 | 30.4 | . | 21.5 | ng/L | 0.70724 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-12-17 06:30 | 20153510112 | 8.4 | 30.4 | . | 22.7 | ng/L | 0.74671 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-03-17 08:00 | 20160770095 | 8.4 | 15.2 | . | 15.8 | ng/L | 1.0395 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-03-17 07:30 | 20160770094 | 8.4 | 15.2 | . | 14.6 | ng/L | 0.96053 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-03-17 06:30 | 20160770096 | 8.4 | 15.2 | . | 11.9 | ng/L | 0.78289 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-29 07:30 | 20153030065 | 10 | 15.2 | . | 14.4 | ng/L | 0.94737 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-29 07:00 | 20153030064 | 10 | 15.2 | . | 15.2 | ng/L | 1 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-29 06:30 | 20153030063 | 10 | 15.2 | . | 15.3 | ng/L | 1.0066 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-02-04 08:00 | 20160350044 | 8.4 | 15.2 | . | 18.5 | ng/L | 1.2171 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-02-04 07:30 | 20160350042 | 8.4 | 15.2 | . | 17.5 | ng/L | 1.1513 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-02-04 07:00 | 20160350043 | 8.4 | 15.2 | . | 19.7 | ng/L | 1.2961 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-09-21 08:30 | 20162660010 | 8.4 | 62 | . | 64.2 | ng/L | 1.0355 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-09-21 08:00 | 20162660009 | 8.4 | 62 | . | 59 | ng/L | 0.95161 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2013-12-23 08:00 | 20133580040 | 10 | 119 | E | 92.9 | ng/L | 0.78067 | OG | LOA | c | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-07-24 08:00 | 20142060046 | 10 | 20.28 | E | 14.4 | ng/L | 0.71006 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-03-26 06:30 | 20150850163 | 10 | 20.28 | . | 13.7 | ng/L | 0.67554 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-08-07 09:00 | 20142200170 | 10 | 20.25 | . | 17.7 | ng/L | 0.87407 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-10-02 07:30 | 20142760029 | 10 | 40.5 | . | 35.4 | ng/L | 0.87407 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-02-26 06:30 | 20150570010 | 10 | 20.25 | E | 21.7 | ng/L | 1.0716 | OG | SBH | c | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-07-16 06:00 | 20151970155 | 10 | 30.4 | . | 19.7 | ng/L | 0.64803 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-07-23 06:30 | 20152040178 | 10 | 15.2 | . | 13.4 | ng/L | 0.88158 | OG | MNO | c | 2015-08-06 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-12-03 08:00 | 20153370174 | 10 | 30.4 | . | 30.4 | ng/L | 1 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-12-03 07:30 | 20153370175 | 10 | 30.4 | . | 23.3 | ng/L | 0.76645 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-12-03 07:00 | 20153370173 | 10 | 30.4 | . | 23.4 | ng/L | 0.76974 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-03-10 08:00 | 20160710224 | 8.4 | 30.4 | . | 32.2 | ng/L | 1.0592 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-03-10 07:30 | 20160710223 | 8.4 | 30.4 | . | 34.8 | ng/L | 1.1447 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-03-10 07:00 | 20160710222 | 8.4 | 30.4 | . | 30.3 | ng/L | 0.99671 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-09-10 08:00 | 20152530084 | 10 | 14.9 | . | 9.74 | ng/L | 0.65369 | OG | JLE | n | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-09-10 07:30 | 20152530086 | 10 | 14.9 | . | 13 | ng/L | 0.87248 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-09-10 07:00 | 20152530085 | 10 | 14.9 | . | 12.3 | ng/L | 0.8255 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-22 07:30 | 20152950083 | 10 | 29.8 | . | 20.8 | ng/L | 0.69799 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-22 07:00 | 20152950081 | 10 | 29.8 | . | 22.9 | ng/L | 0.76846 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-22 06:30 | 20152950082 | 10 | 29.8 | . | 20.2 | ng/L | 0.67785 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-01-28 07:00 | 20160280055 | 8.4 | 14.9 | . | 20.8 | ng/L | 1.396 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-01-28 06:30 | 20160280059 | 8.4 | 14.9 | . | 19.1 | ng/L | 1.2819 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-01-28 06:00 | 20160280058 | 8.4 | 14.9 | . | 21.4 | ng/L | 1.4362 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-08-27 08:00 | 20152390229 | 10 | 29.8 | E | 18.6 | ng/L | 0.62416 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-08-27 07:30 | 20152390230 | 10 | 29.8 | E | 20.5 | ng/L | 0.68792 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-08-27 07:00 | 20152390225 | 10 | 29.8 | E | 22 | ng/L | 0.73826 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-11-19 08:00 | 20153230142 | 10 | 14.9 | . | 15.7 | ng/L | 1.0537 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-11-19 07:30 | 20153230143 | 10 | 14.9 | . | 14.3 | ng/L | 0.95973 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-11-19 07:00 | 20153230141 | 10 | 14.9 | . | 13 | ng/L | 0.87248 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-02-25 07:30 | 20160560058 | 8.4 | 14.9 | . | 13.8 | ng/L | 0.92617 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-02-25 07:00 | 20160560057 | 8.4 | 14.9 | . | 14.2 | ng/L | 0.95302 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-02-25 06:30 | 20160560056 | 8.4 | 14.9 | . | 9.8 | ng/L | 0.65772 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-04-28 06:30 | 20161190072 | 8.4 | 29.8 | . | 25.5 | ng/L | 0.8557 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-04-28 06:00 | 20161190071 | 8.4 | 29.8 | . | 26.1 | ng/L | 0.87584 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-07-30 08:00 | 20152110201 | 10 | 14.9 | . | 10.9 | ng/L | 0.73154 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-07-30 07:30 | 20152110200 | 10 | 14.9 | . | 16.9 | ng/L | 1.1342 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-07-30 07:00 | 20152110202 | 10 | 14.9 | . | 14.8 | ng/L | 0.99329 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-08 07:00 | 20152810124 | 10 | 119.2 | . | 96.1 | ng/L | 0.80621 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-08 06:30 | 20152810125 | 10 | 119.2 | . | 90.6 | ng/L | 0.76007 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2015-10-08 06:00 | 20152810123 | 10 | 119.2 | . | 79.2 | ng/L | 0.66443 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-01-14 08:00 | 20160140035 | 8.4 | 29.8 | . | 15.6 | ng/L | 0.52349 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-01-14 07:30 | 20160140036 | 8.4 | 29.8 | . | 26 | ng/L | 0.87248 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-01-14 07:00 | 20160140037 | 8.4 | 29.8 | . | 21.7 | ng/L | 0.72819 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2013-09-06 07:00 | 20132490346 | 10 | 297.5 | . | 208 | ng/L | 0.69916 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2014-02-06 08:30 | 20140370079 | 10 | 297.5 | . | 273 | ng/L | 0.91765 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2013-10-31 07:30 | 20133050048 | 10 | 120 | . | 97.8 | ng/L | 0.815 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-09-28 09:00 | 20162720259 | 8.4 | 25.28 | . | 20.7 | ng/L | 0.81883 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-09-28 08:30 | 20162720260 | 8.4 | 25.28 | . | 18.7 | ng/L | 0.73972 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-07-06 07:45 | 20161880106 | 8.4 | 50.56 | . | 36.4 | ng/L | 0.71994 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-07-06 07:15 | 20161880111 | 8.4 | 50.56 | . | 40.1 | ng/L | 0.79312 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-07-27 07:15 | 20162100011 | 8.4 | 25.28 | . | 18.9 | ng/L | 0.74763 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | METHIDATHION (SUPRACIDE) | 65088LCM60 | 2016-07-27 07:00 | 20162100010 | 8.4 | 25.28 | . | 19.6 | ng/L | 0.77532 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl