## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20132420005 | 2013-08-29 08:30 | METOLACHLOR | 65090LCM60 | 9 |  | . | ng/L |  | 1.61 | False Positive | 2437 | OG | LOA | t | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20141360090 | 2014-05-16 08:00 | METOLACHLOR | 65090LCM60 | 9 |  | . | ng/L |  | 0.99 | False Positive | 2437 | OG | MPO | bt | 2014-05-29 | ERA 0912-13-03: 25 µl
20141710106 | 2014-06-19 08:00 | METOLACHLOR | 65090LCM60 | 9 |  | . | ng/L |  | 3.72 | False Positive | 2437 | OG | LKK | vt | 2014-07-02 | ERA 0912-13-03: 50 µl
20161820006 | 2016-06-29 09:00 | METOLACHLOR | 65090LCM60 | 9 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | METOLACHLOR | 65090LCM60 | 9 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20160210084 | 2016-01-21 08:00 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | < | ng/L |  |  | False Negative | 2437 | K | DME | vc | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | < | ng/L |  |  | False Negative | 2437 | K | DME | vc | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | < | ng/L |  |  | False Negative | 2437 | K | DME | vc | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20150150114 | 2015-01-15 07:00 | METOLACHLOR | 65090LCM60 | 9 | 36.21 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152110201 | 2015-07-30 08:00 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.77037 | 10.4 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.72593 | 9.8 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.71481 | 9.65 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.66444 | 8.97 | Recoverable Result | 2437 | OG | DME | n | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.72222 | 9.75 | Recoverable Result | 2437 | OG | DME |  | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.65481 | 8.84 | Recoverable Result | 2437 | OG | DME | n | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.79259 | 10.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.79259 | 10.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.84444 | 11.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.77037 | 10.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.78519 | 10.6 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.68963 | 9.31 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160350044 | 2016-02-04 08:00 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | E | ng/L | 1.037 | 14 | Estimated Values | 2437 | OG | DME | v | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.92593 | 12.5 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | . | ng/L | 0.87407 | 11.8 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | E | ng/L | 1.0889 | 14.7 | Estimated Values | 2437 | OG | DME | v | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | E | ng/L | 1.163 | 15.7 | Estimated Values | 2437 | OG | DME | v | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | METOLACHLOR | 65090LCM60 | 9 | 13.5 | E | ng/L | 1.1481 | 15.5 | Estimated Values | 2437 | OG | DME | v | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152670139 | 2015-09-24 08:30 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 0.72319 | 9.98 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 0.80435 | 11.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 0.76087 | 10.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153230142 | 2015-11-19 08:00 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 1.0435 | 14.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 1.1014 | 15.2 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 0.97101 | 13.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560058 | 2016-02-25 07:30 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 1.087 | 15 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 1.058 | 14.6 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 1.0145 | 14 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 0.95652 | 13.2 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 0.99275 | 13.7 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | METOLACHLOR | 65090LCM60 | 9 | 13.8 | . | ng/L | 0.8913 | 12.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20141290002 | 2014-05-08 06:00 | METOLACHLOR | 65090LCM60 | 9 | 18 | E | ng/L | 0.77222 | 13.9 | Estimated Values | 2437 | OG | MPO | c | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | METOLACHLOR | 65090LCM60 | 9 | 18 | . | ng/L | 0.66111 | 11.9 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | METOLACHLOR | 65090LCM60 | 9 | 18 | . | ng/L | 0.80556 | 14.5 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | METOLACHLOR | 65090LCM60 | 9 | 18 | E | ng/L | 0.75 | 13.5 | Estimated Values | 2437 | OG | LOA | c | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142060046 | 2014-07-24 08:00 | METOLACHLOR | 65090LCM60 | 9 | 18.105 | . | ng/L | 1.0494 | 19 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | METOLACHLOR | 65090LCM60 | 9 | 18.105 | . | ng/L | 0.7567 | 13.7 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | METOLACHLOR | 65090LCM60 | 9 | 18.105 | . | ng/L | 0.82298 | 14.9 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | METOLACHLOR | 65090LCM60 | 9 | 18.105 | . | ng/L | 0.7346 | 13.3 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | METOLACHLOR | 65090LCM60 | 9 | 18.105 | . | ng/L | 0.75117 | 13.6 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | METOLACHLOR | 65090LCM60 | 9 | 18.105 | . | ng/L | 0.72356 | 13.1 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20162720259 | 2016-09-28 09:00 | METOLACHLOR | 65090LCM60 | 9 | 22.44 | . | ng/L | 0.93137 | 20.9 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | METOLACHLOR | 65090LCM60 | 9 | 22.44 | . | ng/L | 0.79768 | 17.9 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20161740281 | 2016-06-22 07:30 | METOLACHLOR | 65090LCM60 | 9 | 22.76 | . | ng/L | 0.14236 | 3.24 | Recoverable Result | 2437 | OG | JLE | t | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | METOLACHLOR | 65090LCM60 | 9 | 22.76 | . | ng/L | 0.2188 | 4.98 | Recoverable Result | 2437 | OG | JLE | n | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | METOLACHLOR | 65090LCM60 | 9 | 22.76 | . | ng/L | 0.85237 | 19.4 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | METOLACHLOR | 65090LCM60 | 9 | 22.76 | . | ng/L | 0.77329 | 17.6 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | METOLACHLOR | 65090LCM60 | 9 | 22.76 | . | ng/L | 1.0018 | 22.8 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | METOLACHLOR | 65090LCM60 | 9 | 22.76 | . | ng/L | 1.0369 | 23.6 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | METOLACHLOR | 65090LCM60 | 9 | 22.76 | . | ng/L | 0.93585 | 21.3 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | METOLACHLOR | 65090LCM60 | 9 | 22.76 | . | ng/L | 0.78207 | 17.8 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20151900133 | 2015-07-09 08:00 | METOLACHLOR | 65090LCM60 | 9 | 27 | . | ng/L | 0.8 | 21.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | METOLACHLOR | 65090LCM60 | 9 | 27 | . | ng/L | 0.74074 | 20 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152460212 | 2015-09-03 07:30 | METOLACHLOR | 65090LCM60 | 9 | 27 | . | ng/L | 0.78889 | 21.3 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | METOLACHLOR | 65090LCM60 | 9 | 27 | . | ng/L | 0.72222 | 19.5 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | METOLACHLOR | 65090LCM60 | 9 | 27 | . | ng/L | 0.73333 | 19.8 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160140035 | 2016-01-14 08:00 | METOLACHLOR | 65090LCM60 | 9 | 27 | E | ng/L | 0.71481 | 19.3 | Estimated Values | 2437 | K | DME | v | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | METOLACHLOR | 65090LCM60 | 9 | 27 | E | ng/L | 0.77778 | 21 | Estimated Values | 2437 | K | DME | v | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | METOLACHLOR | 65090LCM60 | 9 | 27 | E | ng/L | 0.88889 | 24 | Estimated Values | 2437 | K | DME | v | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161050141 | 2016-04-14 08:00 | METOLACHLOR | 65090LCM60 | 9 | 27 | . | ng/L | 0.97778 | 26.4 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | METOLACHLOR | 65090LCM60 | 9 | 27 | . | ng/L | 0.77037 | 20.8 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152250277 | 2015-08-13 08:00 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.78623 | 21.7 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.76449 | 21.1 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.95652 | 26.4 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152390229 | 2015-08-27 08:00 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.73188 | 20.2 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.78986 | 21.8 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.80072 | 22.1 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20153510113 | 2015-12-17 07:30 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.91667 | 25.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.93116 | 25.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.90942 | 25.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160630048 | 2016-03-03 07:30 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.88043 | 24.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.91304 | 25.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.83333 | 23 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20161190072 | 2016-04-28 06:30 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.91667 | 25.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | METOLACHLOR | 65090LCM60 | 9 | 27.6 | . | ng/L | 0.95652 | 26.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20141640081 | 2014-06-12 08:30 | METOLACHLOR | 65090LCM60 | 9 | 36 | . | ng/L | 0.75278 | 27.1 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | METOLACHLOR | 65090LCM60 | 9 | 36 | . | ng/L | 0.61667 | 22.2 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | METOLACHLOR | 65090LCM60 | 9 | 36 | . | ng/L | 0.74167 | 26.7 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | METOLACHLOR | 65090LCM60 | 9 | 36 | . | ng/L | 0.79167 | 28.5 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20150290076 | 2015-01-29 06:00 | METOLACHLOR | 65090LCM60 | 9 | 36.105 | . | ng/L | 0.72566 | 26.2 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141910245 | 2014-07-10 07:30 | METOLACHLOR | 65090LCM60 | 9 | 36.21 | . | ng/L | 0.89202 | 32.3 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | METOLACHLOR | 65090LCM60 | 9 | 36.21 | . | ng/L | 0.96382 | 34.9 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | METOLACHLOR | 65090LCM60 | 9 | 36.21 | . | ng/L | 0.86716 | 31.4 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | METOLACHLOR | 65090LCM60 | 9 | 36.21 | . | ng/L | 0.8285 | 30 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20163370005 | 2016-11-30 08:00 | METOLACHLOR | 65090LCM60 | 9 | 44.88 | . | ng/L | 0.93583 | 42 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | METOLACHLOR | 65090LCM60 | 9 | 44.88 | . | ng/L | 0.88904 | 39.9 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20161880106 | 2016-07-06 07:45 | METOLACHLOR | 65090LCM60 | 9 | 45.52 | . | ng/L | 0.88313 | 40.2 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | METOLACHLOR | 65090LCM60 | 9 | 45.52 | . | ng/L | 0.92926 | 42.3 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | METOLACHLOR | 65090LCM60 | 9 | 45.52 | . | ng/L | 0.99736 | 45.4 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | METOLACHLOR | 65090LCM60 | 9 | 45.52 | . | ng/L | 1.105 | 50.3 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20141490204 | 2014-05-29 08:30 | METOLACHLOR | 65090LCM60 | 9 | 72 | E | ng/L | 0.8625 | 62.1 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | METOLACHLOR | 65090LCM60 | 9 | 108 | . | ng/L | 0.77963 | 84.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | METOLACHLOR | 65090LCM60 | 9 | 108 | . | ng/L | 0.72963 | 78.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | METOLACHLOR | 65090LCM60 | 9 | 108 | . | ng/L | 0.71481 | 77.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | METOLACHLOR | 65090LCM60 | 9 | 108 | . | ng/L | 0.91111 | 98.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | METOLACHLOR | 65090LCM60 | 9 | 108 | . | ng/L | 0.83056 | 89.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | METOLACHLOR | 65090LCM60 | 9 | 108 | . | ng/L | 0.91852 | 99.2 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20152610006 | 2015-09-17 09:30 | METOLACHLOR | 65090LCM60 | 9 | 110.4 | . | ng/L | 0.84964 | 93.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | METOLACHLOR | 65090LCM60 | 9 | 110.4 | . | ng/L | 0.82156 | 90.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | METOLACHLOR | 65090LCM60 | 9 | 110.4 | . | ng/L | 0.9058 | 100 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20153280162 | 2015-11-24 07:00 | METOLACHLOR | 65090LCM60 | 9 | 110.4 | . | ng/L | 1.0236 | 113 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | METOLACHLOR | 65090LCM60 | 9 | 110.4 | . | ng/L | 1.0688 | 118 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | METOLACHLOR | 65090LCM60 | 9 | 110.4 | . | ng/L | 1.0054 | 111 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20133050048 | 2013-10-31 07:30 | METOLACHLOR | 65090LCM60 | 9 | 250.4 | . | ng/L | 0.83866 | 210 | Recoverable Result | 2437 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20140100087 | 2014-01-09 08:00 | METOLACHLOR | 65090LCM60 | 9 | 250.4 | . | ng/L | 0.80671 | 202 | Recoverable Result | 2437 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20133580040 | 2013-12-23 08:00 | METOLACHLOR | 65090LCM60 | 9 | 256 | . | ng/L | 0.75391 | 193 | Recoverable Result | 2437 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20132630001 | 2013-09-19 08:00 | METOLACHLOR | 65090LCM60 | 9 | 452 | . | ng/L | 0.91372 | 413 | Recoverable Result | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | METOLACHLOR | 65090LCM60 | 9 | 452 | . | ng/L | 0.81195 | 367 | Recoverable Result | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20133400005 | 2013-12-05 08:30 | METOLACHLOR | 65090LCM60 | 9 | 452 | . | ng/L | 1.042 | 471 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20133470005 | 2013-12-12 08:00 | METOLACHLOR | 65090LCM60 | 9 | 626 | . | ng/L | 0.9377 | 587 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
20132490346 | 2013-09-06 07:00 | METOLACHLOR | 65090LCM60 | 9 | 640 | . | ng/L | 0.77031 | 493 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20140370079 | 2014-02-06 08:30 | METOLACHLOR | 65090LCM60 | 9 | 640 | . | ng/L | 0.77031 | 493 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ