## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | MOLINATE | 65091LCM60 | 50 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | MOLINATE | 65091LCM60 | 50 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152110202 | 2015-07-30 07:00 | MOLINATE | 65091LCM60 | 18 | 26.9 | < | ng/L |  | 50 | SACRALT | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | MOLINATE | 65091LCM60 | 18 | 26.9 | < | ng/L |  | 50 | SACRALT | 2437 | OG | JLE | c | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20142060046 | 2014-07-24 08:00 | MOLINATE | 65091LCM60 | 18 | 36.03 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20160140035 | 2016-01-14 08:00 | MOLINATE | 65091LCM60 | 50 | 53.8 | < | ng/L |  | 250 | SACRALT | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | MOLINATE | 65091LCM60 | 50 | 53.8 | < | ng/L |  | 250 | SACRALT | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | MOLINATE | 65091LCM60 | 50 | 53.8 | < | ng/L |  | 250 | SACRALT | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20150150114 | 2015-01-15 07:00 | MOLINATE | 65091LCM60 | 18 | 72.06 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20160070057 | 2016-01-07 07:30 | MOLINATE | 65091LCM60 | 50 | 26.9 | E | ng/L | 0.79926 | 21.5 | Estimated Values | 2437 | K | JLE | tc | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | MOLINATE | 65091LCM60 | 50 | 26.9 | E | ng/L | 0.44238 | 11.9 | Estimated Values | 2437 | K | JLE | tc | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | MOLINATE | 65091LCM60 | 50 | 26.9 | E | ng/L | 0.52045 | 14 | Estimated Values | 2437 | K | JLE | tc | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | MOLINATE | 65091LCM60 | 50 | 26.9 | . | ng/L | 1.0892 | 29.3 | Recoverable Result | 2437 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | MOLINATE | 65091LCM60 | 50 | 26.9 | . | ng/L | 1.1041 | 29.7 | Recoverable Result | 2437 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | MOLINATE | 65091LCM60 | 50 | 26.9 | . | ng/L | 0.89963 | 24.2 | Recoverable Result | 2437 | OG | DME | t | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | MOLINATE | 65091LCM60 | 50 | 26.9 | . | ng/L | 0.86245 | 23.2 | Recoverable Result | 2437 | OG | DME | t | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | MOLINATE | 65091LCM60 | 50 | 26.9 | . | ng/L | 0.71004 | 19.1 | Recoverable Result | 2437 | OG | DME | t | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | MOLINATE | 65091LCM60 | 50 | 26.9 | . | ng/L | 0.92193 | 24.8 | Recoverable Result | 2437 | OG | DME | t | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160350044 | 2016-02-04 08:00 | MOLINATE | 65091LCM60 | 50 | 27 | . | ng/L | 0.95556 | 25.8 | Recoverable Result | 2437 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | MOLINATE | 65091LCM60 | 50 | 27 | . | ng/L | 0.87778 | 23.7 | Recoverable Result | 2437 | OG | DME | t | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | MOLINATE | 65091LCM60 | 50 | 27 | . | ng/L | 0.78519 | 21.2 | Recoverable Result | 2437 | OG | DME | t | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | MOLINATE | 65091LCM60 | 50 | 27 | . | ng/L | 0.84815 | 22.9 | Recoverable Result | 2437 | OG | DME | t | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | MOLINATE | 65091LCM60 | 50 | 27 | . | ng/L | 0.72222 | 19.5 | Recoverable Result | 2437 | OG | DME | t | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | MOLINATE | 65091LCM60 | 50 | 27 | . | ng/L | 0.76296 | 20.6 | Recoverable Result | 2437 | OG | DME | t | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20162720259 | 2016-09-28 09:00 | MOLINATE | 65091LCM60 | 50 | 44 | . | ng/L | 1.2205 | 53.7 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | MOLINATE | 65091LCM60 | 50 | 44 | . | ng/L | 1.2114 | 53.3 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20161740281 | 2016-06-22 07:30 | MOLINATE | 65091LCM60 | 50 | 44.8 | . | ng/L | 0.40625 | 18.2 | Recoverable Result | 2437 | OG | JLE | t | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | MOLINATE | 65091LCM60 | 50 | 44.8 | . | ng/L | 0.41518 | 18.6 | Recoverable Result | 2437 | OG | JLE | t | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | MOLINATE | 65091LCM60 | 50 | 44.8 | . | ng/L | 1.0379 | 46.5 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | MOLINATE | 65091LCM60 | 50 | 44.8 | . | ng/L | 0.80804 | 36.2 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | MOLINATE | 65091LCM60 | 50 | 44.8 | . | ng/L | 0.87946 | 39.4 | Recoverable Result | 2437 | K | DME | n | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | MOLINATE | 65091LCM60 | 50 | 44.8 | . | ng/L | 0.86384 | 38.7 | Recoverable Result | 2437 | K | DME | n | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | MOLINATE | 65091LCM60 | 50 | 44.8 | . | ng/L | 1.067 | 47.8 | Recoverable Result | 2437 | OG | DME | n | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | MOLINATE | 65091LCM60 | 50 | 44.8 | . | ng/L | 1.0603 | 47.5 | Recoverable Result | 2437 | OG | DME | n | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152110201 | 2015-07-30 08:00 | MOLINATE | 65091LCM60 | 18 | 26.9 | E | ng/L | 1.6506 | 44.4 | Estimated Values | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | MOLINATE | 65091LCM60 | 18 | 26.9 | E | ng/L | 1.4312 | 38.5 | Estimated Values | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530086 | 2015-09-10 07:30 | MOLINATE | 65091LCM60 | 18 | 26.9 | E | ng/L | 1.632 | 43.9 | Estimated Values | 2437 | OG | JLE | c | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | MOLINATE | 65091LCM60 | 18 | 26.9 | E | ng/L | 1.5428 | 41.5 | Estimated Values | 2437 | OG | JLE | c | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | MOLINATE | 65091LCM60 | 18 | 26.9 | . | ng/L | 0.89219 | 24 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | MOLINATE | 65091LCM60 | 18 | 26.9 | . | ng/L | 1.29 | 34.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | MOLINATE | 65091LCM60 | 18 | 26.9 | . | ng/L | 0.88848 | 23.9 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | MOLINATE | 65091LCM60 | 18 | 27 | . | ng/L | 1.3222 | 35.7 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | MOLINATE | 65091LCM60 | 18 | 27 | E | ng/L | 1.1815 | 31.9 | Estimated Values | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | MOLINATE | 65091LCM60 | 18 | 27 | E | ng/L | 1.3 | 35.1 | Estimated Values | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | MOLINATE | 65091LCM60 | 18 | 27 | E | ng/L | 1.2259 | 33.1 | Estimated Values | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | MOLINATE | 65091LCM60 | 18 | 27 | . | ng/L | 1.063 | 28.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | MOLINATE | 65091LCM60 | 18 | 27 | . | ng/L | 1.0852 | 29.3 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | MOLINATE | 65091LCM60 | 18 | 27 | . | ng/L | 1.0111 | 27.3 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20141290002 | 2014-05-08 06:00 | MOLINATE | 65091LCM60 | 18 | 35.97 | . | ng/L | 0.86461 | 31.1 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | MOLINATE | 65091LCM60 | 18 | 35.97 | E | ng/L | 1.0564 | 38 | Estimated Values | 2437 | OG | LKK | c | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | MOLINATE | 65091LCM60 | 18 | 35.97 | . | ng/L | 1.1871 | 42.7 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | MOLINATE | 65091LCM60 | 18 | 35.97 | . | ng/L | 1.3039 | 46.9 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142270006 | 2014-08-14 08:00 | MOLINATE | 65091LCM60 | 18 | 36.03 | E | ng/L | 1.2462 | 44.9 | Estimated Values | 2437 | OG | LKK | c | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | MOLINATE | 65091LCM60 | 18 | 36.03 | . | ng/L | 1.1851 | 42.7 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | MOLINATE | 65091LCM60 | 18 | 36.03 | . | ng/L | 1.2684 | 45.7 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | MOLINATE | 65091LCM60 | 18 | 36.03 | . | ng/L | 1.0186 | 36.7 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | MOLINATE | 65091LCM60 | 18 | 36.03 | E | ng/L | 0.95754 | 34.5 | Estimated Values | 2437 | OG | MPO | dc | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20152190004 | 2015-08-06 07:30 | MOLINATE | 65091LCM60 | 18 | 53.8 | E | ng/L | 2.119 | 114 | Estimated Values | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | MOLINATE | 65091LCM60 | 18 | 53.8 | E | ng/L | 1.4591 | 78.5 | Estimated Values | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | MOLINATE | 65091LCM60 | 18 | 53.8 | E | ng/L | 1.4331 | 77.1 | Estimated Values | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | MOLINATE | 65091LCM60 | 18 | 53.8 | E | ng/L | 1.0465 | 56.3 | Estimated Values | 2437 | OG | DME | c | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | MOLINATE | 65091LCM60 | 18 | 53.8 | E | ng/L | 1.2565 | 67.6 | Estimated Values | 2437 | OG | DME | c | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | MOLINATE | 65091LCM60 | 18 | 53.8 | E | ng/L | 1.4424 | 77.6 | Estimated Values | 2437 | OG | DME | c | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | MOLINATE | 65091LCM60 | 18 | 53.8 | . | ng/L | 0.90149 | 48.5 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | MOLINATE | 65091LCM60 | 18 | 53.8 | . | ng/L | 1.0539 | 56.7 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | MOLINATE | 65091LCM60 | 18 | 53.8 | . | ng/L | 0.84758 | 45.6 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | MOLINATE | 65091LCM60 | 18 | 53.8 | . | ng/L | 1.2398 | 66.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | MOLINATE | 65091LCM60 | 18 | 53.8 | . | ng/L | 1.119 | 60.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | MOLINATE | 65091LCM60 | 18 | 53.8 | . | ng/L | 1.1004 | 59.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20161190072 | 2016-04-28 06:30 | MOLINATE | 65091LCM60 | 50 | 53.8 | . | ng/L | 0.80112 | 43.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | MOLINATE | 65091LCM60 | 50 | 53.8 | . | ng/L | 0.7881 | 42.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | MOLINATE | 65091LCM60 | 18 | 54 | . | ng/L | 0.85 | 45.9 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | MOLINATE | 65091LCM60 | 18 | 54 | . | ng/L | 0.87407 | 47.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | MOLINATE | 65091LCM60 | 18 | 54 | . | ng/L | 0.90556 | 48.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | MOLINATE | 65091LCM60 | 18 | 54 | . | ng/L | 0.87407 | 47.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | MOLINATE | 65091LCM60 | 50 | 54 | . | ng/L | 0.74074 | 40 | Recoverable Result | 2437 | OG | MNI | n | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | MOLINATE | 65091LCM60 | 50 | 54 | . | ng/L | 0.89259 | 48.2 | Recoverable Result | 2437 | OG | MNI | n | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | MOLINATE | 65091LCM60 | 50 | 54 | . | ng/L | 0.80741 | 43.6 | Recoverable Result | 2437 | OG | MNI | n | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | MOLINATE | 65091LCM60 | 50 | 54 | . | ng/L | 0.72222 | 39 | Recoverable Result | 2437 | OG | DME | n | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | MOLINATE | 65091LCM60 | 50 | 54 | . | ng/L | 0.93519 | 50.5 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | MOLINATE | 65091LCM60 | 50 | 54 | . | ng/L | 0.83889 | 45.3 | Recoverable Result | 2437 | OG | DME | n | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | MOLINATE | 65091LCM60 | 50 | 54 | . | ng/L | 1.0185 | 55 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | MOLINATE | 65091LCM60 | 50 | 54 | . | ng/L | 0.91481 | 49.4 | Recoverable Result | 2437 | OG | JLE | n | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | MOLINATE | 65091LCM60 | 50 | 54 | . | ng/L | 0.87778 | 47.4 | Recoverable Result | 2437 | OG | JLE | n | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141640081 | 2014-06-12 08:30 | MOLINATE | 65091LCM60 | 18 | 71.94 | . | ng/L | 1.2844 | 92.4 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | MOLINATE | 65091LCM60 | 18 | 71.94 | E | ng/L | 1.0384 | 74.7 | Estimated Values | 2437 | OG | LOA | c | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | MOLINATE | 65091LCM60 | 18 | 71.94 | . | ng/L | 1.0384 | 74.7 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | MOLINATE | 65091LCM60 | 18 | 71.94 | . | ng/L | 1.0745 | 77.3 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20150290076 | 2015-01-29 06:00 | MOLINATE | 65091LCM60 | 18 | 72 | . | ng/L | 0.8875 | 63.9 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141910245 | 2014-07-10 07:30 | MOLINATE | 65091LCM60 | 18 | 72.06 | E | ng/L | 1.2781 | 92.1 | Estimated Values | 2437 | OG | LKK | c | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | MOLINATE | 65091LCM60 | 18 | 72.06 | . | ng/L | 1.2601 | 90.8 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | MOLINATE | 65091LCM60 | 18 | 72.06 | . | ng/L | 1.0949 | 78.9 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | MOLINATE | 65091LCM60 | 18 | 72.06 | . | ng/L | 1.2004 | 86.5 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20163370005 | 2016-11-30 08:00 | MOLINATE | 65091LCM60 | 50 | 88 | . | ng/L | 1.0682 | 94 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | MOLINATE | 65091LCM60 | 50 | 88 | . | ng/L | 0.86477 | 76.1 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20161880106 | 2016-07-06 07:45 | MOLINATE | 65091LCM60 | 50 | 89.6 | . | ng/L | 0.86607 | 77.6 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | MOLINATE | 65091LCM60 | 50 | 89.6 | . | ng/L | 1.019 | 91.3 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | MOLINATE | 65091LCM60 | 50 | 89.6 | . | ng/L | 0.96094 | 86.1 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | MOLINATE | 65091LCM60 | 50 | 89.6 | . | ng/L | 0.91071 | 81.6 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20133050048 | 2013-10-31 07:30 | MOLINATE | 65091LCM60 | 18 | 100 | E | ng/L | 1.03 | 103 | Estimated Values | 2437 | OG | LOA | c | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20133400005 | 2013-12-05 08:30 | MOLINATE | 65091LCM60 | 18 | 100 | E | ng/L | 0.565 | 56.5 | Estimated Values | 2437 | OG | MPO | c | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20133580040 | 2013-12-23 08:00 | MOLINATE | 65091LCM60 | 18 | 100 | E | ng/L | 1.44 | 144 | Estimated Values | 2437 | OG | LOA | c | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20140100087 | 2014-01-09 08:00 | MOLINATE | 65091LCM60 | 18 | 100 | . | ng/L | 1.43 | 143 | Recoverable Result | 2437 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20132630001 | 2013-09-19 08:00 | MOLINATE | 65091LCM60 | 18 | 100.7 | E | ng/L | 0.96723 | 97.4 | Estimated Values | 2437 | OG | LKK | c | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | MOLINATE | 65091LCM60 | 18 | 100.7 | . | ng/L | 1.1917 | 120 | Recoverable Result | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20141490204 | 2014-05-29 08:30 | MOLINATE | 65091LCM60 | 18 | 143.88 | E | ng/L | 1.5499 | 223 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | MOLINATE | 65091LCM60 | 18 | 215.2 | E | ng/L | 0.97584 | 210 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | MOLINATE | 65091LCM60 | 18 | 215.2 | E | ng/L | 1.1849 | 255 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | MOLINATE | 65091LCM60 | 18 | 215.2 | E | ng/L | 1.092 | 235 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | MOLINATE | 65091LCM60 | 18 | 216 | E | ng/L | 1.0648 | 230 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | MOLINATE | 65091LCM60 | 18 | 216 | E | ng/L | 1.088 | 235 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | MOLINATE | 65091LCM60 | 18 | 216 | E | ng/L | 1.0509 | 227 | Estimated Values | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | MOLINATE | 65091LCM60 | 18 | 216 | E | ng/L | 1.0278 | 222 | Estimated Values | 2437 | OG | DME | c | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | MOLINATE | 65091LCM60 | 18 | 216 | E | ng/L | 0.95833 | 207 | Estimated Values | 2437 | OG | DME | c | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | MOLINATE | 65091LCM60 | 18 | 216 | E | ng/L | 0.88426 | 191 | Estimated Values | 2437 | OG | DME | c | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20132490346 | 2013-09-06 07:00 | MOLINATE | 65091LCM60 | 18 | 250 | . | ng/L | 1.088 | 272 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20133470005 | 2013-12-12 08:00 | MOLINATE | 65091LCM60 | 18 | 250 | E | ng/L | 1.728 | 432 | Estimated Values | 2437 | OG | MPO | c | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
20140370079 | 2014-02-06 08:30 | MOLINATE | 65091LCM60 | 18 | 250 | E | ng/L | 1.312 | 328 | Estimated Values | 2437 | OG | MPO | c | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ