## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | NORFLURAZON | 67685LCM60 | 3.4 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | NORFLURAZON | 67685LCM60 | 3.4 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152110201 | 2015-07-30 08:00 | NORFLURAZON | 67685LCM60 | 4 | 6.05 | < | ng/L |  |  | False Negative | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152390230 | 2015-08-27 07:30 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20150150114 | 2015-01-15 07:00 | NORFLURAZON | 67685LCM60 | 4 | 15.93 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152110200 | 2015-07-30 07:30 | NORFLURAZON | 67685LCM60 | 4 | 6.05 | . | ng/L | 0.81983 | 4.96 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | NORFLURAZON | 67685LCM60 | 4 | 6.05 | . | ng/L | 0.91405 | 5.53 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | NORFLURAZON | 67685LCM60 | 4 | 6.05 | . | ng/L | 1.1851 | 7.17 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | NORFLURAZON | 67685LCM60 | 4 | 6.05 | . | ng/L | 1.1223 | 6.79 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | NORFLURAZON | 67685LCM60 | 4 | 6.05 | . | ng/L | 0.7719 | 4.67 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | NORFLURAZON | 67685LCM60 | 4 | 6.05 | . | ng/L | 1.1405 | 6.9 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | NORFLURAZON | 67685LCM60 | 4 | 6.05 | . | ng/L | 1.1967 | 7.24 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | NORFLURAZON | 67685LCM60 | 4 | 6.05 | . | ng/L | 0.83636 | 5.06 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | NORFLURAZON | 67685LCM60 | 3.4 | 6.05 | . | ng/L | 0.95868 | 5.8 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | NORFLURAZON | 67685LCM60 | 3.4 | 6.05 | . | ng/L | 0.99504 | 6.02 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | NORFLURAZON | 67685LCM60 | 3.4 | 6.05 | . | ng/L | 0.96033 | 5.81 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | NORFLURAZON | 67685LCM60 | 3.4 | 6.05 | . | ng/L | 0.96198 | 5.82 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | NORFLURAZON | 67685LCM60 | 3.4 | 6.05 | . | ng/L | 0.97355 | 5.89 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | NORFLURAZON | 67685LCM60 | 3.4 | 6.05 | . | ng/L | 0.72562 | 4.39 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | NORFLURAZON | 67685LCM60 | 3.4 | 6.05 | . | ng/L | 1.2083 | 7.31 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | NORFLURAZON | 67685LCM60 | 3.4 | 6.05 | . | ng/L | 1.1471 | 6.94 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | NORFLURAZON | 67685LCM60 | 3.4 | 6.05 | . | ng/L | 1.1124 | 6.73 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | NORFLURAZON | 67685LCM60 | 4 | 6.1 | . | ng/L | 1.041 | 6.35 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | NORFLURAZON | 67685LCM60 | 4 | 6.1 | . | ng/L | 0.9623 | 5.87 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | NORFLURAZON | 67685LCM60 | 4 | 6.1 | . | ng/L | 0.78033 | 4.76 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | NORFLURAZON | 67685LCM60 | 4 | 6.1 | . | ng/L | 1.0885 | 6.64 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | NORFLURAZON | 67685LCM60 | 4 | 6.1 | . | ng/L | 1.177 | 7.18 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | NORFLURAZON | 67685LCM60 | 4 | 6.1 | . | ng/L | 0.79344 | 4.84 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | NORFLURAZON | 67685LCM60 | 4 | 6.1 | . | ng/L | 0.86721 | 5.29 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | NORFLURAZON | 67685LCM60 | 3.4 | 6.1 | . | ng/L | 1.0295 | 6.28 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | NORFLURAZON | 67685LCM60 | 3.4 | 6.1 | . | ng/L | 0.7377 | 4.5 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | NORFLURAZON | 67685LCM60 | 3.4 | 6.1 | . | ng/L | 1.0705 | 6.53 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | NORFLURAZON | 67685LCM60 | 3.4 | 6.1 | . | ng/L | 1.323 | 8.07 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | NORFLURAZON | 67685LCM60 | 3.4 | 6.1 | . | ng/L | 1.0738 | 6.55 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | NORFLURAZON | 67685LCM60 | 3.4 | 6.1 | . | ng/L | 0.8918 | 5.44 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20141290002 | 2014-05-08 06:00 | NORFLURAZON | 67685LCM60 | 4 | 7.965 | E | ng/L | 1.2241 | 9.75 | Estimated Values | 2437 | OG | MPO | c | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142060046 | 2014-07-24 08:00 | NORFLURAZON | 67685LCM60 | 4 | 7.965 | . | ng/L | 1.0697 | 8.52 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142200170 | 2014-08-07 09:00 | NORFLURAZON | 67685LCM60 | 4 | 7.965 | . | ng/L | 1.1977 | 9.54 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142270006 | 2014-08-14 08:00 | NORFLURAZON | 67685LCM60 | 4 | 7.965 | . | ng/L | 1.0684 | 8.51 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | NORFLURAZON | 67685LCM60 | 4 | 7.965 | E | ng/L | 1.0697 | 8.52 | Estimated Values | 2437 | OG | CAD | v | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | NORFLURAZON | 67685LCM60 | 4 | 7.965 | . | ng/L | 1.1877 | 9.46 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150570010 | 2015-02-26 06:30 | NORFLURAZON | 67685LCM60 | 4 | 7.965 | . | ng/L | 0.95543 | 7.61 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150930002 | 2015-04-02 06:00 | NORFLURAZON | 67685LCM60 | 4 | 7.965 | . | ng/L | 1.1638 | 9.27 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | NORFLURAZON | 67685LCM60 | 4 | 7.965 | . | ng/L | 0.91274 | 7.27 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20150990083 | 2015-04-09 06:30 | NORFLURAZON | 67685LCM60 | 4 | 7.965 | . | ng/L | 0.84244 | 6.71 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20161740281 | 2016-06-22 07:30 | NORFLURAZON | 67685LCM60 | 3.4 | 9.88 | . | ng/L | 0.71154 | 7.03 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | NORFLURAZON | 67685LCM60 | 3.4 | 9.88 | . | ng/L | 0.667 | 6.59 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | NORFLURAZON | 67685LCM60 | 3.4 | 9.88 | . | ng/L | 1.2348 | 12.2 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | NORFLURAZON | 67685LCM60 | 3.4 | 9.88 | . | ng/L | 1.2449 | 12.3 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | NORFLURAZON | 67685LCM60 | 3.4 | 9.88 | . | ng/L | 1.0223 | 10.1 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | NORFLURAZON | 67685LCM60 | 3.4 | 9.88 | . | ng/L | 0.93117 | 9.2 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | NORFLURAZON | 67685LCM60 | 3.4 | 9.88 | . | ng/L | 0.98785 | 9.76 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | NORFLURAZON | 67685LCM60 | 3.4 | 9.88 | . | ng/L | 0.97571 | 9.64 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | NORFLURAZON | 67685LCM60 | 3.4 | 10.04 | . | ng/L | 0.91235 | 9.16 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | NORFLURAZON | 67685LCM60 | 3.4 | 10.04 | . | ng/L | 0.89841 | 9.02 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20152190004 | 2015-08-06 07:30 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | . | ng/L | 0.97521 | 11.8 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | . | ng/L | 1.0496 | 12.7 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | . | ng/L | 0.89256 | 10.8 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | . | ng/L | 0.7157 | 8.66 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | . | ng/L | 0.78678 | 9.52 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | . | ng/L | 0.82645 | 10 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | . | ng/L | 0.66364 | 8.03 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | . | ng/L | 0.89256 | 10.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | . | ng/L | 1.0579 | 12.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | NORFLURAZON | 67685LCM60 | 4 | 12.1 | . | ng/L | 1.0083 | 12.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | NORFLURAZON | 67685LCM60 | 3.4 | 12.1 | . | ng/L | 1.1901 | 14.4 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | NORFLURAZON | 67685LCM60 | 3.4 | 12.1 | . | ng/L | 0.80083 | 9.69 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | NORFLURAZON | 67685LCM60 | 3.4 | 12.1 | . | ng/L | 0.95868 | 11.6 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | NORFLURAZON | 67685LCM60 | 3.4 | 12.1 | . | ng/L | 1.124 | 13.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | NORFLURAZON | 67685LCM60 | 3.4 | 12.1 | . | ng/L | 1.0331 | 12.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | NORFLURAZON | 67685LCM60 | 4 | 12.2 | . | ng/L | 0.95082 | 11.6 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | NORFLURAZON | 67685LCM60 | 4 | 12.2 | . | ng/L | 0.83607 | 10.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | NORFLURAZON | 67685LCM60 | 4 | 12.2 | . | ng/L | 1.1557 | 14.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | NORFLURAZON | 67685LCM60 | 4 | 12.2 | . | ng/L | 0.84426 | 10.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | NORFLURAZON | 67685LCM60 | 3.4 | 12.2 | . | ng/L | 0.86066 | 10.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | NORFLURAZON | 67685LCM60 | 3.4 | 12.2 | . | ng/L | 0.90164 | 11 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | NORFLURAZON | 67685LCM60 | 3.4 | 12.2 | . | ng/L | 0.97541 | 11.9 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | NORFLURAZON | 67685LCM60 | 3.4 | 12.2 | . | ng/L | 0.68852 | 8.4 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | NORFLURAZON | 67685LCM60 | 3.4 | 12.2 | . | ng/L | 0.8123 | 9.91 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | NORFLURAZON | 67685LCM60 | 3.4 | 12.2 | . | ng/L | 0.93443 | 11.4 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | NORFLURAZON | 67685LCM60 | 3.4 | 12.2 | E | ng/L | 0.89344 | 10.9 | Estimated Values | 2437 | OG | JLE | c | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | NORFLURAZON | 67685LCM60 | 3.4 | 12.2 | E | ng/L | 0.86066 | 10.5 | Estimated Values | 2437 | OG | JLE | c | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | NORFLURAZON | 67685LCM60 | 3.4 | 12.2 | E | ng/L | 0.91803 | 11.2 | Estimated Values | 2437 | OG | JLE | c | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141640081 | 2014-06-12 08:30 | NORFLURAZON | 67685LCM60 | 4 | 15.93 | . | ng/L | 0.82863 | 13.2 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20141910245 | 2014-07-10 07:30 | NORFLURAZON | 67685LCM60 | 4 | 15.93 | . | ng/L | 1.0295 | 16.4 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142760029 | 2014-10-02 07:30 | NORFLURAZON | 67685LCM60 | 4 | 15.93 | . | ng/L | 1.086 | 17.3 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20142820153 | 2014-10-09 07:00 | NORFLURAZON | 67685LCM60 | 4 | 15.93 | . | ng/L | 1.2241 | 19.5 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | NORFLURAZON | 67685LCM60 | 4 | 15.93 | . | ng/L | 1.2053 | 19.2 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | NORFLURAZON | 67685LCM60 | 4 | 15.93 | . | ng/L | 0.94162 | 15 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20143300050 | 2014-11-26 07:30 | NORFLURAZON | 67685LCM60 | 4 | 15.93 | . | ng/L | 0.95417 | 15.2 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | NORFLURAZON | 67685LCM60 | 4 | 15.93 | . | ng/L | 1.0421 | 16.6 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20150290076 | 2015-01-29 06:00 | NORFLURAZON | 67685LCM60 | 4 | 15.93 | . | ng/L | 1.1551 | 18.4 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20161880106 | 2016-07-06 07:45 | NORFLURAZON | 67685LCM60 | 3.4 | 19.76 | . | ng/L | 0.97672 | 19.3 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | NORFLURAZON | 67685LCM60 | 3.4 | 19.76 | . | ng/L | 1.164 | 23 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | NORFLURAZON | 67685LCM60 | 3.4 | 19.76 | . | ng/L | 1.0121 | 20 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | NORFLURAZON | 67685LCM60 | 3.4 | 19.76 | . | ng/L | 0.98178 | 19.4 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20163370005 | 2016-11-30 08:00 | NORFLURAZON | 67685LCM60 | 3.4 | 20.08 | . | ng/L | 0.80677 | 16.2 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | NORFLURAZON | 67685LCM60 | 3.4 | 20.08 | . | ng/L | 1.001 | 20.1 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20141490204 | 2014-05-29 08:30 | NORFLURAZON | 67685LCM60 | 4 | 31.86 | . | ng/L | 0.98556 | 31.4 | Recoverable Result | 2437 | OG | MPO |  | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | NORFLURAZON | 67685LCM60 | 4 | 48.4 | . | ng/L | 1.0289 | 49.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | NORFLURAZON | 67685LCM60 | 4 | 48.4 | . | ng/L | 0.93388 | 45.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | NORFLURAZON | 67685LCM60 | 4 | 48.4 | . | ng/L | 0.88223 | 42.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | NORFLURAZON | 67685LCM60 | 4 | 48.8 | . | ng/L | 0.8709 | 42.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | NORFLURAZON | 67685LCM60 | 4 | 48.8 | . | ng/L | 0.8627 | 42.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | NORFLURAZON | 67685LCM60 | 4 | 48.8 | . | ng/L | 0.83811 | 40.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | NORFLURAZON | 67685LCM60 | 4 | 48.8 | . | ng/L | 0.89754 | 43.8 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | NORFLURAZON | 67685LCM60 | 4 | 48.8 | . | ng/L | 0.93238 | 45.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | NORFLURAZON | 67685LCM60 | 4 | 48.8 | . | ng/L | 0.90984 | 44.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20132420005 | 2013-08-29 08:30 | NORFLURAZON | 67685LCM60 | 4 | 400 | . | ng/L | 1.1275 | 451 | Recoverable Result | 2437 | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
20133110106 | 2013-11-07 08:30 | NORFLURAZON | 67685LCM60 | 4 | 400 | . | ng/L | 1.18 | 472 | Recoverable Result | 2437 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140300037 | 2014-01-30 09:00 | NORFLURAZON | 67685LCM60 | 4 | 400 | . | ng/L | 0.99 | 396 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140510044 | 2014-02-20 08:00 | NORFLURAZON | 67685LCM60 | 4 | 400 | . | ng/L | 0.965 | 386 | Recoverable Result | 2437 | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2