## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20150150114 | 2015-01-15 07:00 | OXAMYL | 68664LCM60 | 2 |  | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20160210082 | 2016-01-21 07:30 | OXAMYL | 68664LCM60 | 2 | 3 | < | ng/L |  |  | False Negative | 2437 | K | DME |  | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20152110202 | 2015-07-30 07:00 | OXAMYL | 68664LCM60 | 2 | 3.03 | < | ng/L |  |  | False Negative | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20151110018 | 2015-04-16 07:00 | OXAMYL | 68664LCM60 | 2 | 4.05 | < | ng/L |  |  | False Negative | 2437 | OG | JIV | c | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142470035 | 2014-09-03 07:45 | OXAMYL | 68664LCM60 | 2 | 4.08 | < | ng/L |  |  | False Negative | 2437 | OG | CAD | c | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20152250275 | 2015-08-13 07:30 | OXAMYL | 68664LCM60 | 2 | 6 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | OXAMYL | 68664LCM60 | 2 | 6 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152390229 | 2015-08-27 08:00 | OXAMYL | 68664LCM60 | 2 | 6 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151900133 | 2015-07-09 08:00 | OXAMYL | 68664LCM60 | 2 | 6.06 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | OXAMYL | 68664LCM60 | 2 | 6.06 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20161820006 | 2016-06-29 09:00 | OXAMYL | 68664LCM60 | 2 | 9.92 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | OXAMYL | 68664LCM60 | 2 | 9.92 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152670139 | 2015-09-24 08:30 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.36333 | 1.09 | Recoverable Result | 2437 | OG | DME | bn | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.76667 | 2.3 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.90667 | 2.72 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153230142 | 2015-11-19 08:00 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.70667 | 2.12 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.74333 | 2.23 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.75 | 2.25 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160210084 | 2016-01-21 08:00 | OXAMYL | 68664LCM60 | 2 | 3 | E | ng/L | 0.93333 | 2.8 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | OXAMYL | 68664LCM60 | 2 | 3 | E | ng/L | 0.87333 | 2.62 | Estimated Values | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160560058 | 2016-02-25 07:30 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.91667 | 2.75 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.98 | 2.94 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.84667 | 2.54 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.93667 | 2.81 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.72667 | 2.18 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | OXAMYL | 68664LCM60 | 2 | 3 | . | ng/L | 0.65 | 1.95 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20152110200 | 2015-07-30 07:30 | OXAMYL | 68664LCM60 | 2 | 3.03 | . | ng/L | 0.80528 | 2.44 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110201 | 2015-07-30 08:00 | OXAMYL | 68664LCM60 | 2 | 3.03 | . | ng/L | 0.77228 | 2.34 | Recoverable Result | 2437 | OG | MPO | c | 2015-08-13 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | OXAMYL | 68664LCM60 | 2 | 3.03 | E | ng/L | 0.66337 | 2.01 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | OXAMYL | 68664LCM60 | 2 | 3.03 | E | ng/L | 0.70297 | 2.13 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | OXAMYL | 68664LCM60 | 2 | 3.03 | E | ng/L | 0.60726 | 1.84 | Estimated Values | 2437 | OG | DME | nc | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | OXAMYL | 68664LCM60 | 2 | 3.03 | E | ng/L | 0.75578 | 2.29 | Estimated Values | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | OXAMYL | 68664LCM60 | 2 | 3.03 | E | ng/L | 0.79538 | 2.41 | Estimated Values | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | OXAMYL | 68664LCM60 | 2 | 3.03 | E | ng/L | 0.80198 | 2.43 | Estimated Values | 2437 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | OXAMYL | 68664LCM60 | 2 | 3.03 | E | ng/L | 0.73927 | 2.24 | Estimated Values | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | OXAMYL | 68664LCM60 | 2 | 3.03 | E | ng/L | 0.67327 | 2.04 | Estimated Values | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | OXAMYL | 68664LCM60 | 2 | 3.03 | E | ng/L | 0.67657 | 2.05 | Estimated Values | 2437 | OG | DME | c | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160350044 | 2016-02-04 08:00 | OXAMYL | 68664LCM60 | 2 | 3.03 | . | ng/L | 1.3498 | 4.09 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | OXAMYL | 68664LCM60 | 2 | 3.03 | . | ng/L | 0.92079 | 2.79 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | OXAMYL | 68664LCM60 | 2 | 3.03 | . | ng/L | 0.81188 | 2.46 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | OXAMYL | 68664LCM60 | 2 | 3.03 | . | ng/L | 1.0396 | 3.15 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | OXAMYL | 68664LCM60 | 2 | 3.03 | . | ng/L | 1.0693 | 3.24 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | OXAMYL | 68664LCM60 | 2 | 3.03 | . | ng/L | 0.9901 | 3 | Recoverable Result | 2437 | OG | DME |  | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20142130132 | 2014-07-31 07:00 | OXAMYL | 68664LCM60 | 2 | 4.05 | . | ng/L | 1.1556 | 4.68 | Recoverable Result | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142270006 | 2014-08-14 08:00 | OXAMYL | 68664LCM60 | 2 | 4.05 | . | ng/L | 0.34568 | 1.4 | Recoverable Result | 2437 | OG | LKK | n | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20150650041 | 2015-03-05 07:00 | OXAMYL | 68664LCM60 | 2 | 4.05 | . | ng/L | 2.442 | 9.89 | Recoverable Result | 2437 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20141290002 | 2014-05-08 06:00 | OXAMYL | 68664LCM60 | 2 | 4.08 | . | ng/L | 0.77941 | 3.18 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20141990082 | 2014-07-17 07:30 | OXAMYL | 68664LCM60 | 2 | 4.08 | . | ng/L | 0.38971 | 1.59 | Recoverable Result | 2437 | OG | LKK | n | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142620041 | 2014-09-18 07:30 | OXAMYL | 68664LCM60 | 2 | 4.08 | . | ng/L | 0.89951 | 3.67 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20142720026 | 2014-09-25 07:00 | OXAMYL | 68664LCM60 | 2 | 4.08 | . | ng/L | 0.99755 | 4.07 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150930002 | 2015-04-02 06:00 | OXAMYL | 68664LCM60 | 2 | 4.08 | . | ng/L | 0.59559 | 2.43 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20162100011 | 2016-07-27 07:15 | OXAMYL | 68664LCM60 | 2 | 4.96 | . | ng/L | 0.60887 | 3.02 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | OXAMYL | 68664LCM60 | 2 | 4.96 | . | ng/L | 0.79032 | 3.92 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | OXAMYL | 68664LCM60 | 2 | 4.96 | . | ng/L | 0.93548 | 4.64 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | OXAMYL | 68664LCM60 | 2 | 4.96 | E | ng/L | 0.73387 | 3.64 | Estimated Values | 2437 | OG | DME | c | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163420124 | 2016-12-07 09:00 | OXAMYL | 68664LCM60 | 2 | 4.96 | . | ng/L | 0.88306 | 4.38 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | OXAMYL | 68664LCM60 | 2 | 4.96 | . | ng/L | 1.0202 | 5.06 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163560022 | 2016-12-21 08:00 | OXAMYL | 68664LCM60 | 2 | 5.2 | . | ng/L | 1.1173 | 5.81 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | OXAMYL | 68664LCM60 | 2 | 5.2 | . | ng/L | 0.79423 | 4.13 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152250277 | 2015-08-13 08:00 | OXAMYL | 68664LCM60 | 2 | 6 | E | ng/L | 0.098333 | 0.59 | Estimated Values | 2437 | OG | DME | btc | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152390230 | 2015-08-27 07:30 | OXAMYL | 68664LCM60 | 2 | 6 | E | ng/L | 0.55667 | 3.34 | Estimated Values | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | OXAMYL | 68664LCM60 | 2 | 6 | E | ng/L | 0.46667 | 2.8 | Estimated Values | 2437 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20153510113 | 2015-12-17 07:30 | OXAMYL | 68664LCM60 | 2 | 6 | . | ng/L | 0.43167 | 2.59 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | OXAMYL | 68664LCM60 | 2 | 6 | . | ng/L | 0.52 | 3.12 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | OXAMYL | 68664LCM60 | 2 | 6 | . | ng/L | 0.73 | 4.38 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160630048 | 2016-03-03 07:30 | OXAMYL | 68664LCM60 | 2 | 6 | . | ng/L | 0.48833 | 2.93 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | OXAMYL | 68664LCM60 | 2 | 6 | . | ng/L | 0.59 | 3.54 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | OXAMYL | 68664LCM60 | 2 | 6 | . | ng/L | 0.54167 | 3.25 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20161190072 | 2016-04-28 06:30 | OXAMYL | 68664LCM60 | 2 | 6 | . | ng/L | 0.81167 | 4.87 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | OXAMYL | 68664LCM60 | 2 | 6 | . | ng/L | 0.82 | 4.92 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152460212 | 2015-09-03 07:30 | OXAMYL | 68664LCM60 | 2 | 6.06 | . | ng/L | 0.44719 | 2.71 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | OXAMYL | 68664LCM60 | 2 | 6.06 | . | ng/L | 0.56106 | 3.4 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | OXAMYL | 68664LCM60 | 2 | 6.06 | . | ng/L | 0.55941 | 3.39 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160140035 | 2016-01-14 08:00 | OXAMYL | 68664LCM60 | 2 | 6.06 | E | ng/L | 0.67492 | 4.09 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | OXAMYL | 68664LCM60 | 2 | 6.06 | E | ng/L | 0.93894 | 5.69 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | OXAMYL | 68664LCM60 | 2 | 6.06 | E | ng/L | 0.74257 | 4.5 | Estimated Values | 2437 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161050141 | 2016-04-14 08:00 | OXAMYL | 68664LCM60 | 2 | 6.06 | . | ng/L | 1.0396 | 6.3 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | OXAMYL | 68664LCM60 | 2 | 6.06 | . | ng/L | 0.86634 | 5.25 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20141770144 | 2014-06-26 09:00 | OXAMYL | 68664LCM60 | 2 | 8.1 | . | ng/L | 0.71975 | 5.83 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142820153 | 2014-10-09 07:00 | OXAMYL | 68664LCM60 | 2 | 8.1 | . | ng/L | 1.1716 | 9.49 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20142960085 | 2014-10-23 07:00 | OXAMYL | 68664LCM60 | 2 | 8.1 | . | ng/L | 1.0198 | 8.26 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20143370093 | 2014-12-03 06:30 | OXAMYL | 68664LCM60 | 2 | 8.1 | . | ng/L | 0.82222 | 6.66 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20143520108 | 2014-12-18 07:00 | OXAMYL | 68664LCM60 | 2 | 8.1 | . | ng/L | 0.93333 | 7.56 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20150360050 | 2015-02-05 07:00 | OXAMYL | 68664LCM60 | 2 | 8.1 | . | ng/L | 0.90494 | 7.33 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20141640081 | 2014-06-12 08:30 | OXAMYL | 68664LCM60 | 2 | 8.16 | E | ng/L | 0.57353 | 4.68 | Estimated Values | 2437 | K | JIV | c | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142340168 | 2014-08-18 07:15 | OXAMYL | 68664LCM60 | 2 | 8.16 | E | ng/L | 0.77328 | 6.31 | Estimated Values | 2437 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20143180048 | 2014-11-13 07:30 | OXAMYL | 68664LCM60 | 2 | 8.16 | . | ng/L | 0.88235 | 7.2 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20143240094 | 2014-11-19 08:00 | OXAMYL | 68664LCM60 | 2 | 8.16 | . | ng/L | 0.74632 | 6.09 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20161880106 | 2016-07-06 07:45 | OXAMYL | 68664LCM60 | 2 | 9.92 | . | ng/L | 0.86895 | 8.62 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | OXAMYL | 68664LCM60 | 2 | 9.92 | . | ng/L | 0.94556 | 9.38 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | OXAMYL | 68664LCM60 | 2 | 10.4 | . | ng/L | 0.75577 | 7.86 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | OXAMYL | 68664LCM60 | 2 | 10.4 | . | ng/L | 1.0385 | 10.8 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | OXAMYL | 68664LCM60 | 2 | 13 | . | ng/L | 0.67769 | 8.81 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | OXAMYL | 68664LCM60 | 2 | 13 | . | ng/L | 0.74154 | 9.64 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20141490204 | 2014-05-29 08:30 | OXAMYL | 68664LCM60 | 2 | 16.32 | E | ng/L | 0.67402 | 11 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152610006 | 2015-09-17 09:30 | OXAMYL | 68664LCM60 | 2 | 24 | . | ng/L | 1.0583 | 25.4 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | OXAMYL | 68664LCM60 | 2 | 24 | . | ng/L | 1.0833 | 26 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | OXAMYL | 68664LCM60 | 2 | 24 | . | ng/L | 1.0667 | 25.6 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20153280162 | 2015-11-24 07:00 | OXAMYL | 68664LCM60 | 2 | 24 | . | ng/L | 1.0917 | 26.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | OXAMYL | 68664LCM60 | 2 | 24 | . | ng/L | 1.1875 | 28.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | OXAMYL | 68664LCM60 | 2 | 24 | . | ng/L | 1.075 | 25.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20152810124 | 2015-10-08 07:00 | OXAMYL | 68664LCM60 | 2 | 24.24 | . | ng/L | 0.63531 | 15.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | OXAMYL | 68664LCM60 | 2 | 24.24 | . | ng/L | 0.61881 | 15 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | OXAMYL | 68664LCM60 | 2 | 24.24 | . | ng/L | 0.7302 | 17.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | OXAMYL | 68664LCM60 | 2 | 24.24 | . | ng/L | 0.68894 | 16.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | OXAMYL | 68664LCM60 | 2 | 24.24 | . | ng/L | 0.63119 | 15.3 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | OXAMYL | 68664LCM60 | 2 | 24.24 | . | ng/L | 0.65182 | 15.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20133110106 | 2013-11-07 08:30 | OXAMYL | 68664LCM60 | 2 | 1990 | . | ng/L | 0.9799 | 1950 | Recoverable Result | 2437 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140300037 | 2014-01-30 09:00 | OXAMYL | 68664LCM60 | 2 | 1990 | . | ng/L | 0.4794 | 954 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
20140510044 | 2014-02-20 08:00 | OXAMYL | 68664LCM60 | 2 | 1990 | . | ng/L | 0.72864 | 1450 | Recoverable Result | 2437 | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
20132420005 | 2013-08-29 08:30 | OXAMYL | 68664LCM60 | 2 | 2000 | . | ng/L | 0.755 | 1510 | Recoverable Result | 2437 | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl