## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20150150114 | 2015-01-15 07:00 | PARAOXON | 68666LCM60 | 4 | 15.99 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | PARAOXON | 68666LCM60 | 3.4 | 20.08 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | PARAOXON | 68666LCM60 | 3.4 | 20.08 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152040178 | 2015-07-23 06:30 | PARAOXON | 68666LCM60 | 4 | 6 | . | ng/L | 1.2267 | 7.36 | Recoverable Result | 2437 | OG | MNO | c | 2015-08-06 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | PARAOXON | 68666LCM60 | 4 | 6 | . | ng/L | 0.74667 | 4.48 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | PARAOXON | 68666LCM60 | 4 | 6 | . | ng/L | 0.76833 | 4.61 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | PARAOXON | 68666LCM60 | 4 | 6 | . | ng/L | 0.90333 | 5.42 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | PARAOXON | 68666LCM60 | 4 | 6 | . | ng/L | 1.0167 | 6.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | PARAOXON | 68666LCM60 | 4 | 6 | . | ng/L | 1.07 | 6.42 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | PARAOXON | 68666LCM60 | 4 | 6 | . | ng/L | 0.95333 | 5.72 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | PARAOXON | 68666LCM60 | 3.4 | 6 | . | ng/L | 0.84833 | 5.09 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | PARAOXON | 68666LCM60 | 3.4 | 6 | . | ng/L | 1.0283 | 6.17 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | PARAOXON | 68666LCM60 | 3.4 | 6 | . | ng/L | 1.0783 | 6.47 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | PARAOXON | 68666LCM60 | 3.4 | 6 | . | ng/L | 1.185 | 7.11 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | PARAOXON | 68666LCM60 | 3.4 | 6 | . | ng/L | 1.015 | 6.09 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | PARAOXON | 68666LCM60 | 3.4 | 6 | . | ng/L | 0.965 | 5.79 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20152110201 | 2015-07-30 08:00 | PARAOXON | 68666LCM60 | 4 | 6.03 | E | ng/L | 0.87562 | 5.28 | Estimated Values | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | PARAOXON | 68666LCM60 | 4 | 6.03 | E | ng/L | 1.0564 | 6.37 | Estimated Values | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | PARAOXON | 68666LCM60 | 4 | 6.03 | E | ng/L | 1.0796 | 6.51 | Estimated Values | 2437 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | PARAOXON | 68666LCM60 | 4 | 6.03 | . | ng/L | 0.93864 | 5.66 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | PARAOXON | 68666LCM60 | 4 | 6.03 | . | ng/L | 0.79436 | 4.79 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | PARAOXON | 68666LCM60 | 4 | 6.03 | . | ng/L | 0.98673 | 5.95 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | PARAOXON | 68666LCM60 | 4 | 6.03 | . | ng/L | 0.97512 | 5.88 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | PARAOXON | 68666LCM60 | 4 | 6.03 | . | ng/L | 1.058 | 6.38 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | PARAOXON | 68666LCM60 | 4 | 6.03 | . | ng/L | 0.83416 | 5.03 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | PARAOXON | 68666LCM60 | 3.4 | 6.03 | . | ng/L | 0.88723 | 5.35 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | PARAOXON | 68666LCM60 | 3.4 | 6.03 | . | ng/L | 0.90216 | 5.44 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | PARAOXON | 68666LCM60 | 3.4 | 6.03 | . | ng/L | 0.71642 | 4.32 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | PARAOXON | 68666LCM60 | 3.4 | 6.03 | . | ng/L | 0.85904 | 5.18 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | PARAOXON | 68666LCM60 | 3.4 | 6.03 | . | ng/L | 0.71476 | 4.31 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | PARAOXON | 68666LCM60 | 3.4 | 6.03 | . | ng/L | 0.89718 | 5.41 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | PARAOXON | 68666LCM60 | 3.4 | 6.03 | . | ng/L | 0.95191 | 5.74 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | PARAOXON | 68666LCM60 | 3.4 | 6.03 | . | ng/L | 1.0116 | 6.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | PARAOXON | 68666LCM60 | 3.4 | 6.03 | . | ng/L | 1.0779 | 6.5 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20141990082 | 2014-07-17 07:30 | PARAOXON | 68666LCM60 | 4 | 7.98 | . | ng/L | 1.114 | 8.89 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142480004 | 2014-09-04 08:30 | PARAOXON | 68666LCM60 | 4 | 7.98 | E | ng/L | 0.73935 | 5.9 | Estimated Values | 2437 | OG | CAD | v | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142720026 | 2014-09-25 07:00 | PARAOXON | 68666LCM60 | 4 | 7.98 | E | ng/L | 1.1015 | 8.79 | Estimated Values | 2437 | OG | LOA | c | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150650041 | 2015-03-05 07:00 | PARAOXON | 68666LCM60 | 4 | 7.98 | . | ng/L | 0.68797 | 5.49 | Recoverable Result | 2437 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20150990083 | 2015-04-09 06:30 | PARAOXON | 68666LCM60 | 4 | 7.98 | . | ng/L | 1.9298 | 15.4 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142060046 | 2014-07-24 08:00 | PARAOXON | 68666LCM60 | 4 | 7.995 | . | ng/L | 1.2383 | 9.9 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142130132 | 2014-07-31 07:00 | PARAOXON | 68666LCM60 | 4 | 7.995 | . | ng/L | 0.92058 | 7.36 | Recoverable Result | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142200170 | 2014-08-07 09:00 | PARAOXON | 68666LCM60 | 4 | 7.995 | . | ng/L | 0.97311 | 7.78 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142470035 | 2014-09-03 07:45 | PARAOXON | 68666LCM60 | 4 | 7.995 | . | ng/L | 1.3634 | 10.9 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20150570010 | 2015-02-26 06:30 | PARAOXON | 68666LCM60 | 4 | 7.995 | E | ng/L | 0.98437 | 7.87 | Estimated Values | 2437 | OG | SBH | c | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150850163 | 2015-03-26 06:30 | PARAOXON | 68666LCM60 | 4 | 7.995 | . | ng/L | 0.69543 | 5.56 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20151110018 | 2015-04-16 07:00 | PARAOXON | 68666LCM60 | 4 | 7.995 | . | ng/L | 1.2883 | 10.3 | Recoverable Result | 2437 | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20163560022 | 2016-12-21 08:00 | PARAOXON | 68666LCM60 | 3.4 | 10 | . | ng/L | 1.13 | 11.3 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | PARAOXON | 68666LCM60 | 3.4 | 10 | . | ng/L | 1.14 | 11.4 | Recoverable Result | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162100011 | 2016-07-27 07:15 | PARAOXON | 68666LCM60 | 3.4 | 10.04 | . | ng/L | 0.93227 | 9.36 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | PARAOXON | 68666LCM60 | 3.4 | 10.04 | . | ng/L | 0.73805 | 7.41 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | PARAOXON | 68666LCM60 | 3.4 | 10.04 | . | ng/L | 0.9761 | 9.8 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | PARAOXON | 68666LCM60 | 3.4 | 10.04 | . | ng/L | 0.93426 | 9.38 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163420124 | 2016-12-07 09:00 | PARAOXON | 68666LCM60 | 3.4 | 10.04 | . | ng/L | 1.1554 | 11.6 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | PARAOXON | 68666LCM60 | 3.4 | 10.04 | . | ng/L | 1.1753 | 11.8 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20151970155 | 2015-07-16 06:00 | PARAOXON | 68666LCM60 | 4 | 12 | . | ng/L | 0.98333 | 11.8 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | PARAOXON | 68666LCM60 | 4 | 12 | . | ng/L | 0.95833 | 11.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | PARAOXON | 68666LCM60 | 4 | 12 | . | ng/L | 0.78583 | 9.43 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | PARAOXON | 68666LCM60 | 4 | 12 | . | ng/L | 0.91667 | 11 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | PARAOXON | 68666LCM60 | 3.4 | 12 | . | ng/L | 1.0417 | 12.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | PARAOXON | 68666LCM60 | 3.4 | 12 | . | ng/L | 0.95833 | 11.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | PARAOXON | 68666LCM60 | 3.4 | 12 | . | ng/L | 0.73667 | 8.84 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | PARAOXON | 68666LCM60 | 3.4 | 12 | . | ng/L | 0.72417 | 8.69 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | PARAOXON | 68666LCM60 | 3.4 | 12 | . | ng/L | 0.80667 | 9.68 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | PARAOXON | 68666LCM60 | 3.4 | 12 | . | ng/L | 0.81667 | 9.8 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | PARAOXON | 68666LCM60 | 3.4 | 12 | . | ng/L | 0.98333 | 11.8 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | PARAOXON | 68666LCM60 | 3.4 | 12 | . | ng/L | 1.025 | 12.3 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | PARAOXON | 68666LCM60 | 3.4 | 12 | . | ng/L | 0.81167 | 9.74 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152190004 | 2015-08-06 07:30 | PARAOXON | 68666LCM60 | 4 | 12.06 | E | ng/L | 1.0199 | 12.3 | Estimated Values | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | PARAOXON | 68666LCM60 | 4 | 12.06 | E | ng/L | 1.2023 | 14.5 | Estimated Values | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | PARAOXON | 68666LCM60 | 4 | 12.06 | E | ng/L | 0.76036 | 9.17 | Estimated Values | 2437 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | PARAOXON | 68666LCM60 | 4 | 12.06 | . | ng/L | 0.79104 | 9.54 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | PARAOXON | 68666LCM60 | 4 | 12.06 | . | ng/L | 0.75622 | 9.12 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | PARAOXON | 68666LCM60 | 4 | 12.06 | . | ng/L | 0.9204 | 11.1 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | PARAOXON | 68666LCM60 | 4 | 12.06 | . | ng/L | 0.733 | 8.84 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | PARAOXON | 68666LCM60 | 4 | 12.06 | . | ng/L | 0.83748 | 10.1 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | PARAOXON | 68666LCM60 | 4 | 12.06 | . | ng/L | 0.70066 | 8.45 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | PARAOXON | 68666LCM60 | 4 | 12.06 | . | ng/L | 1.0448 | 12.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | PARAOXON | 68666LCM60 | 4 | 12.06 | . | ng/L | 0.86235 | 10.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | PARAOXON | 68666LCM60 | 4 | 12.06 | . | ng/L | 0.79353 | 9.57 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | PARAOXON | 68666LCM60 | 3.4 | 12.06 | . | ng/L | 1.3101 | 15.8 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | PARAOXON | 68666LCM60 | 3.4 | 12.06 | . | ng/L | 1.3682 | 16.5 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | PARAOXON | 68666LCM60 | 3.4 | 12.06 | . | ng/L | 1.335 | 16.1 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | PARAOXON | 68666LCM60 | 3.4 | 12.06 | . | ng/L | 0.94527 | 11.4 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | PARAOXON | 68666LCM60 | 3.4 | 12.06 | . | ng/L | 0.87065 | 10.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20141770144 | 2014-06-26 09:00 | PARAOXON | 68666LCM60 | 4 | 15.96 | . | ng/L | 0.79574 | 12.7 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20141910245 | 2014-07-10 07:30 | PARAOXON | 68666LCM60 | 4 | 15.96 | . | ng/L | 1.3972 | 22.3 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143030096 | 2014-10-30 08:00 | PARAOXON | 68666LCM60 | 4 | 15.96 | . | ng/L | 0.97118 | 15.5 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143300050 | 2014-11-26 07:30 | PARAOXON | 68666LCM60 | 4 | 15.96 | . | ng/L | 1.1341 | 18.1 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143240094 | 2014-11-19 08:00 | PARAOXON | 68666LCM60 | 4 | 15.96 | . | ng/L | 1.2155 | 19.4 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20143520108 | 2014-12-18 07:00 | PARAOXON | 68666LCM60 | 4 | 15.96 | . | ng/L | 0.88346 | 14.1 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142340168 | 2014-08-18 07:15 | PARAOXON | 68666LCM60 | 4 | 15.99 | E | ng/L | 0.52783 | 8.44 | Estimated Values | 2437 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20142760029 | 2014-10-02 07:30 | PARAOXON | 68666LCM60 | 4 | 15.99 | . | ng/L | 0.92558 | 14.8 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20142960085 | 2014-10-23 07:00 | PARAOXON | 68666LCM60 | 4 | 15.99 | . | ng/L | 0.89431 | 14.3 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20150360050 | 2015-02-05 07:00 | PARAOXON | 68666LCM60 | 4 | 15.99 | . | ng/L | 0.78799 | 12.6 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20162520007 | 2016-09-07 08:30 | PARAOXON | 68666LCM60 | 3.4 | 20 | . | ng/L | 0.995 | 19.9 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | PARAOXON | 68666LCM60 | 3.4 | 20 | . | ng/L | 1.24 | 24.8 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20161880106 | 2016-07-06 07:45 | PARAOXON | 68666LCM60 | 3.4 | 20.08 | . | ng/L | 0.99104 | 19.9 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | PARAOXON | 68666LCM60 | 3.4 | 20.08 | . | ng/L | 0.90637 | 18.2 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162660010 | 2016-09-21 08:30 | PARAOXON | 68666LCM60 | 3.4 | 25 | . | ng/L | 0.848 | 21.2 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | PARAOXON | 68666LCM60 | 3.4 | 25 | . | ng/L | 0.856 | 21.4 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20152610006 | 2015-09-17 09:30 | PARAOXON | 68666LCM60 | 4 | 48 | . | ng/L | 0.70625 | 33.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | PARAOXON | 68666LCM60 | 4 | 48 | . | ng/L | 0.92083 | 44.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | PARAOXON | 68666LCM60 | 4 | 48 | . | ng/L | 0.91458 | 43.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | PARAOXON | 68666LCM60 | 4 | 48 | . | ng/L | 0.81042 | 38.9 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | PARAOXON | 68666LCM60 | 4 | 48 | . | ng/L | 0.7625 | 36.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | PARAOXON | 68666LCM60 | 4 | 48 | . | ng/L | 0.80208 | 38.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152810124 | 2015-10-08 07:00 | PARAOXON | 68666LCM60 | 4 | 48.24 | . | ng/L | 1.0178 | 49.1 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | PARAOXON | 68666LCM60 | 4 | 48.24 | . | ng/L | 0.96393 | 46.5 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | PARAOXON | 68666LCM60 | 4 | 48.24 | . | ng/L | 0.86443 | 41.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl