## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | PENDIMETHALIN | 65098LCM60 | 10 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | PENDIMETHALIN | 65098LCM60 | 10 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152670139 | 2015-09-24 08:30 | PENDIMETHALIN | 65098LCM60 | 3 | 4.5 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 4.5 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | PENDIMETHALIN | 65098LCM60 | 3 | 4.5 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20160210084 | 2016-01-21 08:00 | PENDIMETHALIN | 65098LCM60 | 10 | 4.5 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | PENDIMETHALIN | 65098LCM60 | 10 | 4.5 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | PENDIMETHALIN | 65098LCM60 | 10 | 4.5 | < | ng/L |  | 50 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160770095 | 2016-03-17 08:00 | PENDIMETHALIN | 65098LCM60 | 10 | 4.5 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | PENDIMETHALIN | 65098LCM60 | 10 | 4.5 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | PENDIMETHALIN | 65098LCM60 | 10 | 4.5 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20152890012 | 2015-10-15 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 4.51 | < | ng/L |  |  | False Negative | 2437 | OG | DME | vc | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | PENDIMETHALIN | 65098LCM60 | 3 | 4.51 | < | ng/L |  | 6.92 | SACRALT | 2437 | OG | DME | vc | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | PENDIMETHALIN | 65098LCM60 | 3 | 4.51 | < | ng/L |  | 5.2 | SACRALT | 2437 | OG | DME | vc | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | PENDIMETHALIN | 65098LCM60 | 3 | 4.51 | < | ng/L |  |  | False Negative | 2437 | OG | DME | vc | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | PENDIMETHALIN | 65098LCM60 | 3 | 4.51 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | PENDIMETHALIN | 65098LCM60 | 3 | 4.51 | < | ng/L |  | 5.03 | SACRALT | 2437 | OG | DME | vc | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 4.51 | < | ng/L |  |  | False Negative | 2437 | OG | DME | vc | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | PENDIMETHALIN | 65098LCM60 | 3 | 4.51 | < | ng/L |  | 4.66 | SACRALT | 2437 | OG | DME | vc | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | PENDIMETHALIN | 65098LCM60 | 3 | 4.51 | < | ng/L |  | 4.72 | SACRALT | 2437 | OG | DME | vc | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160350044 | 2016-02-04 08:00 | PENDIMETHALIN | 65098LCM60 | 10 | 4.51 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | PENDIMETHALIN | 65098LCM60 | 10 | 4.51 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | PENDIMETHALIN | 65098LCM60 | 10 | 4.51 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | PENDIMETHALIN | 65098LCM60 | 10 | 4.51 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | PENDIMETHALIN | 65098LCM60 | 10 | 4.51 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | PENDIMETHALIN | 65098LCM60 | 10 | 4.51 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20142200170 | 2014-08-07 09:00 | PENDIMETHALIN | 65098LCM60 | 3 | 5.985 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | c | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142060046 | 2014-07-24 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 6 | < | ng/L |  | 13.1 | SACRALT | 2437 | OG | LKK | vc | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 6 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | ic | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | PENDIMETHALIN | 65098LCM60 | 3 | 6 | < | ng/L |  |  | False Negative | 2437 | OG | CAD | c | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20150930002 | 2015-04-02 06:00 | PENDIMETHALIN | 65098LCM60 | 3 | 6 | < | ng/L |  |  | False Negative | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | PENDIMETHALIN | 65098LCM60 | 3 | 6 | < | ng/L |  | 10 | SACRALT | 2437 | OG | MPO | vdc | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20161740281 | 2016-06-22 07:30 | PENDIMETHALIN | 65098LCM60 | 10 | 7.48 | < | ng/L |  | 10 | SACRALT | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | PENDIMETHALIN | 65098LCM60 | 10 | 7.48 | < | ng/L |  | 10 | SACRALT | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20163560022 | 2016-12-21 08:00 | PENDIMETHALIN | 65098LCM60 | 10 | 7.48 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152250277 | 2015-08-13 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 9 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | PENDIMETHALIN | 65098LCM60 | 3 | 9 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | PENDIMETHALIN | 65098LCM60 | 3 | 9 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20151900133 | 2015-07-09 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 9.02 | < | ng/L |  | 10 | SACRALT | 2437 | OG | JLE | c | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | PENDIMETHALIN | 65098LCM60 | 3 | 9.02 | < | ng/L |  |  | False Negative | 2437 | OG | DME | ic | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152460211 | 2015-09-03 07:00 | PENDIMETHALIN | 65098LCM60 | 3 | 9.02 | < | ng/L |  |  | False Negative | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20161050142 | 2016-04-14 06:30 | PENDIMETHALIN | 65098LCM60 | 10 | 9.02 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20141640081 | 2014-06-12 08:30 | PENDIMETHALIN | 65098LCM60 | 3 | 11.97 | < | ng/L |  |  | False Negative | 2437 | K | JIV | c | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | PENDIMETHALIN | 65098LCM60 | 3 | 11.97 | < | ng/L |  |  | False Negative | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | PENDIMETHALIN | 65098LCM60 | 3 | 11.97 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20141910245 | 2014-07-10 07:30 | PENDIMETHALIN | 65098LCM60 | 3 | 12 | < | ng/L |  | 17.5 | SACRALT | 2437 | OG | LKK | vc | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | PENDIMETHALIN | 65098LCM60 | 3 | 12 | < | ng/L |  | 13.1 | SACRALT | 2437 | OG | MNI | ic | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 12 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | ic | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20150150114 | 2015-01-15 07:00 | PENDIMETHALIN | 65098LCM60 | 3 | 12 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20162100011 | 2016-07-27 07:15 | PENDIMETHALIN | 65098LCM60 | 10 | 7.48 | E | ng/L | 1.2299 | 9.2 | Estimated Values | 2437 | OG | DME | i | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | PENDIMETHALIN | 65098LCM60 | 10 | 7.48 | E | ng/L | 0.93984 | 7.03 | Estimated Values | 2437 | OG | DME | i | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20163070100 | 2016-11-02 08:30 | PENDIMETHALIN | 65098LCM60 | 10 | 7.48 | . | ng/L | 0.95856 | 7.17 | Recoverable Result | 2437 | K | DME | n | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | PENDIMETHALIN | 65098LCM60 | 10 | 7.48 | . | ng/L | 1.0722 | 8.02 | Recoverable Result | 2437 | K | DME | n | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560021 | 2016-12-21 07:30 | PENDIMETHALIN | 65098LCM60 | 10 | 7.48 | . | ng/L | 0.94251 | 7.05 | Recoverable Result | 2437 | OG | DME | n | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | PENDIMETHALIN | 65098LCM60 | 10 | 7.64 | . | ng/L | 1.2579 | 9.61 | Recoverable Result | 2437 | OG | DME | n | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | PENDIMETHALIN | 65098LCM60 | 10 | 7.64 | . | ng/L | 1.1086 | 8.47 | Recoverable Result | 2437 | OG | DME | n | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20153510113 | 2015-12-17 07:30 | PENDIMETHALIN | 65098LCM60 | 10 | 9 | . | ng/L | 0.76 | 6.84 | Recoverable Result | 2437 | OG | MNI | n | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | PENDIMETHALIN | 65098LCM60 | 10 | 9 | . | ng/L | 0.68778 | 6.19 | Recoverable Result | 2437 | OG | MNI | n | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | PENDIMETHALIN | 65098LCM60 | 10 | 9 | . | ng/L | 0.63444 | 5.71 | Recoverable Result | 2437 | OG | MNI | n | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160630048 | 2016-03-03 07:30 | PENDIMETHALIN | 65098LCM60 | 10 | 9 | E | ng/L | 0.8 | 7.2 | Estimated Values | 2437 | OG | MNI | i | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | PENDIMETHALIN | 65098LCM60 | 10 | 9 | E | ng/L | 0.91889 | 8.27 | Estimated Values | 2437 | OG | MNI | i | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | PENDIMETHALIN | 65098LCM60 | 10 | 9 | E | ng/L | 0.76111 | 6.85 | Estimated Values | 2437 | OG | MNI | i | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20161050141 | 2016-04-14 08:00 | PENDIMETHALIN | 65098LCM60 | 10 | 9.02 | . | ng/L | 0.77827 | 7.02 | Recoverable Result | 2437 | OG | DME | n | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20141290002 | 2014-05-08 06:00 | PENDIMETHALIN | 65098LCM60 | 3 | 5.985 | . | ng/L | 1.0677 | 6.39 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20150570010 | 2015-02-26 06:30 | PENDIMETHALIN | 65098LCM60 | 3 | 5.985 | E | ng/L | 0.94069 | 5.63 | Estimated Values | 2437 | OG | SBH | i | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | PENDIMETHALIN | 65098LCM60 | 3 | 5.985 | E | ng/L | 0.9858 | 5.9 | Estimated Values | 2437 | OG | LOA | v | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142620041 | 2014-09-18 07:30 | PENDIMETHALIN | 65098LCM60 | 3 | 6 | . | ng/L | 0.95 | 5.7 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20152460212 | 2015-09-03 07:30 | PENDIMETHALIN | 65098LCM60 | 3 | 9.02 | . | ng/L | 0.42461 | 3.83 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | PENDIMETHALIN | 65098LCM60 | 3 | 9.02 | . | ng/L | 0.35033 | 3.16 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20143370093 | 2014-12-03 06:30 | PENDIMETHALIN | 65098LCM60 | 3 | 11.97 | E | ng/L | 0.74687 | 8.94 | Estimated Values | 2437 | OG | JLE | i | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20150290076 | 2015-01-29 06:00 | PENDIMETHALIN | 65098LCM60 | 3 | 11.985 | E | ng/L | 0.76846 | 9.21 | Estimated Values | 2437 | OG | MNI | i | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20143180048 | 2014-11-13 07:30 | PENDIMETHALIN | 65098LCM60 | 3 | 12 | E | ng/L | 1.1083 | 13.3 | Estimated Values | 2437 | OG | MGN | i | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20161880106 | 2016-07-06 07:45 | PENDIMETHALIN | 65098LCM60 | 10 | 14.96 | . | ng/L | 1.1029 | 16.5 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | PENDIMETHALIN | 65098LCM60 | 10 | 14.96 | . | ng/L | 1.1497 | 17.2 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | PENDIMETHALIN | 65098LCM60 | 10 | 14.96 | . | ng/L | 1.0227 | 15.3 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | PENDIMETHALIN | 65098LCM60 | 10 | 14.96 | . | ng/L | 1.3837 | 20.7 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20163370005 | 2016-11-30 08:00 | PENDIMETHALIN | 65098LCM60 | 10 | 15.28 | . | ng/L | 0.90314 | 13.8 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | PENDIMETHALIN | 65098LCM60 | 10 | 15.28 | . | ng/L | 0.87042 | 13.3 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20141490204 | 2014-05-29 08:30 | PENDIMETHALIN | 65098LCM60 | 3 | 23.94 | E | ng/L | 0.99833 | 23.9 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152610006 | 2015-09-17 09:30 | PENDIMETHALIN | 65098LCM60 | 3 | 36 | . | ng/L | 0.89167 | 32.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | PENDIMETHALIN | 65098LCM60 | 3 | 36 | . | ng/L | 0.75556 | 27.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | PENDIMETHALIN | 65098LCM60 | 3 | 36 | . | ng/L | 0.84722 | 30.5 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20153280162 | 2015-11-24 07:00 | PENDIMETHALIN | 65098LCM60 | 3 | 36 | . | ng/L | 0.80556 | 29 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | PENDIMETHALIN | 65098LCM60 | 3 | 36 | . | ng/L | 0.78611 | 28.3 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | PENDIMETHALIN | 65098LCM60 | 3 | 36 | . | ng/L | 0.83889 | 30.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153640100 | 2015-12-30 08:00 | PENDIMETHALIN | 65098LCM60 | 10 | 36.08 | . | ng/L | 0.90632 | 32.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | PENDIMETHALIN | 65098LCM60 | 10 | 36.08 | . | ng/L | 0.67905 | 24.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | PENDIMETHALIN | 65098LCM60 | 10 | 36.08 | . | ng/L | 0.83149 | 30 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20133580040 | 2013-12-23 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 125 | . | ng/L | 0.7336 | 91.7 | Recoverable Result | 2437 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20133050048 | 2013-10-31 07:30 | PENDIMETHALIN | 65098LCM60 | 3 | 125.2 | . | ng/L | 0.84665 | 106 | Recoverable Result | 2437 | OG | LOA | v | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20140100087 | 2014-01-09 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 125.2 | . | ng/L | 0.87859 | 110 | Recoverable Result | 2437 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20132630001 | 2013-09-19 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 301 | . | ng/L | 0.96346 | 290 | Recoverable Result | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 301 | . | ng/L | 0.7907 | 238 | Recoverable Result | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20133400005 | 2013-12-05 08:30 | PENDIMETHALIN | 65098LCM60 | 3 | 301 | . | ng/L | 1.0365 | 312 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20132490346 | 2013-09-06 07:00 | PENDIMETHALIN | 65098LCM60 | 3 | 312.5 | . | ng/L | 0.7968 | 249 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20140370079 | 2014-02-06 08:30 | PENDIMETHALIN | 65098LCM60 | 3 | 312.5 | . | ng/L | 0.8544 | 267 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20133470005 | 2013-12-12 08:00 | PENDIMETHALIN | 65098LCM60 | 3 | 313 | . | ng/L | 0.90096 | 282 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl