## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-11-30 08:00 | 20163370005 | 7 | 35.28 | . | 33.6 | ng/L | 0.95238 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-11-30 07:30 | 20163370004 | 7 | 35.28 | . | 32.2 | ng/L | 0.9127 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-12-07 09:00 | 20163420124 | 7 | 17.64 | . | 29.2 | ng/L | 1.6553 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-12-07 08:30 | 20163420125 | 7 | 17.64 | . | 30.1 | ng/L | 1.7063 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-08-06 07:30 | 20152190004 | 7 | 21 | E | 23 | ng/L | 1.0952 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-08-06 07:00 | 20152190005 | 7 | 21 | E | 18.9 | ng/L | 0.9 | OG | MPO | c | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-08-06 06:30 | 20152190006 | 7 | 21 | . | 12.5 | ng/L | 0.59524 | OG | MPO | c | 2015-08-13 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-08-20 09:00 | 20152330042 | 7 | 21 | . | 17.3 | ng/L | 0.82381 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-08-20 08:30 | 20152330043 | 7 | 21 | . | 17.9 | ng/L | 0.85238 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-08-20 06:30 | 20152330044 | 7 | 21 | . | 16.5 | ng/L | 0.78571 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-01-07 07:30 | 20160070057 | 7 | 10.5 | . | 4.1 | ng/L | 0.39048 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-01-07 07:00 | 20160070054 | 7 | 10.5 | . | 5.98 | ng/L | 0.56952 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-01-07 06:30 | 20160070056 | 7 | 10.5 | . | 5.07 | ng/L | 0.48286 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-09-10 08:00 | 20152530084 | 7 | 10.5 | . | 5.83 | ng/L | 0.55524 | OG | JLE | n | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-09-10 07:30 | 20152530086 | 7 | 10.5 | . | 10 | ng/L | 0.95238 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-09-10 07:00 | 20152530085 | 7 | 10.5 | . | 15.1 | ng/L | 1.4381 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-10-22 07:30 | 20152950083 | 7 | 21 | . | 16.2 | ng/L | 0.77143 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-10-22 07:00 | 20152950081 | 7 | 21 | . | 13.6 | ng/L | 0.64762 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-10-22 06:30 | 20152950082 | 7 | 21 | . | 12.6 | ng/L | 0.6 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-01-28 07:00 | 20160280055 | 7 | 10.5 | . | 5.83 | ng/L | 0.55524 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-01-28 06:30 | 20160280059 | 7 | 10.5 | . | 8.29 | ng/L | 0.78952 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-01-28 06:00 | 20160280058 | 7 | 10.5 | . | 5.79 | ng/L | 0.55143 | OG | DME | n | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-08-27 08:00 | 20152390229 | 7 | 21 | E | 14.2 | ng/L | 0.67619 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-08-27 07:30 | 20152390230 | 7 | 21 | E | 11.9 | ng/L | 0.56667 | OG | DME | c | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-11-19 08:00 | 20153230142 | 7 | 10.5 | . | 7.74 | ng/L | 0.73714 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-11-19 07:30 | 20153230143 | 7 | 10.5 | . | 5.12 | ng/L | 0.48762 | OG | DME | n | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-11-19 07:00 | 20153230141 | 7 | 10.5 | . | 5.1 | ng/L | 0.48571 | OG | DME | n | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-02-25 07:30 | 20160560058 | 7 | 10.5 | . | 9.55 | ng/L | 0.90952 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-02-25 07:00 | 20160560057 | 7 | 10.5 | . | 7.37 | ng/L | 0.7019 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-02-25 06:30 | 20160560056 | 7 | 10.5 | . | 6.31 | ng/L | 0.60095 | OG | DME | n | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-04-28 06:30 | 20161190072 | 7 | 21 | . | 14.3 | ng/L | 0.68095 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-04-28 06:00 | 20161190071 | 7 | 21 | . | 12.9 | ng/L | 0.61429 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-07-30 08:00 | 20152110201 | 7 | 10.5 | . | 8.59 | ng/L | 0.8181 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-07-30 07:30 | 20152110200 | 7 | 10.5 | . | 9.54 | ng/L | 0.90857 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-07-30 07:00 | 20152110202 | 7 | 10.5 | . | 11.3 | ng/L | 1.0762 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-10-08 07:00 | 20152810124 | 7 | 84 | . | 71.4 | ng/L | 0.85 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-10-08 06:30 | 20152810125 | 7 | 84 | . | 71.8 | ng/L | 0.85476 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2015-10-08 06:00 | 20152810123 | 7 | 84 | . | 73.1 | ng/L | 0.87024 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-01-14 08:00 | 20160140035 | 7 | 21 | E | 10.4 | ng/L | 0.49524 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-01-14 07:30 | 20160140036 | 7 | 21 | E | 16.5 | ng/L | 0.78571 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-01-14 07:00 | 20160140037 | 7 | 21 | E | 9.34 | ng/L | 0.44476 | K | DME | c | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-11-02 08:30 | 20163070100 | 7 | 17.64 | . | 19.8 | ng/L | 1.1224 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | PHORATE OXON SULFOXIDE | 68671LCM60 | 2016-11-02 08:00 | 20163070099 | 7 | 17.64 | . | 26.6 | ng/L | 1.5079 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl