## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-11-30 08:00 | 20163370005 | 20 | 96.8 | E | 59.7 | ng/L | 0.61674 | K | DME | c | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-11-30 07:30 | 20163370004 | 20 | 96.8 | E | 54.3 | ng/L | 0.56095 | K | DME | c | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-10-29 07:30 | 20153030065 | 20 | 30 | E | 21.6 | ng/L | 0.72 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-10-29 07:00 | 20153030064 | 20 | 30 | E | 20.9 | ng/L | 0.69667 | OG | DME | c | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-10-29 06:30 | 20153030063 | 20 | 30 | E | 17.6 | ng/L | 0.58667 | OG | DME | nc | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-02-04 08:00 | 20160350044 | 20 | 30 | . | 46.1 | ng/L | 1.5367 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-02-04 07:30 | 20160350042 | 20 | 30 | . | 44 | ng/L | 1.4667 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-02-04 07:00 | 20160350043 | 20 | 30 | . | 39.8 | ng/L | 1.3267 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-10-15 08:00 | 20152890012 | 20 | 30 | . | 16.7 | ng/L | 0.55667 | OG | DME | n | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-10-15 07:30 | 20152890013 | 20 | 30 | . | 17.7 | ng/L | 0.59 | OG | DME | n | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-10-15 07:00 | 20152890014 | 20 | 30 | . | 17.7 | ng/L | 0.59 | OG | DME | n | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-02-11 08:00 | 20160430108 | 20 | 30 | . | 18.7 | ng/L | 0.62333 | OG | DME | n | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-02-11 07:30 | 20160430107 | 20 | 30 | . | 15.7 | ng/L | 0.52333 | OG | DME | n | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-02-11 06:30 | 20160430106 | 20 | 30 | . | 16.6 | ng/L | 0.55333 | OG | DME | n | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-07-16 06:00 | 20151970155 | 20 | 60 | . | 41.7 | ng/L | 0.695 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-09-03 07:30 | 20152460212 | 20 | 60 | . | 27 | ng/L | 0.45 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-09-03 07:00 | 20152460211 | 20 | 60 | . | 28.4 | ng/L | 0.47333 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-09-03 06:30 | 20152460210 | 20 | 60 | . | 34.5 | ng/L | 0.575 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-11-05 08:00 | 20153090114 | 20 | 30 | E | 17 | ng/L | 0.56667 | OG | DME | nc | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-11-05 07:30 | 20153090115 | 20 | 30 | E | 15.7 | ng/L | 0.52333 | OG | DME | nc | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-11-05 07:00 | 20153090123 | 20 | 30 | E | 12.1 | ng/L | 0.40333 | OG | DME | nc | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-12-30 08:00 | 20153640100 | 20 | 240 | . | 143 | ng/L | 0.59583 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-12-30 07:30 | 20153640099 | 20 | 240 | . | 132 | ng/L | 0.55 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-12-30 07:00 | 20153640098 | 20 | 240 | . | 136 | ng/L | 0.56667 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-04-14 06:30 | 20161050142 | 20 | 60 | . | 42.1 | ng/L | 0.70167 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-04-14 08:00 | 20161050141 | 20 | 60 | . | 54.1 | ng/L | 0.90167 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-07-30 08:00 | 20152110201 | 20 | 30 | E | 18.2 | ng/L | 0.60667 | OG | MPO | nc | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-07-30 07:30 | 20152110200 | 20 | 30 | E | 22.2 | ng/L | 0.74 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-07-30 07:00 | 20152110202 | 20 | 30 | E | 29.7 | ng/L | 0.99 | OG | MPO | c | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-10-08 07:00 | 20152810124 | 20 | 240 | . | 149 | ng/L | 0.62083 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-10-08 06:30 | 20152810125 | 20 | 240 | . | 166 | ng/L | 0.69167 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2015-10-08 06:00 | 20152810123 | 20 | 240 | . | 133 | ng/L | 0.55417 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-01-14 08:00 | 20160140035 | 20 | 60 | . | 30.2 | ng/L | 0.50333 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-01-14 07:30 | 20160140036 | 20 | 60 | . | 39.1 | ng/L | 0.65167 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-01-14 07:00 | 20160140037 | 20 | 60 | . | 30.5 | ng/L | 0.50833 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-09-28 09:00 | 20162720259 | 20 | 48.4 | . | 30.8 | ng/L | 0.63636 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | PHORATE OXYGEN ANALOG SULFONE | 68670LCM60 | 2016-09-28 08:30 | 20162720260 | 20 | 48.4 | E | 26.6 | ng/L | 0.54959 | OG | DME | c | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl