## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20150150114 | 2015-01-15 07:00 | PHTHALAZINONE | 68675LCM60 | 6 |  | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161740281 | 2016-06-22 07:30 | PHTHALAZINONE | 68675LCM60 | 15 |  | . | ng/L |  | 74.7 | False Positive | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | PHTHALAZINONE | 68675LCM60 | 15 |  | . | ng/L |  | 57.6 | False Positive | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20163070100 | 2016-11-02 08:30 | PHTHALAZINONE | 68675LCM60 | 15 |  | . | ng/L |  | 99.4 | False Positive | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | PHTHALAZINONE | 68675LCM60 | 15 |  | . | ng/L |  | 122 | False Positive | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163370005 | 2016-11-30 08:00 | PHTHALAZINONE | 68675LCM60 | 15 |  | . | ng/L |  | 172 | False Positive | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | PHTHALAZINONE | 68675LCM60 | 15 |  | . | ng/L |  | 183 | False Positive | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20153030065 | 2015-10-29 07:30 | PHTHALAZINONE | 68675LCM60 | 6 | 9 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | PHTHALAZINONE | 68675LCM60 | 6 | 9 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | PHTHALAZINONE | 68675LCM60 | 6 | 9 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350044 | 2016-02-04 08:00 | PHTHALAZINONE | 68675LCM60 | 15 | 9 | < | ng/L |  | 15 | SACRALT | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | PHTHALAZINONE | 68675LCM60 | 15 | 9 | < | ng/L |  | 15 | SACRALT | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | PHTHALAZINONE | 68675LCM60 | 15 | 9 | < | ng/L |  | 15 | SACRALT | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | PHTHALAZINONE | 68675LCM60 | 15 | 9 | < | ng/L |  | 15 | SACRALT | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | PHTHALAZINONE | 68675LCM60 | 15 | 9 | < | ng/L |  | 15 | SACRALT | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | PHTHALAZINONE | 68675LCM60 | 15 | 9 | < | ng/L |  | 15 | SACRALT | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142480004 | 2014-09-04 08:30 | PHTHALAZINONE | 68675LCM60 | 6 | 12.03 | < | ng/L |  |  | False Negative | 2437 | OG | CAD | c | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20150990083 | 2015-04-09 06:30 | PHTHALAZINONE | 68675LCM60 | 6 | 12.03 | < | ng/L |  |  | False Negative | 2437 | OG | LOA | c | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20163560022 | 2016-12-21 08:00 | PHTHALAZINONE | 68675LCM60 | 15 | 14.8 | < | ng/L |  | 15 | SACRALT | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | PHTHALAZINONE | 68675LCM60 | 15 | 14.8 | < | ng/L |  | 15 | SACRALT | 2437 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20162100011 | 2016-07-27 07:15 | PHTHALAZINONE | 68675LCM60 | 15 | 14.88 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | PHTHALAZINONE | 68675LCM60 | 15 | 14.88 | < | ng/L |  | 10 | SACRALT | 2437 | OG | DME | c | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | PHTHALAZINONE | 68675LCM60 | 15 | 14.88 | < | ng/L |  | 15 | SACRALT | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | PHTHALAZINONE | 68675LCM60 | 15 | 14.88 | < | ng/L |  | 15 | SACRALT | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20151970155 | 2015-07-16 06:00 | PHTHALAZINONE | 68675LCM60 | 6 | 18 | < | ng/L |  | 50 | SACRALT | 2437 | OG | DME | c | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | PHTHALAZINONE | 68675LCM60 | 15 | 18 | < | ng/L |  |  | False Negative | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | PHTHALAZINONE | 68675LCM60 | 15 | 18 | < | ng/L |  |  | False Negative | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | PHTHALAZINONE | 68675LCM60 | 15 | 18 | < | ng/L |  |  | False Negative | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20141910245 | 2014-07-10 07:30 | PHTHALAZINONE | 68675LCM60 | 6 | 24.06 | < | ng/L |  |  | False Negative | 2437 | OG | LKK | c | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143030096 | 2014-10-30 08:00 | PHTHALAZINONE | 68675LCM60 | 6 | 24.06 | < | ng/L |  |  | False Negative | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143300050 | 2014-11-26 07:30 | PHTHALAZINONE | 68675LCM60 | 6 | 24.06 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20162520007 | 2016-09-07 08:30 | PHTHALAZINONE | 68675LCM60 | 15 | 29.6 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | PHTHALAZINONE | 68675LCM60 | 15 | 29.6 | < | ng/L |  |  | False Negative | 2437 | OG | DME | c | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20161820006 | 2016-06-29 09:00 | PHTHALAZINONE | 68675LCM60 | 15 | 29.76 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | PHTHALAZINONE | 68675LCM60 | 15 | 29.76 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161880106 | 2016-07-06 07:45 | PHTHALAZINONE | 68675LCM60 | 15 | 29.76 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | PHTHALAZINONE | 68675LCM60 | 15 | 29.76 | < | ng/L |  |  | False Negative | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20152610006 | 2015-09-17 09:30 | PHTHALAZINONE | 68675LCM60 | 6 | 72 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | PHTHALAZINONE | 68675LCM60 | 6 | 72 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | PHTHALAZINONE | 68675LCM60 | 6 | 72 | < | ng/L |  |  | False Negative | 2437 | OG | JLE | c | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20163420124 | 2016-12-07 09:00 | PHTHALAZINONE | 68675LCM60 | 15 | 14.88 | E | ng/L | 9.0054 | 134 | Estimated Values | 2437 | OG | DME | c | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | PHTHALAZINONE | 68675LCM60 | 15 | 14.88 | E | ng/L | 9.6774 | 144 | Estimated Values | 2437 | OG | DME | c | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20162660010 | 2016-09-21 08:30 | PHTHALAZINONE | 68675LCM60 | 15 | 37 | . | ng/L | 5 | 185 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl
20162660009 | 2016-09-21 08:00 | PHTHALAZINONE | 68675LCM60 | 15 | 37 | . | ng/L | 5.4324 | 201 | Recoverable Result | 2437 | OG | LOA |  | 2016-09-29 | ChemService 5154100: 100 µl & Abs 072516: 100 µl