## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160210084 | 2016-01-21 08:00 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | < | ng/L |  | 10 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210082 | 2016-01-21 07:30 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | < | ng/L |  | 10 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20160210083 | 2016-01-21 07:00 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | < | ng/L |  | 10 | SACRALT | 2437 | K | DME | c | 2016-02-18 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ChemService 3995200: 1
20161740281 | 2016-06-22 07:30 | PROFENOFOS | 68676LCM60 | 3 | 7.6 | < | ng/L |  |  | False Negative | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20150150114 | 2015-01-15 07:00 | PROFENOFOS | 68676LCM60 | 3 | 12.15 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20161820006 | 2016-06-29 09:00 | PROFENOFOS | 68676LCM60 | 3 | 15.2 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | PROFENOFOS | 68676LCM60 | 3 | 15.2 | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20152670139 | 2015-09-24 08:30 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 0.83333 | 3.75 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670135 | 2015-09-24 08:00 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 1.2 | 5.4 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20152670138 | 2015-09-24 07:00 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 1.2844 | 5.78 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 4047000: 10 µl & ChemService 3880000: 10 µl & ERA 0406-15-05: 10 µl
20153230142 | 2015-11-19 08:00 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 0.85333 | 3.84 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 0.86667 | 3.9 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 0.78 | 3.51 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560058 | 2016-02-25 07:30 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 1.2022 | 5.41 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 1.0622 | 4.78 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 0.6 | 2.7 | Recoverable Result | 2437 | OG | DME | n | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160770095 | 2016-03-17 08:00 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 0.86 | 3.87 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 0.68889 | 3.1 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | PROFENOFOS | 68676LCM60 | 3 | 4.5 | . | ng/L | 0.83556 | 3.76 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20152110201 | 2015-07-30 08:00 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 1.1652 | 5.29 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 1.3524 | 6.14 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 1.2137 | 5.51 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152890012 | 2015-10-15 08:00 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | E | ng/L | 0.88546 | 4.02 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890013 | 2015-10-15 07:30 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | E | ng/L | 0.87225 | 3.96 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20152890014 | 2015-10-15 07:00 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | E | ng/L | 0.71366 | 3.24 | Estimated Values | 2437 | OG | DME | c | 2015-10-21 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20153030065 | 2015-10-29 07:30 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 1.1762 | 5.34 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 1.1123 | 5.05 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 0.91189 | 4.14 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153090114 | 2015-11-05 08:00 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 0.98018 | 4.45 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090115 | 2015-11-05 07:30 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 1.1916 | 5.41 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20153090123 | 2015-11-05 07:00 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 0.77093 | 3.5 | Recoverable Result | 2437 | OG | DME |  | 2015-11-12 | ERA 0406-15-04: 10 µl & ERA 0406-15-05: 10 µl
20160350044 | 2016-02-04 08:00 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 1.0485 | 4.76 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 0.84141 | 3.82 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 0.65198 | 2.96 | Recoverable Result | 2437 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160430108 | 2016-02-11 08:00 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 0.65639 | 2.98 | Recoverable Result | 2437 | OG | DME | n | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430107 | 2016-02-11 07:30 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 0.39868 | 1.81 | Recoverable Result | 2437 | OG | DME | n | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20160430106 | 2016-02-11 06:30 | PROFENOFOS | 68676LCM60 | 3 | 4.54 | . | ng/L | 0.65639 | 2.98 | Recoverable Result | 2437 | OG | DME | n | 2016-02-24 | ERA 0406-15-04: 10 µl & ChemService 3995200: 10 µl & ChemService 3880100: 10 µl
20141990082 | 2014-07-17 07:30 | PROFENOFOS | 68676LCM60 | 3 | 6.03 | . | ng/L | 0.74129 | 4.47 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-24 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20142480004 | 2014-09-04 08:30 | PROFENOFOS | 68676LCM60 | 3 | 6.03 | . | ng/L | 1.0647 | 6.42 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142720026 | 2014-09-25 07:00 | PROFENOFOS | 68676LCM60 | 3 | 6.03 | . | ng/L | 1.1078 | 6.68 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ChemService 2609400: 15 µl & Abs 042914: 15 µl
20150650041 | 2015-03-05 07:00 | PROFENOFOS | 68676LCM60 | 3 | 6.03 | . | ng/L | 0.86899 | 5.24 | Recoverable Result | 2437 | OG | DME |  | 2015-03-11 | Abs 042314: 15 µl & Abs 042914: 15 µl
20150990083 | 2015-04-09 06:30 | PROFENOFOS | 68676LCM60 | 3 | 6.03 | . | ng/L | 0.61692 | 3.72 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20142060046 | 2014-07-24 08:00 | PROFENOFOS | 68676LCM60 | 3 | 6.075 | E | ng/L | 1.1424 | 6.94 | Estimated Values | 2437 | OG | LKK | c | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142130132 | 2014-07-31 07:00 | PROFENOFOS | 68676LCM60 | 3 | 6.075 | . | ng/L | 1.0173 | 6.18 | Recoverable Result | 2437 | OG | LKK | @c | 2014-08-16 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20142200170 | 2014-08-07 09:00 | PROFENOFOS | 68676LCM60 | 3 | 6.075 | . | ng/L | 1.0897 | 6.62 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20142470035 | 2014-09-03 07:45 | PROFENOFOS | 68676LCM60 | 3 | 6.075 | . | ng/L | 1.0749 | 6.53 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl
20150570010 | 2015-02-26 06:30 | PROFENOFOS | 68676LCM60 | 3 | 6.075 | . | ng/L | 0.6749 | 4.1 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150850163 | 2015-03-26 06:30 | PROFENOFOS | 68676LCM60 | 3 | 6.075 | . | ng/L | 0.60082 | 3.65 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20151110018 | 2015-04-16 07:00 | PROFENOFOS | 68676LCM60 | 3 | 6.075 | . | ng/L | 0.52346 | 3.18 | Recoverable Result | 2437 | OG | JIV |  | 2015-04-29 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl
20161740280 | 2016-06-22 07:15 | PROFENOFOS | 68676LCM60 | 3 | 7.6 | . | ng/L | 0.10789 | 0.82 | Recoverable Result | 2437 | OG | JLE | bt | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20163070100 | 2016-11-02 08:30 | PROFENOFOS | 68676LCM60 | 3 | 7.64 | . | ng/L | 0.84948 | 6.49 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | PROFENOFOS | 68676LCM60 | 3 | 7.64 | . | ng/L | 0.83115 | 6.35 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163420124 | 2016-12-07 09:00 | PROFENOFOS | 68676LCM60 | 3 | 7.64 | . | ng/L | 0.92277 | 7.05 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20163420125 | 2016-12-07 08:30 | PROFENOFOS | 68676LCM60 | 3 | 7.64 | . | ng/L | 0.93848 | 7.17 | Recoverable Result | 2437 | OG | DME |  | 2017-01-10 | Abs 071816: 40 µl & Spex Organics TS160603008: 40 µl
20151820108 | 2015-07-01 07:00 | PROFENOFOS | 68676LCM60 | 3 | 9 | E | ng/L | 1.4 | 12.6 | Estimated Values | 2437 | OG | MNO | c | 2015-07-15 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2
20152250277 | 2015-08-13 08:00 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.54333 | 4.89 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250275 | 2015-08-13 07:30 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.53667 | 4.83 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152250276 | 2015-08-13 07:00 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.82778 | 7.45 | Recoverable Result | 2437 | OG | DME |  | 2015-08-19 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ChemService 3995200: 2
20152390229 | 2015-08-27 08:00 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.68444 | 6.16 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.76889 | 6.92 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.83333 | 7.5 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20153510113 | 2015-12-17 07:30 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.53667 | 4.83 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.54667 | 4.92 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.56 | 5.04 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160630048 | 2016-03-03 07:30 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.61222 | 5.51 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630049 | 2016-03-03 07:00 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.75111 | 6.76 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20160630050 | 2016-03-03 06:30 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.92889 | 8.36 | Recoverable Result | 2437 | OG | MNI |  | 2016-03-11 | ChemService 4047000: 20 µl & ChemService 3880000: 20 µl & ERA 0406-15-05: 20 µl
20161190072 | 2016-04-28 06:30 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.78 | 7.02 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | PROFENOFOS | 68676LCM60 | 3 | 9 | . | ng/L | 0.87444 | 7.87 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151900133 | 2015-07-09 08:00 | PROFENOFOS | 68676LCM60 | 3 | 9.08 | . | ng/L | 0.70925 | 6.44 | Recoverable Result | 2437 | OG | JLE |  | 2015-07-18 | ChemService 3880100: 20 µl & ChemService 3995200: 20 µl & ERA 0406-15-04: 20 µl
20151970155 | 2015-07-16 06:00 | PROFENOFOS | 68676LCM60 | 3 | 9.08 | . | ng/L | 0.87004 | 7.9 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20152460212 | 2015-09-03 07:30 | PROFENOFOS | 68676LCM60 | 3 | 9.08 | . | ng/L | 0.59251 | 5.38 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460211 | 2015-09-03 07:00 | PROFENOFOS | 68676LCM60 | 3 | 9.08 | . | ng/L | 0.63877 | 5.8 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20152460210 | 2015-09-03 06:30 | PROFENOFOS | 68676LCM60 | 3 | 9.08 | . | ng/L | 0.7467 | 6.78 | Recoverable Result | 2437 | OG | MNI |  | 2015-09-10 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20160140035 | 2016-01-14 08:00 | PROFENOFOS | 68676LCM60 | 3 | 9.08 | . | ng/L | 0.65529 | 5.95 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | PROFENOFOS | 68676LCM60 | 3 | 9.08 | . | ng/L | 0.84251 | 7.65 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | PROFENOFOS | 68676LCM60 | 3 | 9.08 | . | ng/L | 0.68502 | 6.22 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161050141 | 2016-04-14 08:00 | PROFENOFOS | 68676LCM60 | 3 | 9.08 | . | ng/L | 0.94604 | 8.59 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-05: 20 µl & ERA 0406-15-04: 20 µl
20161050142 | 2016-04-14 06:30 | PROFENOFOS | 68676LCM60 | 3 | 9.08 | . | ng/L | 0.81938 | 7.44 | Recoverable Result | 2437 | OG | DME |  | 2016-04-20 | ERA 0406-15-04: 20 µl & ERA 0406-15-05: 20 µl
20141770144 | 2014-06-26 09:00 | PROFENOFOS | 68676LCM60 | 3 | 12.06 | . | ng/L | 0.7927 | 9.56 | Recoverable Result | 2437 | OG | CAD |  | 2014-07-08 | Abs 042314: 30 µl & Abs 042914: 30 µl
20141910245 | 2014-07-10 07:30 | PROFENOFOS | 68676LCM60 | 3 | 12.06 | . | ng/L | 0.72968 | 8.8 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143030096 | 2014-10-30 08:00 | PROFENOFOS | 68676LCM60 | 3 | 12.06 | . | ng/L | 1.3433 | 16.2 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143300050 | 2014-11-26 07:30 | PROFENOFOS | 68676LCM60 | 3 | 12.06 | . | ng/L | 0.78441 | 9.46 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143240094 | 2014-11-19 08:00 | PROFENOFOS | 68676LCM60 | 3 | 12.06 | . | ng/L | 0.82007 | 9.89 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | ChemService 2609400: 30 µl & Abs 042914: 30 µl
20143520108 | 2014-12-18 07:00 | PROFENOFOS | 68676LCM60 | 3 | 12.06 | . | ng/L | 0.94527 | 11.4 | Recoverable Result | 2437 | OG | DME |  | 2014-12-31 | Abs 042314: 30 µl & Abs 042914: 30 µl
20142340168 | 2014-08-18 07:15 | PROFENOFOS | 68676LCM60 | 3 | 12.15 | E | ng/L | 0.7251 | 8.81 | Estimated Values | 2437 | OG | LKK | @vc | 2014-09-04 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl
20142760029 | 2014-10-02 07:30 | PROFENOFOS | 68676LCM60 | 3 | 12.15 | . | ng/L | 1.0947 | 13.3 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20142960085 | 2014-10-23 07:00 | PROFENOFOS | 68676LCM60 | 3 | 12.15 | . | ng/L | 0.97119 | 11.8 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-04 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20150360050 | 2015-02-05 07:00 | PROFENOFOS | 68676LCM60 | 3 | 12.15 | . | ng/L | 0.85597 | 10.4 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042314: 30 µl & ERA 0321-14-07: 30 µl
20163370005 | 2016-11-30 08:00 | PROFENOFOS | 68676LCM60 | 3 | 15.28 | . | ng/L | 0.66099 | 10.1 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | PROFENOFOS | 68676LCM60 | 3 | 15.28 | . | ng/L | 0.72644 | 11.1 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20152610006 | 2015-09-17 09:30 | PROFENOFOS | 68676LCM60 | 3 | 36 | . | ng/L | 0.89444 | 32.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | PROFENOFOS | 68676LCM60 | 3 | 36 | . | ng/L | 1.0056 | 36.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | PROFENOFOS | 68676LCM60 | 3 | 36 | . | ng/L | 0.85278 | 30.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20153280162 | 2015-11-24 07:00 | PROFENOFOS | 68676LCM60 | 3 | 36 | . | ng/L | 0.77778 | 28 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280161 | 2015-11-24 06:30 | PROFENOFOS | 68676LCM60 | 3 | 36 | . | ng/L | 0.78056 | 28.1 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20153280160 | 2015-11-24 06:00 | PROFENOFOS | 68676LCM60 | 3 | 36 | . | ng/L | 0.74722 | 26.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-09 | ChemService 4047000: 80 µl & ChemService 3880000: 80 µl & ERA 0406-15-05: 80 µl
20152810124 | 2015-10-08 07:00 | PROFENOFOS | 68676LCM60 | 3 | 36.32 | E | ng/L | 0.90859 | 33 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | PROFENOFOS | 68676LCM60 | 3 | 36.32 | E | ng/L | 0.9609 | 34.9 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | PROFENOFOS | 68676LCM60 | 3 | 36.32 | E | ng/L | 0.83425 | 30.3 | Estimated Values | 2437 | OG | DME | c | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20153640100 | 2015-12-30 08:00 | PROFENOFOS | 68676LCM60 | 3 | 36.32 | . | ng/L | 0.76267 | 27.7 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640099 | 2015-12-30 07:30 | PROFENOFOS | 68676LCM60 | 3 | 36.32 | . | ng/L | 0.68282 | 24.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
20153640098 | 2015-12-30 07:00 | PROFENOFOS | 68676LCM60 | 3 | 36.32 | . | ng/L | 0.79295 | 28.8 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl