## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20161820006 | 2016-06-29 09:00 | PROPANIL | 66641LCM60 | 12 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20161820007 | 2016-06-29 09:30 | PROPANIL | 66641LCM60 | 12 |  | R | ng/L |  |  | Deleted Values | 2437 |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
20150150114 | 2015-01-15 07:00 | PROPANIL | 66641LCM60 | 11 | 43.53 | R | ng/L |  |  | Deleted Values | 2437 | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
20152110201 | 2015-07-30 08:00 | PROPANIL | 66641LCM60 | 11 | 16.3 | . | ng/L | 1.0613 | 17.3 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110200 | 2015-07-30 07:30 | PROPANIL | 66641LCM60 | 11 | 16.3 | . | ng/L | 0.89571 | 14.6 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152110202 | 2015-07-30 07:00 | PROPANIL | 66641LCM60 | 11 | 16.3 | . | ng/L | 1.0184 | 16.6 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
20152530084 | 2015-09-10 08:00 | PROPANIL | 66641LCM60 | 11 | 16.3 | . | ng/L | 1.1534 | 18.8 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530086 | 2015-09-10 07:30 | PROPANIL | 66641LCM60 | 11 | 16.3 | E | ng/L | 1.1227 | 18.3 | Estimated Values | 2437 | OG | JLE | v | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20152530085 | 2015-09-10 07:00 | PROPANIL | 66641LCM60 | 11 | 16.3 | E | ng/L | 0.70552 | 11.5 | Estimated Values | 2437 | OG | JLE | v | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20153230142 | 2015-11-19 08:00 | PROPANIL | 66641LCM60 | 11 | 16.3 | . | ng/L | 1.0429 | 17 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230143 | 2015-11-19 07:30 | PROPANIL | 66641LCM60 | 11 | 16.3 | . | ng/L | 0.84049 | 13.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20153230141 | 2015-11-19 07:00 | PROPANIL | 66641LCM60 | 11 | 16.3 | . | ng/L | 0.79755 | 13 | Recoverable Result | 2437 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160070057 | 2016-01-07 07:30 | PROPANIL | 66641LCM60 | 12 | 16.3 | . | ng/L | 0.71166 | 11.6 | Recoverable Result | 2437 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070054 | 2016-01-07 07:00 | PROPANIL | 66641LCM60 | 12 | 16.3 | . | ng/L | 0.76074 | 12.4 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160070056 | 2016-01-07 06:30 | PROPANIL | 66641LCM60 | 12 | 16.3 | . | ng/L | 1.135 | 18.5 | Recoverable Result | 2437 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
20160280055 | 2016-01-28 07:00 | PROPANIL | 66641LCM60 | 12 | 16.3 | . | ng/L | 1.1166 | 18.2 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280059 | 2016-01-28 06:30 | PROPANIL | 66641LCM60 | 12 | 16.3 | . | ng/L | 1.3742 | 22.4 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160280058 | 2016-01-28 06:00 | PROPANIL | 66641LCM60 | 12 | 16.3 | . | ng/L | 1.092 | 17.8 | Recoverable Result | 2437 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
20160560058 | 2016-02-25 07:30 | PROPANIL | 66641LCM60 | 12 | 16.3 | . | ng/L | 0.95706 | 15.6 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560057 | 2016-02-25 07:00 | PROPANIL | 66641LCM60 | 12 | 16.3 | . | ng/L | 1.227 | 20 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20160560056 | 2016-02-25 06:30 | PROPANIL | 66641LCM60 | 12 | 16.3 | . | ng/L | 1.2454 | 20.3 | Recoverable Result | 2437 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
20152040178 | 2015-07-23 06:30 | PROPANIL | 66641LCM60 | 11 | 16.7 | . | ng/L | 1.2635 | 21.1 | Recoverable Result | 2437 | OG | MNO |  | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
20153030065 | 2015-10-29 07:30 | PROPANIL | 66641LCM60 | 11 | 16.7 | . | ng/L | 0.59521 | 9.94 | Recoverable Result | 2437 | OG | DME | n | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030064 | 2015-10-29 07:00 | PROPANIL | 66641LCM60 | 11 | 16.7 | . | ng/L | 0.96407 | 16.1 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153030063 | 2015-10-29 06:30 | PROPANIL | 66641LCM60 | 11 | 16.7 | . | ng/L | 0.99401 | 16.6 | Recoverable Result | 2437 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20153160006 | 2015-11-10 07:30 | PROPANIL | 66641LCM60 | 11 | 16.7 | . | ng/L | 0.92216 | 15.4 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160005 | 2015-11-10 07:00 | PROPANIL | 66641LCM60 | 11 | 16.7 | . | ng/L | 0.94611 | 15.8 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20153160004 | 2015-11-10 06:30 | PROPANIL | 66641LCM60 | 11 | 16.7 | . | ng/L | 1.1198 | 18.7 | Recoverable Result | 2437 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
20160350044 | 2016-02-04 08:00 | PROPANIL | 66641LCM60 | 12 | 16.7 | . | ng/L | 1.1257 | 18.8 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350042 | 2016-02-04 07:30 | PROPANIL | 66641LCM60 | 12 | 16.7 | . | ng/L | 1.2575 | 21 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160350043 | 2016-02-04 07:00 | PROPANIL | 66641LCM60 | 12 | 16.7 | . | ng/L | 1.4311 | 23.9 | Recoverable Result | 2437 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
20160770095 | 2016-03-17 08:00 | PROPANIL | 66641LCM60 | 12 | 16.7 | . | ng/L | 0.61677 | 10.3 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770094 | 2016-03-17 07:30 | PROPANIL | 66641LCM60 | 12 | 16.7 | . | ng/L | 0.83234 | 13.9 | Recoverable Result | 2437 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20160770096 | 2016-03-17 06:30 | PROPANIL | 66641LCM60 | 12 | 16.7 | . | ng/L | 0.65269 | 10.9 | Recoverable Result | 2437 | OG | DME | n | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
20142060046 | 2014-07-24 08:00 | PROPANIL | 66641LCM60 | 11 | 21.765 | . | ng/L | 1.0797 | 23.5 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20142270006 | 2014-08-14 08:00 | PROPANIL | 66641LCM60 | 11 | 21.765 | . | ng/L | 0.98782 | 21.5 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
20142480004 | 2014-09-04 08:30 | PROPANIL | 66641LCM60 | 11 | 21.765 | . | ng/L | 0.96945 | 21.1 | Recoverable Result | 2437 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
20142620041 | 2014-09-18 07:30 | PROPANIL | 66641LCM60 | 11 | 21.765 | . | ng/L | 1.2038 | 26.2 | Recoverable Result | 2437 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150930002 | 2015-04-02 06:00 | PROPANIL | 66641LCM60 | 11 | 21.765 | . | ng/L | 0.99701 | 21.7 | Recoverable Result | 2437 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
20150850163 | 2015-03-26 06:30 | PROPANIL | 66641LCM60 | 11 | 21.765 | . | ng/L | 0.79485 | 17.3 | Recoverable Result | 2437 | OG | MPO | d | 2015-04-09 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
20141290002 | 2014-05-08 06:00 | PROPANIL | 66641LCM60 | 11 | 21.945 | . | ng/L | 0.73365 | 16.1 | Recoverable Result | 2437 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
20142200170 | 2014-08-07 09:00 | PROPANIL | 66641LCM60 | 11 | 21.945 | . | ng/L | 1.0025 | 22 | Recoverable Result | 2437 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150570010 | 2015-02-26 06:30 | PROPANIL | 66641LCM60 | 11 | 21.945 | . | ng/L | 1.2622 | 27.7 | Recoverable Result | 2437 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
20150990083 | 2015-04-09 06:30 | PROPANIL | 66641LCM60 | 11 | 21.945 | . | ng/L | 1.121 | 24.6 | Recoverable Result | 2437 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
20161740281 | 2016-06-22 07:30 | PROPANIL | 66641LCM60 | 12 | 27.64 | . | ng/L | 0.86107 | 23.8 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20161740280 | 2016-06-22 07:15 | PROPANIL | 66641LCM60 | 12 | 27.64 | . | ng/L | 1.1143 | 30.8 | Recoverable Result | 2437 | OG | JLE |  | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
20162100011 | 2016-07-27 07:15 | PROPANIL | 66641LCM60 | 12 | 27.64 | . | ng/L | 0.98046 | 27.1 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162100010 | 2016-07-27 07:00 | PROPANIL | 66641LCM60 | 12 | 27.64 | . | ng/L | 1.042 | 28.8 | Recoverable Result | 2437 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
20162720259 | 2016-09-28 09:00 | PROPANIL | 66641LCM60 | 12 | 27.64 | . | ng/L | 0.767 | 21.2 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20162720260 | 2016-09-28 08:30 | PROPANIL | 66641LCM60 | 12 | 27.64 | . | ng/L | 0.84298 | 23.3 | Recoverable Result | 2437 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
20163070100 | 2016-11-02 08:30 | PROPANIL | 66641LCM60 | 12 | 27.64 | . | ng/L | 0.99493 | 27.5 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163070099 | 2016-11-02 08:00 | PROPANIL | 66641LCM60 | 12 | 27.64 | . | ng/L | 0.87554 | 24.2 | Recoverable Result | 2437 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
20163560022 | 2016-12-21 08:00 | PROPANIL | 66641LCM60 | 12 | 27.64 | E | ng/L | 0.82127 | 22.7 | Estimated Values | 2437 | OG | DME | c | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20163560021 | 2016-12-21 07:30 | PROPANIL | 66641LCM60 | 12 | 27.64 | E | ng/L | 1.1722 | 32.4 | Estimated Values | 2437 | OG | DME | c | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
20152190004 | 2015-08-06 07:30 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 1.0031 | 32.7 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190005 | 2015-08-06 07:00 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 0.81288 | 26.5 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152190006 | 2015-08-06 06:30 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 0.94479 | 30.8 | Recoverable Result | 2437 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330042 | 2015-08-20 09:00 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 0.7546 | 24.6 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330043 | 2015-08-20 08:30 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 0.91411 | 29.8 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152330044 | 2015-08-20 06:30 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 0.99387 | 32.4 | Recoverable Result | 2437 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
20152390229 | 2015-08-27 08:00 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 1.0429 | 34 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390230 | 2015-08-27 07:30 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 0.9908 | 32.3 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152390225 | 2015-08-27 07:00 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 1.1687 | 38.1 | Recoverable Result | 2437 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20152950083 | 2015-10-22 07:30 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 0.8773 | 28.6 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950081 | 2015-10-22 07:00 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 0.81902 | 26.7 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20152950082 | 2015-10-22 06:30 | PROPANIL | 66641LCM60 | 11 | 32.6 | . | ng/L | 0.95706 | 31.2 | Recoverable Result | 2437 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
20160140035 | 2016-01-14 08:00 | PROPANIL | 66641LCM60 | 12 | 32.6 | . | ng/L | 0.79448 | 25.9 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140036 | 2016-01-14 07:30 | PROPANIL | 66641LCM60 | 12 | 32.6 | . | ng/L | 1.0276 | 33.5 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20160140037 | 2016-01-14 07:00 | PROPANIL | 66641LCM60 | 12 | 32.6 | . | ng/L | 1.0706 | 34.9 | Recoverable Result | 2437 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
20161190072 | 2016-04-28 06:30 | PROPANIL | 66641LCM60 | 12 | 32.6 | . | ng/L | 1.0736 | 35 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20161190071 | 2016-04-28 06:00 | PROPANIL | 66641LCM60 | 12 | 32.6 | . | ng/L | 0.93865 | 30.6 | Recoverable Result | 2437 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
20151970155 | 2015-07-16 06:00 | PROPANIL | 66641LCM60 | 11 | 33.4 | . | ng/L | 0.97006 | 32.4 | Recoverable Result | 2437 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370174 | 2015-12-03 08:00 | PROPANIL | 66641LCM60 | 11 | 33.4 | . | ng/L | 0.71557 | 23.9 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370175 | 2015-12-03 07:30 | PROPANIL | 66641LCM60 | 11 | 33.4 | . | ng/L | 0.57485 | 19.2 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153370173 | 2015-12-03 07:00 | PROPANIL | 66641LCM60 | 11 | 33.4 | . | ng/L | 1.0689 | 35.7 | Recoverable Result | 2437 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20153510113 | 2015-12-17 07:30 | PROPANIL | 66641LCM60 | 12 | 33.4 | . | ng/L | 0.91317 | 30.5 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510111 | 2015-12-17 07:00 | PROPANIL | 66641LCM60 | 12 | 33.4 | . | ng/L | 0.98802 | 33 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20153510112 | 2015-12-17 06:30 | PROPANIL | 66641LCM60 | 12 | 33.4 | . | ng/L | 1.0509 | 35.1 | Recoverable Result | 2437 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
20160490031 | 2016-02-18 08:00 | PROPANIL | 66641LCM60 | 12 | 33.4 | . | ng/L | 1.1018 | 36.8 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490030 | 2016-02-18 07:30 | PROPANIL | 66641LCM60 | 12 | 33.4 | . | ng/L | 0.77844 | 26 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160490029 | 2016-02-18 07:00 | PROPANIL | 66641LCM60 | 12 | 33.4 | . | ng/L | 0.9491 | 31.7 | Recoverable Result | 2437 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
20160710224 | 2016-03-10 08:00 | PROPANIL | 66641LCM60 | 12 | 33.4 | . | ng/L | 1.1826 | 39.5 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710223 | 2016-03-10 07:30 | PROPANIL | 66641LCM60 | 12 | 33.4 | . | ng/L | 1.0419 | 34.8 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20160710222 | 2016-03-10 07:00 | PROPANIL | 66641LCM60 | 12 | 33.4 | . | ng/L | 0.8503 | 28.4 | Recoverable Result | 2437 | OG | JLE |  | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
20141910245 | 2014-07-10 07:30 | PROPANIL | 66641LCM60 | 11 | 43.53 | . | ng/L | 1.1578 | 50.4 | Recoverable Result | 2437 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20142820153 | 2014-10-09 07:00 | PROPANIL | 66641LCM60 | 11 | 43.53 | . | ng/L | 1.6012 | 69.7 | Recoverable Result | 2437 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
20143030096 | 2014-10-30 08:00 | PROPANIL | 66641LCM60 | 11 | 43.53 | . | ng/L | 0.98553 | 42.9 | Recoverable Result | 2437 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
20143180048 | 2014-11-13 07:30 | PROPANIL | 66641LCM60 | 11 | 43.53 | . | ng/L | 0.99701 | 43.4 | Recoverable Result | 2437 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
20150290076 | 2015-01-29 06:00 | PROPANIL | 66641LCM60 | 11 | 43.71 | . | ng/L | 0.8076 | 35.3 | Recoverable Result | 2437 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
20141640081 | 2014-06-12 08:30 | PROPANIL | 66641LCM60 | 11 | 43.89 | . | ng/L | 1.1574 | 50.8 | Recoverable Result | 2437 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
20142760029 | 2014-10-02 07:30 | PROPANIL | 66641LCM60 | 11 | 43.89 | . | ng/L | 1.1916 | 52.3 | Recoverable Result | 2437 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
20143300050 | 2014-11-26 07:30 | PROPANIL | 66641LCM60 | 11 | 43.89 | . | ng/L | 1.0025 | 44 | Recoverable Result | 2437 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
20143370093 | 2014-12-03 06:30 | PROPANIL | 66641LCM60 | 11 | 43.89 | . | ng/L | 1.0367 | 45.5 | Recoverable Result | 2437 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
20161880106 | 2016-07-06 07:45 | PROPANIL | 66641LCM60 | 12 | 55.28 | . | ng/L | 0.85022 | 47 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20161880111 | 2016-07-06 07:15 | PROPANIL | 66641LCM60 | 12 | 55.28 | . | ng/L | 0.96418 | 53.3 | Recoverable Result | 2437 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
20162520007 | 2016-09-07 08:30 | PROPANIL | 66641LCM60 | 12 | 55.28 | . | ng/L | 0.96961 | 53.6 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20162520006 | 2016-09-07 08:00 | PROPANIL | 66641LCM60 | 12 | 55.28 | . | ng/L | 0.97323 | 53.8 | Recoverable Result | 2437 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
20163370005 | 2016-11-30 08:00 | PROPANIL | 66641LCM60 | 12 | 55.28 | . | ng/L | 0.87554 | 48.4 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20163370004 | 2016-11-30 07:30 | PROPANIL | 66641LCM60 | 12 | 55.28 | . | ng/L | 0.81946 | 45.3 | Recoverable Result | 2437 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
20141490204 | 2014-05-29 08:30 | PROPANIL | 66641LCM60 | 11 | 87.78 | E | ng/L | 1.1187 | 98.2 | Estimated Values | 2437 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
20152810124 | 2015-10-08 07:00 | PROPANIL | 66641LCM60 | 11 | 130.4 | . | ng/L | 0.93558 | 122 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810125 | 2015-10-08 06:30 | PROPANIL | 66641LCM60 | 11 | 130.4 | . | ng/L | 0.97393 | 127 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152810123 | 2015-10-08 06:00 | PROPANIL | 66641LCM60 | 11 | 130.4 | . | ng/L | 0.78221 | 102 | Recoverable Result | 2437 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
20152610006 | 2015-09-17 09:30 | PROPANIL | 66641LCM60 | 11 | 133.6 | . | ng/L | 1.0778 | 144 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610005 | 2015-09-17 09:00 | PROPANIL | 66641LCM60 | 11 | 133.6 | . | ng/L | 1.0404 | 139 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152610004 | 2015-09-17 08:30 | PROPANIL | 66641LCM60 | 11 | 133.6 | . | ng/L | 0.92814 | 124 | Recoverable Result | 2437 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
20152750009 | 2015-10-01 07:30 | PROPANIL | 66641LCM60 | 11 | 133.6 | . | ng/L | 0.9506 | 127 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750008 | 2015-10-01 07:00 | PROPANIL | 66641LCM60 | 11 | 133.6 | . | ng/L | 0.77096 | 103 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20152750007 | 2015-10-01 06:30 | PROPANIL | 66641LCM60 | 11 | 133.6 | . | ng/L | 0.91317 | 122 | Recoverable Result | 2437 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
20133580040 | 2013-12-23 08:00 | PROPANIL | 66641LCM60 | 11 | 199 | . | ng/L | 1.0251 | 204 | Recoverable Result | 2437 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
20133050048 | 2013-10-31 07:30 | PROPANIL | 66641LCM60 | 11 | 200 | . | ng/L | 1.06 | 212 | Recoverable Result | 2437 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
20140100087 | 2014-01-09 08:00 | PROPANIL | 66641LCM60 | 11 | 200 | . | ng/L | 1.105 | 221 | Recoverable Result | 2437 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
20132630001 | 2013-09-19 08:00 | PROPANIL | 66641LCM60 | 11 | 301 | . | ng/L | 1.1329 | 341 | Recoverable Result | 2437 | OG | LKK |  | 2013-09-29 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl
20133260006 | 2013-11-21 08:00 | PROPANIL | 66641LCM60 | 11 | 301 | . | ng/L | 1.0831 | 326 | Recoverable Result | 2437 | OG | LKK |  | 2013-12-10 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl
20133400005 | 2013-12-05 08:30 | PROPANIL | 66641LCM60 | 11 | 301 | . | ng/L | 1.3721 | 413 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-18 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl
20132490346 | 2013-09-06 07:00 | PROPANIL | 66641LCM60 | 11 | 497.5 | . | ng/L | 1.0573 | 526 | Recoverable Result | 2437 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20140370079 | 2014-02-06 08:30 | PROPANIL | 66641LCM60 | 11 | 497.5 | . | ng/L | 1.1759 | 585 | Recoverable Result | 2437 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
20133470005 | 2013-12-12 08:00 | PROPANIL | 66641LCM60 | 11 | 500 | . | ng/L | 1.342 | 671 | Recoverable Result | 2437 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl