## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-01-09 08:00 | 20140100087 | 6 | 201 | . | 160 | ng/L | 0.79602 | OG | LKK |  | 2014-01-23 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-07-10 07:30 | 20141910245 | 6 | 24 | . | 23.8 | ng/L | 0.99167 | OG | LKK |  | 2014-07-19 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-09-04 08:30 | 20142480004 | 6 | 12 | . | 12.4 | ng/L | 1.0333 | OG | CAD |  | 2014-09-10 | Abs 042914: 15 µl & Abs 042814Pest3: 15 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-10-30 08:00 | 20143030096 | 6 | 24 | . | 25.1 | ng/L | 1.0458 | OG | JLE |  | 2014-11-05 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-11-26 07:30 | 20143300050 | 6 | 24.06 | . | 20.8 | ng/L | 0.86451 | OG | DME |  | 2014-12-02 | Abs 042914: 30 µl & ChemService 2598800: 30 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-08-14 08:00 | 20142270006 | 6 | 12 | . | 9.26 | ng/L | 0.77167 | OG | LKK |  | 2014-08-20 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-10-09 07:00 | 20142820153 | 6 | 24 | . | 24.6 | ng/L | 1.025 | OG | MNI |  | 2014-10-21 | Abs 042814Pest3: 30 µl & Abs 042314: 30 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-01-29 06:00 | 20150290076 | 6 | 24.03 | . | 21.1 | ng/L | 0.87807 | OG | MNI |  | 2015-02-11 | Abs 042814Pest3: 15 µl & ChemService 2598800: 15 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-09-18 07:30 | 20142620041 | 6 | 12 | . | 12.3 | ng/L | 1.025 | OG | MNO |  | 2014-09-23 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-11-13 07:30 | 20143180048 | 6 | 24 | . | 19.6 | ng/L | 0.81667 | OG | MGN |  | 2014-11-18 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-04-02 06:00 | 20150930002 | 6 | 12 | . | 8.86 | ng/L | 0.73833 | K | MPO |  | 2015-04-08 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-11-30 08:00 | 20163370005 | 6 | 29.76 | . | 29 | ng/L | 0.97446 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-11-30 07:30 | 20163370004 | 6 | 29.76 | . | 27.6 | ng/L | 0.92742 | K | DME |  | 2016-12-13 | Abs 071216: 80 µl & Abs 071816: 80 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-09-07 08:30 | 20162520007 | 6 | 30.08 | . | 26.4 | ng/L | 0.87766 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-09-07 08:00 | 20162520006 | 6 | 30.08 | . | 30.7 | ng/L | 1.0206 | OG | DME |  | 2016-09-13 | Abs 072516: 80 µl & Spex Organics TS160511023: 80 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-12-21 08:00 | 20163560022 | 6 | 15.04 | . | 12.1 | ng/L | 0.80452 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-12-21 07:30 | 20163560021 | 6 | 15.04 | . | 14.8 | ng/L | 0.98404 | OG | DME |  | 2017-01-04 | Abs 072516: 40 µl & Spex Organics TS160511023: 40 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2013-12-12 08:00 | 20133470005 | 6 | 502.5 | . | 438 | ng/L | 0.87164 | OG | MPO |  | 2013-12-19 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-12-03 06:30 | 20143370093 | 6 | 24.06 | . | 23.2 | ng/L | 0.96426 | OG | JLE |  | 2014-12-16 | ChemService 2598800: 30 µl & Abs 042314: 30 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-04-09 06:30 | 20150990083 | 6 | 12.03 | . | 10.9 | ng/L | 0.90607 | OG | LOA |  | 2015-04-15 | ChemService 2598800: 15 µl & Abs 042914: 15 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-05-08 06:00 | 20141290002 | 6 | 12.03 | . | 7.56 | ng/L | 0.62843 | OG | MPO |  | 2014-05-17 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-05-29 08:30 | 20141490204 | 6 | 48.12 | E | 44.7 | ng/L | 0.92893 | OG | MPO | c | 2014-06-11 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-06-12 08:30 | 20141640081 | 6 | 24.06 | . | 22.2 | ng/L | 0.92269 | K | JIV |  | 2014-06-26 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-01 07:30 | 20152750009 | 6 | 72 | . | 56 | ng/L | 0.77778 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-01 07:00 | 20152750008 | 6 | 72 | . | 54.4 | ng/L | 0.75556 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-01 06:30 | 20152750007 | 6 | 72 | . | 51.2 | ng/L | 0.71111 | OG | DME |  | 2015-10-07 | ChemService 3995200: 80 µl & ChemService 3880100: 80 µl & ChemService 4047100: 8
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-11-10 07:30 | 20153160006 | 6 | 9 | . | 5.92 | ng/L | 0.65778 | OG | DME | n | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-11-10 07:00 | 20153160005 | 6 | 9 | . | 8.24 | ng/L | 0.91556 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-11-10 06:30 | 20153160004 | 6 | 9 | . | 6.54 | ng/L | 0.72667 | OG | DME |  | 2015-11-24 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ChemService 4047100: 1
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-02-18 08:00 | 20160490031 | 6 | 18 | . | 18.2 | ng/L | 1.0111 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-02-18 07:30 | 20160490030 | 6 | 18 | . | 14.1 | ng/L | 0.78333 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-02-18 07:00 | 20160490029 | 6 | 18 | . | 17.1 | ng/L | 0.95 | OG | DME |  | 2016-03-01 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ChemService 4047100: 2
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-08-06 07:30 | 20152190004 | 6 | 18.06 | . | 17 | ng/L | 0.94131 | OG | MPO |  | 2015-08-12 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-08-20 09:00 | 20152330042 | 6 | 18.06 | . | 13.6 | ng/L | 0.75305 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-08-20 08:30 | 20152330043 | 6 | 18.06 | . | 13.1 | ng/L | 0.72536 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-08-20 06:30 | 20152330044 | 6 | 18.06 | . | 14.1 | ng/L | 0.78073 | OG | DME |  | 2015-08-26 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-01-07 07:30 | 20160070057 | 6 | 9.03 | . | 8.42 | ng/L | 0.93245 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-01-07 07:00 | 20160070054 | 6 | 9.03 | . | 6.09 | ng/L | 0.67442 | K | JLE |  | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-01-07 06:30 | 20160070056 | 6 | 9.03 | . | 5.68 | ng/L | 0.62901 | K | JLE | n | 2016-02-12 | ChemService 3995200: 10 µl & ChemService 3880100: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-09-17 09:30 | 20152610006 | 6 | 72 | . | 62.8 | ng/L | 0.87222 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-09-17 09:00 | 20152610005 | 6 | 72 | . | 61.8 | ng/L | 0.85833 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-09-17 08:30 | 20152610004 | 6 | 72 | . | 72.1 | ng/L | 1.0014 | OG | JLE |  | 2015-10-03 | ChemService 4047100: 80 µl & ChemService 3880200: 80 µl & ChemService 4047000: 8
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-12-17 07:30 | 20153510113 | 6 | 18 | . | 17 | ng/L | 0.94444 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-12-17 07:00 | 20153510111 | 6 | 18 | . | 16.5 | ng/L | 0.91667 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-12-17 06:30 | 20153510112 | 6 | 18 | . | 17.2 | ng/L | 0.95556 | OG | MNI |  | 2016-01-08 | ChemService 4047100: 20 µl & ChemService 3880200: 20 µl & ChemService 4047000: 2
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-03-17 08:00 | 20160770095 | 6 | 9 | . | 8.56 | ng/L | 0.95111 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-03-17 07:30 | 20160770094 | 6 | 9 | . | 10.2 | ng/L | 1.1333 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-03-17 06:30 | 20160770096 | 6 | 9 | . | 9.13 | ng/L | 1.0144 | OG | DME |  | 2016-03-23 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ChemService 4047000: 1
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-29 07:30 | 20153030065 | 6 | 9 | . | 9.71 | ng/L | 1.0789 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-29 07:00 | 20153030064 | 6 | 9 | . | 9.17 | ng/L | 1.0189 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-29 06:30 | 20153030063 | 6 | 9 | . | 9.18 | ng/L | 1.02 | OG | DME |  | 2015-11-11 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-02-04 08:00 | 20160350044 | 6 | 9 | . | 11.9 | ng/L | 1.3222 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-02-04 07:30 | 20160350042 | 6 | 9 | . | 9.58 | ng/L | 1.0644 | OG | DME |  | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-02-04 07:00 | 20160350043 | 6 | 9 | . | 5.66 | ng/L | 0.62889 | OG | DME | n | 2016-02-19 | ChemService 4047100: 10 µl & ChemService 3880200: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2013-12-23 08:00 | 20133580040 | 6 | 201 | . | 158 | ng/L | 0.78607 | OG | LOA |  | 2014-01-10 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-07-24 08:00 | 20142060046 | 6 | 12 | . | 7.2 | ng/L | 0.6 | OG | LKK |  | 2014-07-31 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-08-07 09:00 | 20142200170 | 6 | 12.03 | . | 8 | ng/L | 0.665 | OG | LKK |  | 2014-08-17 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-10-02 07:30 | 20142760029 | 6 | 24.06 | . | 16.9 | ng/L | 0.70241 | OG | LOA |  | 2014-10-07 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-02-26 06:30 | 20150570010 | 6 | 12.03 | . | 11.5 | ng/L | 0.95594 | OG | SBH |  | 2015-03-07 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-07-16 06:00 | 20151970155 | 6 | 18 | . | 15.9 | ng/L | 0.88333 | OG | DME |  | 2015-07-22 | ERA 0406-15-04: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-07-23 06:30 | 20152040178 | 6 | 9 | E | 7.76 | ng/L | 0.86222 | OG | MNO | i | 2015-08-04 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-12-03 08:00 | 20153370174 | 6 | 18 | . | 13.4 | ng/L | 0.74444 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-12-03 07:30 | 20153370175 | 6 | 18 | . | 16.7 | ng/L | 0.92778 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-12-03 07:00 | 20153370173 | 6 | 18 | . | 14.7 | ng/L | 0.81667 | OG | JLE |  | 2015-12-10 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-03-10 08:00 | 20160710224 | 6 | 18 | E | 17.3 | ng/L | 0.96111 | OG | JLE | c | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-03-10 07:30 | 20160710223 | 6 | 18 | E | 15 | ng/L | 0.83333 | OG | JLE | c | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-03-10 07:00 | 20160710222 | 6 | 18 | E | 14.4 | ng/L | 0.8 | OG | JLE | c | 2016-03-17 | ERA 0406-15-05: 20 µl & ChemService 4047100: 20 µl & ChemService 3880200: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-09-10 08:00 | 20152530084 | 6 | 9.03 | . | 6.32 | ng/L | 0.69989 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-09-10 07:30 | 20152530086 | 6 | 9.03 | . | 6.65 | ng/L | 0.73643 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-09-10 07:00 | 20152530085 | 6 | 9.03 | . | 7.36 | ng/L | 0.81506 | OG | JLE |  | 2015-10-02 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-22 07:30 | 20152950083 | 6 | 18.06 | . | 17.2 | ng/L | 0.95238 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-22 07:00 | 20152950081 | 6 | 18.06 | . | 18.9 | ng/L | 1.0465 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-22 06:30 | 20152950082 | 6 | 18.06 | . | 14.9 | ng/L | 0.82503 | OG | DME |  | 2015-10-29 | ERA 0406-15-05: 20 µl & ERA 0406-15-06: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-01-28 07:00 | 20160280055 | 6 | 9.03 | . | 8.91 | ng/L | 0.98671 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-01-28 06:30 | 20160280059 | 6 | 9.03 | . | 6.04 | ng/L | 0.66888 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-01-28 06:00 | 20160280058 | 6 | 9.03 | . | 7.53 | ng/L | 0.83389 | OG | DME |  | 2016-02-18 | ERA 0406-15-05: 10 µl & ERA 0406-15-06: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-08-27 07:30 | 20152390230 | 6 | 18.06 | . | 19.7 | ng/L | 1.0908 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-08-27 07:00 | 20152390225 | 6 | 18.06 | . | 15 | ng/L | 0.83056 | OG | DME |  | 2015-09-02 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-11-19 08:00 | 20153230142 | 6 | 9.03 | . | 7.7 | ng/L | 0.85271 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-11-19 07:30 | 20153230143 | 6 | 9.03 | . | 8.52 | ng/L | 0.94352 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-11-19 07:00 | 20153230141 | 6 | 9.03 | . | 6.62 | ng/L | 0.73311 | OG | DME |  | 2015-11-25 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-02-25 07:30 | 20160560058 | 6 | 9.03 | . | 11.7 | ng/L | 1.2957 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-02-25 07:00 | 20160560057 | 6 | 9.03 | . | 9.98 | ng/L | 1.1052 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-02-25 06:30 | 20160560056 | 6 | 9.03 | . | 9.59 | ng/L | 1.062 | OG | DME |  | 2016-03-02 | ERA 0406-15-06: 10 µl & ChemService 4047000: 10 µl & ChemService 3880000: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-04-28 06:30 | 20161190072 | 6 | 18.06 | . | 12.6 | ng/L | 0.69767 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-04-28 06:00 | 20161190071 | 6 | 18.06 | . | 15 | ng/L | 0.83056 | OG | MNI |  | 2016-05-06 | ERA 0406-15-06: 20 µl & ChemService 4047000: 20 µl & ChemService 3880000: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-07-30 08:00 | 20152110201 | 6 | 9.03 | . | 9.12 | ng/L | 1.01 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-07-30 07:30 | 20152110200 | 6 | 9.03 | . | 10.3 | ng/L | 1.1406 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-07-30 07:00 | 20152110202 | 6 | 9.03 | . | 7.71 | ng/L | 0.85382 | OG | MPO |  | 2015-08-11 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-08 07:00 | 20152810124 | 6 | 72.24 | . | 62.6 | ng/L | 0.86656 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-08 06:30 | 20152810125 | 6 | 72.24 | . | 51.3 | ng/L | 0.71013 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2015-10-08 06:00 | 20152810123 | 6 | 72.24 | . | 57.4 | ng/L | 0.79457 | OG | DME |  | 2015-10-20 | ERA 0406-15-06: 80 µl & ERA 0406-15-04: 80 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-01-14 08:00 | 20160140035 | 6 | 18.06 | . | 15.3 | ng/L | 0.84718 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-01-14 07:30 | 20160140036 | 6 | 18.06 | . | 18.1 | ng/L | 1.0022 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-01-14 07:00 | 20160140037 | 6 | 18.06 | . | 15.6 | ng/L | 0.86379 | K | DME |  | 2016-02-17 | ERA 0406-15-06: 20 µl & ERA 0406-15-04: 20 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-01-30 09:00 | 20140300037 | 6 | 600 | . | 440 | ng/L | 0.73333 | OG | MPO |  | 2014-02-06 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2013-08-29 08:30 | 20132420005 | 6 | 604.0001 | . | 505 | ng/L | 0.83609 | OG | LOA |  | 2013-10-31 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-02-20 08:00 | 20140510044 | 6 | 604.0001 | . | 420 | ng/L | 0.69536 | OG | LOA |  | 2014-03-04 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2013-09-06 07:00 | 20132490346 | 6 | 500 | . | 388 | ng/L | 0.776 | OG | LKK | @c | 2013-09-25 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2014-02-06 08:30 | 20140370079 | 6 | 500 | . | 385 | ng/L | 0.77 | OG | MPO |  | 2014-02-19 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2013-10-31 07:30 | 20133050048 | 6 | 200 | . | 171 | ng/L | 0.855 | OG | LOA |  | 2013-11-07 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-11-02 08:30 | 20163070100 | 6 | 15.04 | . | 17.1 | ng/L | 1.137 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-11-02 08:00 | 20163070099 | 6 | 15.04 | . | 17 | ng/L | 1.1303 | K | DME |  | 2016-11-08 | Spex Organics TS160511023: 40 µl & Abs 071816: 40 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-06-22 07:30 | 20161740281 | 6 | 15.04 | . | 5.23 | ng/L | 0.34774 | OG | JLE | n | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-06-22 07:15 | 20161740280 | 6 | 15.04 | E | 4.66 | ng/L | 0.30984 | OG | JLE | in | 2016-06-29 | Spex Organics TS160511023: 40 µl & ChemService 5154100: 40 µl & ChemService 5154
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-09-28 09:00 | 20162720259 | 6 | 14.88 | . | 15.1 | ng/L | 1.0148 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-09-28 08:30 | 20162720260 | 6 | 14.88 | . | 12.3 | ng/L | 0.82661 | OG | DME |  | 2016-10-06 | Spex Organics TS160603008: 40 µl & Abs 071216: 40 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-07-06 07:45 | 20161880106 | 6 | 30.08 | . | 25.4 | ng/L | 0.84441 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-07-06 07:15 | 20161880111 | 6 | 30.08 | . | 22.8 | ng/L | 0.75798 | OG | DME |  | 2016-07-12 | Spex Organics TS160603008: 80 µl & Spex Organics TS160511023: 80 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-07-27 07:15 | 20162100011 | 6 | 15.04 | . | 12.3 | ng/L | 0.81782 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2016-07-27 07:00 | 20162100010 | 6 | 15.04 | . | 11.2 | ng/L | 0.74468 | OG | DME |  | 2016-08-03 | Spex Organics TS160603008: 40 µl & Spex Organics TS160511023: 40 µl
2437 | PROPICONAZOLE (TILT) | 66643LCM60 | 2013-11-07 08:30 | 20133110106 | 6 | 604.0001 | . | 537 | ng/L | 0.88907 | OG | MPO |  | 2013-11-21 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2